## Slide 1: FRPC – FATIC2 status

## Slide 2: RPC - FATIC2
RPC double gap
  Electrode material/thickness: soda lime glass/1.1 mm
  Gas thickness: 1.43 mm
  1 plane - 32 strips
FATIC2 - 2 discriminators
  ARM discriminator → charge estimation
  Fast discriminator → time of arrival
Signal-noise study on FD

## Slide 3
Only strips-FATIC (Electronic office)

## Slide 4
Full chamber (RPC lab) – No connected (flying chamber)

## Slide 5
Full chamber (RPC lab) – No connected (flying chamber), 1wk after (totally same conditions)

## Slide 6
Connecting only HV cables

## Slide 7
RPC ON (around WP 7.2 kV)

## Slide 8
RPC ON, detector grounded, no calibration

## Slide 9
RPC ON, detector grounded, calibration at 20 fC

## Slide 10
RPC ON, detector grounded, calibration at 10 fC

## Slide 11
RPC ON, detector grounded, calibration at 15 fC

## Slide 12: Actions to take place
Chamber layout grounding to be analyzed
External ground??