## Slide 1: Physics and Detectors at the Electron Ion Collider

## Slide 2: Outline
Hints of the physics
The case for an EIC
DIS and SIDIS in the past
EIC detectors
A specific case for analysis: TMDs
Selected results

## Slide 3: Hot Question in Cold QCD
How are the sea quarks and gluons, and their spins, distributed in space and momentum inside the nucleon?
How do the nucleon properties emerge from them and their interactions?
How do color-charged quarks and gluons, and colorless jets, interact with a nuclear medium?
How do the confined hadronic states emerge from these quarks and gluons?
How do the quark-gluon interactions create nuclear binding?
gluon
emission
gluon recombination
?
How does a dense nuclear environment affect the quarks and gluons, their correlations, and their interactions?
What happens to the gluon density in nuclei? Does it saturate at high energy, giving rise to a gluonic matter with universal properties in all nuclei, even the proton?
=

## Slide 4: TOOLs to study the INNER Structure
DIS/SIDIS off polarized p, d, n targets
Drell-Yan/W/jets in Hadron Hadron
Cern/Hera/Jlab
future: eN colliders?
CERN(COMPASS/LHC)/RHIC/FNAL
future: FAIR, JPark, NICA
LEP/SLAC/BELLE/BES

## Slide 5: DIS – Hera Legacy
The proton at high energies
(small ) is dominated by glue!
Gluons and
“sea” quarks
Evolution from DGLAP (Dokshitzer–Gribov–Lipatov–Altarelli–Parisi)

## Slide 6: Kinematics of Deep Inelastic Scattering
DIS variables:
SIDIS variables:
NB: always use invariants for invariant quantities (not their expression in a particular frame). This will help you when moving from 1 experiment to another.
Beam lepton :
Scat. lepton :
Virtual Photon :

## Slide 7: Inclusive Deep Inelastic Scattering and the quark parton model
Going beyond the Callan-Gross relation leads to introduce the longitudinal structure function:
Allowing to write the DIS cross section as
Keeping in mind the transformations:

## Slide 8: Transverse structure of the Nucleon
Photon Virtuality Q2
Hard Scale
High Energy Probe
Longitudinal momentum
Transverse momentum
Transverse position
Confinement Scale

## Slide 9: Unified view of the Nucleon
1D
Wigner distributions (Belitsky, Ji, Yuan)
5D
3D
(X. Ji, D. Mueller, A. Radyushkin)
TMD PDFs: SIDIS
Impact Parameter Ds
PDFs: DIS and SIDIS
Wigner distributions
F.T.
GPDs: Exclusive
FFs: Elastic Scattering
GFFs: Lattice

## Slide 10: Confined parton motion in a hadron
Scattering with a large momentum transfer
  Momentum scale of the hard probe
  Combined motion is too week to be sensitive to the hard probe
  Collinear factorization – integrated into PDFs
Scattering with multiple momentum scales observed
  Two-scale observables (such as low SIDIS, low Drell-Yan)
  “Hard” scale localizes the probe to see the quark or gluon d.o.f.
  “Soft” scale could be sensitive to the confined motion
  TMD factorization: the confined motion is encoded into TMDs

## Slide 11: Structure of proton
Transverse Momentum Dependent parton distribution (TMDs)
Sivers function: an asymmetric parton distribution in a transversely polarized nucleon ( correlated with the spin of the nucleon)
Boer-Mulders function: an asymmetric parton distribution in an unpolarised nucleon ( correlated with the spin of the quark)
Longitudinal motion only
Longitudinal + transverse motion

## Slide 12: TMD evolution:
QCD evolution of TMDs in Fourier space (solution of equation)
Polarized scattering data comes as ratio: e.g.
Unpolarized data is very important to constrain/extract the key ingredient for the non-perturbative part
Evolution of longitudinal/ collinear part
Evolution of transverse part (Sudakov form factor)
Non-perturbative part has to be fitted to experimental data
The key ingredient is spin-independent

## Slide 13: Effect of QCD evolution
What evolution does
  Spread out the distribution to much larger . At low , the distribution decreases due to this spread
Echevarria, Idilbi, Kang, Vitev. Kang, Prokudin, Sun, Yuan

## Slide 14: What is happening at low-?

## Slide 15: What do we learn from low-x studies?
What tames the low-x rise?
New evolution eqn.s @ low x & moderate . Saturation Scale , where gluon emission and recombination are comparable
Observation/study of gluon recombination effects in nuclei:
leading to a collective gluonic system!
Is this a universal property?
Is the Color Glass Condensate an appropriate effective theory?
gluon emission
gluon recombinationn
=
at QS
and
Balitsky-Fadin-Kuraev-Lipatov
Notes: 15

## Slide 16: DIS around the world

## Slide 17
The Case for the EIC
Warm Electron
Collider Ring
(3 to 12 GeV)
Cold Ion Collider Ring
(8 to 100 GeV)
IP
IP
Electron Injector
12 GeV CEBAF
Ion Source
Booster
Linac

## Slide 18: The Electron Ion Collider
1212.1701.v3
A. Accardi et al
World’s first
Polarized electron-proton/light ion
and electron-Nucleus collider
For e-A collisions at the EIC:
Wide range in nuclei
Luminosity per nucleon same
as
Variable center of mass energy
For e-N collisions at the EIC:
Polarized beams:
e beam 5-10(20) GeV
Luminosity
  100-1000 times HERA
20-100 (140) GeV Variable CoM
Notes: Contrast with HERA could be made more explicit. Table/column presentation.
RY: Uniqueness of EIC compared to HERA and other DIS facilities is more effectively made on p.7. Keep as backup.

## Slide 19
EIC Requirements
Requirements from Physics:
High Luminosity: 1033-34 cm-2s-1 and higher  nucleon/nuclei imaging
Flexible center of mass energy  wide kinematic reach
Electrons (0.8) and protons/light nuclei (0.7) highly polarized
 study of spin structure
Wide range of nuclear beams (D to Pb/U)  high gluon densities
Room for a wide acceptance detector with good PID (e/h & p, K, p)
 flavor dependence
Full acceptance for tagging, exclusivity, protons from elastic reactions, neutrons from nuclear breakup  target/nuclear fragments
The “sweet spot” for the EIC parameters is a balance of
  High enough energies to reach high Q2 (up to ~1000 GeV2)
  Low enough proton energy to measure transverse scale of ~100 MeV well.
  High enough energy to explore collective effects towards saturation.
  High enough luminosity and good resolution for the nucleon/nuclei imaging.
  IR and Detector with acceptance and performance to fully measure the processes of relevance 
Polarized luminosity and the capability to measure physics of interest is what counts

## Slide 20: US-Based EICs / BNL selected
JLEIC
Brookhaven Lab
Long Island, NY
Jefferson Lab
Newport News, VA
Notes: 20

## Slide 21: JLEIC Realization
Use existing CEBAF for polarized electron injector
Figure 8 Layout: Optimized for high ion beam polarization  polarized deuterons
Energy Range: √s : 20 to 65 - 140 GeV (magnet technology choice)
Fully integrated detector/IR
50 mrad crossing
Full luminosity from the beginning. Staging in energy, with technology choice determining initial and upgraded energy reach

## Slide 22: eRHIC Realization
Use existing RHIC
  Up to 275 GeV protons
  Existing: tunnel, detector halls & hadron injector complex
  Proton cooling needed for full luminosity
Add 10-18 GeV electron accelerator in the same tunnel
  Use high intensity Electron Storage Ring (up to 2.5 A)
  400 MeV, 10 nC guns at 1Hz reversing polarization each time
  18 GeV on energy injector
Achieve high luminosity, high energy e-p/A collisions with full acceptance detector
Bunch frequency: 58 MHz to 115MHz
22 mrad crossing angle
Full energy range covered from the beginning. Staging for the full luminosity reach

## Slide 23: What forms the Spin of the Proton
It is more than the number ½ ! It is the interplay between
the intrinsic properties and interactions of quarks and gluons
total
quark spin
angular
momentum
gluon
spin
What do we know:
Gluon
Quarks
orbital angular
momentum
1/2 -
-
=
⟼
data
data
⟼
40%
30%

## Slide 24: TMDs
World Data on
World Data on
momentum
spin
World Data on
transverse spin ~ angular momentum
HERMES
COMPASS
EIC coverage

## Slide 25: 2+1 D partonic image of the proton
Helicity Distributions: DG and DS
Transverse Momentum Distributions
Spatial distance from origin X Transverse Momentum  Orbital Angular Momentum
Transverse Position Distributions
1
Notes: 25

## Slide 26: Evolution of a Proton – Deep into the Sea
Saturation
=
>
EIC systematically explores
correlations in this region.
An exciting opportunity: Observation by LHeC and EIC of a new regime in QCD of weakly coupled high density matter

## Slide 27: Diffraction: a signature of gluon saturation
Probing Q2 dependence of gluon saturation in diffractive
vector meson production
Probing gluon saturation through measuring σdiff/σtot
Extracting the gluon distribution ρ(bT) of nuclei via Fourier transformation of dσ/dt in diffractive J/ψ production
Diffraction cross-sections have strong discovery potential:
High sensitivity to gluon density in linear regime: σ~[g(x,Q2)]2
Dramatic changes in cross-sections with onset of non-linear strong color fields

## Slide 28: EIC: Impact on 1D Nuclear PDFs
√s < 45 GeV
Ratio of PDF of Pb over Proton
Without EIC, large
uncertainties
 With EIC significantly
reduced uncertainties
Complementary to RHIC
and LHC pA data.
Provides information on
initial state for heavy ion
collisions.
Does the nucleus behave
like a proton at low-x?
 relevant to very
high-energy cosmic
ray studies
 critical input to AA
arXiv:1708.05654
√s < 90 GeV
Direct Access to gluons at
medium to high x by tagging
photon-gluon fusion through
charm events

## Slide 29: DIS AND sidis IN THE PAST

## Slide 30: DIS at SLAC
Pros:
The high intensity of the e-beams for precision measurements
The very frequent reversal of the beam polarization helps in keeping the systematic effects under control
Beam monochromaticity (DE ~ 0.1-1 %) and fine optics (spot size: 1-2 mm)
Cons:
The beam energy and the fix angle small acceptance spectrometers does not allow to explore the small-x domain
No possible evolution toward SIDIS because of small-acceptance spectrometers
Where everything started in the 60’s @ Stanford Linear Accelerator Center(SLAC)
20 GeV e-beam:
The first observation of partons
At SLAC in the 90’s
increasing energy (up to 50 GeV)
adding polarization:
  beam (polarization reversed
  at each burst)
  polarized gaseous (3He) and
  solid state targets (NH3, ND3)
experiments
  E142 (29.2 GeV, 3He)
  E143 (29.2 GeV, H, D)
  E154 (48.3 GeV, 3He)

## Slide 31: Polarized Beam at SLAC
PEGGY : polarized electron source for the Stanford two-mile electron linear accelerator
based upon photoionization of a state-selected 6Li atomic beam
pulsed beam of electrons with a maximum intensity of 2.6 × 109 electrons per pulse
polarization of 85% after acceleration !
a pulse length of 1.6 ms
a repetition rate of 180 Hz
polarization reversal time ≤ 1 s
2 polarimeters:
  at 70 keV by Mott scattering:
  left-right scattering asymmetry
  In scattering of transversally pol.ed
  e off heavy nuclei
  at GeV energies
  by Møllerer scattering:
  e-e double spin asymmetry,
  polarized e target in a thin
  ferromagnetic foil magnetized to
  saturation and inclined to provide
  a large longitudinal polarization
Li gas
Atoms in the Mj = +½ ground state are selected by deflection in the strong inhomogeneous field of a sextupole magnet
Ionization region
Initial acceleration
e-beam polarization is flipped by flipping the magnetic field
first polarized electron source for an accelerator
NIM 163 (1979) 29
Later, an GaAs-based source used al SLAC

## Slide 32: The high-energy -beam @ CERN
A great tool: the SPS m-beam
The beam is polarized: due to the parity
violating nature of the weak decay
Beam polarization from simulation studies and then (SMC experiment) with two polarimeter measurements
From the energy spectrum of positrons in mu decay
From the asymmetry in the elastic scattering off polarized electrons

## Slide 33: -beams Chromaticity and optics
-beam chromaticity
Beam : Dp/p = 3% - 5% RMS
Measure the momentum of each beam particle : Dp/p < 1%
Beam size at the target:
NIM A 577 (2007) 455
71 m

## Slide 34: Using high-energy -beams
m-beams and open spectrometers
Pros:
High energy (up to 250 GeV)  access to high Q2 and small x
Open spectrometer (EMC, NMC, SMC)  also supporting small x investigation and making possible a natural evolution to SIDIS  COMPASS
Cons:
Beam intensity (before COMPASS), muon halo, beam chromaticity and optics
EMC : 1978-1985
then evolved in
NMC: 1986 – 1989
SMC: 1994 - 1998
Open spectrometer !
SMC polarized target,
NIMA 437 (1999) 23
Spin studies already initiated with EMC,
enriched with SMC fully dedicated to spin
BCDMS: 1975-1985
Toroidal spectrometer
Multiple targets to increase the luminosity

## Slide 35: Using high-energy -beams
The CERN high-energy muon beam and the open spectrometer detectors have contributed an important portion of what we know about QCD:
EMC effect: different scattering rates off D and Fe first evidence that the quark sub-structure of nucleons bound in nuclei is different from that of free nucleons
Proton spin-crisis: evidence that only a small portion of the N spin is carried by quarks and that the strange quark see is polarized
Proving the Bjorken sum rule: the SR relates the N spin structure functions to the nucleon axial charge (stated in 1966, experimentally confirmed in 1993 !)

## Slide 36: Using high-energy -beams
FNAL E665 :
1987-1992
Secondary m-beam at Tevatron fix-target, E up to 500 GeV
Open spectrometer
To remark:
First time that an extended PID system (ToF, 2 threshold Č, a gaseous RICH) in included in a DIS setup ↔ exclusive vector meson production as part of the physics program
m-beam line using an extracted p-beam from the TEVATRON fix target operation
NIM A291 (1990) 533

## Slide 37: A collider for DIS studies
HERA (Hadron-Electron Ring Accelerator) at DESY (Hamburg, D)
1992-2007
  HERA I (till 2000)
  HERA II (from 2001) with increased luminosity (x 4.7)
The first and, so far, unique e-p collider
BCDMS
DIS studies at the highest energies
Access to a wide kinematic domain
Polarized target, SIDIS
CP violation in B-Bbar

## Slide 38: A collider for DIS studies
Lepton beam polarization at HERA
since 1994
Added in 2003
The Sokolov–Ternov effect is the self-polarization of relativistic electrons or positrons moving at high energy in a magnetic field. The self-polarization occurs through the emission of spin-flip synchrotron radiation.
The magnetic field creates an asymmetry in the spin-flip rates:
() align parallel (anti-parallel) to H

## Slide 39: e-beam polarimeters at HERA
BCDMS
Measure electron polarization to few % with the Compton polarimeter
1996 - Tpol: single photon mode measuring space asymmetry with sampling calorimeter.
NIM A329 (1993) 79
1994 - Lpol: 1000  x BX measuring the energy asymmetry in crystal calorimeter (COMPTON scattering). Single g for calibration.
NIM A 479 (2002) 334
2006 - Fabry-Perot Lpol: increase the statistical precision thanks to the addition of the cavity
JINST 5 (2010) P06005

## Slide 40: Intense e-beam
CEBAF (Continuous Electron Beam Accelerator Facility) at Jefferson Lab
The 6 GeV accelerator
  0.6-6 GeV electrons
  3 experimental halls (Hall-A, -B and C)
  Almost continuous beams, ~ 100% duty cycle
  Years: 1995 – 2012
The 12 GeV electrons
  Up to 12 GeV
  Upgrade of the 3 experimental Halls
  Addition of a 4th Hall (Hall-D) dedicated to
  photoproduction experiments
  Years: from 2014, from 2017 with upgraded Halls

## Slide 41: CEBAF Polarized e-beam
Polarized e-beams at CEBAF
A series of 3 sources
  GaAs treated to have a negative electron affinity (NEA) as e-source
    photoemission using monochromatic circularly polarized laser light
    Making photocathode life-time longer by improving vacuum and photocathode preparation
Managing beam polarization in the accelerator
  At CEBAF, net spin precession only in the horizontal plane (any spin orientation possible):
    no net vertical bend between the injector and the experimental hall beam lines
    no energy difference between pairs of equal and opposite vertical bends
  negligible loss of polarization between the injector and the experimental halls

## Slide 42: HERMES: Fixed target at HERA
The HERA polarized lepton beam scattering off a gaseous polarized jet target
Atomic Beam Source
target chamber
Target Gas
Analyzer
(relative atomic and molecular
content of the gas)
A magnet surrounding the storage cell provides
a holding field defining the polarization axis
Longitudinal polarized 3He up to 1996
Longitudinal polarization up to 2000 (H, D)
Transverse polarization from 2002 (H)
evacuated by two turbo-molecular pumps
pressure is typically 10−7mbar
relative populations
of the hyperfine states of H, D inducing rf transitions
Breit-Rabi
Polarimeter
NIM A 540 (2005) 68

## Slide 43: Solid state polarized targets
SMC polarized target,
NIMA 437 (1999) 23
Relevant parameters of the SMC polarized target
2 cells with opposite polarization, 65 cm each, 30 cm gap, 5 cm Ø
Superconducting solenoid, 2.5 T, microwave sources at 70 GHz
Coil superposed on the solenoid coil to produce a dipole transversal field of 0.5 T for
  fast polarization reversal
  transverse polarization (~50 mK to reduce relation time at 0.5 T)
Dilution refrigerator
nuclear magnetic resonance (NMR) system with 10 coils was designed for polarization measurement in the two target cells
PT cells
Solenoid coil
dipole coil
Dilution refrigerator
Method : dynamic nuclear polarization (DNP)
T < 1 K
using a homogeneous magnetic field to polarize paramagnetic spins to a high degree
a microwave field to transfer the polarization to the nuclear spins

## Slide 44: Solid state polarized targets
Target materials
un-paired electron spins with a density in the range of 1019 – 1020/cm3 are needed, obtained by
  Chemical doping
  Irradiation to produce free radicals
Examples of PT target material (from SMC experience)
  p↑: butanol (C4H9OH) with a paramagnetic complex
  p↑: irradiated ammonia (NH3)
  n↑: deuterated butanol (C4D9OD) with a paramagnetic complex
Dilution factor f

## Slide 45: Solid state polarized targets
Polarized target in operation at the experiments
(still from SMC example)
Longitudinal
polarization
Transverse polarization (frozen spin mode)
Relaxation times function of magnetic field intensity and temperature; at 50 mK and 0.5 T :
Butanol : 1000 h
D-butanol : 600 h
Ammonia : 500 h

## Slide 46: Polarized targets for TMD studies with fix target experiments
BCDMS
SOLID STATE PTs
m-beams impose LONG (> 1 m) solid-state PT to preserve luminosity
  polarization reversal requiring ~ 1h every ~1w  2(3) cells with opposite pol.
  Important dilution factors
  No vertex detector
e-beams can operate with SHORT (some cm) solid state PTs
Frozen-spin operation
  Target transverse polarization
  Non in situ polarization: less demanding services at the experimental target
GASEOUS PTs
e-beams can operate with gaseous PTs preserving luminosity thanks to the beam intensities
  Low target density
  Frequent polarization reversal
  Limited dilution factor for H, D atomic gasses (molecular content at the ~20% level)

## Slide 47: SIDIS-dedicated Experiments: HERMES
BCDMS
The HERA polarized lepton beam scattering off a gaseous polarized jet target (also non polarized targets used)
NIM A 417 (1998) 230
Angular acceptance:
H: +/- 140 mrad
V: +/- (40-170 mrad)
Scattering angle:
40-220 mrad
Main components:
Trigger hodoscopes
Spectrometer magnet
Tracking (a variety of gaseous detectors
EMcal with pre-shower
An extended PID system
PID system:
EMcal by lead glass (also used in trigger)
Pre-shower, 2 X0 lead followed by scint. Hodoscope (also used in trigger)
ToF hodoscope H1
TRD (Transition Radiation Detector) for momenta >5 GeV/c; 6 identical modules with radiator and MWPCs are sensors (making use of both TR and dE/dx in the Xe/CH4)
Cherenkov threshold; after 1998 RICH

## Slide 48: HERMES PID, hint about performance
Calorimeter: p0 mass reconstructed
from 2g cluster events
s = (12.5+/- 0.2)MeV
hadrons
positrons
Pre-shower response
TDR
Truncated mean
of the 6 modules
Single
module
Threshold Cherenkov
Here with N2
p-threshold at 5.6 GeV
On average, ~3 detected photoelectrons
Also used with N2-C4F10 mixture to lower the threshold

## Slide 49: HERMES PID SYSTEM
HERMES PID system, a hint about performance
e/h separation at trigger level (factor ~10 h rejection)
e/h separation in data analysis (factor ~ 104)
hPID identification (enhanced with the RICH) for SIDIS studies
h:e production up to 400:1
(%)
(%)

## Slide 50: HERMES RICH
Dual radiator configuration (following DELPHI barrel RICH)
First RICH using aerogel, second radiator: C4F10
HERMES: 2 identical RICH counters

## Slide 51: HERMES RICH
NIM A 479 (2002) 511
Calculation:
effective range
of separation
Corigliano-Rossano, 18-22 June 2023
RICH complemented by ToF
Lever arm: > 6 m
t-resolution: 300 ps
M. Diefenthaler, May 26, 2023
(internal ePIC meeting)

## Slide 52: SIDIS-dedicated Experiments: COMPASS
60 m
2-stage spectrometer
1st spectrometer
2nd spectrometer
m-beam
NIM A 577 (2007) 455

## Slide 53: SIDIS-dedicated Experiments: COMPASS
1st spectrometer
2nd spectrometer
HODOSCOPES & TRIGGER
Scintillating counter hodoscopes,
main components of the trigger
Veto counters by scintillator counters (beam halo !)
A stand-alone calorimetric trigger covers the high Q2 range where the scattered muon does not reach the trigger hodoscopes.
trackers
Grouped according to the area to cover and the rates to handles
No vertex detector compatible with the large-size solid-state polarized target
VSATs
  Si microstrips
  SciFi’s
SATs
  MicroMegas (12 trackers, 40x 40 cm2)
  GEMs (22 trackers, 31x 31 cm2)
LATs
  Drift Chambers
  Straw tubes
  MWPCs
  Large area Drift Chambers
Particle momentum from trackers and analyzing magnets 
1st spectrometer
SM1: 1 Tm
sp/p = 1.2 % (p > 2 GeV/c)
2nd spectrometer
SM2: 4.4 Tm
sp/p = 0.5 % (p > 5 GeV/c)
PID – 1
m identification
By muon filters: muon when the particle trajectory continues after an absorber thick enough to stop the incoming h
  1st absorber: Fe wall (60 cm thick); central hole: 1.4 x 0.9m2
  2nd absorber: concrete wall (2.4 m thick)
PID – 2
CALORIMTERS
HCAL1, HCAL2 – sampling hadron calorimeters (Fe, scintillating plates)
  Measure h energy, contribute in muon identification;
  e/p response: 1.2 +/- 0.1
ECAL2 – homogeneous electromagnetic by lead glass (different block size from center to periphery)
  Measure the energy of the electromagnetic showers

## Slide 54: COMPASS RICH
Photon detectors
PID – 3
COMPASS RICH
MWPCs with CsI photocathode
MAPMTS with
lens telescopes
Hybrid MPGDs (THGEM, MM)
With CsI photocathode
NIM A 970 (2020) 163768

## Slide 55: COMPASS RICH
Comments:
3 s (p/k)  P=0.943
2.6 s (p/k)  P=0.90
[COMPASS RICH designed for
3 s (p/k) at 50 GeV/c ]

## Slide 56: JLab: scope for the 12 GeV program
Eur. Phys. J. A 48, 187 (2012)
SIDIS-dedicated
measurements
included in
the physics scope

## Slide 57: JLab
Eur. Phys. J. A 48, 187 (2012)
SIDIS-dedicated
measurements
included in
the physics scope
CLAS12
HRS & SHRS
SBB, SOLID

## Slide 58: HALL C - HMS and Super HMS
QQQD spectrometer
DQQQD spectrometer,
with first dipole for acceptance of angles as low as 5o
SHMS (5.5 to 40.0 degrees) pion background rate dominates the scattered electron rate by more than 1000:1

Noble Gas Cherenkov Detector (Ne)
Heavy Gas Cherenkov Detector (C4F8O)
Aerogel Counter
Trackers
Magnet for p analysis
ECal with pre-shoer
PID !

## Slide 59: HALL A - BB and SBB, SOLID
A pending proposal
Super BigBite Spectrometer (SBB)
GRINCH - heavy gas Chereknov threshold detector (C4F8O) for p/e separation
Large space for complementary equipment
ΔE/E = ±5 x 10-4

## Slide 60: CEBAF Large Acceptance Spectrometer 12 GeV
a dual-magnet and detection systems with full azimuthal coverage
a superconducting torus magnet the forward polar angle range 5o - 35o
  with a drift chamber system, p resolution < 1%
a solenoid magnet and detector covering the polar angles from 35o to 125o
  a vertex tracker, p resolutions of <3%
Acceptance completed by a forward e and g tagger: 2.5o – 4.5o
Target fragments: Back angle neutron detector (BAND)
An extended PID system
e-beam
NIM A 959 (2020) 163419
5 T
peak field:
3.58 T

## Slide 61: HALL B - CLAS12: Tracking, calorimetry
Si
MicroMegas
Micro
Megas
Tracking in the solenoid
36 layers of DC
Electromagnetic calorimeter:
PCAL + EC
Sampling calorimetry with stereo read-out
Scope: identification and kinematical reconstruction of electrons,
photons (e.g. from 𝜋0 → 𝛾𝛾 and 𝜂 → 𝛾𝛾 decays), and neutrons.
e-beam
e-beam
e-beam
Tracking in Toroidal magnet
1 of the 6 sectors
NIM A 959 (2020) 163425

## Slide 62: HALL B - CLAS12 PID: e/h separation
e-beam
e-beam
HTCC: threshold Cherenkov counter (CO2 ),
Acceptance: 5o - 35o,
e/h separation up to 4.9 GeV
LTCC: threshold Cherenkov counter (C4F10),
4 boxes, Acceptance: 5o - 35o, e/h separation up to 3.5 GeV
e-beam

## Slide 63: CLAS12 PID: h identification (1/2)
𝜎t T𝑂𝐹 = 80 ps
e-beam
CToF in the solenoid by plastic scintillators,
1 m long
NIM A 960
(2020) 163626
e-beam
FToF by plastic scintillators with double-sided PMT readout
Acceptance: 5o - 45o,
3 arrays per sector with time resolution of
125 ps, 85 ps and 155 ps
e-beam
Design 𝜎t T𝑂𝐹 = 80 ps
NIM A 960 (2020) 163629

## Slide 64: CLAS12 PID: h identification (2/2)
e-beam
RICH response for h
Aerogel, 2 cm tiles
RICH
Aerogel, n = 1.05
MAPMTs

## Slide 65: Take-away messages
TMD domain is a composite and complex one: 8 independent structure functions
  Important dedicated work ongoing (status of the result panorama in the following part)
What is needed ?
  Facilities making DIS and SIDIS measurement possible
    Intense lepton beam, variety of the center of mass energies aiming at covering the whole kinematic domain of interest
    Large acceptance detectors
  Polarization: leptons and hadrons
  Identification of the scattered lepton
  Hadron PID: flavor-dependent TMDs
Technological progress is key !
  Beam energy and experiment luminosity
  Polarized sources for the beams, polarimeters
  Polarized targets (solid state and gaseous)
  Detector coping with the challenges (intensity, resolution, PID)
technological progress of facilities and detectors is building-up the science!

## Slide 66: The eic detector

## Slide 67: The ePIC Detector at EIC
The ePIC Detector challenges
The subsystems of the ePIC Detector
DAQ and streaming read-out
Take-away messages

## Slide 68: ePIC: an extended detector
Total size detector: ~75m
Central detector: ~10m
Far Backward electron detection: ~35m
Far Forward hadron spectrometer: ~40m
Auxiliary detectors needed to tag particles with very small scattering angles both in the outgoing lepton and hadron beam direction
(B0-Taggers, Off-momentum taggers, Roman Pots, Zero-degree Calorimeter and low Q2-tagger).
Barrel
Central
Detector (CD)
9.5 m

## Slide 69: Usage of RHIC tunnel and RHIC p/ion complex
IP6 detector included
in the project

## Slide 70: The EIC collider, in a nutshell
Head-on collision is restored by rotating the bunches before colliding and, then, back (“crab crossing”)
For the first time a
sizable crab crossing angle
3 critical ingredients for HIGH LUMINOSITY
Bunches and beam crossing rates
Up to a beam crossing rate at the IP every 10ns, with a max collision rate of ~0.5 MHz (1 event every ~200 bunch crossing)
CRAB CROSSING ANGLE (25 mrad)

## Slide 71: The EIC collider, in a nutshell
ION SPECIES
The existing RHIC ion sources &
ion acceleration chain provides already today all ions needed at EIC
BEAM POLARIZATION
ABOUT e POLARIZATION
ABOUT p/ light ion POLARIZATION
presently
empowerment
High polarization 3He and D beams also foreseen

## Slide 72: Handling and measuring the beam polarization
p (D, 3He) capitalizing on RHIC experience and expertise
RHIC
Helicoidal superconducting dipole, 2.4 m long
In the acceleration/storage ring : vertical polarization (the “ring” is the horizontal plane!)
Intrinsic and imperfection resonances tend to depolarized the beams
Siberian snakes : to preserve beam polarization during acceleration and storage (2/ring in RHIC  6 for EIC ion ring)
Spin Rotators : to provide longitudinal polarization at the IP
Polarized D, 3He beams – NEW
Absolute measurement of the p beam polarization : Internal polarized H jet target
Fast (spill by spill) relative measurement of the p beam polarization : on a thin C internal target;
A similar “monitor” also near the ePIC IP (spin rotation!)

## Slide 73: Handling and measuring the beam polarization
e-beam: large polarimeter experience at HERA and JLab
Polarized electrons produced in the source with 85% longitudinal polarization, rotated after LINAC acceleration
Two new rings
  a rapid cycling synchrotron (RCS) for electron beam acceleration; design resonance-free
  an electron storage ring (ESR)
  In ERS, e- polarization affected by stochastic depolarization and the Sokolov-Ternov self-polarization process
MOTT polarimeter
at 400 MeV
In the ESR: precise polarization measurements with COMPTON polarimeter with circularly polarized laser light , sensitive to both longitudinal and transversal polarization
Near ePIC IP
ESR measurement

## Slide 74: The detector challenges – from IR design
Why a large (25 mrad) crossing angle ?
 e and ion beam axis at IP are DIFFERENT
Detector solenoid aligned with e-beam
  To reduce synchrotron radiation
  To avoid a too large e-beam size after IR (difficult to handle)
Beam ions do not travel straight in the solenoid region !
Crab Crossing 
Angular beam divergence
  Angular “spread” of the beam away from the central trajectory.
  Gives some small initial transverse momentum to the beam particles
   impact on pT resolution
Bunch length
  both beams have a longitudinal extension hadron beam < 10 cm & electron beam ~1cm

## Slide 75: Radiation rates
Moderate respect to hadron colliders
Evaluated to estimate damages and ageing of sensors (f.i.: SiPMs) and electronics (f.i.: FPGAs)
Neutron fluence (1 MeV eq.)
E k i n > 20 MeV, fluxes Hz to determine risk for single event upsets
Proton
Neutron

## Slide 76: Background sources
Background sources
• Beam-gas induced
  Hadron-gas interaction
  Electron-gas interaction
  Depend on the vacuum in the machine
Synchrotron radiation
  Origin: quads and bending magnet upstream of IP
  Tails in electron bunches: can produce hard radiation
IMPORTANT TO NOTE:
No pileup from collisions 500 kHz @1034 cm -2 s-1 → 1 coll. every 200 beam crossings
The rates of background hits in the detector depend on:
Time properties
Threshold setting

## Slide 77: Background sources
Background sources
• Beam-gas induced
  Hadron-gas interaction
  Electron-gas interaction
Synchrotron radiation

## Slide 78: The ePIC Detector at EIC
The ePIC Detector challenges
The subsystems of the ePIC Detector
DAQ and streaming read-out
Take-away messages

## Slide 79: The ePIC Central Detector, overview
including:
Backward endcap
Barrel
Forward endcap
9.5 m

## Slide 80: The ePIC experimental SOLENOID
Design to operate at 1.7 T
It can provide up to 2 T
9.5 m

## Slide 81: ePIC Tracking
CHALLENGES
Efficient pattern recognition
Very low material budget for the central tracking region not exceeding 5% X/X0 (p resolution!)
Solenoidal magnetic field
  Fine ∫ B∙ dl in the barrel
  Limited ∫ B∙ dl in the endcaps
Limited lever arm
  Solenoid and overall detector design constrains in the barrel
  IR design in the endcaps
“low” interaction rate (< 0.5 GHz), but background !
STATEGIES
Redundancy of the measured space point coordinates
Monolithic Active Pixel Silicon (MAPS)
  Guiding example: the inner tracking in ALICE (ALPIDE chip, also used in sPHENIX)
Fine space resolution – fine granularity Si sensors
Synergies among detector components (backward ECal, barrel ECal, RICH counters, …)
Good time resolution to disentangle signal and background: this cannot be provided by MAPS, use additional MicroPattern Gaseous Detector layers

## Slide 82: ePIC Tracking: a few words about technologies
Monolithic Active Pixel Silicon (MAPS)
ALPIDE, CMOS 180 nm technology
Novelty:
  Partial depleted substrate ↔ collect part of the charge by drift
  integrate both PMOS and NMOS transistors. These features have improved
charge collection properties, radiation hardness, and signal processing capabilities
Being developed ITS3 sensors
(for ALICE): MAPS derived from
ALPIDE in CMOS 65 nm technology
  Lower power consumption
  Lower material budget
  Flexible: minimum support
  material for moderate-size
  layers (VERTEX)
MicroPattern Gaseous Detector (MPGD)
A family of gaseous detectors technologies
Main common characteristics:
  Built upon advanced PCB technologies
  Fine space resolution: O(100 mm)
  Fine time resolution: O(10 ns)
  High-rate capabilities: up to 10 MHz/cm2
Considered for ePIC
        MICROMEGAS
GEM
microRWELL

## Slide 83: ePIC Tracking
Monolithic Active Pixel Silicon (MAPS) Tracker:
1 single technology: 65-nm MAPS
  O(20 mm) pitch, <20 mW/cm2
  No fine time resolution:
  signal length O(~5 ms)
  Developed for ALICE ITS3
Silicon VERTEX (3 layers)
  First layer @ R ~ 4 cm
  Material: 0.05% X/X0 / layer
Silicon BARREL (2 layers)
  Material: 0.55% X/X0 / layer
F & B Silicon DISKs
(5 in Front and Back)
  Material: 0.24% X/X0 / layer
Multi Pattern Gas Detectors (MPGD):
2 technologies being considered
MicroMEGAS
μRWELL
Time resolution < 10 ns
2 geometrical implementations
 cylindrical (established for MM, R&D for μRWELL)
 planar
Role of the MPGDs
 Additional space points for
pattern recognition / redundancy
 time information
Ongoing layout optimization

## Slide 84: ELECTROMAGNETIC CALORIMETRY for ePIC

## Slide 85: ELECTROMAGNETIC CALORIMETRY for ePIC
SiPMs of all Calorimeters
9.5 m
4 (6) layers of imaging calorimetry by Astropix MAPS,
and sampling calorimetry by Pb/SciFi
WScFi is a unique technology allowing to achieve e/h ~1 (response to hadrons) and at the same time keep em energy resolution at ~10%/√ E + 2%
resolution
efficiency

## Slide 86: HADRON CALORIMETRY for ePIC
Requirements

## Slide 87: HADRON CALORIMETRY for ePIC
9.5 m

## Slide 88: ePIC PID system – the double mission
hpDIRC
ToF ToF
h-PID: Cherenkov imaging complemented with ToF
(SIDIS, heavy flavour, …)
e-p separation:
Cherenkov imaging support the Ecal effort,
in particular needed at low momenta
(the whole EIC physics scope)
Calorimeters only
ToF

## Slide 89: PID by Cherenkov imaging techniques
Proximity focusing
thin radiator
(liquid, solid, areogel)
Effective
at low momenta
(p < 5-8 GeV/c)
EXAMPLES: STAR,
ALICE HMPID, HERMES, CLEO III, CLAS12
With focalization
Extended radiator
(gas)
the only approach
at high momenta
(p > 3-4 GeV/c)
EXAMPLES: SELEX,
OMEGA, DELPHI, SLD-CRID, HeraB, HERMES, COMPASS, LHCb, NA62, EIC
HIGH MOMENTA
DIRC
Quartz as radiator and as light guide
Effective at low momenta
(p < 5-6 GeV/c)
The only existing DIRC operated in an experiment: BABAR DIRC
NEW: DIRC-derived architectures in BELLE II (TOP), Panda (focusing DIRC)
LOW MOMENTA

## Slide 90: The ePIC backward RICH – pfRICH
The HRPPD sit in the detector acceptance: the through-going
Ionizing particles generate Cherenkov photons in the quartz window  ToF information

## Slide 91: The ePIC backward RICH – pfRICH

## Slide 92: The ePIC barrel RICH – hpDIRC

## Slide 93: The ePIC barrel RICH – hpDIRC

## Slide 94: The ePIC forward RICH – dRICH

## Slide 95: The ePIC forward RICH – dRICH
GAS
GAS
aerogel
GAS
Aerogel
GAS: W/ conservative 70% safety factor 18 photoelectrons are detected at saturation

## Slide 96: Sensors for Cherenkov imaging detectors
3 families (grouping by technologies)
Vacuum based PDs
PMTS (SELEX, Hermes, BaBar DIRC, NA62)
MAPMTs (HeraB, COMPASS RICH-1 forward region, LHCb upgrade, GlueX, CLASS12,Panda forward-RICH)
Hybride PMTs (LHCb)
HAPD (BELLE II aerogel-RICH)
MCP-PMT (BELLE II barrel: TOP detector)
LAPPDs – large size MCP-PMTs (under development, not used so far in experiments)
Gaseous PDs
Organic vapours - in practice only TMAE and TEA (Delphi, OMEGA, SLD CRID, CLEO III, …)
CsI and open geometry (HADES, COMPASS, ALICE, STAR, JLAB-HALL A)
CsI and MPGDs (PHENIX HBD, no imaging, COMPASS RICH-1 2016-17 upgrade
SiPMs
Silicon PMs (not used so far in any experiment)
  radiation hardness , intrinsic noise
  cooling to moderate
Time resolution (s)
PMTs, MAPMTs >/~ 0.3 ns
MCP-PMT << 100 ps
SiPM <100 ps
MWPCs >/~ 20 - 400 ns
  FE dependent, ballistic deficit implications (*)
MPGDs ~ 7-10 ns (INTRINSIC)
Operation in magnetic field
PMTs, MAPMTs, HPMTs NO
MCP-PMT YES
MWPCs, MPGDs YES
SiPM YES
Effective QE range
Vacuum-based devices:
l > 300, 250, 200 nm [also solar-blind]
Gaseous devices (CsI):
l < 205 nm
SiPM:
  visible and near UV

## Slide 97: LAPPDs/HRPPDs for pfRICH (and hpDIRC)
LAPPD/HRPPD, large-size detectors of the MCP-PMT family
LAPPD
(20 x 20 cm2, 20 mm pore)
HRPPD (10 x 10 cm2 , 10 mm pore)
MCP-PMT
single photon, Cherenkov light
single photon,
pulse sourse light

## Slide 98: SiPMs for the dRICH
SiPM: An array of pixelized Avalanche Photodiodes operated in Geiger mode

## Slide 99: ToF for ePIC (barrel and forward endcap)
AC-LGAD - AC-coupled Low-Gain Avalanche Diode
Assuming 30 ps time resolution

## Slide 100: FAR FORWARD
9.5 m

## Slide 101: FAR FORWARD

## Slide 102
bremsstrahlung process

## Slide 103: The ePIC Detector at EIC
The ePIC Detector challenges
The subsystems of the ePIC Detector
DAQ and streaming read-out
Take-away messages

## Slide 104: ePIC – streaming readout
D. Abbott and J. Landgraf Electronics/DAQ status Review, 2022
Triggerless streaming architecture gives much more flexibility to do physics

## Slide 105: ePIC Streaming RO/computer architecture

## Slide 106: Key for streaming: the timing system
Main key aspects of the timing system
The only handle for event reconstruction
Beam crossing identification requires only 10 ns resolution
Synchronization of far forward/backward detectors requires to integrate time differences up to ~ 150 ns
Timing stability at 20 ps level needed to preserve the phase of the EIC to follow bunch structure and spin state
Reference time for ToF measurements (resolution at 20-30 ps requested)
Monitoring (and correcting) the time synchronization is needed

## Slide 107: The ePIC Detector at EIC
The ePIC Detector challenges
The subsystems of the ePIC Detector
DAQ and streaming read-out
Take-away messages

## Slide 108: As a summary
The ePIC detector is the EIC project detector designed to cover the whole EIC physics scope
The design copes with the challenges arising from
  the global physics scope
  the machine and IR design
  the background events
Up-to-date technologies are selected for all the detector subsystems
 Together with the EIC collider, it truly represents the next nucleon microscope for the ultimate understanding of the QCD

## Slide 109: HOW to Access PDFs and tmdS

## Slide 110: Kinematics of Deep Inelastic Scattering
DIS variables:
SIDIS variables:
NB: always use invariants for invariant quantities (not their expression in a particular frame). This will help you when moving from 1 experiment to another.
Beam lepton :
Scat. lepton :
Virtual Photon :

## Slide 111: Reference Frames - LAB
Lab frame (i.e. where we measure)
  or more specifically in a collider or in a fixed target experiment . In reality you have also transverse components moreover
  or the beam divergence in the plane (and same for )
  , that is for a fixed target experiment and for a collider with a crossing-angle (also in this case the beam divergency are hidden)
  for the scattered lepton
  for the hadrons in the final state

## Slide 112: Reference Frames - GNS
i.e. where we analyze.
The GNS (Gamma Nucleon System) frame is the rest frame of the and is the frame where we define the azimuthal angles.
Usual scattering schemes are in the Breit Frame

## Slide 113: Reference Frame – GNS-1
How we go there? Many ways: e.g.:
First we boost from the Lab system to the GNS; first step is to calculate the 4-vector representing this system:
For the boost we need the space vector of the s of the boost; or:
And we boost every 4-vector from the Lab to the GNS…

## Slide 114: Reference Frames – GNS-1
When we are in the GNS, we rotate the system as follows
While boosting we have not changed the triad of Cartesian unity vectors we had in the Lab system. So we now rotate the GNS system , , in order to have the -axis align with the direction:
The -axis is orthogonal to the lepton scattering plane, which include also the virtual photon:
Finally the -axis form a right-handed triad of Cartesian axes with the previous axes:

## Slide 115: Reference Frames – GNS-3
The rotation matrix (just a remind)

## Slide 116: Breit frame (infinite momentum frame)
The Breit frame is defined so that the energy of the virtual photon is zero, while the other coordinates are as in the GNS:
The Breit frame is where our (most of) theory colleagues do their calculations
From the GNS we simply boost again along by

## Slide 117: Azimuthal angles in the GNS or Breit
We look at our events in the Gamma Nucleon System (GNS) or Breit Frame, i.e. we need a perfectly reconstructed lepton kinematic.

## Slide 118: Lepton and virtual photon in the GNS

## Slide 119: TMD kinematics in the GNS
Everything in a short module of your class

## Slide 120: TMD kinematics in the Breit Frame
Everything in a very short module of your class

## Slide 121: ROOT Class as TTree entry

## Slide 122: Inclusive Deep Inelastic Scattering and the quark parton model
Going beyond the Callan-Gross relation leads to introduce the longitudinal structure function:
Allowing to write the DIS cross section as
Keeping in mind the transformations:

## Slide 123: Semi Inclusive Deep Inelastic Scattering
The semi inclusive deep inelastic scattering cross section for a hadron of type h of a given energy fraction is written as:
Where the structure functions are:

## Slide 124: Transverse Momentum dependent PDFs
When we consider the transverse momentum of the quark in the calculation of the cross section Transverse Momentum Dependent parton distribution (TMDs)
The unpolarised number density of the quarks gains a dependence from the intrinsic transverse momentum
New parton densities arise: the Boer-Mulders functions, an asymmetric parton distribution in an unpolarised nucleon ( correlated with the spin of the quark)
Longitudinal motion only
Longitudinal + transverse motion

## Slide 125: SIDIS access to TMDs
TMDs
FFs
 | U | T | L
U |  |  | 
T |  |  | 
L |  |  | 
 | U | T | L
U |  |  | 
T |  |  | 
L |  |  | 
Nucleon polarization
Parton polarization
 | U | T | L
U |  |  | 
T |  |  | 
L |  |  | 
 | U | T | L
U |  |  | 
T |  |  | 
L |  |  | 
Hadron polarization
Parton polarization
T odd
chiral odd
NOT directly accessible
Their extractions require measurements of x-sections and asymmetries in a large kinematic domain of

## Slide 126: TMD PDFs

## Slide 127: Semi Inclusive DIS full Cross Section
-
14 independent azimuthal modulations

## Slide 128: The full SIDIS cross section for 1h - 1

## Slide 129: The full SIDIS cross section for 1h - 2

## Slide 130: The full SIDIS cross section for 1h - 3

## Slide 131: The full SIDIS cross section for 1h - 4

## Slide 132: The full SIDIS cross section for 1h - 5

## Slide 133: Introduced variables
In the cross section we use the following notation for the amplitude of the modulations (or asymmetries):
And where the kinematic variables and are:
and

## Slide 134: It is not over: more complications to come
We have written the previous cross section as and used the polarization accordingly. But when we go to the we have differences with respect to Spin and Polarization.
It is useful to introduce two coordinate systems in the rest frame of the target:

## Slide 135: Target spin vector
In the two system we write the target transverse spin vector as:
Where , specify longitudinal and transverse polarization relative to the lepton beam direction, and , longitudinal and transverse polarization relative to the virtual photon direction.
The sign convention for the longitudinal case is such that and correspond to a right-handed proton in the and center of mass, respectively.
The values of and are determined by the experimental setup, whereas and depend on the kinematics of an individual event.

## Slide 136: Rotation of the Spin vector
The rotation from the to the gives:
Where
And this introduce some further corrections in the cross section that was given before

## Slide 137: The full SIDIS cross section for 1h - 4

## Slide 138: The full SIDIS cross section for 1h - 5

## Slide 139: LO content
SIDIS

## Slide 140: PS:
All terms are orthogonal, e.g.
This means that we may extract each modulation independently;
But the orthogonality is exact only if we don’t have acceptance modulations in our apparatus;
Acceptance modulations cancel in the asymmetries, but orthogonality is no longer exact and we have contributions from one asymmetry to the other (correlations).

## Slide 141: PS2:
Keep in mind that we deal we difference of angles, and we want to keep the difference between , or:
But for us:

## Slide 142: Standard Cuts @ GeV
To be in the dis REGIME
Limits RC effects and select a region with good resolution
Enough space for hadrons and… together with select current hadronization region
CFR and cut exclusive process
Resolution on

## Slide 143: and at JLab and HERMES
HERMES
JLAB12

## Slide 144: and at COMPASS and EIC
COMPASS
EIC 18-275

## Slide 145: Berger criterion (separation of CFR &TFR)
Factorization in and not exact, both from theoretical and experimental point-of-view
Theoretical: Reinteraction of final state quarks with the target remnant (higher-twist effects); mass effects
Experimental: Contamination of the current jet with the target jet
The typical hadronic correlation length in rapidity is
Effect minimized by choosing a lower rapidity limit (described by the Berger Criterion) → lower limit for SIDIS experiments
Mulders, AIP Conf.Proc. 588 (2001) 75-88

## Slide 146: Berger criterion (separation of CFR &TFR)
The typical hadronic correlation length in rapidity is

## Slide 147: How do we access it

## Slide 148: Accessing asymmetries
The asymmetries are:
When we measure on 1D

## Slide 149: Accessing the asymmetries
Once we have fixed the binning in the experiment we work on counts or on rates:
We may also separate the effect of unpolarized and polarized:

## Slide 150: Accessing the asymmetries - 2
Asymmetries are often introduced as difference of counting, i.e.:
Implicit assuming same luminosity and same dependence from experimental effect (and same 100% polarization); or one has to include these effects:

## Slide 151: Accessing the asymmetries - 3
Another definition that we can do start from the ratio:
Implicit assuming same luminosity and same dependence from experimental effect (and same 100% polarization); or one has to include these effects:

## Slide 152: Accessing the asymmetries - 5
Using the previous writing for the counting (rates) this can be rewritten as:

## Slide 153: Accessing the asymmetries - 6
The method used in COMPASS is an extended unbinned maximum likelihood fitting the full for every bin in
With the number of hadrons and the parameter of the fit, and the probability density functions normalized to expected events in the range of :
In this way p describes not only the shape of the expected distribution in
, but also its size.

## Slide 154: Accessing the asymmetries - UEML
The probability density functions contains two parts; one for possible modulations in the acceptance and the other reflecting the cross section:

## Slide 155: Experiments accessing asymmetries
Different strategies to minimize systematic effects:
  HERMES could change the orientation of the jet target polarization to change frequently (90s)
  COMPASS took data with both spin orientation at the same time (i.e. same luminosity and “almost” same acceptance)
  JLAB12 not so clear; target for transverse spin asymmetries under study
  EIC will be able to flip the spin very frequently with the Siberian snakes
Key aspect of the measurement: the relevant acceptance (we are looking at azimuthal modulations) is the acceptance around the virtual photon. The flatter, the better to avoid to introduce false asymmetries

## Slide 156: Accessing TMD PDFs and FFs
TMD factorization works in the domain where there are two observed momenta in the process, such as SIDIS, DY, . : is large to ensure the use of pQCD, is much smaller such that it is sensitive to parton’s transverse momentum
SIDIS off polarized p, d, n targets
polarised Drell-Yan
HERMES
COMPASS
JLab
future: EIC
COMPASS
RHIC
FNAL
future: FAIR, JPark, NICA
BaBar
Belle
Bes III

## Slide 157: Unpolarized SIDIS
The cross section is proportional to
The azimuthal modulations in the unpolarised cross sections comes from:
  Intrinsic of the quarks
  The Boer-Mulders PDF
Difficult measurements where one has to correct for the apparatus acceptance

## Slide 158: Intrinsic transverse motion; an old story
EMC experiment [1987]
Fit: Konig-Kroll model [1982]+Lund
QCD alone
QCD + quark transverse motion
Cross section for SIDIS process expected to be
Georgi and Politzer [1978]: azimuthal modulations of hadrons around the jet axis due to gluon radiation. Effect regarded as a clean QCD test [Phys.Rev.Lett. 40 (1978) 3].
R.N. Cahn [1978]: same modulations can arise due to the quark intrinsic motion ( [ Phys.Lett.B 78 (1978) 269]

## Slide 159: First measurements
Azimuthal modulations in measured by
    EMC
    E665
  Large modulations up to for , while
EMC
E665
Fits from M. Anselmino, V. Barone, E. Boglione,U. D’Alesio, F. Murgia, A. Prokudin, A. Kotzinian, and C. Turk

## Slide 160: Unpolarised Azimuthal Modulation
The cross-section is with the partonic process is given by
In collinear PM , i.e. no dependence.

## Slide 161: Unpolarised Azimuthal Modulation
When is taken into account:
and
,
Resulting in the and modulations observed in the azimuthal distributions

## Slide 162: Cahn: Phys.Lett.B 78 (1978) 269

## Slide 163: Semi Inclusive unpolarised DIS Cross Section
The account of the transverse motion of the quark result in the following general form of the unpolarised semi-inclusive deep inelastic cross-section
Where we have introduced the amplitude of the azimuthal asymmetries as
An the angular independent ratio
Experimentally these are more difficult measurements than spin asymmetries, since we have to correct for the apparatus acceptance

## Slide 164: Positive vs Negative charged hadrons ()
and

## Slide 165: Positive vs Negative charged hadrons ()

## Slide 166: Unpolarized distributions

## Slide 167: Slope dependence
  A Gaussian ansatz for and leads to

## Slide 168: Phenomenological fits
arXiv:2206.07598v1 [hep-ph] 15 Jun 2022

## Slide 169: cross-section at STAR
Unpolarized TMDs are also accessed at pp collision

## Slide 170: Unpolarised Azimuthal Modulation
When looking at the content of the structure functions/modulations in terms of TMD PDFs for the and we can write:
In the Cahn effects enters only at twist4

## Slide 171: Cahn and Boer-Mulders Asyms

## Slide 172: Single spin asymmetries

## Slide 173: TMDs, few facts
Transverse Spin and Momentum effects were put under scrutiny by the COMPASS Proposal in 1996, starting with transversity via the Collins mechanism
The measurement of the Sivers PDF was added to the program soon after … the other TMD with the developments over the years
Measurements started in 2002 by HERMES (p) and COMPASS (d)
This field has grown considerably in the last years and comes one of high priority measurements for the JLab12 program

## Slide 174: Transversity PDF
quark with spin parallel to the nucleon spin in a transversely polarised nucleon
probes the relativistic nature of quark dynamics
no contribution from the gluons  simple evolution
Positivity: Soffer bound……………..
first moments: tensor charge……….
is chiral-odd: decouples from inclusive DIS
Bakker, Leader, Trueman, PRD 70 (04)
Soffer, PRL 74 (1995)

## Slide 175: Transversity
is chiral-odd:
observable effects are given only by the product of (x) and an other chiral-odd function
“Collins” asymmetry “Collins” Fragmentation Function
“two-hadron” asymmetry “Interference” Fragmentation Function
Λ polarisation Fragmentation Function of q↑Λ
can be measured in SIDIS on a transversely polarised target
via “quark polarimetry”

## Slide 176: First Results: HERMES and COMPASS
Phys. Rev. Lett. 94 (2005) 012002
Phys. Rev. Lett. 94 (2005) 202002

## Slide 177: Collins asymmetry on proton
charged pions
COMPASS and HERMES results
Notes: 177

## Slide 178: Collins asymmetry on proton. Multidimensional
π-
Extraction of TSAs with a Multi-D approach
One dense plot out of many
Notes: 178

## Slide 179: TMDs at STAR
STAR unique kinematics: from high to low x at high Q2
Before STAR TMDs came only from fixed target data  high x @ low Q2
needed to establish concept at high Q2 and wide range in x
polarised pp at RHIC

## Slide 180: TSA of inclusive jets and within jets from STAR
The of the jet and the momentum transverse to the jet axis provide the hard and soft scales for TMD factorization.
These measurements extend the kinematic reach in both and beyond the existing SIDIS measurements
Different mixing of flavors, and stronger gluon content
L. Adamczyk et al. (STAR Collaboration), Phys. Rev. D 97, 032004 (2018).

## Slide 181: TSA of inclusive jets and within jets from STAR
asymmetries consistent with zero in all rapidity intervals and over the full range

## Slide 182: TSA of inclusive jets and within jets from STAR
COLLINS asymmetries: general agreement between data and predictions from SIDIS consistent with TMD factorization and universality of the Collins function

## Slide 183: Interference fragmentation functions in pp

survives in collinear framework
Significant di-hadron asymmetries both at √s=200GeV and √s=500GeV (arXiv:1710.10215)
Increasing with pT
Access to transversity with a collinear observable

## Slide 184: HERMES 3D ssa - COLLINS

## Slide 185: transverse spin transfer from COMPASS

## Slide 186: transverse spin transfer from STAR
About 60% of or are not primary particles, but are from heavier hyperons
decay.

## Slide 187: Sivers Asymmetry
at LO:
Sivers: correlates nucleon spin & quark transverse momentum kT /T-ODD
The Sivers PDF | 
1992 | Sivers proposes
1993 | J. Collins proofs for T invariance
2002 | S. Brodsky, Hwang and Schmidt demonstrate that may be due to FSI
2002 | J. Collins shows that
2004 | HERMES on p: and
2004 | COMPASS on d: and
2008 | COMPASS on p: and
The Sivers PDF | 
1992 | 
1993 | 
2002 | 
2002 | 
2004 | 
2004 | 
2008 | 

## Slide 188: HERMES 3D ssa - SIVERS

## Slide 189: Sivers change of sign – no conclusive status

## Slide 190: HERMES 3D ssa – WORM GEAR (II)