## Slide 1
29/02/2024
Viene ridistribuita la tensione alle spire della FC dando 47 kV a quella che guarda il catodo e 1 kV a quella che guarda la GEM.
Il catodo viene posto a 50 kV
La GEM che guarda la prima spira viene settata a 3 kV
Nella simulazione elettrostatica viene considerate anche la GEM e il catodo.
Distanze:
GEM-Prima spira = 10 mm
Catodo – prima spira = 10 mm

## Slide 2: FULL - FC

## Slide 3: FC: 47 kV to 1 kV
49 kV
4 kV
Chart: Voltage distribution in the FC
| 0 | 20 | 40 | 60 | 80 | 100 | 120 | 140 | 160 | 180 | 200 | 220 | 240 | 260 | 280 | 300 | 320 | 340 | 360 | 380 | 400 | 420 | 440 | 460 | 480
 | 47 | 45.0833 | 43.1667 | 41.25 | 39.3333 | 37.4167 | 35.5 | 33.5833 | 31.6667 | 29.75 | 27.8333 | 25.9167 | 24 | 22.0833 | 20.1667 | 18.25 | 16.3333 | 14.4167 | 12.5 | 10.5833 | 8.6667 | 6.75 | 4.8333 | 2.9167 | 1
50 kV
3 kV

## Slide 4: Voltage distribution in the FC
Chart: Voltage distribution in the FC
| 0 | 20 | 40 | 60 | 80 | 100 | 120 | 140 | 160 | 180 | 200 | 220 | 240 | 260 | 280 | 300 | 320 | 340 | 360 | 380 | 400 | 420 | 440 | 460 | 480
 | 47 | 45.0833 | 43.1667 | 41.25 | 39.3333 | 37.4167 | 35.5 | 33.5833 | 31.6667 | 29.75 | 27.8333 | 25.9167 | 24 | 22.0833 | 20.1667 | 18.25 | 16.3333 | 14.4167 | 12.5 | 10.5833 | 8.6667 | 6.75 | 4.8333 | 2.9167 | 1
The first turn close to the Cathode is at 10 mm
The last turn distance from the GEM is 10 mm
The cathode is at 50 kV
The GEM is at 3 kV

## Slide 5: Voltage distribution applied to the FC
The first turn close to the Cathode is at 10 mm
The last turn distance from the GEM is 10 mm
The cathode is at 50 kV
The GEM is at 3 kV

## Slide 6: E field distribution between turns
The first turn close to the Cathode is at 10 mm
The last turn distance from the GEM is 10 mm
The cathode is at 50 kV
The GEM is at 3 kV

## Slide 7: FC: 47 kV to 1 kV

## Slide 8: Top: Total deformation with E field only

## Slide 9: TOP: Loads = Gravity + E Field

## Slide 10: Top: Total deformation with Gravity + E Field

## Slide 11: TOP: Loads with 20 N stretching

## Slide 12: Top: Total deformation with Gravity + E Field + T

## Slide 13
GIN: with the new FC

## Slide 14
DRAFT: TO BE OPTMIZED BY DESIGERS