## Slide 1
Funded by European Union’s Horizon 2020 research and innovation program under the Marie Sklodowska-Curie grant agreement No 955956
GPU-accelerated dose engine for adaptive particle therapy
This work was partially carried on within the SIG_PNR project of the Istituto Nazionale di Fisica Nucleare under the supervision of the Commissione Scientifica Nazionale 5

## Slide 2
Particle therapy’s rationale
Marco Durante and Harald Paganetti. “Nuclear physics in particle therapy: a review”
M. Krämer and M. Durante. “Ion beam transport calculations and treatment plans in particle therapy”
Spot ~
Cosimo Galeone, c.galeone@gsi.de

## Slide 3
Why do we need to adapt?
Inter-fractional motions
Intra-fractional motions
Cosimo Galeone, c.galeone@gsi.de

## Slide 4
Online Daily Adaptive Therapy
F.Albertini, et al. “Online daily adaptive proton therapy”
P.Botas et al. “Online adaption approaches for intensity modulated proton therapy for head and neck patients based on cone beam CTs and Monte Carlo simulations”, PMB, 2018
Ma J et al. “A robust intensity modulated proton therapy optimizer based on Monte Carlo dose calculation”, Med. Phys, 2018
M. Matter,et al.” IMPT plan generation in under ten seconds on a GpU”, Acta ncologica, 2019
M. De Simoni, et al. “A data-driven fragmentation model for carbon therapy gpu-accelerated monte-carlo dose recalculation”, Frontiers in Oncology, 2022
K.Choi et al,” FRoG—a new calculation engine for clinical investigations with proton and carbon ion beams at CNAO”, Cancers, 2018
A.Duetschler, et al. “A motion model-guided 4D dose reconstruction for pencil beam scanned proton therapy A motion model-guided 4D dose reconstruction for pencil beam scanned proton therapy”, PMB, 2023
S.Giordanengo, et al. “RIDOS: a new system for online computation of the delivered dose distributions in scanning ion beam therapy “, Physica Medica, 2019
Cosimo Galeone, c.galeone@gsi.de

## Slide 5
Dose Delivery System (DDS) to control the beam
Transparent ionization chambers to control the beams and drive the treatment
Scheme of the CNAO DDS
DDS
INPUT:
Planned spot characteristics
INPUT:
Measured spot characteristics
Beam position;
Number of particles;
Motion phase (research DDS)
3D
4D
Cosimo Galeone, c.galeone@gsi.de

## Slide 6
GPU-accelerated dose engine (RIDOS)
Each spot reconstructed in parallel:
  Raytracing;
Voxel cutoff
3D-LUT interpolation
CPU: XeonE5-1620v2-3.7-4C-16GB
GPU: Nvidia TESLA-K40c
Comp. Grid = 170x170x125;
N of Rays = 1248;
N of slice = 39;
Cosimo Galeone, c.galeone@gsi.de

## Slide 7
GPU-accelerated dose engine (4D-RIDOS)
T. Steinsberger, PhD defense, 2023
Reference phase
Reference Phase
Moving Phase
4DCT
Cosimo Galeone, c.galeone@gsi.de

## Slide 8
Deformable Vector Fields
Moving Phase
Reference Phase
3D process, performed after each calculation
Warping with Plastimatch (CPU), 66.3 ms
Warping with 4D-RIDOS (GPU), 3.2 ms
x
y
z
DVFs = displacement on the three dimensions (mm)
CT grid = 365x365x126
Intel Xeon W-11855M, 62GB RAM
NVIDIA RTX A5000 Laptop GPU
Cosimo Galeone, c.galeone@gsi.de

## Slide 9
Experimental test 4D-RIDOS
All calculations performed with clinical accuracy
~ 0.25 ms per spot reconstruction
~ 2.2 ms per spot delivery
C.Galeone, et al. “Real-time delivered dose assessment in carbon ion therapy of moving targets”, PMB, 2024
Cosimo Galeone, c.galeone@gsi.de

## Slide 10
CONCLUSIONS
Proved feasibility of real-time (3D-4D-5D) GPU-accelerated dose engine in a clinical environment
NEXT STEPS
Extended experimental campaign with anthropomorphic phantom;
FUTURE PROSPECTIVES
Real-time adaptive therapy
THANK
YOU
Integration of 4D-RIDOS in clinical practice
This work was partially carried on within the SIG_PNR project of the Istituto Nazionale di Fisica Nucleare under the supervision of the Commissione Scientifica Nazionale 5
Funded by European Union’s Horizon 2020 research and innovation program under the Marie Sklodowska-Curie grant agreement No 955956
Cosimo Galeone, c.galeone@gsi.de