## Slide 1
IONIZATION
GAUGES

## Slide 2
http://www.esa.int/spaceinimages/Images/2014/06/Antarctic_aurora
https://commons.wikimedia.org/wiki/File:Earth%27s_atmosphere.svg
10-6 mbar
10-3 mbar
1 mbar
1000 mbar

## Slide 3: Low pressure Gauges
Pressure is the perpendicular force per area. Measuring force gets really hard at 10-8 mbar  10 ng / cm2. (Resolution of good micro scale is 100 ng, see https://www.mt.com/int/de/home/products/Laboratory_Weighing_Solutions/microbalances.html)
Pressure is Force / Area. In a ideal gas p = nkT, n = number density, k = Boltzmann c., T = Temperature, if isotropic movement of particles!
.. And there is no pressure in a tube if the mean free path is > object dimensions.

## Slide 4: Low pressure Gauges, experimental

## Slide 5
Berliner Physiker und Chemiker 1920. Stehend vlnr: Walter Grotrian, Wilhelm Westphal, Otto von Baeyer, Peter Pringsheim, Gustav Hertz. Sitzend vlnr: Hertha Sponer, Albert Einstein, Ingrid und James Franck, Lise Meitner, Fritz Haber, Otto Hahn.
https://commons.wikimedia.org/wiki/File:Berliner_Physiker_u_Chemiker_1920.jpg

## Slide 6
Berliner Physiker und Chemiker 1920. Stehend vlnr: Walter Grotrian, Wilhelm Westphal, Otto von Baeyer, Peter Pringsheim, Gustav Hertz. Sitzend vlnr: Hertha Sponer, Albert Einstein, Ingrid und James Franck, Lise Meitner, Fritz Haber, Otto Hahn.
https://commons.wikimedia.org/wiki/File:Berliner_Physiker_u_Chemiker_1920.jpg
Otto von Baeyer, Inventor of the Ion Gauge 1909, Phys. Z. 10 (1909) 168

## Slide 7: Who is talking?
Urs Waelchli
CTO INFICON
INFICON
Balzers & Leybold Instrumentation
Balzers
IMI Stockholm / ESA
Univ. Bern Physics

## Slide 8: Science of Ionization Gauges?
e-
e-
e-
H
H
O
I+
Ie

Qi
L

## Slide 9: Science of Ionization Gauges?
e-
e-
e-
H
H
O
I+
Ie

Qi
L
Ionization:
Ion Current = Extraction Prob. x Ionization Prob. x Path Length x Electron Current

## Slide 10: Challenges of Ion Gauges:
SINK!
SOURCE!
e-
e-
e-
H
H
O
I+
Ie

Qi
L

## Slide 11
Anode Cage
Cathode (Yttria on Iridium)
Repeller “Ion Optics”
Entrance to reflector and trap

## Slide 12
Anode Cage
Cathode (Yttria on Iridium)
Repeller “Ion Optics”
Entrance to reflector and trap
reflector
Ion trap

## Slide 13
Filament (Cathode) surface
Extracted Current follows an Arrhenius equation proportional to surface times temperature square times work function in the exponent.

## Slide 14: The beam dump!
Most of the energy put in is unused!
Thermal pain – degassing
Radiation – xray induced effects as photo effect and desorption
Lost electrons cause anything not suitable for a measurement
By products OMG!
There are solutions for certain applications

## Slide 15: Sensitivity /Torr or /mbar

## Slide 16: Sensitivity /Torr or /mbar

## Slide 17: Sensitivity /Torr or /mbar

## Slide 18: Solutions
IE514 IE414 MAG070 MAG084

## Slide 19: Solutions
BPG550
Can do everything on your fingerprint
Industrial Gauge fits for many applications in your everyday life

## Slide 20: Cold Cathodes

## Slide 21: Cold Cathodes
Goodies about:
They actually pump gas, forget desorption
Super stable in low vac
Excellent suitability for Hydrogen environment (@low pressures only!!)

## Slide 22: Cold Cathodes
Goodies about:
They actually pump gas, forget desorption
Super stable in low vac
Excellent suitability for Hydrogen environment (@low pressures only!!)
…and they make light 

## Slide 23: Cold Cathodes

## Slide 24: Cold Cathodes
Cold Cathode
Optical Readout (Window)
Electrical Readout
(Feedthrough)
Spectrometer
Electronics & Software
Sometimes it is good to know what is in there

## Slide 25: Science of Ionization Gauges?

## Slide 26: Think about surfaces!
Desorption / Diffusion
Chemical Reactions
Particles on surfaces
Sealing of porous surfaces
Surface area reduction
Cosmetics

## Slide 27: ALD on Vacuum Components
Al2O3
Y2O3
SiO2
YF3
AlN
HfO2
TiO2
MgF2
500 nm
Multilayers
Monolayers
Oxides and Fluorides