## Slide 1: Field Cages Validation with the GIN Detector
Biondi, G. Dho, G. Mazzitelli
27/06/2024

## Slide 2: EXPERIMENTAL SETUP
"Glued" Field Cage with Cu Cathode
"Ethereal" Field Cage with Cu Cathode
"Ethereal" Field Cage with Aluminized Mylar Cathode

## Slide 3: GLUED FC WITH CU CATHODE
FC Characteristics:
  Glued on PVC
  Four indepent panels glued (one per side)
  Electric contact when glued together
Cathode Characteristics:
  Made of well-levigated Copper
  Simple construction
  Named C0
Measure Plan:
  Unstable, impossible to take measures in controlled conditions

## Slide 4: ETHEREAL FC WITH CU CATHODE
FC Characteristics:
  Rolled up on DELRIN Pillars
  Glued to itself
  Not connected to PVC
Measure Plan:
  Studied Light Yield with 55Fe Source scanning VGEM, Drift Field and Source Position
  Field Cage map with muons and natural radioactivity

## Slide 5: ETHEREAL w/C0 – FC MAP I

## Slide 6: ETHEREAL w/C0 – FC MAP II
Borders more defined with higher fields
Corners disuniformity due to FC shape
Up-Down disuniformity <10%, known from LIME
Right-Left disuniformity < 5%
Compliant with uniformity requirements

## Slide 7: ETHEREAL w/C0 – LIGHT YIELD I

## Slide 8: ETHEREAL w/C0 – LIGHT YIELD II

## Slide 9: ETHEREAL w/C0 – Fe SPOTS

## Slide 10: ETHEREAL FC W/ Al MYLAR CATHODE
Cathode Characteristics:
  0.9 µm Aluminized Mylar film
  Inspired by DRIFT collaboration
  Shape which can reduce Radon attaching
  Copper tabs for electric contacts
  Named C1
Measure Plan:
  Studied Light Yield with 55Fe Source scanning VGEM, Drift Field and Source Position
  Field Cage map with muons and natural radioactivity

## Slide 11: CATHODES COMPARISON - MAP

## Slide 12: CATHODES COMPARISON - MAP II
  C1 Cathode Disuniformities:
    Up-Down < 10%
    Right-Left < 5%
  C0 Map has 12% more light than C1 Map
  More precise estimation of disuniformities in ongoing

## Slide 13: CATHODES COMPARISON – LY I

## Slide 14: CATHODES COMPARISON – LY II

## Slide 15: CATHODES COMPARISON – Fe SPOTS

## Slide 16: FIELD CAGE P3
Enhanced version of Ethereal Field Cage
Currently in Production at LNF
Will be tested soon

## Slide 17: CONCLUSIONS AND OUTLOOKS
Conclusions:
  The Glued Field Cage is unstable and should be rejected for CYGNO04
  The Ethereal Field Cage can be considered as validated as is compliant with uniformity requiments
  Both C0 and C1 cathodes are stable and provide reliable field
Outlooks:
  Aging test is ongoing for the components, can help to understand the instability of Glued FC
  C1 Cathode seem to provide little less uniform field: test are ongoing for further understanding
  Up to now C0 Cathode is preferred

## Slide 18: BACKUP / ETH CU MEASURE PLAN
Measure Plan:
  Fixing Drift Field at 1 kV and scanning GEM Voltage from 400V to 460V
  Fixing GEM at 440V and scanning Drift Field from 0.2 to 1.5 kV/cm
  Same scan at GEM 400V
  Scan of 7 Positions for Fe Source (2.1 to 22.2 cm from GEMs)
  Camera Exposure: 0.15 s for Short Exposures and 0.18s for Long Exposures

## Slide 19: BACKUP / ETH AlM MEASURE PLAN
Measure Plan:
  Positions: 2.1 cm, 12.1 cm, 22.2 cm from GEMs
  Field Values: 0.2, 0.6, 1 kV/cm taken at 400V and 440V
  GEM Voltages: 400 to 450
  Cathode capable of working up to 1.3 kV/cm, but no measures taken due to conditioning
  Camera Exposure: 0.15 s for Short Exposures and 0.18s for Long Exposures

## Slide 20: BACKUP /CATHODES COMPARISON - ER

## Slide 21: BACKUP / ETHEREAL w/CU – ENERGY RESOLUTION

## Slide 22: BACKUP / PROJECTIONS OF MAPS (X-AXIS MEAN)

## Slide 23: BACKUP / PROJECTIONS OF MAPS (Y-AXIS MEAN)

## Slide 24: BACKUP / UNCERTAINTY ON SOURCE POS