## Slide 1: EuPRAXIA@SPARC_LAB Machine Layout
Andrea Ghigo & Mario Del Franco, INFN
at SPARC_LAB
7th EuPRAXIA@SPARC_LAB Review Committee Meeting, LNF June 26-28, 2024

## Slide 2: Outlook
Functional description of the building
Accelerator design criteria
Layout of the accelerator
Undulators and electron beam dump
FEL photons beam lines
High power laser clean rooms
Particle experimental Labs
User area

## Slide 3: Machine & undulator 3D Layout

## Slide 4: Building areas
Ground floor
Accelerator Tunnel
Modulator & power supply area
Undulator tunnel
FEL user area
Experimental Areas
Laser Rooms
First floor
Control room
Laser Rack room
UTA corridors
Users offices & meeting room
Break area
Terrace

## Slide 5: Building Functional Layout – Ground floor
Laser clean rooms
Particle experimental area
Undulators tunnel
Accelerator tunnel
FEL user area
Klystron Gallery
Cooling Plants area
cfr Simona Incremona talk

## Slide 6
Control Room
Laser racks area
Users & meeting rooms
UTA -corridors
Building Functional Layout – First floor
UTA -corridors
Elecric cabins

## Slide 7: Building Functional Layout – Undulator area
Electron beam dump
AQUA & ARIA undulators
Removable wall

## Slide 8: Beam lines & user area schematic
the components of the photon beamline are being defined (F. Villa talk):
the real vacuum chamber still need to be designed

## Slide 9: Machine design criteria -1
After the first machine layout, prepared for the building definition taking into consideration only the dimensions of the main components, we restart the design of the machine replacing them with the real objects prepared for other projects or developed specifically.
Following the indications of the beam dynamics, we placed first the accelerating sections and the magnets.
Compact diagnostics tools have been designed and inserted in the strategic places in order to have good beam measurements saving important longitudinal space. (A. Cianchi)
In this layout version we used magnets that had the required field, and field quality, for which we already had the design.

## Slide 10
The design of the accelerating sections are in progress and the RF power distribution has been finalized
The modulator & klystron drawings are those of the ordered prototypes.
The dump have been studied by radio-protection group and the schematic design has been inserted.
The vacuum components have been chosen and inserted in the layout but:
all specially shaped vacuum chambers, such as those in the laser heater, in the chicane, in the the spectrometers, still need to be specified and drawn.
Machine design criteria -2

## Slide 11: Accelerator & undulators layout

## Slide 12: Injector
S-band photogun
S-Band accelerating section
First accelerating section Solenoids
Laser heater – magnetic compressor
X-band linearizer
Injector diagnostics
RF modulator & Klystron
RF waveguide network

## Slide 13: RF distribution overview
cfr: David Alesini

## Slide 14: Low energy X-band linac & bunch compressor

## Slide 15: High energy X-band linac & Plasma acceleration module
cfr: Angelo Biagioni

## Slide 16: Undulators area
cfr: Luca Giannessi

## Slide 17: Machine layout - TDR status
Accelerator & undulator definition 70%
Photon beam lines & end stations 30%
Building functional area definition 90%
Description of components 70%
Mechanical drawing for tender request 20%
Writing 10%

## Slide 18: 3D accelerator & undulators view
Thanks for
the attention