## Slide 1: SPARC_LAB Test Facility
Martina Carillo
On behalf of the SPARC_LAB collaboration

## Slide 2: Outline
SPARC_LAB test facility
              Machine layout
Main Results:
              Energy spread minimization
              FEL driven by PWFA
              “All-in-one” capillary
              Curved Plasma Discharge Capillary
EuPRAXIA@SPARC_LAB
Martina Carillo

## Slide 3: SPARC_LAB Test facility
Photo-cathode
laser
Free-Electron Laser
EuAPS
Photo-injector
PWFA
FLAME
Fundamental research and applications with the EuPRAXIA facility at LNF
SABINA

## Slide 4: SPARC_LAB machine layout
The first section of the LINAC works in the velocity bunching configuration
Two-bunches configuration produced directly at the cathode with laser-comb technique:
Biagioni, A., et al., Journal of Instrumentation 11.08 (2016): C08003.
Photo-injector:
Plasma Chamber & Beam Diagnostic:
Martina Carillo
[*]V. Shpakov, et al., Design, optimization and experimen- tal characterization of RF injectors for high brightness electron beams and plasma acceleration, Journal of Instrumentation 17 (12), P12022

## Slide 5: Enery spread minimization
4 MeV acceleration in 3 cm plasma with 200 pC driver: ~133 MV/m accelerating gradient
2x1015 cm-3 plasma density
Demonstration of projected energy spread compensation
  Spread from 0.2% to 0.12% ()
Stability analysis of the result:
Low emittance
High current
Low energy spread
The challenge lies in achieving high-quality, stable beams for high-brightness beam applications.
(see Plasma Wakefield Acceleration – ​ Advantages and Challenges​. L.Verra)
Martina Carillo

## Slide 6: FEL driven by PWFA
The first proof of principle experiment demonstrating Self Amplified Spontaneous Emission (SASE) in a FEL from centimeter-scale beam-driven palsma wakefield accelerator (PWFA)
Single-shot spectrum of the SASE FEL radiation emitted at 830 nm
Exponential gain of FEL radiation energy: data taken with 6 (Si) photo-diodes downstream the undulators
Martina Carillo

## Slide 7: Plasma Lens
Plasma Lenses: Focusing Mechanisms
Passive Plasma Lens:
  Mechanism: Self-focusing.
  Process: Shielding produced by background plasma, which reorganizes to maintain overall neutrality after the passage of a driver beam.
Active Plasma Lens:
  Mechanism: Azimuthal magnetic field.
  Process: Generated by an externally driven axial current.
[*]R.Pompili, et al., Experimental characterization of active plasma lensing for electron beams, Appl. Phys. Lett. 110 (10) (2017) 104101.
[*]E. Chiadroni et al. Overview of plasma lens experiments and recent results at SPARC_LAB, Nuclear Inst. and Methods in Physics Research, A 909 (2018) 16–20
Cylindrical symmetry
  purely radial focusing effect
Tunability
Focusing strength: K
High focusing gradient ~ kT/m
  short focal length
  weak chromaticity
Martina Carillo

## Slide 8: Compact Plasma Device for Acceleration and Focusing
APL
APL
PWF A
drift
drift
INFN patent by A. Biagioni, R. Pompili, V. Lollo, D. Pellegrini, M. Ferrario
PWFA
APL
APL
e- beam
DDG
DDG
DDG
HV gen
19 cm capillary length and 2 mm diameter
Laser pre-ionizes the gas, stabilizing the discharge and reducing jitter to a few nanoseconds
The high-voltage discharge currents are provided by three pulsers capable of generating up to 1.6 kA peak current
The discharge current and plasma density can be independently tuned and controlled in each plasma stage.
[*]R. Pompili et al., Phys. Rev. E 109, 055202 – Published 3 May 2024
Martina Carillo

## Slide 9: Experimental Results
 | Driver | Witness
Energy [MeV] | 71.60.1 | 71.90.1
Energy spread [MeV] | 0.49 0.03 | 0.72 0.04
Duration [fs] | 185 39 | 55 32
Emittance [mrad] | 6.20.7 | 4.8
Dealy [ps] | 1.150.03 | 
 | Driver | Witness
Energy [MeV] |  | 
Energy spread [MeV] |  | 
Duration [fs] |  | 
Dealy [ps] |  | 
SPARC_LAB RF photoinjector beams:
Witness Energy gain of 4.5 MeV over a distance of 3 cm
A proof-of-principle experiment merged three plasma stages into a compact device that can focus, accelerate, and extract a witness bunch in a plasma-based accelerator.
Martina Carillo

## Slide 10: Curved Plasma-Discharge Capillaries
Beam
Vertical bending
3 mm offset
2mm hole
Hole for laser alignment
10 cm, Rbend ~1.6 m
Capillary out
Capillary in
Discharge On
We have used a 50 pC test beam on-crest (~1 ps)
The energy of the beam is set to 60 MeV
The beam is imaged on the YAG/GAGG screen located ~10 cm downstream the capillary exit
Martina Carillo

## Slide 11: Active Bending Plasma
We tested the ABP deflection with three beam configurations having different energy spreads
  Goal: test the chromatic dispersion of the device
Findings: the output spot sizes is almost unaffected by the energy spread (especially on the bending plane)
  It indicates that the device operated almost in a dispersion-less way
Martina Carillo

## Slide 12: EuPRAXIA@SPARC_LAB
SPARC_LAB is the test and training facility for EuPRAXIA@SPARC_LAB
EuPRAXIA@SPARC_LAB injector:
Beam characterization, with particular emphasis on beam quality and stability, which are essential to meet the stringent requirements of the experiments envisioned by EuPRAXIA.
Validation of advanced technologies, such as plasma-based acceleration systems and high-intensity permanent magnets, to ensure reliable and consistent performance.
Optimization and calibration of operational systems, aimed at establishing stable configurations and efficient protocols, which are crucial for the implementation of EuPRAXIA.
Martina Carillo

## Slide 13
Thank you for your attention
Martina Carillo

## Slide 14: Assisted beam-loading technique
Pre-chirp to compensate wakefield slope
D
W

## Slide 15
04/12/24
SPARC_LAB activity report
14/
Dispersionless operation
We have used a 50 pC test beam on-crest (~1 ps)
The energy of the beam is set to 60 MeV
  1.6 m bending radius, ~4° deflection angle in 10 cm capillary
The beam is imaged on the YAG/GAGG screen located ~10 cm downstream the capillary exit
Compared to a conventional bending magnet (CBM), the R16 matrix (dispersion) term is reduced by a factor 3
  By tuning the discharge current the R16 can really be made zero → no need of dispersion matching optics downstream the bending!
beam
YAP
GAGG
+
-

## Slide 16
High Gradient Plasma acceleration
Without plasma acceleration:
witness energy
With plasma acceleration:
witness energy

## Slide 17: Plasma acceleration stabilization
Results obtained by turning ON/OFF the laser stabilizing the plasma discharge
The laser hits the negative electrode of the capillary 200 ns before the discharge trigger
Witness jitter with laser ON(OFF): 0.6(1.2) MeV
Laser ON
Laser OFF
D (500 pC)
W (50 pC)
D (500 pC)
W (50 pC)

## Slide 18: Injection/Extraction scheme in PWFA
PMQs currently represent the sate of the art:
Focus multiple bunches into PWFA module
Extraction of the accelerated bunch
[*]Pompili et al., Rev. Sci. Instrum. 89, 033302 (2018)
Symmetric focusing is achieved with a triplet system
focusing strength: K
focal length ~ 10 cm (not easily tunable focal length)
a single system covers only a narrow range of energy
non-trivial adjustable holder are needed to remotely control the focal length

## Slide 19: Seeded FEL Performances
FEL radiation output is largely stabilized by the seed laser, larger output energy
Undulators tuned for FEL radiation at ~830 nm → separated from the laser (793 nm)
SASE
SEEDED
laser
103 ND filter used
@ 6th photodiode

## Slide 20: Exponential growth
~1 uJ (SEEDED)
~30 nJ (SASE)
Experiment
laser

## Slide 21
SPARC_LAB: Experimental results
Repetition rate for PWFA
A parametric study exploring a wide range of plasma density () and pump and probe delay ()
< 0.7ns