## Slide 1
PLASMA_LAB test facility activities according to the EuXPRAXIA program
Angelo Biagioni
On behalf of the Sparc_lab collaboration
Fundamental research and applications with the EuPRAXIA facility at LNF
4 – 6 December 2024, Frascati, Italy

## Slide 2
Outline
A. Biagioni | Fundamental research and applications with the EuPRAXIA facility at LNF 4 – 6 December 2024 2
Introduction
Plasma_lab
Design of plasma accelerating modules
  Very long plasma sources
  Materials
  Plasma diagnostics

## Slide 3
Introduction
A. Biagioni | Fundamental research and applications with the EuPRAXIA facility at LNF 4 – 6 December 2024 3
Plasma accelerating module:
Plasma confinement
Materials
Gas injection systems
Plasma formation techniques
HV sources
Lasers
Plasma diagnostics
Vacuum system
SPARC_LAB test facility
Modulo accelerante
al plasma
EuPRAXIA@SPARC_LAB (ESFRI)
Plasma source

## Slide 4
Plasma_Lab
A. Biagioni | Fundamental research and applications with the EuPRAXIA facility at LNF 4 – 6 December 2024 4
The Plasma_Lab is dedicated to research and technological development activities for the design and characterization of plasma sources required for the realization of accelerator modules (in operation since 2018)
<
Vacuum systems
HV sources
Plasma diagnostics
Discharge capillaries
Vacuum chambers
Laser
Plasma acceleration experiments at SPARC_LAB test facility
EuPRAXIA@SPAC_LAB project
EuAPS project
A new compact laser will be mounted in January to test new plasma sources at High RR

## Slide 5
A. Biagioni | Fundamental research and applications with the EuPRAXIA facility at LNF 4 – 6 December 2024 5
1.1 GeV (1 GV/m 60cm capillary - density 1016 cm-3)
  Direct plasma discharge for 60cm long capillary
    Plasma stability
    Longitudinal profiles
  Plasma sources operating at 100 – 400 Hz
    Vacuum system requirements (neutral gas)
    Capillary’s longevity
    High-voltage sources for plasma formation
EuPRAXIA@SPARC_LAB: plasma accelerating module

## Slide 6
A. Biagioni | Fundamental research and applications with the EuPRAXIA facility at LNF 4 – 6 December 2024 6
EuPRAXIA@SPARC_LAB: plasma accelerating module
Plasma diagnostics
Density profile
x1017
HV-sources
Laser stabilization

## Slide 7
A. Biagioni | Fundamental research and applications with the EuPRAXIA facility at LNF 4 – 6 December 2024 7
EuPRAXIA@SPARC_LAB: plasma accelerating module
Lens ON Acc ON Lens ON
Integrated capillary
Very long capillary
Curved capillary for APD
Design of m-scale capillaries for EuPRAXIA project by using segmented capillaries: design of HV-voltage circuits and discharge synchronization
Design of new geometries for curved channels: HV-circuits to allow high current pulses
Studies on cross-talk effects and HV-circuits to reduce the interaction among discharges through plsam ramps
Segmented capillary
40cm
60cm

## Slide 8
A. Biagioni | Fundamental research and applications with the EuPRAXIA facility at LNF 4 – 6 December 2024 8
D (500 pC) W (50 pC)
Laser OFF
Results obtained by turning ON/OFF the laser stabilizing the plasma discharge
The laser hits the negative electrode of the capillary 200 ns before the discharge trigger
Witness jitter with laser ON(OFF): 0.6(1.2) MeV
laser stabilization
Gas inlets
Electrode
HV pulse
Plasma channel
- 3cm capillary 25 MeV energy gain
- 800 MV/m acc. gradient
- Witness jitter 1.2MeV
Laser ON
D (500 pC) W (50 pC

## Slide 9
A. Biagioni | Fundamental research and applications with the EuPRAXIA facility at LNF 4 – 6 December 2024 9
1.1 GeV (1 GV/m 600 MeV in 60cm long capillary - density 1016 cm-3 ):
  Fabrication by machining
  10 increasing diameter
  Density range 1016 -1017 cm-3
  13 kV with 500 A
  100 Hz rep Rate
1017
  V = 13 kV
  Ip = 500 A
60 cm long plasma source

## Slide 10
A. Biagioni | Fundamental research and applications with the EuPRAXIA facility at LNF 4 – 6 December 2024 10
60 cm long Plasma accelerating module (1 GV/m)
100 cm long X-band structure (60 MV/m )
60 cm long plasma source

## Slide 11
A. Biagioni | Fundamental research and applications with the EuPRAXIA facility at LNF 4 – 6 December 2024 11
8 cm
Common
ground
El1
El2
Plasma density (cm-3)
    Plasma sources larger than 60 cm (m-scale) with HV pulses less than 10 kV
    Longitudinal density modulation by using voltage or pulse synchronization
    5 GeV case for EuPRAXIA (1.5 GV/m, m-scale capillary - density 1016 cm-3)
    Implementation of several components within compact structures
7.5 kV
7.5 kV
7.5 kV
6 kV
Segmented capillary
m-scale plasma sources

## Slide 12
A. Biagioni | Fundamental research and applications with the EuPRAXIA facility at LNF 4 – 6 December 2024 12
150 Hz repetition rate discharges 2x107 shots No damages observed
To operate at high repetition rate with gas-filled capillary-discharge the key point is the thermal dissipation
105 shots/1 Hz
7x104 shots/30 Hz
3D plastic materials
Sapphire
Ceramics
~ 4 eV
q
40 W/mK at 25°C Sapphire
93 W/mK at 25°C Ceramics
k
high repRate plasma sources

## Slide 13: Stark broadening method
A. Biagioni | Fundamental research and applications with the EuPRAXIA facility at LNF 4 – 6 December 2024 13
The spectrometer acquires hydrogen spectral lines of Balmer series
Stark effect: correlation between plasma density and hydrogen spectral linewidth
Temporal and spatial resolved measurements of plasma density
plasma diagnostics

## Slide 14
A. Biagioni | Fundamental research and applications with the EuPRAXIA facility at LNF 4 – 6 December 2024 14
plasma diagnostics
Imaging of plasma channel slices
Optical line shift for longitudinal scan
Time-resolved measurements
Spectrometer
ICCD camera
L1
L2
H-β line
Transverse position
Wavelength
Capillary
Transverse Stark broadening method

## Slide 15
Angelo Biagioni | INFN_LNF
Angelo.Biagioni@lnf.infn.it
Thank you for your attention