## Slide 1: Experimental study of Positron Emission Tomography with polarimetric capability Mihael Makek Department of Physics, Faculty of Science, University of Zagreb, Croatia
High-precision X-ray Measurements 2025 16-20 June 2025, Laboratori Nazionali di Frascati INFN

## Slide 2: Positron Emission Tomography (PET)
Principle of operation
  Inject positron emmiting radipharmaceutical (mostly FDG)
  Detect emitted pair of gamma photons from positron annihilation e+e- --> g g
  Reconstruct the image of the source distribution based on detector hits
  Quantify the activity distribution – attenuation, scatter, random corrections
Imaged by Siemens Biograph Quadra, Inselspital Bern, Switzerland
M. Makek
Medical imaging modality
Physical basis: positron annihilation

## Slide 3: Application of Positron Emission Tomography
Oncology
Hearth function
Brain function
Limitations
  Image resolution (~4-5 mm)
  Contrast reduced by backgrounds
  Sensitivity - scan duration (typ. 20-30 mins)
  Radiation dose
  The cost
Motivation for improvement and development of more sensitive and cost-efficient detectors
M. Makek

## Slide 4
How does PET work?
M. Makek

## Slide 5: Standard PET detector
Injection and metabolisation of positron labeled radiopharmaceutical
Positron annihilation:
e+e- -> g g
The pair of gs identified based on:
  coincidence time
  Energy of each 511 keV
  Back-to-back geometry assumed
M. Makek
e++e- g+g
RING OF DETECTORS
Positron-labeled radiopharmaceutical
Positron annihilation in tissue

## Slide 6: Standard PET detector
Injection and metabolistion of positron labeled radiopharmaceutical
Positron annihilation:
e+e- --> g g
The pair of gs detected based on:
  coincidence time
  Energy of each approx 511 keV
  Back-to-back geometry assumed
  Line-of-response (LOR) formed
M. Makek
RING OF DETECTORS

## Slide 7: Standard PET detector
Injection and metabolistion of positron labeled radiopharmaceutical
Positron annihilation:
e+e- --> g g
The pair of gs detected based on:
  coincidence time
  Energy of each approx 511 keV
  Back-to-back geometry assumed
  Line-of-response (LOR) formed
LORs --> reconstructed image
M. Makek
RING OF DETECTORS

## Slide 8: Background in PET
Backgrounds due to:
  Compton scatter in patient's body
M. Makek
g’
g
Scatter

## Slide 9: Background in PET
Backgrounds due to:
  Compton scatter in patient's body
  Random coicidence
  Multiple coincidence events
  -> Fake LORs -> reduced image contrast
M. Makek
Multiple events

## Slide 10
Polarization of annihilation quanta
M. Makek

## Slide 11: Polarization of annihilation quanta
In positron annihilation back-to-back gammas generated
They are entangled and polarized in orthogonal directions [P. Dirac, Proc. Camb. Philos. Soc. 26 (1930) 361; R. Hanna, Nature 162 (1948) 332]
How to measure polarization correlations?
Use of polarization correlations in PET imaging?
Cost-efficient implementation?
g (511 keV)
g (511 keV)
M. Makek

## Slide 12: How to measure polarization correlations
When both linarly polarized annihilation photons undergo Compton scattering:
Visibility:
m=A1(q1) x A2(q2) - product of analyzing powers A
mmax (for E0=511keV) = 0.48 @ q1= q2= 81.7°
In experiment reduced due to finite acceptance
Δφ (deg)
a.u.
[Pryce and Ward, Nature 160 435; Snyder, Pasternak, Hornbostel, Phys. Rev. 73 (1948) 440-8]
with:
M. Makek

## Slide 13: Polarization correlations in PET
Potential of polarization correlations for S/B improvement in PET?
  The polarization correlations are expected only for signal pairs
  Discriminate true coincidences at high rates - rejection of false positives, randoms, multiple coincidences
Δφ (deg)
a.u.
g
g
g
g
Scatter
Random conicidences
Standard event ID in PET: - back to back, coincidence
- 511 keV
Additional event ID in PET:
[Kuncic et al., NIM A648 (2011), McNamara et al., Phys. Med. Biol 59 (2014), M. Toghyani et al., Phys. Med. Biol 61 5803(2016)]
M. Makek

## Slide 14: How to (cost-efficiently) measure gamma polarization in PET?
Modern PET detectors: - highly segmented, - large axial coverage
M. Makek
Typical Compton polarization measurement:
  detectors with 2 sensitive layers: 1st for measuring the recoil electron, 2nd for the scattered gamma
-> Investigate the feasibility of the measurement of polarization correlations using single-layer detectors​
A PET system based on 2-layer detectors would dramaticaly increase the cost of the apparatus

## Slide 15
Development of PET system with polarization measurement capability
M. Makek

## Slide 16: The single-layer polarimeter
M. Makek

## Slide 17: (I) Proof-of-concept for single-layer polarimeter
Two detector modules with:
  16 scintillation crystals in 4x4 configuration
  Silicon Photomultiplier array on only ONE side
  Digital electronics for readout and DAQ
Results:
e+e-
g
g
[M. M. et al., Acta Physica Polonica B, vol. 48 (2017)]
Polarimetric modulation: m =0.25 ± 0.01​
[M. M. et al., Nucl. Instr. Meth. A 958 (2020) 162835.]
M. Makek

## Slide 18: (II) Optimization of the single-layer configuration
Select material and geometry for maximum polarization sensitivity:
  better energy resolution  higher q resolution
  finer segmentation  higher f resolution
Fig. 1. Schematic diagram of experimental setup - example for GaGG:Ce 8x8 matrix
Energy resolution @ 511 keV:
LYSO ~14%
GAGG ~ 8%
Segmentation:
3x3x20 mm pixels
2x2x20 mm pixels
SiPM +
detector matrix
Single-sided readout by SiPM!
M. Makek
[S. Parashari et al. (2022), Nucl. Instrum. Methods Phys. Res. A, 1040: 167186]

## Slide 19: (III) The PET demonstrator
Four modules with 16 x 16 scintillator pixels
  2 modules 3.2 mm pitch, GAGG
  2 modules 2.2 mm pitch, LYSO
Annular structure allowing diameters 420 – 700 mm
Rotation around the scanner axis to emulate the full ring
HPXM2025
M. Makek
Tests with high activity sourced at University Hospital Centre Zagreb

## Slide 20
PET imaging with polarization-correlated events
M. Makek

## Slide 21: The spatial resolution
Line sources Ge-68 ~45 MBq each, in epoxy phantom, 2 cm distance
Ring diameter: 430 mm; GAGG-3mm modules
1 pixel events, Epx=511 keV
FWHM ~2.5 mm
M. Makek
[A. M. Kožuljević, PhD Thesis, University of Zagreb, 2025]
Pol.-cor. Events, f1-f2|=90°±20°
FWHM ~5.1 mm
LOR ambiguity
PRELIMINARY

## Slide 22: Random background rejection
S/Brand from coincidence time spectrum, 5 ns window
PRELIMINARY
HPXM2025
M. Makek
Pol-cor events, 72°<q<90°, 70°<|Df|<110°
[A. M. Kožuljević, PhD Thesis, University of Zagreb, 2025]
Pol-cor events, 72°<q<90°, -20°<|Df|<20°
Single pixel events

## Slide 23: Random background rejection
PRELIMINARY
HPXM2025
M. Makek
Pol-cor events, 72°<q<90°, 70°<|Df|<110°
[A. M. Kožuljević, PhD Thesis, University of Zagreb, 2025]
Pol-cor events, 72°<q<90°, -20°<|Df|<20°
Single pixel events
SBR
Position #
NEMA-NU4, Ga-68, 400 MBq initial activity
SBR improvement up to 30% for Pol.-Cor. events
Pol.cor events |Df|=90°±20° Single pixel events Pol.cor events |Df|=0°±20°

## Slide 24: Random background rejection
PRELIMINARY
HPXM2025
M. Makek
SBR
Position #
Pol.cor events |Df|=90°±20° Single pixel events Pol.cor events |Df|=0°±20°
NEMA-NU4, Ga-68, 400 MBq initial activity
Modulation vs SBR
SBR improvement up to 30% for Pol.-Cor. events

## Slide 25: Standard vs. Pol-Cor Image
1-Pixel events
Pol. correl. events
Ga-68
400 MBq
Ring diameter: 420 mm; GAGG-3mm modules
PRELIMINARY
HPXM2025
M. Makek

## Slide 26: Standard and Pol-Cor PET synergy
PRELIMINARY
HPXM2025
M. Makek
Single-pixel (standard) + Pol-Cor(10% extra) data
10% data increase, resolution and image quality preserved
Spatial resolution
NEMA NU-4 Phantom

## Slide 27: Conclusions
On PET using polarization-correlated events
First imaging with clincally relevant activities performed
Improved signal to background, diluted spatial resolution
Evidence of sensitivity benefit observed for the first time
M. Makek

## Slide 28: ACKNOWLEDGEMENTS
This work was supported by Croatian Science Foundation under the project IP-2022-10-3878 and in part by the “Research Cooperability” Program of the Croatian Science Foundation, funded by the European Union from the European Social Fund under the Operational Programme Efficient Human Resources 2014–2020, grant number PZS-2019-02-5829
THANK YOU!

## Slide 29: Backup slides

## Slide 30: How is gamma-ray polarization measured?
Compton scattering - Klein-Nishina relation for Compton scattering of a polarized gamma:
Gamma is most likely to be scattered at azimuthal angle f perpendicular to the polarization vector (cosf=0)
The sensitivity to polarization is the largest for scattering at q=90°
Polarization is correlated to the azimuthal scattering angle f
M. Makek

## Slide 31: Compton event reconstruction
Compton angles reconstruction:
After acceptance correction:
M. Makek

## Slide 32: The „q-ambiguity”
Which of the two pixels fired first?
Ambiguous for q>60°
511 keV gamma Compton energies
g
M. Makek

## Slide 33: The „q-ambiguity”
The cross section favors forward angles
Backward scattered gammas, q>90°:
  -> lower energy -> shorther absorption length
always assume forward scenario (i.e. the pixel with lower energy corresponds to e-)
160 140 120 100 80 60 40 20 0
qSim (deg)
qReco (deg)
SIMULATION

## Slide 34: The „q-ambiguity”
Event topology helps: events with larger inter-pixel distances d have a higher fraction of correctly determined angles
Implication on LOR determination:
  30% correct pixel in both modules
  50% correct pixel in only one module
  20% incorrect LOR
Table: the fraction of correctly determined q in GAGG, assuming forward scattering
[A. M. Kožuljević et. al., Condensed Matter 2021, 6, 43]
LORs
M. Makek