## Slide 1
EuPRAXIA-DN Camp I: Technologies, 7-8 April 2025, CNR-INO
Single-shot spectrometer with pointing angle correction for laser-driven electron beams featuring moderate pointing instability and transverse inhomogeneity
S. G. Vlachos
The ILIL team: F. Avella, F. Baffigi, G. Bandini, G. Benincasa, F. Brandi, G. Cristoforetti, M. Ezzat, A. Fregosi, L. Fulgentini, D. Gregocki, E. Hume, P. Koester, L. Labate, D. Palla, S. Piccinini, M. Salvadori & L. A. Gizzi.

## Slide 2: LWFA shot-to-shot stability
Electron beam pointing Energy miscalculations.
(Horizontal mean deviation: , Vertical mean deviation: .)
The simple spectrometer:
Pixel value
,
: magnetic field strength, : electron charge & mass, : speed of light, : electron energy

## Slide 3: Possible solutions
⊙
⊙
1. B. Pollock et. al.,in Particle Accelerator Conference (PAC 09) (2010), p. WE6RFP101.
2. A. A. Soloviev et al., Rev. Sci. Instrum. 82, 043304 (2011).
Laser axis
⊗
X-rays
Tungsten wires
0.5 1 1.5 2
-4 0 4
σy [mrad]
E [GeV]
-10 0 10
σx [mrad]
-10 0 10
0 4 8 12 16
pC/GeV sr (109 )
0 100 200
PSL
3. X. Wang et al., Nat. Commun. 4, 1988 (2013).
Lanex 1
Lanex 2

## Slide 4: Spectrometer setup
: magnetic field strength, : electron charge & mass, : speed of light,
: electron energy
H. J. Cha et al., Rev. Sci. Instrum. 83, 063301 (2012).

## Slide 5: Rear Lanex analysis
(mm)
(mm)
(mm)
O. Chubar, P. Elleaume, J. Chavanne, J. Synchrotron Radiat. 5, 481–484 (1998)
constants

## Slide 6: Front Lanex analysis

## Slide 7
Fluence measured at the exit of the Lanex and at the entrance of the collimator.
Monoenergetic pencil-like electron beams from .
Statistical errors except in the case of at .
Al
Mylar
Lanex
Fluence
detector
Name | Material | Density () | Thickness ()
Lanex Regular (93% Phosphor) |  | 7.35 | 380
Lanex Regular (7% Binder) |  | 5.75 | 
Mylar window |  | 1.40 | 75
Aluminum foil | Al | 2.69 | 13
Name | Material |  | 
Lanex Regular (93% Phosphor) |  | 7.35 | 380
Lanex Regular (7% Binder) |  | 5.75 | 
Mylar window |  | 1.40 | 75
Aluminum foil | Al | 2.69 | 13
Material characteristics
Lanex scattering - Fluka
1. G. Battistoni, others, Ann. Nucl Energy. 82, 10–18 (2015).
2. C. Ahdida et al., Front. Phys. 9, 788253 (2022).
3. Donadon, André, Hugo, Gabrielle, Theis, Christian, Vlachoudis, Vasilis, EPJ Web Conf. 302, 11005 (2024).

## Slide 8
Lanex exit
Collimator entrance
2D electron fluence

## Slide 9
Scattering correction
Without scattering
With scattering

## Slide 10
Pointing instability needs to be considered when measuring energy.
Scattering caused by the Lanex and the mylar window significantly alters the arriving charge.
Other spectrometers may remove front Lanex but are either slow, large or require energies.
Our method:
- Compact, non-invasive, on-shot measurements of energy.
- Assumes electron trajectories are parallel.
Conclusions

## Slide 11
This work was supported by the PNRR MUR project IR0000016-I-PHOQS, funded by the European Union – Next Generation EU.
This work was supported by the PNRR MUR project ECS00000017-"Tuscany Health Ecosystem & the LPA – STAR project, funded by the European Union – Next Generation EU.
Advanced Photon Sources
Infrastructure Development
This work was supported by EuPRAXIA Advanced Photon Sources – EuAps (IR0000030, CUP I93C21000160006).
Laser Development
This work was supported by the EU Horizon IFAST, under Grant Agreement No.101004730.
Research on biomedicine
Acknowledgements
Infrastructure Development