## Slide 1: Miniaturized Microdosimeters for Hadron Therapy
Anna Bianchi 1
Anna Selva 1
Linda Eliasson 2
Jan Lillhök 2
Valeria Conte 1
12th May 2025
1 Laboratori Nazionali di Legnaro – INFN
2 Swedish Radiation Safety Authority

## Slide 2: Microdosimetry
Measurement of the stochastic aspect of energy deposition at the subcellular level
Low LET
Medium LET
High LET
2

## Slide 3: Microdosimetry for Hadron Therapy
3

## Slide 4: Biological effectiveness in TPS (Treatment Planning Systems)
Radiobiological measurements
OR
Calculations through models
RBE
4

## Slide 5: Microdosimetry for Quality Assurance
5
Possibility of reproducing RBE through models
Pihet et al., Radiat Prot Dos, Vol.31(1-4), 1990 https://doi.org/10.1093/oxfordjournals.rpd.a080709
RBE10 – U87 cell line
Chaudary et al., Int J Radiat Oncol Biol Phys. 2014 Sep 1;90(1):27-35. doi: 10.1016/j.ijrobp.2014.05.010.
62 MeV SOBP
CATANA beam line @LNS - INFN

## Slide 6: ICRU98 recommendation (2023)
When the mean number of charged particles, including delta rays originating outside the site, interacting with the volume of interest is small, the stochastic nature of the radiation interactions should be considered. Such a situation will arise when the reciprocal of the particle fluence is comparable to or larger than the cross-sectional area of the volume of interest. In mixed radiation fields the fluence of the higher LET components should be considered.
When microdosimetry has to be used
Microdosimetry is necessary
Conventional dosimetry is sufficient
S: cross-sectional area
φ: particle fluence
Low ← z → High
6

## Slide 7: Microdosimetry @LNL
7

## Slide 8: Innovative TEPC developed @LNL
8
TEPCs for microdosimetry @nanometer level
TEPCs for environmental monitoring
Complex mini-TEPCs
double TEPCs for BNCT
Multi-site TEPC

## Slide 9: Mini-TEPCs for QA
9
Assembling and test
Micro-mechanical workshop
1.0 mm sensor
DESIGN and construction
Engineering of microdosimetric device for clinics.
A Monitor for Quality Assurance of Radiation Quality for intense beams
Sensitive volume 125 times smaller than smallest (ex)-commercial TEPC

## Slide 10: Future construction of more mini-TEPC

## Slide 11: Microdosimetry @SPES cyclotron
10

## Slide 12: Test of new mini-TEPC @SPES cyclotron
11
Inter-detector reproducibility
High rate sustainability

## Slide 13: Combined measurements with radiobiology
12
Anna Bianchi - International Workshop on future research program with the high power Cyclotron of SPES-LNL
RBE10 – U87 cell line
Investigation of correlation between microdosimetric measurements and radiobiological response to the same radiation field

## Slide 14: Development of new devices - AToMiQA
13
Multi-event
Single-event
Microdosimetric device that works in dual mode for high intensity beams
Multi-event measurements to overcome fluence rates limitation of single-event acquisition
Variance – Covariance in microdosimetry
Clinical: 107 p s-1 mm-2

## Slide 15: Studies of secondary products in proton beams
14
Low gain measurements to avoid pile-up from primaries but with high fluence of secondary particles
f(y)
yd(y) & y2d(y)
Gain = 1/1000

## Slide 16
Anna Bianchi
anna.bianchi@lnl.infn.it

## Slide 17: Characterization of clinical beams in terms of LET
5
62 MeV SOBP
CATANA beam line @LNS - INFN
148 MeV SOBP
Research beam line @Proton therapy centre of Trento
Dose-mean lineal energy as measurable quantity relatable to total-LETD