## Slide 1: Pisa testing facilities: Cryolab and RF electronics
Mario De Lucia
Università di Pisa | INFN – Sezione di Pisa
mario.delucia@unipi.it

## Slide 2
PISA ab: facilities
Mario De Lucia
BULLKID DM – Jan 2025 Meeting – Pisa, Italy
L
EMC Chamber BLUEFORS SD: TB = 20 mK Used for: LiteBIRD readout chain module
TES MKIDs

## Slide 3
Mario De Lucia
BULLKID DM – Jan 2025 Meeting – Pisa, Italy
PISA ab: facilities
L
BLUEFORS SD:

## Slide 4
Mario De Lucia
BULLKID DM – Jan 2025 Meeting – Pisa, Italy
PISA ab: facilities
L
BLUEFORS SD:
LNF-LNC0.3_14B
LNF-LNC4_8F
2x 4-8 GHz Single Junction Isolator/Circulator

## Slide 5
PISA ab: facilities
Mario De Lucia
BULLKID DM – Jan 2025 Meeting – Pisa, Italy
L
Oxford ProteoxMx expected by June ’25 TB < 10 mK
Gilford-McMahon: TB = 22 K
‘Coldfinger’ Used for: Optical characterisations
T. Lari, ‘Crystal Updates’,
h. 15.00

## Slide 6
MKIDs Readout
Mario De Lucia
BULLKID DM – Jan 2025 Meeting – Pisa, Italy

## Slide 7
MKIDs Readout
Mario De Lucia
BULLKID DM – Jan 2025 Meeting – Pisa, Italy
Q
Loopback test: OK

## Slide 8
MKIDs Readout
Mario De Lucia
BULLKID DM – Jan 2025 Meeting – Pisa, Italy

## Slide 9
MKIDs Readout
Mario De Lucia
BULLKID DM – Jan 2025 Meeting – Pisa, Italy
IQ mixer optimisation test:
Bandwidth: namely 2.5 GHz – 8,5 GHz Typical LO power: 18 dBm
LO Power (dBm) | RF Power (dBm) | Vout (mV) *
17 | 14 | 600
17 | 3 | 10
3 | 3 | 10
3 | 14 | 90
LO
RFin
I
Q

## Slide 10
MKIDs Readout
Mario De Lucia
BULLKID DM – Jan 2025 Meeting – Pisa, Italy
3890,82 MHz
Really bad resonator: only 2 dB deep
Quality factor below 1000
High losses, high driving power, small responsivity
OK for prototyping the readout!

## Slide 11
1st Amplifier was very noisy
Multiple iterations on same span
Barely visible in Re{S21} and Im{S21}
LOOP ok
Number of buffers to read: 28
MKIDs Readout
Mario De Lucia
BULLKID DM – Jan 2025 Meeting – Pisa, Italy
20 MHz band – cable delay loop
Freq: 3891 MHz

## Slide 12
MKIDs Readout
Mario De Lucia
BULLKID DM – Jan 2025 Meeting – Pisa, Italy
Resonator Centre – needed to calculate angles
Resonator Loop – Saved Data for future reference
Resonator Loop – Last scan
Number of buffers to read: 18
Time: Real 31s | active 2.3 ms
4 MHz band – resonator loop
Freq: 3891 MHz

## Slide 13
MKIDs Readout
Mario De Lucia
BULLKID DM – Jan 2025 Meeting – Pisa, Italy
Single Frequency point – driving the MKID
Resonator Loop – Saved Data for future reference
Resonator Centre – needed to calculate angles
Number of buffers to read: 1
SAVE centre position to temp file &
SAVE loop data to temp file

## Slide 14
MKIDs Readout
Mario De Lucia
BULLKID DM – Jan 2025 Meeting – Pisa, Italy
REAL TIME DATA after loop translation – no rotation
Number of buffers to read: 10
Arctan2
Returns the angle in radians

## Slide 15
MKIDs Readout
Mario De Lucia
BULLKID DM – Jan 2025 Meeting – Pisa, Italy
Reduce dead time: a. improve code for speed b. RT data decimation
Post-acquistion data decimation in plotting
Open a new plot for every triggered pulse
Test triggering with a working MKID
Full characterisation of the different electronic components
Estimate max resolving power

## Slide 16
MKIDs Readout
Mario De Lucia
BULLKID DM – Jan 2025 Meeting – Pisa, Italy
Purchase 3-5 more RT Amps
Find a number of RF attenuators | A programmable attenuator
Source a number of RF I interconnections MM/FF
RF source currently out of working range [0-2]GHz vs [2.5-8.5]GHz
New IQ Mixer in [0-2]?