## Slide 1
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Status of the Sapienza FLASH Project Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro
L. Giuliano, E. Chiadroni, M. Coppola, A. Curcio, A. De Gregorio, C. Di Carlo, S. Farina, G. Franciosini, M. Magi, A. Mostacci, M. Migliorati, V. Patera, R. Remetti, A. Sarti, L. Palumbo Sapienza University of Rome
L. Ficcadenti, E. Lalli INFN – Rome
D. Alesini, F. Cardelli, R. Di Raddo, L. Faillace, G. Franzini, A. Gallo, L. Piesanti, S. Pioli, B. Spataro, A. Vannozzi INFN-LNF
G. Cuttone, G.S. Mauro, G. Sorbello, G. Torrisi INFN-LNS
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 2
OUTLINE
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
FLASH therapy in a nutshell
SAFEST project and 24 MeV prototype FLASH linac@Sapienza
Phase 1 – SW structure (2025)
  Mechanical drawing and realization
  Triode gun optimization
Phase 2: TW structure (2026)
  First prototype for low power test and tuning
  Second prototype for high power test
Future perspectives and conclusion
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 3
FLASH Therapy IN A NUTSHELL
Dose rate =0,1 Gy/s
Dose rate =125 Gy/s
It is a new way to deliver the dose:
- high dose per pulse (>1 Gy) in “very short time” of irradiation (< 100 ms )
- high mean dose rate (>40-100Gy/s)
Courtesy of V. Faudon
Healthy Fibrosis Healthy
Control 17 Gy CONV 17 Gy FLASH
FLASH THERAPY
FLASH irradiation protects healthy tissues from damage and remains as efficient as conventional irradiation in the repression of tumor growth.
 | Conventional | FLASH
Dose (Gy) | 17 | 17
Mean Dose rate (Gy/s) | 0,03 | 60
Favaudon et al., Science Translational Medicine 6, 2014
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 4
SAFEST PROJECT
VHEEs
Very High Energy Electrons
>100MeV
SAFEST Parameters | Value
Frequency | 5.712 GHz
RF pulse length | 5 ms
RF source Power | 45 MW
LINAC length | ~ 3 m
Nominal beam energy | 100 MeV
Beam pulse current | 100 mA
Emerging Research Trends
L. Faillace et al., Perspectives in linear accelerator for FLASH VHEE: Study of a compact C-band system, Phisca Medica, November 2022
The choice of operation in C-Band (5.712GHz), by using a compact and modular layout, is an optimal compromise for working with high-charge electron bunches, and still for having more compact accelerating structures
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro
Notes: TRL 5 – Technology Validated in Relevant Environment: The prototype or system is tested in an environment similar to the intended application.

## Slide 5
24 Mev Flash linac: pnrr funding
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
1/4
3/4
A prototype was funded by the PNRR with a budget of 1.6 M€
Asymmetric power splitter
Parameters | Value
Frequency | 5.712 GHz
RF pulse length | 5 ms
Klystron Power | 5 MW
Peak power with pulse compressor | 24.4 MW (b = 3)
Linac length | ~ 1.5 m
Nominal beam energy | 24 MeV
Beam pulse current | 100 mA
Scalable to VHEE machines
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 6
2022
Joint study group Sapienza - infn
2025
2021
Studio di fattibilità
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 7
Modulator
Scandinova k100
Klystron
Canon (5MW 200 Hz)
Flash Electron
Accelerator
RF power
distribution network
Electron
beam to users
Cad technical design
Working frequency 5.712GHz (C-band)
Repetion frequency 200Hz
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Pulse compressor
(LNS-INFN design)
RF load
Vacuum pump
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 8
PULSE COMPRESSOR – lns design
towards the TW section
towards the
standing wave section
from the klystron
L. Giluiano et al., A compact C-band FLASH electron linear accelerator protoype for the VHEE SAFEST project, Frontiers, 2025
Lucia Giuliano et al.
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro
A. Curcio, S. Farina, A. Mostacci,
G. Torrisi, G.S. Mauro, G. Sorbello

## Slide 9
FLASH ELECTRON ACCELERATOR
Vacuum pump
Electron source
Standing wave structure
RF power
RF power
RF power to loads
Traveling wave structure
Electron
beam
Beam diagnostics
L. Giuliano et al., A compact C-band FLASH electron linear accelerator protoype for the VHEE SAFEST project, Frontiers, March 2025
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 10
Phase 1 – December 2025
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Modulator
Scandinova K100
Klystron
Canon (5MW 200 Hz)
Circulator
SW structure
Electron beam
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 11
Main cotributors: L. Giuliano, L. Faillace
beam
RF power
Standing wave structure
L. Giuliano et al., RF Design and Measurements of a C-Band Prototype Structure for an Ultra-High Dose-Rate Medical Linac, Instruments, February 2024
Input power
Electric field
Input coupler window
Off axis magnetic coupling
Feeding power waveguide
Magnetic field
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Parameters | Value
Mode of operation | Bi-periodic ; p/2
N of cells | 27
Shunt Impedance | 103 MW/m
Quality factor | 10178
Coupling coefficient | 1.58
Beam capture | 35%
Filling Time | 0.220 ms
Average gradient | 17 MV/m
Peak Electric field | 50 MV/m
Beam output energy | 10 MeV
Beam pulse current | 100 mA
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 12
SW mechanical drawing
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
The final realization will be completed by the end of June 2025
RF power
Water cooling
Bunching section
69 cm
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 13
Electron source: thermionic triode gun
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Electron gun
Courtesy of S. Farina
Custom flange
Cathode
Custom
Anode
First accelerating cell
Optimized distance
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 14
Electron source: thermionic triode gun
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Courtesy of S. Farina
Cathode
Optimized distance
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro
The first segment of SW replicates the anode industrial configuration
The second part was design by us to maximize the electrons capture
Custom flange designed to maintain the required distance for beam capture optimization
ASTRA

## Slide 15
Phase 2: Traveling wave structure (2026)
RF power IN
RF power OUT
beam
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Parameters | Value
Structure type | Constant Impedance
Shunt impedance | 107 MW/m
Quality factor | 10127
Filling time | 0.143 ms
Group velocity | 0.01c
Mode of operation | 2/3p
Final beam energy | 24 MeV
Beam pulse current | 100 mA
Main contributors D. Alesini, F. Cardelli, A. Curcio, L. Faillace, L. Ficcadenti, L. Giuliano, M. Magi, M. Migliorati
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 16
Main contributors: D. Alesini, R. Di Raddo, L. Faillace, L. Giuliano, M. Magi, M. Migliorati
Brazing alloy
In house building of the accelerating structure
Screws to join the cells
Screws: prevent external clamping and ensure alignment and more reliable assembly
Water cooling hole
RF power
Building the TW structure @ Sapienza
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 17
FINAL Tuning of TW section at sapienza-LAB
Phase shift after tuning
Electric field after tuning
Electric field before tuning
Phase shift before tuning
Main cotributors: L. Ficcadenti, L. Giuliano
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 18
Power splitter optimization
Main cotributors: L. Ficcadenti, L. Giuliano
The electric field in the power splitter
before optimization
1 Watt
Constriction that caused higher-order mode excitation
Rounding not suitable for mechanical processing
High fields at the curves
The electric field in the power splitter
after optimization
1 Watt
TE010 mode
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 19
TW realization and low power test
Main cotributors: D. Alesini, F. Cardelli, A. Curcio, S. Farina, L. Giuliano, M. Magi
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
43.23 cm
Sim[GHz] | Meas [GHz]
5,7232 | - ?
5,7202 | 5,7217
5,7193 | 5,7197
5,7178 | 5,7178
5,7157 | 5,7149
5,7132 | 5,7120
5,7106 | - NO
5,7075 | 5,7080
5,7044 | 5,7050
5,7013 | 5,7013
5,6977 | 5,6977
5,6941 | 5,6940
5,6908 | 5,6907
5,6874 | 5,6870
5,6842 | 5,6842
5,6816 | 5,6811
5,6789 | 5,6786
5,6773 | - NO
5,6758 | 5,6756
Measurements without Couplers SW-like:
Peaks match CST simulations ✅
Likely issue: Couplers, not cells
New couplers machinery is ongoing
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 20
PLANNED high POWER TEST AT LNF
C-band Klystron
Lucia Giuliano et al.
50 cm TW structure
High Power Test scheduled in autumn 2025
Imagines courtesy of F. Cardelli and S. Pioli
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro
Joint-lab medical accelerator

## Slide 21
Bunker @ Sapienza University
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
LINAC
Modulator & Klystron
Room Service
The works of the bunker will be completed in October 2025
e-
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 22
Future perspectives:
beam delivery and pre-clinical studies
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 23
Beam delivery: flat beAM
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Irradiation 4 X 4 cm
Main contribution A. Curcio, L. Giuliano
Cell flask
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 24
Beam delivery: pencil beam scanning
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Main contribution A. Curcio, L. Giuliano
Irradiation 4 X 4 cm
Irradiation 13 mm X 8 mm
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 25
Pre-clinical applications: GBM in mice
Lucia Giuliano et al.
Main contribution A. Curcio, A. De Gregorio, G. Franciosini, L. Giuliano, G. D’Alessandro, C. Limatola, A. Sarti, E. Teseo
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro
Dipartimento di Fisiologia e Farmacologia “Vittorio Erspamer”
Dipartimento di Scienze di Base Applicate per l’Ingegneria
In PBS and FLAT, the dose absorbed by the organ at risk (green) surrounding the Tumor Volume (red) remains significantly low, staying below a reasonable hypothetical constraint.

## Slide 26
CONCLUSION
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
  24 MeV FLASH Linac is under costruction @Sapienza University
  The procurement of all components is on schedule
  Phase 1: featuring SW 10 MeV, will be completed by the end of 2025
    The SW and gun design has been completed.
    SW structure will be realized by the end of June 2025
  Phase 2: featuring SW and TW 24 MeV, will be completed by the end of 2026
    The TW 50 cm development is in progress
    The high-power test expected to be conducted at Frascati INFN - TEX Laboratory in autumn 2025
  Future perspectives: Beam Delivery and applications
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 27
Thank you!!!
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro

## Slide 28
FLASH Therapy IN A NUTSHELL
Dose rate =0,1 Gy/s
Dose rate =125 Gy/s
It is a new way to deliver the dose:
- high dose per pulse (>1 Gy) in “very short time” of irradiation (< 100 ms )
- high mean dose rate (>40-100Gy/s)
Courtesy of V. Faudon
Healthy Fibrosis Healthy
Control 17 Gy CONV 17 Gy FLASH
FLASH THERAPY
FLASH irradiation protects healthy tissues from damage and remains as efficient as conventional irradiation in the repression of tumor growth.
 | Conventional | FLASH
Dose (Gy) | 17 | 17
Mean Dose rate (Gy/s) | 0,03 | 60
Favaudon et al., Science Translational Medicine 6, 2014
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Convegno Nazionale: Quarta Giornata Acceleratori
3 – 4 Aprile 2025 INFN - Laboratori Nazionali di Legnaro