## Slide 1: FECR: Prototype of the next generation ECR ion source
L. Sun
IMP
Institute of Modern Physics, CAS, 730000, Lanzhou, China
PIBHI’25, April. 7~9, 2025, Acitrezza, Italy

## Slide 2
Outline
General introduction to FECR
  Specs of FECR
FECR Developments
  Magnet Development
  First Commissioning
Scope and Summary
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 3
FECR Introduction
Conventional Structure: VENUS, SuSI, RIKEN-SCECRIS…
SECRAL Structure
Ioffe-bar Structure
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 4
FECR Introduction
Specs. | Unit | Value
Frequency | GHz | 45
RF Power | kW | 20
Chamber ID | mm | ≥Ø140
Mirror Fields | T | ≥6.4/3.2
Brad | T | ≥3.2
Mirror Length | mm | ~500
Bmax in conductor | T | ~11.8
Magnet coils | / | Nb3Sn
Nb3Sn | Jc>1500 A/mm2@12T | 
Cooling Capacity@4.2 K | W | >10.0
Specs. of FECR
H. W. Zhao et al., Review of Scientific Instruments 89, 052301 (2018)
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 5
FECR Intro: Challenges
Liangting Sun, ICFA-Newsletter 73, p34.
Specs. | Unit | FECR | Challenges
frequency | GHz | 45 | High frequency high power microwave coupling High power chamber cooling
Operational RF Power | kW | 20 | 
BECR | T | 1.6 | Reliable High Field Magnet with min-B Field Configuration
Brad | T | ≥3.2 | 
Binj | T | ≥6.4 | 
Bmin | T | 0.5~1.1 | 
Bext | T | ≥3.4 | 
Plasma Chamber ID | mm | ≥140 | 
Mirror Length | mm | 500 | 
Cooling Capacity@4.2 K | W | ≥10.0 | Radiation degradation and dynamic heat load
U35+ | mA | >1.0 | Intense solid material beam production
Pulsed Beam Frequency | Hz | 0.5~3 | High afterglow yield and pulse duration
Afterglow pulse width | ms | >2.0 | 
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 6
FECR Magnet
3rd G ECRIS
4th G ECRIS
500
1100
7.0
12
Courtesy of MagLab
Nb3Sn vs. NbTi:
Fragile
Treatment sensitive
Stress sensitive
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 7
FECR Magnet
COIL-PACK
SUBASSEMBLY
COLLARS
SEXTUPOLE
COILS
AXIAL-LOAD
END PLATE
SUBASSEMBLYS
SOLENOID
STRUCTURE
SUBASSEMBLY
SHELL-YOKE
SUBASSEMBLY
(Shell is strain gauged)
MASTER-KEY PLATES
BLADDER
SUBASSEMBLY
LOAD-KEYS
YOKES
YOKE-SHELL
ALIGNMENT PINS
AXIAL RODS
(Strain Gauged)
COIL END
BLOCKS
In collaboration with ATAP/LBNL（2016~2017）
Key technologies and tests completed in close collaboration with XSMT (since 2016)
Bladder & Keys assembly
M. Juchno, et al., IEEE Trans. Appl. Supercond., 28(4), 2018, Art. 4005506
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 8
FECR Magnet
2. Key technologies validating and test
3. ½ length coldmass prototype
（2017.11-2021.12）
4. FECR full-length coldmass
（2021.10-2023.03）
1. Coils prototyping
2015.07~2018.12
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 9
FECR Magnet
2017.02
2017.08
2018.03
2018.12
2021.03
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 10
FECR Magnet
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 11
FECR Magnet
Solenoids & Sextupole coil both reach their 100% design currents
Sextupole coil assembly reaches its 96% design currents
Key issues:
  Quench protection
  Coils degradation
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 12
FECR Magnet
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 13
FECR Magnet
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 14
FECR Magnet
Using NbTi sextupole coils to replace Nb3Sn ones
Maintain the cold mass structure identical to the previous design
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 15
FECR Magnet
FECR cold mass
FECR Magnet
Coldmass test
Magnet test
Radial field mapping at 90% design currents
Br100%~2.7 T
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 16
FECR Magnet
Strong Flux Jump Interferes Magnet Operation
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 17
FECR Commissioning
FECR
Parameters | Value
Microwave | 45 GHz + 28 GHz
45 GHz Power | 20 kW
28 GHz Power | 10 kW
Typical operation fields | Mirror peaks: 3.9 T/2.1 T Br= 2.3 T
Commissioned ions | O, Xe, Bi
Operation voltage | 25 kV
FECR
45 GHz
Quasi-optical
28 GHz
Oversized WG
Micro-channel plasma chamber
Conventional Injection setup
Movable Extraction electrodes
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 18
Quasi optical microwave coupling
HE11
TE01
FECR Commissioning
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 19
Key Parameters | FECR Chamber | SECRAL-II Chamber
Max. Microwave Power | 25 kW | 12 kW
Max. Localized Power Density | 20 MW/m2 | 10 MW/m2
Chamber ID | Ø140 mm | Ø125 mm
Chamber OD | Ø156 mm | Ø136 mm
Length | 1225 mm | 887 mm
Microchannel region | 15×15.6×1.5 mm3 | 15×15.6×1.0 mm3
Fins | 0.4 mm×19 | 0.4 mm×19
Channel | 0.4 mm×20 | 0.4 mm×20
Inside-wall thickness | 1.5 mm | 1.5 mm
Outside-wall thickness | 1.5 mm | 1.5 mm
Water pressure | 10 bar | 8.9 bar
Water flow per channel | ＞ 15 L/m | ＞ 4.0 L/m
Total water flow | ＞ 50 L/m | ＞ 13 L/m
FECR
Chamber
SECRAL-II
Chamber
FECR Commissioning
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 20
FECR
RFQ
FC5
Layout of LEAF Platform
FC1
FECR Commissioning
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 21
FECR
RFQ
HV
Platform
FECR Commissioning
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 22
Bi35+
FECR: 360 eμA Bi35+
CW acceleration of 0.23 emA @0.5 MeV/u Bi35+
0.23 emA Bi35+@60 mins
FECR Commissioning
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 23
Scope and Summary
New Nb3Sn coil
Quench Protection
Coils Safe Assembly
Notes: Needs: SHE, CEE, HIAF
HCI production: metallic beams with CAFe-2 (LECR5 & SECRAL 3), Uranium beam with HIRFL@SECRAL-I & SECRAL-II
New Techniques towards intense beams: HTO, Vlasov launcher, 2-frequency AG, Biased probe + AG effect
HIAF requirements in long range, FECR

## Slide 24
Prototype of next generation ECR ion source FECR is ready
Performance needs further exploration
Challenges
  Magnet safety
  Strategy of reliable operation
  High operation current cryostat
  Unseen issues during high performance commissioning
Scope and Summary

## Slide 25
We are grateful to have all of you on board for this adventure!