## Slide 1
Wednesday, 09 April 2025
Morning round table I (8:30 – 10:30)
Beam reliability, reproducibility and stability issues
T. Nagatomo (RIKEN) HCI Beam Production and Challenges at RIKEN
L. Sun (IMP-CAS) Production of intense highly charged metallic ion beams for routine operation
D. Todd (LBNL) VENUS operation and HCI beam production for SHE in LBNL

## Slide 2
HCI Beam Production and Challenges at RIKEN
T. Nagatomo
on behalf of Ion Source Team, RIKEN Nishina Center

## Slide 3
・Beam intensity instability due to much metal vapor
・X-ray heat load increase
・Ion beam extraction system improvements
Toward U35+ beam of 300μA ~ 1 month stable
・P (28 GHz +18 GHz) ~ 4 kW
・Much UO2 consumption rate > 10 mg /h
・Emittance growth due to Iext ~ 10 mA (Space charge ? Plasma meniscus?)

## Slide 4
Beam intensity instability due to metal vapor
In the case of V-beam supply for the SHE of 119

## Slide 5
V sample filling +
Plasma chamber cleaning
Idrain = 4.0 mA
Fluctuation in beam intensity ~ a few %.
Idrain = 4.0 mA
1 min
1 mA
This spike causes an intensity reduction of > 10%
Days
54.6 days
3.0 mg/h (4.0 g total)
1st FC
2nd FC
(before RFQ)
29 days
4.0 mg/h (4.0 g total)

## Slide 6
Idrain = 4.0 mA
Idrain = 4.0 mA
1 min
1 mA
This spike causes a reduction in beam intensity of more than 10%.
Fluctuation in beam intensity ~ a few %.
Typical Deposition of the vanadium sample
After another long run with
the consumption rate ~ 5.2 mg/h (Total 4.2 g)
Flake-shaped
Metal

## Slide 7
A boat-shaped ceramic crucible was fabricated to direct the aperture into the ECR zone
To ECR Zone
Anti-Deposition Shield (AD Shield)

## Slide 8
w/o AD Sheilds
(after ~4.2 g consumption)
With
AD
Sheilds
(~2.4 g )

## Slide 9
1 min
1 mA
Idrain = 4.0 mA
1 min
1 mA
Idrain = 3.4 mA
w/o AD Sheilds
(after 4.2 g total consumption)
with AD Sheilds
(after 2.4 g total consumption)
Comparison of Idain without and with AD shield

## Slide 10
・Beam reduction was caused by sudden evaporation of flake-shaped metal deposits inside the chamber wall when the plasma touch them.
・This test was not achieved same consumption level (total 4g).
However, AD shield has the potential to suppress instantaneous
Beam intensity instability due to metal vapor

## Slide 11
V sample filling
Plasma chamber Cleaning
OVEN
Heating
Power (w)
800
700
600
Days
HTO2
HTO1
HTO1, 2
(same power)

## Slide 12
Temperature distribution in the crucible is uneven, especially noticeably lower at the bottom, lid and upper area of the aperture.
It is considered that the sample accumulates and or deposits in the lower temperature area.
Cooling water (25 degrees C)
Ceramic
ring

## Slide 13
X-ray heat loading

## Slide 14
X-ray heat load
X ray heat load on the cryostat
Is expected as 4-10 W !!

## Slide 15
Extremely high-power GM-JT ( > 8 W @ 4 K)
Two compressors were used, the smaller (E77-A) for GM and the larger (J117V) for the JT circuit.
Already installed in RIKEN 28G-Hz SC-ECRIS for RIBF (R28G-S)
GM-JT (RJT-100, SHI Cryo. Group)

## Slide 16
・Extremely high-power GMJT (RJT-100) was developed by SHI Cryo. Group.
・Cooling power of > 8 W @ 4 K
・RJT-100 was already installed in R28G-S and in operation.
X-ray heat loading

## Slide 17
Ion beam extraction system improvements

## Slide 18
Modification of Extraction System
・F1 – Sol1 - Q11Q22Q33 – F2 – Q21Q22Q33 – F3 – Sol2 – RFQ
・The optical path between F2 and F3 is determined to match the acceptances of the RFQ.
・From F1 to F2, Combination of Sol1 and Triplet Q can absorb some focus shift.
・ A significant increase in beam intensity significantly affects the beam focusing at F1.
There is a significant possibility that the Sol 1-TQ combination will not be able to handle the situation.

## Slide 19
500
250
Previous
Setups
Modified
Setups
(1st Step)
・Previously, optics adjustment by grounded puller electrode position change and Ext. Sol.
・Modified electrode to allow -30 kV to be applied to the end of the puller.
・500-mm space following the Ext.Sol. → Additional lenses are being designed.
・FC and profile measurement devices is plan to install the following chamber.
GND
Ext. HV
Ext. Sol.
Ext. Sol.
Insulator
GND
Ext. HV
Insulator
GND
Ext. HV
Insulator
Neg. HV
Need new
or good ideas

## Slide 20
Pepper-pot type Emittance meter at First diagnostic chamber
Optical flow method automatically tracks beam spots as the distance changes
→ Improved measurement accuracy, especially angular resolution
x(mm)
y(mm)
1405 mm
upstream
x(mm)
y(mm)
Morita et.al., ICIS2023
The estimation accuracy of the transverse phase space distribution upstream of the analyzing magnet has been dramatically improved.
→ Expected to be able to measure changes in emittance with increasing beam intensity and Iext
Observed X-Y
Estimated beam profile
With Good resolution!

## Slide 21
・To deal with the change in focus due to the increase in beam intensity, the extraction system is being modified.
An electrode capable of applying -30 kV at the tip of the puller were fabricated and installed.
Additional beam optics devices (e.g., lenses) are being designed.
・Improved angular resolution of the PPEM so that the transverse phase space distribution can be predicted before the analyzer.
Ion beam extraction system improvements

## Slide 22
Summary
Toward uranium 35+ beam 300μA
○Beam intensity instability due to metal vapor
◎X-ray heat load
△Ion beam extraction system improvements
＋Cooling system upgrade of Plasma Chamber
◎：OK
○：could be OK
△：in progress

## Slide 23
・Beam reduction was caused by sudden evaporation of flake-shaped metal deposits inside the chamber wall when the plasma touch them.
・This test was not achieved same consumption level (total 4g).
However, AD shield has the potential to suppress instantaneous
Beam intensity instability due to metal vapor
・Extremely high-power GMJT (RJT-100) was developed by SHI Cryo. Group.
Cooling power of > 8 W @ 4 K
・RJT-100 was already installed in R28G-S and is in operation.
X-ray heat loading
・To deal with the change in focus due to the increase in beam intensity, the extraction system is being modified to apply -30 kV at the end of the puller.
・Additional beam optics devices (e.g., lenses) are being designed.→ We need new good ideas
・Improved angular resolution of the PPEM so that the transverse phase space distribution can be predicted before the analyzer.
Ion beam extraction system improvements

## Slide 25
Idrain
Idrain
Idrain = 4.0 mA
Idrain = 4.0 mA
1 min
1 mA
Start
End
This spike causes a reduction in beam intensity of more than 10%.
Fluctuation in beam intensity ~ a few %.

## Slide 26
RIKEN 28-GHz ECRISs for RILAC II and RILAC
SC-ECRIS（RILAC）and LEBT
SC-ECRIS（RILAC II）and LEBT
RFQ
SC-ECRIS
Analyzing magnet
Faraday
cup
Paired Solenoid
Q magnet
Paired Solenoid
3 m