## Slide 1: Radiation Monitor: Concepts, Simulation for an Advanced Read Out
R. Cardarelli, A. Di Ciaccio, L. Paolozzi
INFN-Roma Tor Vergata
Super-B Collaboration meeting 20/09/2012
Pisa

## Slide 2: Outline
Location of the beam monitor in the Super-B detector.
Test of a mono c. v.s. poly c. diamond detector with SiGe amplifier.
Conclusions and future plans.

## Slide 3: Location of the detectors

## Slide 4
detector size | 8 X16 mm2
leakage current | 80x10-10 A
Ionization current | 6.7x10-10 A
hits rate | 130KHz
Transit time | 20 ns
Integration time | 30 ns
Electric resistance | 1011 Ωcm
energy threshold | 150KeV
Diamond detectors 4mm x 4mm
8 diamond detectors for each ring
geometry of the detector
feature

## Slide 5: Tentative electronics diagram
.
Pico
Amp
amp
digitizer
100 kOhm
Diamond
detector
amp
HV
500 Volt
10m coax. Cable Ø = 0.7 mm
CPU

## Slide 6: Multi-Coaxial Cable Ø = 0.7 mm

## Slide 7: Amplifier, AC, (BJT SiGe, BFP740)
Voltage supply 5 Volt
Sensitivity 6 mV/fC
noise 500 e- RMS
Input impedance 50 Ohm
B.W. 30 MHz
Power consumption 10 mW/ch
Low cost 2 – 3 eur./ch
Radiation hardness 50 Mrad, 1015 n cm-2

## Slide 8: Signal from a minimum ionizing particle
20ns/div.
20ns/div.

## Slide 9: Americium-241 + Sr-90
Am-241
Sr-90
noise

## Slide 10: Polycrystal diamond: alfa source (log scale)

## Slide 11: Drift of the monocrystal diamond

## Slide 12: Problems of standard diamont detectors
Monocrystal is unstable.
Polycrystal has low charge collection efficiency.

## Slide 13: Standard diamond detector

## Slide 14: New detector concept
0.2 mm
P - Diamond
graphite
Graphite+Al

## Slide 15: Conclusions
The background of the detector has been simulated.
The developement of FE electronics is in progress.
A new structure of diamond detector has been proposed to solve the main problems of the present ones.

## Slide 16: Future plans for 2013
Test at H8 (CERN) with muon beam.
Test of the new detectors.
Test of the final layout.
Developement of a full custom FE electronics in SiGe technology.