## Slide 1
Davide Quaranta,
24 June 2025
MAYORANA
(Multi-Aspect Young ORiented Advanced Neutrino Academy)
19–25 Jun 2025, Modica
Towards uniform
detector response
in large-scale KID arrays
for Dark Matter searches
with BULLKID-DM

## Slide 2: Turbocharged BULLKID-DM primer
BULLKID is an R&D project targeting at the development of a detector for :
16 diced silicon wafers
100 mm diameter
600 g active mass
More than 2500 dice
Installation @ LNGS 2027!
direct light dark matter detection
coherent neutrino-nucleus scattering
1 KID per die
SC RLC resonant circuit
Measure shift of resonant frequency

## Slide 3: Turbocharged BULLKID-DM primer
BULLKID is an R&D project targeting at the development of a detector for :
16 diced silicon wafers
100 mm diameter
600 g active mass
More than 2500 dice
Installation @ LNGS 2027!
direct light dark matter detection
coherent neutrino-nucleus scattering
1 KID per die
SC RLC resonant circuit
Measure shift of resonant frequency

## Slide 4: Turbocharged BULLKID-DM primer
BULLKID is an R&D project targeting at the development of a detector for :
16 diced silicon wafers
100 mm diameter
600 g active mass
More than 2500 dice
Installation @ LNGS 2027!
1 KID per die
SC RLC resonant circuit
Measure shift of resonant frequency
direct light dark matter detection
coherent neutrino-nucleus scattering

## Slide 5: KID Signal Reconstruction
Calibrated Phase
Energy of an event is measured from the change of the complex transmission function of the KID resonator:
The phase signal depends on:
  the resonator quality factor Q
  its working point (non-linearity)
  the bias power
Key-Problem
Response can be very different across resonators! (and we will have many)
Event
Keep this
in mind

## Slide 6: KID Signal Reconstruction
Fractional Frequency Shift
We developed a new reconstruction algorithm to extract the Fractional Frequency Shift (x) signal, which should be equal for all KIDs (and linear):
We follow the evolution of the resonance circle during an event
At each step we compute the shift of the resonant frequency
Residual dependance on KID temperature due to is being currently investigated
Event

## Slide 7: Whole Wafer Test with Am-241
Test using 60 keV peak of Am-241 for calibrating all the KIDs of a wafer at once.
The calibration was repeated in two bias-power configurations (low and high power).
Additional cross-check done with usual LED calibration.
Efficient KID response equalization was observed among all 50 dice under test:
  average responsivity : 29.7 keV-1
  better then 10% agreement

## Slide 8: Thanks for the attention
*This work was partially supported through the European Research Council through the Consolidator Grant DANAE number 101087663

## Slide 9: Backup Slides

## Slide 10: Calibration
Introducing the responsivity R:
The die under test is excited with LED pulses of increasing energy.
For Poisson's statistics
[mrad/keV]
and extracted by linear fit

## Slide 11: Phonon Leakage
Half of the phonons produced in a die escape to neighboring dice:
  (14 ± 3) % in ogni cubo “+”
  (5 ± 1) % in ogni “x”
This effect reduces the efficiency of phonon collection
But it allows to identify the die where the interaction takes place
Kept
Discarded

## Slide 12: Background @ Sapienza
D. Delicato et al, Eur. Phys. J. C 84, 353 (2024)
Energy spectrum after 39 hours of exposure of a single 0.34 g die to background environmental conditions

## Slide 13: Sensitivity projections
1 d.r.u. = 1 count/keV/kg/year

## Slide 14: Kinetic Inductance Detectors
In a superconductor at T<T_c, the current flow is due to the Cooper Pairs:
  bound states
  Bounding Energy
KID starter pack
Superconducting LC Resonator
Energy releases break pairs of Coopers
Resonant frequency shifts
Quasiparticles
Cooper Pairs
Cooper pairs contribute to the inductance of the superconducting metal (Kinetic inductance)

## Slide 15: The BULLKID project
Top view
60 KIDs array:
  60nm Aluminum Film
  1 KID for each die
  Single readout line
Basic idea
Detect phonons produced by particle interactions in a target detected by KIDs detectors
Bottom view
Monolithic silicon wafer:
  Carved into diced ( mm3 )
  0.3 g for die
  0.5 mm commond base

## Slide 16: BULLKID @ LNGS
Shields & Vetoes
Room T Shields
Lead -Shield
Cu Shield
PE n-shield
Cryo-schermo/veto
BGO crystal
KID light detector
Additional Shields
5 cm Lead shield
10 cm Copper shield

## Slide 17: KIDs Readout
KID
Transmission function

## Slide 18: Dark Matter – Direct Search
Nuclear Recoil
Observable is recoil energy
Fraction of energy transferred to the nucleus
Being an elastic scattering:

## Slide 19: The BULLKID-DM Experiment
WIMP mass [GeV]
Cross section [cm]
BULLKID is an R&D project targeting at the development of a detector for direct light dark matter detection and coherent neutrino-nucleus scattering.
16-layer stack of 100 mm diced silicon wafers:
  600 g active mass
  More than 2500 dice
Each die is sensed by a Kinetic inductance Detector
  60 nm aluminum litography
  Single readout line for each wafer
Installation @ LNGS 2027!

## Slide 20
We developed a new reconstruction algorithm to extract the Fractional Frequency Shift (x) signal, which should be equal for all KIDs:
Towards uniform detector response in large-scale KID arrays
for Dark Matter searches with BULLKID-DM
Davide Quaranta1,2 on behalf of the BULLKID collaboration
1Università di Roma ‘La Sapienza’
WIMP mass [GeV]
Cross section [cm]
2Istituto Nazionale di Fisica Nucleare, Sezione di Roma
Project Goal
BULLKID is an R&D project targeting at the development of a detector for direct light dark matter detection and coherent neutrino-nucleus scattering.
The idea is to sense phonons produced by the nuclear recoil of such particles on a diced silicon target with a large array of kinetic inductance detectors (KIDs).
The BULLKID-DM experiment will consist of a 16-layers stack of 100 mm silicon wafers.
It will have more than 2500 dice, with one KID detector each.
Commissioning of the detector at the Gran Sasso National Laboratories of INFN is planned for 2027.
Calibration of such a large number of single detectors is therefore a challenge.
The BULLKID-DM Experiment
1 Jonas Zmuidzinas. “Superconducting Microresonators: Physics and Applications”(2012).
2 A. Cruciani et al. “BULLKID: Monolithic array of particle absorbers sensed by kinetic inductance detectors” (2022).
3 L. J. Swenson et al. “Operation of a titanium nitride superconducting microresonator detector in the nonlinear regime” (2013).
4 M. S. Khalil et al. “An analysis method for asymmetric resonator transmission applied to superconducting devices” (2012).
5 M. Vignati et al. “Non-linearity in the system of quasiparticles of a superconducting resonator” (2021).
Whole-wafer test with Am-241
KID Signal Reconstruction
Energy of an event is measured from the change of the complex transmission function of the KID resonator:
The phase signal depends on the resonator quality factor Q , on its working point and on the bias power. Therefore the response is different from KID to KID.
Fractional Frequency Shift
Bibliography
Calibrated Phase
The performance of this new variable were tested using the 60 keV peak of Am-241 for calibrating all the KID of a wafer at once.
Calibrated Phase
Fractional Frequency Shift
The calibration was repeated in two bias power configurations (low and high power).
Additional cross-check done with usual LED calibration.
Efficient KID response equalization was observed with the new variable, obtaining an average responsivity of 29.7 keV-1 with better than 10% agreement between all 50 dice under test.