## Slide 1
MAYORANA - June 19-25, 2025
Antonino Pitronaci
The new MAGNEX gas tracker for the NUMEN project
Antonino Pitronaci
Introductory concepts
First coupling tracker-SiC
First in-beam test at IFUSP
Conclusions
The new gas tracker of the MAGNEX spectrometer for
high-rate ion detection: an experimental challenge for
the NUMEN project
Antonino Pitronaci
June, 19th - 25th, 2025
UniCT DFA ”E. Majorana”
INFN - Laboratori Nazionali del Sud

## Slide 2
MAYORANA - June 19-25, 2025 1/5
Antonino Pitronaci
The new MAGNEX gas tracker for the NUMEN project
Antonino Pitronaci
Objectives: getting data-driven information on neutrinoless double-beta (0νββ) Nuclear Matrix Elements (NMEs);
Methods: measurements of Heavy-Ion induced Double Charge Exchange reaction cross-section;
NUclear Matrix Element for Neutrinoless double-beta decay
Aims of the project:
Experimental challenges
same mother/daughter nuclei;
short-range Fermi, Gamow-Teller and rank-2 tensor operators;
No Qvalue dependence;
higher yield due to the nuclear interaction;
& HI-DCE reactions
Introductory concepts
First coupling tracker-SiC
First in-beam test at IFUSP
Conclusions
high tracking performances:
(FWHM)
(FWHM) (FWHM)
high identification power:
Bearing unprecedented high-intensity beams (1013 pps at the target);
Radiation hardness;
MAGNEX spectrometer

## Slide 3
MAYORANA - June 19-25, 2025 2/5
Antonino Pitronaci
The new MAGNEX gas tracker for the NUMEN project
Antonino Pitronaci
First coupling gas tracker & SiC detector at INFN-LNS Catania
Experimental setup
Probe: collimated α by 241Am α-source;
Working regime: i-C4H10 @ [10-30] mbar;
M-THGEM: ideal for high-rate ion detection;
Segmented anode: to get hit-map of the crossing ion;
Introductory concepts
First coupling tracker-SiC
First in-beam test at IFUSP
Conclusions

## Slide 4
MAYORANA - June 19-25, 2025 3/5
Antonino Pitronaci
The new MAGNEX gas tracker for the NUMEN project
Antonino Pitronaci
First coupling gas tracker & SiC detector at INFN-LNS Catania
Introductory concepts
First coupling tracker-SiC
First in-beam test at IFUSP
Conclusions
Good quality track reconstruction;
Angles compatible with the set geometry
Remarks
Experimental setup
Probe: collimated α by 241Am α-source;
Working regime: i-C4H10 @ [10-30] mbar;
M-THGEM: ideal for high-rate ion detection;
Segmented anode: to get hit-map of the crossing ion;

## Slide 5
Antonino Pitronaci
The new MAGNEX gas tracker for the NUMEN project
Antonino Pitronaci
First coupling gas tracker & SiC detector at INFN-LNS Catania
Introductory concepts
First coupling tracker-SiC
First in-beam test at IFUSP
Conclusions
Good quality track reconstruction;
Angles compatible with the set geometry
Remarks
MAYORANA - June 19-25, 2025 3/5
Experimental setup
Probe: collimated α by 241Am α-source;
Working regime: i-C4H10 @ [10-30] mbar;
M-THGEM: ideal for high-rate ion detection;
Segmented anode: to get hit-map of the crossing ion;

## Slide 6
Antonino Pitronaci
The new MAGNEX gas tracker for the NUMEN project
Antonino Pitronaci
First in-beam characterization at IFUSP – São Paulo (Br)
Experimental setup
-particles & Pelletron beams:
  and ;
Safiira setup:
  Beam spot: 300 m;
  Angular divergency: 0.2° FWHM
Experimental dots roughly follow the predicted behavior;
Agreement between predictions and experiment could be affected by non linearities;
Remarks
Introductory concepts
First coupling tracker-SiC
First in-beam test at IFUSP
Conclusions
MAYORANA - June 19-25, 2025 4/5

## Slide 7
Antonino Pitronaci
The new MAGNEX gas tracker for the NUMEN project
Antonino Pitronaci
Introductory concepts
First coupling tracker-SiC
First in-beam test at IFUSP
Conclusions
Conclusions
Characterization at INFN-LNS: The - and - distributions return angle compatible with the set geometry;
First in-beam characterization at IFUSP: the experimental charge distribution width qualitatively follows the predicted trend at both ion species and rate changes;
Perspectives: single-track analysis to improve the quality of the reconstruction algorithm and subsequent resolution studies;
MAYORANA - June 19-25, 2025 5/5

## Slide 8
MAYORANA - June. 19-25, 2025
Antonino Pitronaci
The new MAGNEX gas tracker for the NUMEN project
Antonino Pitronaci
Thanks for Your attention!
Introductory concepts
First coupling tracker-SiC
First in-beam test at IFUSP
Conclusions

## Slide 9
MAYORANA - June 19-25, 2025
Antonino Pitronaci
The new MAGNEX gas tracker for the NUMEN project
Antonino Pitronaci
Backup: I-V characterization with -source at INFN-LNS
Observations
  Currents measurements performed:
  - changing ;
  - changing ;
Observations:
- follows an exponential trend;
- saturation of up to 800 V;
Gain: amplification factor for electrons
IBF: fraction of the produced ions reaching the cathode
  Gain () and IBF (20 - 25)% consistent with the NUMEN requirements.
Observations
Introductory concepts
First coupling tracker-SiC
First in-beam test at IFUSP
Conclusions

## Slide 10
MAYORANA - June 19-25, 2025
Antonino Pitronaci
The new MAGNEX gas tracker for the NUMEN project
Antonino Pitronaci
On the contributions &
Introductory concepts
First coupling tracker-SiC
First in-beam test at IFUSP
Conclusions
Theoretical predictions:
Microscopic picture of - drift:
Additional boundary condition (i):
Geometrical effect:
  increases as increases;
Credits: Y. Assran, A. Sharma "Transport properties of operational gas mixtures used at LHC" - https: // doi. org/ 10. 48550/ arXiv. 1110. 6761
Additional boundary condition (ii):
Threshold effect:
  FWAB-evaluation for ;

## Slide 11
MAYORANA - June 19-25, 2025
Antonino Pitronaci
The new MAGNEX gas tracker for the NUMEN project
Antonino Pitronaci
On the design of mechanical supports (Fusion360 – Edu. License)
Introductory concepts
First coupling tracker-SiC
First in-beam test at IFUSP
Conclusions

## Slide 12
MAYORANA - June 19-25, 2025
Antonino Pitronaci
The new MAGNEX gas tracker for the NUMEN project
Antonino Pitronaci
On the NUMEN Event generator: numenEG
Introductory concepts
First coupling tracker-SiC
First in-beam test at IFUSP
Conclusions