## Slide 1
What to expect with HIC and Esym research above 100 AMeV
P.Russotto1 et al.
on behalf of CHIRONE, R3B and ASY-EOS II Collaborations
1INFN-LNS, Catania, Italy

## Slide 2: Nuclear matter EOS and symmetry energy
Symmetric matter
δ=0
Neutron matter
δ=1
Fuchs and Wolter, EPJA 30 (2006)

## Slide 3: Nuclear matter EOS and symmetry energy
Symmetric matter
δ=0
Quite well known
Neutron matter
δ=1
Fuchs and Wolter, EPJA 30 (2006)

## Slide 4: Nuclear matter EOS and symmetry energy
Symmetry energy
The symmetry energy is the difference between the energy of the symmetric matter (δ=0) and neutron matter (δ=1) and describes how the energy of asymmetric nuclear (N≠Z) depends on the saturation density
Symmetric matter
δ=0
Quite well known
Neutron matter
δ=1
Fuchs and Wolter, EPJA 30 (2006)

## Slide 5: Nuclear matter EOS and symmetry energy
Symmetry energy
The symmetry energy is the difference between the energy of the symmetric matter (δ=0) and neutron matter (δ=1) and describes how the energy of asymmetric nuclear (N≠Z) depends on the saturation density
Symmetric matter
δ=0
Quite well known
Neutron matter
δ=1
Not well known
Fuchs and Wolter, EPJA 30 (2006)

## Slide 6: How to investigate symmetry energy: a multi-messenger probem
Chun Yuen Tsang et al., Nature Astronomy 8 328 (2024)
W. Lynch and M.B. Tsang, PLB 830, 137098 (2022)
J.M. Lattimer, A.W. Steiner EPJA 50 (2014) 40
theory support needed!

## Slide 7: n/p flows: symmetry energy at high-densities
Parametrization for SE used in UrQMD* model:
Esym = Esympot+Esymkin = 22MeV·(ρ/ρ0)γ+12MeV·(ρ/ρ0)2/3
Needs:
centrality
reaction plane
on-target event selection
n and p (LCP) momentum
n background
P.Russotto et al., PLB 697 (2011)
Notes: OK

## Slide 8: Do not forget pions, not treated here

## Slide 9: ASY- EOS I (S394) @ GSI (May 2011)
µBall: 4 rings 50 CsI(Tl), Θ>60°. Discriminate target vs. reactions with air. Multiplicity and reaction plane measurements.
LAND: Large Area Neutron Detector . Plastic scintillators sandwiched with Fe 2x2x1 m3 plus plastic veto wall. New Taquila front-end electronics. Neutrons and LCP discrimination. Flow measurements
TOFWALL: 96 plastic bars; ToF, ΔE, X-Y position. Trigger, impact parameter and reaction plane determination
KraTTA: 35 (5x7) triple telescopes (Si-CsI-CsI) placed at 21°<Θ<60° with digital readout . Light particles and IMFs emitted at midrapidity
CHIMERA: 8 (2x4) rings, high granularity CsI(Tl), 352 detectors 7°<θ<20° + 16x2 pads silicon detectors. Light charged particle identification by PSD. Multiplicity, Z, A, Energy: impact parameter and reaction plane determination
Shadow bar: evaluation of background neutrons in LAND
Vacuum
Au+Au @ 400 AMeV
Notes: OK

## Slide 10: S122 (ASY-EOS II) : advancing Esym studies (also) towards high densities
n/p observable  higher densities probed
Au+Au 400 MeV/u
P. Russotto et al., PRC 94, 034608 (2016)
NeuLAND: capability to resolve p,d,t
Mass (arb.units.)
improved resolution
KRAB: new detector for trigger, reaction plane determination and on-beam centrality selection
and higher densities
Li, Bao-An, NPA 708, 365 (2002)
Higher incident energies 
higher densities reached (probed?)
Energy [AMeV] | Justification
280 | highest sensitivity on Ksym
400 | reference to ASY-EOS I, n/p tests higher densities than before
600 | highest sensitivity on L, high-density tested
1000 | Maximum energy (≈ density) where models agree on v2 sensitivity
Notes: OK

## Slide 11: S122 (ASY-EOS II) - Symmetry energy at high densities from n/p flow excitation functions
Mar 2025
Au+Au
6Li
8Li
7Li
9Be
7Be
B
He (p.t.)
4He
3He
H
320 CsI(Tl) 12 cm thick, assembled in 8 rings, covering polar angles between 4.6 and 16 deg

## Slide 12: KRAB: multiplicity trigger, reaction plane and centrality detector
Main characteristics:
5 rings of 4×4 mm2 segments of fast scintillating fibers (BCF-10)
read out by 3×3 mm2 SiPMs (SensL MicroFJ-30035)
high resolution 3D printed mechanical structure
ASICs used for signal processing (32 ch CITIROC 1A)
assure compactness of the electronics and wiring
compact A7585D SiPM power modules
broad coverage from 30o to 165o
high geometrical efficiency ~87% (within covered angles)
~5% multihit probability (for 1 AGeV Au+Au reaction)
it will be sufficiently large for radioactive beams
and sufficiently small and lightweight not to disturb neutrons
max radius - 12 cm
length ~43 cm (size of a ~24” monitor)
4×160 segments in forward rings
96 segments in backward ring, 736 channels
He sleeve to suppress the δ-electron background
UrQMD simulations
ASY-EOS II

## Slide 13: Multiplicities in forward KRAB rings vs backward ring: how to discriminate the off-target events
280
400
600
1000
Au 2%
EMPTY
reaction plane dispersion for mid-central collisions sub-events split between rings 0+1 and 2+3
ASY-EOS II

## Slide 14: Au+Au @ 400 A.MeV: Some kinematics
Microball: Uniform distribution with EKin<100 Mev
P. Russotto et al., EPJA 50, 38 (2014).
P. Russotto et al., PRC 94, 034608 (2016)
ASY-EOS I
KRATTA:
J. Lukasik et al., NIM 709 (2013) 120128
ASY-EOS I
Notes: OK

## Slide 15: Event characterization
P. Russotto et al., PRC 94, 034608 (2016)
ASY-EOS I
Notes: OK

## Slide 16: Off target (partial) rejection
R192 Au 600 AMeV + Au 2% KRAB_multi>=4
RPCHI (deg)
RPKRAB (deg)
multCHI
multKRAB
RPCHI -RPKRAB (deg)
Yield (arb. units)
R199 Au 600 AMeV + BLANK target KRAB_multi>=4
RPCHI (deg)
RPKRAB (deg)
multCHI
multKRAB
RPCHI -RPKRAB (deg)
Yield (arb. units)
CHIMERA
target
KRAB
from proj
∆Φ≈180°
CHIMERA
KRAB
∆Φ≈0°
on air
ASY-EOS II

## Slide 17: 0 deg detctor and NeuLAND veto
X position correlation
Au target 400 MeV/A
Empty target (400 MeV/A)
Protons and other light ions from the reaction target
Protons and other light coming (mainly) from the exit window of the vacuum pipe
TofD
TofD
ToFD planes 3-4 (veto) vs NeuLAND
  .
  Empty target run ,on the right, does not show this correlation line.
E. Gambera, I. Gasparic, F. Risitano data analysis
Charge distribution
TofD: 2 double planes (≈ 1200×100 mm2 ) with vertical scintillator bars (27×1000×5 mm3) read out by PMTs on both far ends.
ASY-EOS II

## Slide 18: NeuLAND-key detector: n/p flows
Hit clusterizations and raw Isotopic identification in Au+Au (280 MeV/A) obtained by using the Neuland first plane as «veto» detector: Charged particles (p,d,t) are mainly selected.
ToF (first hit) (ns)
Energy (arb. un.)
prelyminary
Raw neutron identification
obtained by the complementary condition (no first plane) fired.
ToF (first hit) (ns)
Energy (arb. un.)
prelyminary
E. Gambera, I. Gasparic data analysis
ASY-EOS II

## Slide 19: ASY-EOS I: background subtraction
ASY-EOS I
Notes: OK
Mostrata: very old
Ris: /nuclei/isospin4_dsk/isospin/TMP_PAOLO/macros/ANALISI/MAY2013/AUG2013/NOV13/ROOTOUTPUT2/FE70dev487lite_t00706_b1_MBg1/flow200last

## Slide 20: ASY-EOS I results
L = 72 ± 13 MeV
Esym(ρ0) = 34 MeV
P. Russotto et al., PRC 94, 034608 (2016)
density to be probed in the ASY-EOS II exp, most relevant for neutron star physics
density probed by the ASY-EOS I exp
L=72±13 MeV
ASY-EOS I
Notes: OK

## Slide 21: @FRIB
What could be done:
n-poor/rich Sn/Ni RIBs on n-poor/rich Sn/Ni enriched targets
from 150 to 350 AMeV and a bit beyond (FRIB-400 )
10^5 pps with 1-2% prob. int. target is enough above 200 AMeV
at lower energy, decrease target thickness but increase beam intensities (10^6 pps is OK)
keep under control beam divergency (1-2° can be tolerated, but has to be stable), how to track the beam?
observable: n, p, LCP yield, energy distribution, flow and relative ratios (n/p, t/3He, 7Li/7Be)
stopping and transparency can be investigated
use of double ratios and isospin tracer technique (measuring also mixed systems n-rich  npoor) to minimize the uncertainties in model parameters
Needs:
Centrality: Zmax, Zbound, CP multiplicity, Etrans12, Erat ….
reaction plane: forward detector, preferably with 2π (cylindrical) symmetry and high granularity
on-target event selection and trigger: backward detector, preferably with 2π (cylindrical) symmetry and high granularity
n and p (LCP) yield and spectra: neutron (with veto) and LCP detector, or n and LCP detectors
n background: shadow bar measurement
additional LCP detectors with high resolution at mid-rapidity and backward region

## Slide 22: (minimal) conclusions
Is this feasible?
Is this sufficient?
Discussion (here) and devoted WG (after)!

## Slide 25: @FRIB
What could be done:
n-poor/rich Sn/Ni RIBs on n-poor/rich Sn/Ni enriched targets
from 150 to 350 AMeV and a bit beyond (FRIB-400 )
observable: n, p, LCP yield, energy distribution, flow and relative ratios (n/p, t/3He, 7Li/7Be)
Possibility to get double yield ratios and imbalance ratios measuring also mixed systems (n-rich<- -> npoor)
10^5 pps with 1-2% prob. int. target is enough above 250 AMeV
At lower energy, decrease target but increase beam intensities (10^6 pps is OK)
Keep under control beam divergency (1-2° can be tolerated, but has to be stable)
Use of double n/p differential observable and/or imbalance ratio to minimize model parameters
Needs:
Centrality: charge of the projectile spectator (Zmax), Zbound, CP multiplicity, Etrans12,…..
reaction plane: forward detector, preferably with 2π (cylindrical) symmetry and high granularity
on-target event selection: backward detector, preferably with 2π (cylindrical) symmetry and high granularity
n background: shadow bar measurement
n and p (ch) momentum: neutron (with veto) and CP detector, or detectors
Additional CP detectors with high resolution at mid-rapidity and backward region
Additional:
Additional CP detectors with high resolution at mid-rapidity and backward region
Measure n/p (ratio) yield and energy spectra. And also,

## Slide 26: CHIMERA@GSI
3He,4He,He(p.t.)
6Li
8Li
7Li
9Be
7Be
B
He (p.t.)
4He
3He
H
320 CsI(Tl) 12 cm thick, assembled in 8 rings, covering polar angles between 4.6 and 16 deg
p,d,t,H(p.t.)

## Slide 27: ASY-EOS I: background rejection
ad. from P. Danielewicz et al., PLB 1985
Ball
M  2
for Ycm>0.1
for Ycm<0.1
CHIMERA
M(Ycm>0.1)  4
GOOD
Notes: OK

## Slide 28: Nucear matter EOS and symmetry energy
Symmetry energy
The symmetry energy is the difference between the energy of the symmetric matter (δ=0) and neutron matter (δ=1) and describes how the energy of asymmetric nuclear (N≠Z) depends on the saturation density
Symmetric matter
δ=0
Quite well known
Neutron matter
δ=1
Not well known
Fuchs and Wolter, EPJA 30 (2006)

## Slide 31
Transport 2017 MSU
Mizuki Nishimura
132Sn + 124Sn 108Sn + 112Sn 124Sn + 112Sn 112Sn + 124Sn ~300 MeV/u

## Slide 32
LAND+VETO
TOFWALL
Krakow array
Beam Line
µBall
Target
Chimera
Start detector
Shadow bars
µBall: 4 rings 50 CsI(Tl), Θ>60°. Discriminate target vs. reactions with air. Multiplicity and reaction plane measurements.
LAND: Large Area Neutron Detector . Plastic scintillators sandwiched with Fe 2x2x1 m3 plus plastic veto wall. New Taquila front-end electronics. Neutrons and Hydrogen detection. Flow measurements
TOFWALL: 96 plastic bars; ToF, ΔE, X-Y position. Trigger, impact parameter and reaction plane determination
KraTTA: 35 (5x7) triple telescopes (Si-CsI-CsI) placed at 21°<Θ<60° with digital readout . Light particles and IMFs emitted at midrapidity
ASY-EOS S394 experiment @ GSI Darmstadt (May 2011)
Au+Au, 96Zr+96Zr , 96Ru+96Ru @ 400 AMev
CHIMERA: 8 (2x4) rings, high granularity CsI(Tl), 352 detectors 7°<θ<20° + 16x2 pads silicon detectors. Light charged particle identification by PSD. Multiplicity, Z, A, Energy: impact parameter and reaction plane determination
Shadow bar: evaluation of background neutrons in LAND
Vacuum

## Slide 33
* Uniform distribution with EKin<100 Mev
P. Russotto et al., EPJA 50, 38 (2014).
P. Russotto et al., PRC 94, 034608 (2016).
Au+Au @ 400 A.MeV: Some kinematics
KRATTA:
J. Lukasik et al., Nucl. Instr. Meth. 709 (2013) 120128
Notes: KraTTA confirms fopi

## Slide 34
Au+Au @ 400 AMeV b<7.5 fm
Neutrons:
(Au+Au)-(Au+Au with SB)+
-(Au+EF)+(Au+EF with SB)
Charged Particles:
(Au+Au)-(Au+EF)
HIC: (mainly Isospin diffusion for Sn+Sn) M.B. Tsang et al., PRC 86, 015803 (2012)
neutron skin thickness, binding energies,….: Brown, PRL 111, 232502 (2013); Zhang & Chen, Phys. Lett. B 726 (2013), Danielewicz & Lee, NPA922 (2014).
Adapted from “roadmap” paper, C. Horowitz et al, J. Phys. G: Nucl. Part. Phys. 41 (2014) 093001
ASY-EOS DATA: P. Russotto et al., PRC 94, 034608 (2016)
γ = 0.72± 0.19 ; L=7213
FOPI-LAND DATA : P.Russotto et al., Phys. Lett. B 697 (2011)
γ = 0.9 ± 0.4 ; L=8326
Results…
Gao-Chan Yong, Phys. Rev. C 93, 044610 (2016)
F. Zhang, Gao-Chan Yong, EPJA 52, 350 (2016)
Short range correlations may influence results
stiffer

## Slide 35
Aladin ToF-Wall
96 plastic bars 2.5X 100 cm
2 walls (front and rear)  < 7°
Z, velocity & X-Y position.
Impact parameter and
reaction plane determination
Notes: 35

## Slide 36: Time, charge and space resolution
A. Schüttauf
FWHM = 2.35 s

## Slide 37
Aladin ToF-Wall (GSI)
96 plastic bars 2.5X 100 cm
2 walls (front and rear)  < 7°
Z, velocity & X-Y position.
Impact parameter and
reaction plane determination
Notes: 37

## Slide 38
MicroBall (USA)
µBall:
4 rings, 50 CsI(Tl)
~ 1 cm thick
60°<<147°.
Discriminate target vs. air interactions (backward angles). Multiplicity measurements.
Notes: 38

## Slide 39
300 μm
Si
CsI
12 cm
CHIMERA
352 CsI 12 cm thick
+ 32 Si (telescopes)
8 Rings covering 7°<<20°
Light ions
Z, Ekin & -.
Impact parameter and
reaction plane determination
Notes: 39

## Slide 40
t
p
d
Z=1 punching through
CsI(Tl)
Identification in CHIMERA...
197Au+197Au @ 400 AMeV

## Slide 41
Large Area Neutron Detector :LAND (GSI)
Neutrons and Hydrogen detection. Flow measurements
Th.Blaich et al.,NIM A314 (1992)
33.1<lab<58 deg
Notes: 41

## Slide 42
Large Area Neutron Detector (LAND)
Th.Blaich et al.,NIM A314 (1992)
Neutrons efficiency>80% (for E>400MeV)
No 1,2,3H isotopic discriminations
Adapted from P.Pawloski,IWM2007
Notes: 42

## Slide 43: Large Area Neutron Detector (LAND)
neutron and proton detection
Th.Blaich et al.,NIM A314 136-154 (1992)
P. Pawloski et al., “Study of neutron emission using Land detector“, Procs of IWM2007

## Slide 44
Large Area Neutron Detector (LAND)
Adapted from P.Pawloski,IWM2007
Notes: 44

## Slide 46
L=72±13 MeV
ASY-EOS (I)
P. Russotto et al., PRC 94, 034608 (2016)
ASY-EOS exp. @ GSI (2011) Au+Au @ 400 AMeV
example of comparison:
Zhang and Li, EPJA 55:39 (2019)
Esym=47±10 MeV from NS radii, max mass, tidal pol.
Main observable neutron-charged particles elliptic flow ratio: robust and effective in exploring high density behaviour of Esym
■ exp

## Slide 47
L=72±13 MeV
ASY-EOS (I)
P. Russotto et al., PRC 94, 034608 (2016)
ASY-EOS exp. @ GSI (2011) Au+Au @ 400 AMeV
example of comparison:
Zhang and Li, EPJA 55:39 (2019)
Esym=47±10 MeV from NS radii, max mass, tidal pol.
Main observable neutron-charged particles elliptic flow ratio: robust and effective in exploring high density behaviour of Esym
■ exp

## Slide 49: Nucear matter EOS and symmetry energy
Symmetry energy
The symmetry energy is the difference between the energy of the symmetric matter (δ=0) and neutron matter (δ=1) and describes how the energy of asymmetric nuclear (N≠Z) increases going away from saturation density
Symmetric matter
δ=0
Quite well known
Neutron matter
δ=1
Not well known
Fuchs and Wolter, EPJA 30 (2006)

## Slide 50: How to investigate symmetry energy: a multi-messenger probem
Chun Yuen Tsang et al., Nature Astronomy 8 328 (2024)
GW170817 from BNS merger (LIGO)
PRL 120, 172702 (2018)

## Slide 51: n/p flows: symmetry energy at high-densities
Parametrization for SE used in UrQMD* model:
Esym = Esympot+Esymkin = 22MeV·(ρ/ρ0)γ+12MeV·(ρ/ρ0)2/3
L = 72 ± 13 MeV
Esym(ρ0) = 34 MeV
Elliptic flow from ASYEOS-I experiment
P. Russotto et al., PRC 94, 034608 (2016)

## Slide 52: Symmetry energy investigations: still hot topic…especially at high-densities
Low density
High density
W. Lynch and M.B. Tsang,
PLB 830, 137098 (2022)
Courtesy J. Lukasik, NUSYM2024, Caen

## Slide 53: Combining HIC and astrophysical results to constrain neutron matter EOS
« HIC » = FOPI+ASY-EOS+AGS - « Astro » = GW, NICER (pulsar X-ray hot spots)
S. Huth et al., Constraining Neutron-Star Matter with Microscopic and Macroscopic Collisions, Nature 606, 276–280 (2022)
ASY-EOS II
ASY-EOS I
P. Russotto et al.,
PRC 94, 034608 (2016)
HIC data favors larger pressures at 1-1.5 ρ0, where sensitivity is highest
similar observations with NICER data
EOS at higher densities (>2ρ0) mostly determined by astrophysical observations
Conclusion:
advancing HIC experiments to higher densities

## Slide 54: S122 (ASY-EOS II) - Symmetry energy at high densities from n/p flow excitation functions
Energy [AMeV] | Justification
280 | highest sensitivity on Ksym
400 | reference to ASY-EOS I, n/p tests higher densities than before
600 | highest sensitivity on L, high-density tested
1000 | Maximum energy (≈ density) where models agree on v2 sensitivity

## Slide 55: CHIMERA@GSI

## Slide 56: S122 (ASY-EOS II) - Symmetry energy at high densities from n/p flow excitation functions
To the experiment participated a large collaboration from :
R3B – GSI (Germany)
CHIMERA (Italy)
IFJ-PAN Krakow (Poland)
INDRA-FAZIA (France-Italy)
MSU-FRIB (USA)
Texas A&M (USA)
GANIL (France)
RIKEN (Japan)
Spokepersons S122:
P. Russotto (INFN-LNS, Italy)
J. Łukasik (IFJ-PAN Krakow, Poland)
A. Le Fèvre (GSI Darmstad, Germany
Beam pipe
LOS & ROLU
KRAB
CHIMERA
ToFD (dp1)
ToFD (dp2)
NeuLAND
Shadow Bars
target

## Slide 57: S122 (ASY-EOS II) : advancing Symmetry Energy studies towards high densities
In Heaven
Li, Bao-An, NPA 708, 365 (2002)
Higher incident energies  higher densities probed
n/p observable Z=1 isotopic resolution)  greater sensitivity to higher densities
Au+Au 400 MeV/A
n/p
n/ch
New KRAB detector
Multiplicity trigger, reaction plane and centrality detector
R3B NeuLAND: resolving p,d,t
p
d
t
P. Russotto et al., PRC 94, 034608 (2016)
density to be probed in the ASY-EOS II exp, most relevant for neutron star physics
Au+Au @ 400 AMeV
density probed by the ASY-EOS I exp

## Slide 60
Y-position correlation

## Slide 61: EOS for nuclear matter
The nuclear EOS describes the relation between energy, pressure, density, temperature and isospin asymmetry. It is an essential ingredient in nuclear physics and astrophysics.
Question: how E/A depends on the density ρ and isospin asymmetry δ=
Liquid gas coexistence
Nuclear matter phase diagram (schematic)
N/Z
SIS
E/A(ρ, δ)=????

## Slide 62: EOS of asymmetric nuclear matter: symmetry energy
-16 MeV

## Slide 63: n/p flows: symmetry energy at high-densities
UrQMD*: Qingfeng Li
Data. W. Reisdorf et al.
Parametrization for SE used in UrQMD* model:
Esym = Esympot+Esymkin = 22MeV·(ρ/ρ0)γ+12MeV·(ρ/ρ0)2/3

## Slide 65
Main observable neutron-charged particles elliptic flow ratio: robust and effective in exploring high density behaviour of Esym
■ exp