## Slide 1
Misure di sezioni d’urto @SPES
Mou Liliana
liliana.mou@lnl.infn.it

## Slide 2: The SPES project Selective Production of Exotic Species
DIRECT activation
technology
LAboratory of Radiouclides for MEDicine
RIFAC
RILAB
ISOL technology
Possible collaboration with industry for production
https://web.infn.it/LARAMED/
https://isolpharm.pd.infn.it/web//
liliana.mou@lnl.infn.it
Dual beam proton Cyclotron
Ep,max=70 MeV I=700 µA

## Slide 3
Irradiation
Radioisotope
of interest
Contaminants
Dissolution
Extraction/
separation
Purification
Pure radioisotope
Radiopharmaceutical preparation
Target
Target recovery
Target preparation
Radiochemistry process
Quality Control
Cyclotron Radioisotope production
Cyclotron radiopharmaceutical production
Nuclear physics studies
liliana.mou@lnl.infn.it

## Slide 4
LARAMED facility
LAboratory of RAdionuclides for MEDicine
Level -1: Bunkers
RILAB – x sections
p+ beam
E: 35-70 MeV
Imax: 100 nA
RILAB – High power
p+ beam
E: 35-70 MeV
Imax: 500 µA
RILAB radiochemistry lab.
Target process
Radionuclide purification
Spectrometry
Target recovery
Target manufacturing lab.
Cold chemistry
ISO 7 clean room
Target preparation
Level +2 : Laboratories
«Rabbit»
Central corridor
Pass box
Hot Cell
liliana.mou@lnl.infn.it
RILAB

## Slide 5: First commissioning test @LNL
DIRECT technology
LAboratory of Radiouclides for MEDicine
RIFAC
RILAB
ISOL technology
Possible collaboration with industry for production
ISOL-2 temporarily dedicated to nuclear cross section measurements
https://web.infn.it/LARAMED/
https://isolpharm.pd.infn.it/web//
liliana.mou@lnl.infn.it

## Slide 6: Cross section measurements in ISOL-2
Cyclotron
Target Station (TS)
liliana.mou@lnl.infn.it
Target
Holder
Beam
stopper

## Slide 7: Cross section measurements in ISOL-2
Cyclotron
liliana.mou@lnl.infn.it
Target Station (TS)

## Slide 8: Cross section measurements in ISOL-2
Cyclotron
liliana.mou@lnl.infn.it
Experimental area to prepare/recover the irradiated samples
Stacked-foil target preparation and positioning in the target-holder
Stacked-foil target disassembly and separation of the irradiated foils

## Slide 9: Cross section measurements in ISOL-2
Cyclotron
liliana.mou@lnl.infn.it
Experimental area for γ-spectrometry
plastic support that allows the positioning of the irradiated target at different distances from the HPGe

## Slide 10
3 irradiation runs to extract info on the beam current at
35, 50, and 70 MeV proton beam energies
1° and 2° Irradiation stacked-foils target composition
3° irradiation stacked-foils target composition: natZn foil added to detect 67Cu
Commissioning experiments @ SPES
May-June 2024: First commissioning experiments @SPES!

## Slide 11
LARAMED projects and future works @LNL
International collaborations
National collaborations
Padua University
Ferrara University
Milan University
INFN Pavia
INFN Milan
INFN Ferrara
INFN Padova
Pavia University
CNR Milan
LENA lab. Pavia
Sacro Cuore Don Calabria Hospital (VR)
Sant’Orsola Hospital (BO)
ARRONAX, Nantes (France)
IAEA
Univ. Of Winsconsin, Madison (USA)
IOV
Research lines | Project name (years)
Accelerator-Tc-99m alternative (direct) production route through hospital cyclotrons | APOTEMA (2012-2014) TECHNOSP (2015-2017)
CRP on“Alternative, non HEU-based, Tc-99m /Mo-99 supply” | IAEA CRP (2011-2015)
Alternative Cu-64/Cu-67 production for theranostic application | COME (2016)
Alternative Sc-47 production for theranostic application | PASTA (2017-2018)
CRP on “Radiopharmaceuticals Labelled with New Emerging Radionuclides” Cu-67, Re-186, Sc-47” | IAEA CRP (2016-2019)
High Power Target concepts R&D (64/67Cu) | TERABIO (2016-2019)
High intensity vibrational powder plating | E_PLATE (2018-2019)
Multimodal pET/mRi Imaging with Cyclotron-produced Mn-52/51 and stable paramagnetic Mn iSotopes | METRICS (2018-2020)
Research on emerging Medical radIonuclides (Sc-47 and Tb-xx) from the X-sections | REMIX (2021-2023)
magnetron sputtering ctclOtron TargEt Manufactoring | TOTEM (2021-2022)
Solid Target Dissolution System | STarDiS (2023)
67/64/61CU PRoductionand Use in Medicine –Target Technology Development | CUPRUM-TTD (2023-2025)
Accelerator-based Production of tHeranostic radionuclides Investigations on Terbium-155 | APHRODITE-155 PRIN PNRR (2024-2025)
Cross section investigation of medical radionuclides (47Sc, 67/64Cu, 1xxTb) | SPES_MED (2025-2027)
Progetti in corso
liliana.mou@lnl.infn.it

## Slide 12
Grazie a tutto il personale del laboratorio per il lavoro di squadra che ci ha permesso di ottenere questo primo risultato!
…ed è solo l’inizio!