## Slide 1
PLENARY / COMPUTING
Computing in HEP: how we got here and needs for the next decade [and some more]
Tommaso Boccali (INFN Pisa)
for the Computing PPG

## Slide 2: The computing PPG team
Computing PPG
Facilities
SW
AI
Modelling
New Tech

## Slide 3: Long and interesting Parallel Session on Monday – with open discussion at the end

## Slide 4: The two talks – and the input material
All major running and planning projects submitted computing related inputs to the ESPP
  Or sections inside wider inputs
We had interviews with the projects (thanks!)
LHCC reviews for ATLAS and CMS
LHCC meetings and C-RSG resource evaluation
WLCG documents from workshops, meetings, …
Computing in HEP: how we got here and needs for the next decade
  Tommaso Boccali (this talk)
HEP Computing needs and ideas for the next generation initiatives
  Borut Kersevan

## Slide 5: HEP Computing @ CERN – circa 2025
The 4 LHC experiments are in uninterrupted computing operations since the start of Run1(and before with data challenges and simulation…)
[Offline] Computing managed via the WLCG Collaboration
WLCG evolved from a ”system of uniform centers” to a “system of heterogeneous systems” [Grid, Cloud, GPU, Supercomputers, Filter farms, …]

## Slide 6: Evolution with time - (ATLAS is very similar)
Increase relative to 2009 (log)
Increase relative to 2013 (log)
16 years resource increase fits +20% -- +30% / y
12 years resource increase fits +15% -- +25% / y
Chart: CMS Pledges
| 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
CPU | 1 | 2.4246 | 2.9838 | 3.5431 | 4.2211 | 4.5082 | 6.7868 | 8.5217 | 10.5559 | 11.7471 | 12.6634 | 12.6634 | 13.6836 | 15.0886 | 17.5321 | 21.4417 | 25.5345 | 27.7947
DISK | 1 | 2.2521 | 3.3739 | 4.4958 | 5.1261 | 5.2101 | 6.0924 | 7.3782 | 10.3025 | 12.3487 | 14.4622 | 14.4622 | 16.7227 | 18.1513 | 21.8487 | 27.3109 | 32.521 | 37.2269
TAPE | 1 | 2.0282 | 3.1045 | 4.1808 | 4.1808 | 4.322 | 5.7627 | 7.4689 | 11.4972 | 14.9435 | 18.0226 | 18.0226 | 19.774 | 23.4463 | 30.7345 | 39.548 | 50.113 | 59.6045
+10% | 1 | 1.1 | 1.21 | 1.331 | 1.4641 | 1.6105 | 1.7716 | 1.9487 | 2.1436 | 2.3579 | 2.5937 | 2.8531 | 3.1384 | 3.4523 | 3.7975 | 4.1772 | 4.595 | 5.0545
+20% | 1 | 1.2 | 1.44 | 1.728 | 2.0736 | 2.4883 | 2.986 | 3.5832 | 4.2998 | 5.1598 | 6.1917 | 7.4301 | 8.9161 | 10.6993 | 12.8392 | 15.407 | 18.4884 | 22.1861
+30% | 1 | 1.3 | 1.69 | 2.197 | 2.8561 | 3.7129 | 4.8268 | 6.2749 | 8.1573 | 10.6045 | 13.7858 | 17.9216 | 23.2981 | 30.2875 | 39.3738 | 51.1859 | 66.5417 | 86.5042
Chart: CMS pledges
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
CPU | 1 | 1.068 | 1.6078 | 2.0188 | 2.5007 | 2.7829 | 3 | 3 | 3.2417 | 3.5745 | 4.1534 | 5.0796 | 6.0492 | 6.5847
DISK | 1 | 1.0164 | 1.1885 | 1.4393 | 2.0098 | 2.409 | 2.8213 | 2.8213 | 3.2623 | 3.541 | 4.2623 | 5.3279 | 6.3443 | 7.2623
TAPE | 1 | 1.0338 | 1.3784 | 1.7865 | 2.75 | 3.5743 | 4.3108 | 4.3108 | 4.7297 | 5.6081 | 7.3514 | 9.4595 | 11.9865 | 14.2568
+10% | 1 | 1.1 | 1.21 | 1.331 | 1.4641 | 1.6105 | 1.7716 | 1.9487 | 2.1436 | 2.3579 | 2.5937 | 2.8531 | 3.1384 | 3.4523
+20% | 1 | 1.2 | 1.44 | 1.728 | 2.0736 | 2.4883 | 2.986 | 3.5832 | 4.2998 | 5.1598 | 6.1917 | 7.4301 | 8.9161 | 10.6993
+30% | 1 | 1.3 | 1.69 | 2.197 | 2.8561 | 3.7129 | 4.8268 | 6.2749 | 8.1573 | 10.6045 | 13.7858 | 17.9216 | 23.2981 | 30.2875
“The amount of money spent per year in computing resources shall at most be stable” [the famous “flat budget”]
In the 2009-2025, <PU> x Trigger rate has increased by 60 x 100

## Slide 7: In the meantime, technology …
tape
1 TB disk ~ 5 TB tape ~ 10 HS23 [1/2 CPU core]
The famous Panzer/Sciaba’ plots
Old “Flat Budget == +20%/y” not more realistic today, at least for disk
Notes: Industrial competition

## Slide 8: The expected future within ~a decade
CMS and ATLAS undergoing the largest upgrades with Run4: 3000/fb total lumi
  Computing planning and modelling well advanced AND there is a LHCC mechanism in place for their cmp scrutiny
ALICE and LHCb have successfully upgraded for Run3 – gearing up to have upgrades approved for Run5
  Computing under (early) studies
ALICE-2, LHCb Upgrade-I
ATLAS and CMS PhaseI
ATLAS and CMS PhaseII
ATLAS and CMS PhaseII
ALICE-3, LHCb Upgrade-2
ALICE-3, LHCb Upgrade-2
ATLAS and CMS: nominal inst lumi from 2e34 to up to 7.5e34; trigger rates in the O(10) kHz ballpark
LHCb: from 2e33 up to 1.5e34
ALICE: 3x Pb-Pb rates, 90x pp
ALICE-2, LHCb Upgrade-I

## Slide 9: ATLAS and CMS [latest public projections]
Multiple projections (lines): depend on (successful) R&D
+20%/y
+10%/y
Notes: Controllare gli R&D denrtro
: it is assumed that the fraction of full simulation used by the collaboration will be reduced from 33% to 10%; the event generation and reconstruction times will be reduced by 20% each; a smaller fraction of the AODs will be 6ATLAS Software and Computing HL-LHC Roadmap, version 2.1 held on disk; and the number of replicas and versions of datasets will be significantly reduced.

## Slide 10: ALICE -- Run3+Run4+Run5+
ALICE-2 (Run3, 4) as the major scheduled upgrade
Major change in Computing Mode: triggerless operations, 50 kHz data taking, …
Managed without major deviations from flat budget
ALICE-3 under study / in the approval process
  3x Pb-Pb wrt Run4, 90x pp
  Min and Max depend on the Ion type, but at most +15%/y
  CPU not yet modelled
LS2-Run3
LS3-Run4-LS4
Run 5+
2018
2041
Notes: 35/nb IonIon, 18/fb pp

## Slide 11: LHCb -- Run3+4+5+
Run3 represents a major increase in computing resources
  Gone triggerless, higher inst lumi
Smoothed, in reality, due to delays AND changes in the model – manageable
Run4 not different from Run3
Run5 is ~ 5x in bandwidth or <PU>; LHCb deploying R&D (e.g, HLT2 on GPU, fast simulation, optimization of data formats, …)
TDR vs Real

## Slide 12: Which are the main recurrent themes and directions of R&D?
Evolution in SW
Evolution in HW
Evolution in the distributed computing infrastructure
Evolution in the position of HEP among other scientific endeavors
New Techs
Careers
LTDP
…
GPUs
Common Frameworks
Low power archs
AI
Heterogeneous computing
Tiered Model
JENA
SPECTRUM
ESCAPE
HPCs
Clouds
Sustainability
Careers
Analysis facilities
LTDP
FPGA
Quantum

## Slide 13: Artificial Intelligence
All current experiments explicitly mention AI as a cornerstone towards better|cheaper physics
  In some cases on the critical path, like (much) faster simulations or trigger capabilities
AI needs (if we want it to be incisive):
  Access to specific computing resources
  Access to domain experts, training, young researchers
  Funding opportunities
How to better coordinate AI efforts in the HEP domain [and beyond]? Options on the table:
  Experiments drive it – today’s model
  AI is seen at the level of other R&Ds (as the DRDs): an AI-RDs [input 167]
  The EuCAIF model, with an umbrella coalition for AI in Fundamental Research
  A process difficult to drive (personal opinion):
    Many actors [Maths, CS, Eng, …]
    Impact of industries
    Larger interests at stake [EU AI strategy, ”CERN for AI”]
  How to benefit from EU-level push for scientific AI?

## Slide 14: Software – what will it look like?
Huge range of tools available makes interoperability across software ecosystems crucial
  “Many analyses have integrated a variety of ML tools, often including industry-standard software libraries” #187
New languages are also on the horizon
  “... recent addition to the community is a small but growing group of analysts employing Julia. ...significant performance benefits against Python and usability benefits against C++ make Julia appealing” #67
Collaboration with external software projects is key
  “work is ongoing to integrate both the AdePT prototype and the Celeritas code within the Gaussino framework... a fruitful synergy between external and LHCb R&D projects” #127
  “ATLAS looking to use EM calorimeter GPU sim to run full sim as GPU+CPU hybrid by Run 4, via work with Celeritas / AdePT” #187
  “CMS relies on (Geant4) … GPU acceleration for electromagnetic showers and neutron modeling” #107
The HEP Software Foundation (HSF) has done a good job in fostering exchange of ideas, training, career opportunities, covering an important fraction of the sw activities
  [event generators, detector simulation, reconstruction and software triggers, data analysis, …]

## Slide 15: Heterogeneous computing
HEP computing has in the past 20y lived in the sweet spot of the technology curve – Linux Intel boxes
This is no longer the case
  Most CPUs fabricated are for “mobile”
    The ability to use new architectures such as ARM (now) and Risc-V (future) gives the opportunity to adopt lower power alternatives
  GPUs offer a much better theoretical “bang for the buck”
  For specific applications, FPGAs even more
The problem(s)
  Experiments have by now large codebases (5-10 M lines of code per experiment) – they come from ~20 years of development
  If you write code for CUDA/Nvidia, it will not (not easily) work elsewhere: we need a long term solution
  There are exp-specific solutions used with success (ALICE, for example)
  There are promising “High Level Frameworks” which promise some level of (current/future) compatibility. No domain-wide solution(s) identified. Should we?
$/Teraflops
[link]
~ 10x
$100,000
$10,000
$1,000
$100
$10
$1
Notes: competition

## Slide 16: HPCs (a.k.a. Supercomputers)
HPCs, worldwide, are a huge opportunity for HEP
  Much larger deployment of resources wrt WLCG
  In some countries, the FA is the same behind HEP  push for optimization
  HEP/TH (Lattice QCD in particular) already a major user / driver
But …
  Much stricter access policies
  Systems are NOT standard: need NxM handshakings (experiments x centers)
  Limited connectivity
  No (or feeble) data management
  Emphasis on GPUs
  Short granting opportunities
  …
Why would we like to use them?
  Depending on national policies:
    A way to reduce (overall national) computing costs
    A way to give additional computing to HEP (more computing  more and / or better physics)
  For specific workflow, for example training of large AI models
Directions
  Follow / (influence) closely standardization efforts in HPCs (EuroHPC EFP and DOE IRI)
  HEP is not a reference user for HPCs today. Work in this direction needed
  There are initiatives in this direction: JENA/HPC, the SPECTRUM_EU project, the HEP/HPC integration White Paper

## Slide 17: New Techs: Quantum
The inputs received are mostly from National Programs, not experiments. Why? Hypotheses:
  Quantum research is a national priority
  Quantum research is complex and expensive and cannot be pursued by an experiment in isolation, without an ecosystem
  The near future of HEP does not need it
Still: getting ready for a technology like this (in HEP) takes time (as in: decades)
Joule
QC: 4 orders of magnitude better than HPC in power consumption
Is “next era” compatible with “HL-LHC”?
Notes: BinaryQuadraticModel

## Slide 18: External collaborations
When LHC Computing went into operations, there was no (close) comparable initiative in size and complexity, in science
Now:
  Other HEP exps (Belle-2, …)
  Neutrinos (DuNE, …)
  Astroparticle (SKA, CTA, GW, …)
  Nuclear (GSI, …)
  [a lot more in science: fusion, chemistry, genomics, …]
As of today, WLCG has as “partners” (used to be called “observers”) Belle-2, DUNE, JUNO and Virgo
  They directly participate in activities, like common data challenges
  The partners contribute to the WLCG governance and to evolve the infrastructure in a common direction
In general, there seem to be a good alignment between ECFA, NuPECC and APPEC [via JENA], and via Projects like ESCAPE before and SPECTRUM now
”Going beyond the L in WLCG”

## Slide 19: Evolution of the WLCG
The WLCG provided an input with actions for [2024-2028], including 33 actions, which cover most of the items discussed here:
  [OPS], [TECH], [FIN], [INFRA], [REL], [SOFT], [GOV], [ENV], [RISK]
Next talk:
  WLCG is seen by all the large projects as a foundational starting point
  “The WLCG needs to remain functional beyond the end of LHC”
[link]

## Slide 20: Careers – Open Data – LT(D)P
All the inputs mention the career problem in ”computing”
  If anything, “our” people are becoming “more attractive” in the AI/Big Data Analysis world
  Perceived improvement small (if any) since Granada
Many inputs mention the needs for FAIR Data and Software Management [which can mean “open” but not only]
  It has a cost! Where to budget it?
HL-LHC data will be the reference pp data for quite some time
How to guarantee its exploitability?
  Not only Bit Preservation (“easy”)
  (cmp)Environment preservation, knowledge preservation, analysis preservation, reinterpretation, …
  “… This will require concerted attention and resources throughout the end-to-end life cycle of data generation, processing, analysis, preservation, and distribution, and should be considered already in the design and commissioning phase of experiments… ” [#150]
  Again, where to budget it?
At least, during operations

## Slide 21: Conclusions
The landscape “till the end of LHC” is sketched and is not unfeasible, provided an intense and continuous R&D in computing. In its absence, the required computing will exceed the available capacities by several factors
Common projects [and their financial / personpower sustainability] are key to a viable HEP computing:
  Common software stacks (Geant4, ROOT, generators, analysis stacks, …)
  Common infrastructures (the WLCG and its evolution)
  Common solutions with other initiatives and sciences (other HEP, GW, Astro…)
  Common with other [national|continental|global] level initiatives. For example in QT, AI, HPC, …
What is not covered here:
Clouds: not an economically appealing solution at the moment; vendor lock-in, …
Energy/CO2 Sustainability: see the ESG talk on Friday
(many other things)

## Slide 22
BACKUP

## Slide 23: Analysis and Analysis facilities
Extremely successful evolution of analysis models since the start of LHC
  Analysis data formats went down ~ 1000x from Full Reconstruction to “NANO”; a major factor in the reduction of resources
Next step:
  Imagine/define HOW to do analysis in the next 10 years
Possible ingredients
  Users love to work interactively and then scale-out
  Columnar analyses scale well on many-core machines and eventually GPUs
  Combination of small data formats and powerful CPUs allow “prototyping from a plane”
  “process centrally” vs “users get resources”
Are standard “WLCG/Grid resources” optimal?
  Probably not, or at least the access method (“batch”) is not; could need more memory / fast disks / GPUs on board
  Data access can easily become the limiting factor; files vs DB
  How to provision resources for analysis?
    Local clusters? In WLCG via “special means”? Specific facilities [AliHyperloop]?
R&D, R&D, R&D needed!

## Slide 24: Outline
The HEP Computing as of now (with a focus on CERN/LHC)
The journey from early 2000 to today
Expected experiments needs for the next decade (and some…)
  How to satisfy them?
“Things happening” and “things which should happen”

## Slide 25: How did we get here? [study the past, prepare for the future]
Decision to “distribute” the LHC Computing dates back to Monarc (end of the 90’s):
  Financial reasons, Practical reasons, Political reasons
Looking back 30 years after, a very brave decision: PC 1 MegaByte  the Exabyte
The model was able to support experiments in a number of “era changes” via (mostly) adiabatic changes
  Always in production: no time for a “Big Bang deployment”
  50x larger than in 2010
  But today’s system is largely different from the initial one!
WLCG evolved from a ”system of uniform centers” to a “system of heterogeneous systems”
[link]
[link]
  GRID centers (the baseline)
  GPU equipped partitions
  Online farms
  Supercomputers (HPCs)
  Public/Private Clouds
  …

## Slide 26: LHC computing 2025 vs 2009
WLCG evolved from a ”system of uniform centers” to a “system of heterogeneous systems”
Experiments compute already today on heterogeneous resources :
  GRID centers (the baseline)
  GPU equipped partitions
  Online farms
  Supercomputers (HPCs)
  Public/Private Clouds
  …
Some notable transitions:
From 32 to 64 bit codes
From Intel/AMD x86 architecture to ARM, Power8/9, evenrually RISC-V
From CPUs to GPUs
From single core processes to many core (as in 10+) processes
From local only data to remote streaming and storage federations
From ScientificLinux to … anything via virtualization
From MB/event analysis data, to kB/event

## Slide 27: The planning from the machine

## Slide 28
CMS is following a similar path
Scenarios: with no / conservative / aggressive R&D

## Slide 29: Heterogenous computing – examples and plans
AI at online uses compressed models running on FPGAs
CMS, LHCb and ALICE have trigger level workflows executed on GPUs; ATLAS is considering the GPU option for Run4
GPU in offline workflows less advanced. In some cases “a byproduct” [same code as online]
  Geant4 R&D on AdePT [em transport] and CELERITAS [calorimeter simulation]
  Madgraph and Sherpa accelerated on GPUs
AI needs (lots of) GPUs
  Today for training; soon also for inference
If WLCG will need to provision GPUs, we need not only enabled experiment software, but also services
  A proper benchmark
  A pledging mechanism
  An accounting system
  A provisioning mechanism
  …

## Slide 30: Cloud - sustainability
Are cloud systems a resource for HEP Computing?
  Technically: yes, “easier than HPC”
  Economically:
    Public clouds (universities, …) – YES
    Commercial Clouds – apparently NO
The lock-in factor:
  Do we really want to send (the only copy of) our data to a commercial provider?
  Commercial clouds are … commercial:
    Can we exclude sharp price increases / acquisitions / ?