## Slide 1
Feedthroughs for the Climatic Chamber

## Slide 2
Optoboxes dry air pipes – n. 2 – dia. 8 mm
Emergency nitrogen pipes n. 1 – dia. 1/2 in / 12.7 mm
ITk detector
Trunk fiber bundle – n. 2 – dia. 10 mm (3/20)
Power cables – n. 4 – dia. 14 mm (7/13.2)
VCAN cables – n. 4 – dia. 7 mm (4/6.3)
Extra data cables
34 + 32 + 36 twinax bundles
Optoboxes (4) environment
Total cable feedthrough equal to 4500 mm2  deq = 75 mm
Total pipe feedthrough equal to 1500 mm2  deq = 45 mm
Climatic Chamber wall
The PP2 will be placed outside the Climatic Chamber and the feedthrough will contain the type 2 cables that connect the PP1 to the PP2.
CO2 transfer lines – n. 2 – dia. 8 and 12 mm (+ 60 mm armaflex)
Type II cables – n. 7 – dia. 20 mm (4/20)
With 10 kΩ NTC on modules – n. 18 – dia. 3.5 mm (1) (embedded on type II cables)
Cooling pipes – n. 2 – dia. 8/10 mm
PTC Box
Dew point
Humidity
Box
Light
Flow meter
Pressure
Box
PTC inlet-middle-outlet of CO2 flow – n. 11 – dia. 3.5 mm (1) Interlock
Humidity sensor cables – n. 2 – dia. 3.5 mm (1) Interlock
Dew point sensor cables – n. 2 – dia. 0.222 in / 5.7 mm (1) Interlock
Flow meter cables – n. 2 – dia. 0.222 in / 5.7 mm (1) Interlock
Pressure sensor cables – n. 2 – dia. 0.222 in / 5.7 mm (1) Interlock
Light sensor cables – n. 2 – dia. 0.222 in / 5.7 mm (1) Interlock
(2/9.4)

## Slide 3
Off-detector services type | Units for one Endcap | Diameter (mm)
Alternative Type-2 power cables (25m) | 4 type-N | 15 to 20
Env Type-2 power cables (25m) | 2 | 9,4
Type-2 Opto-MoPS (30m) | 4 | 6,3
Type-2 Vopto (25m) | 7 | 13,2
Trunk fibres (25m) | 3 | 20
Updates on cables for the climatic chamber feedthroughs

## Slide 7
Double glazing for thermal insulation
Handle with electromechanical locking system
100 mm
130 mm
4000 mm
2760 mm
evaporators and resistors
3700 mm
Dry air fans
400 mm
Chamber wall considered for cable and pipe feedthroughs (with an existing 100 mm circular hole)

## Slide 8
CO2
N2 emergency
Type II
Sensors
grounding

## Slide 9
grounding

## Slide 11
Filling space
Opening size
Weight (kg)
Optoboxes dry air pipes – n. 2 – dia. 8 mm
Trunk fiber bundle – n. 2 – dia. 10 mm
Power cables – n. 4 – dia. 14 mm
VCAN cables – n. 4 – dia. 7 mm
Cooling pipes – n. 2 – dia. 8/10 mm