## Slide 1: DOM developments
Mini DOM
PPM-DOM in Antares
PPM
future
WP F-L

## Slide 2: Mini DOM
motivation
To measure the L1 coincidence rates as a function of the space angle between the axes of the PMTs.
Use of the infra structure of Antares
Gain of knowledge versus planning
Comparison with Antares tube
WP F-L

## Slide 3: Antaris-OM to mini DOM
PHOTOTUBE Ø 77mm
D
D
D
WP F-L

## Slide 4: Mini DOM layout
WP F-L

## Slide 5: Mini DOM mechanics
a
b
External part of the vacuum valves. (a) the new brand, (b) the old brand.
arguments
a
b
Internal part of the vacuum valves. (a) the new brand. (b) the old one.
WP F-L

## Slide 6: Mini DOM electronics
WP F-L

## Slide 7: Mini DOM measurements

## Slide 8: Mini DOM status
All mechanics available for integration
Electronics & PMTs tests going on at CPPM
WP F-L
This week

## Slide 9: Breaking News
21-12-2012: First time slices of the mini-DOM output in the lab.

## Slide 10: PPM-DOM in Antares
ADCP
Camera
OM
hydrophones
CT
ADCP
Camera
OM
hydrophones
hydrophones
C-Star
O2
C-Star
CT
SV
hydrophone
LB
14.5m
80m
14.5m
14.5m
80m
98m
IL11
PPM-DOM
OM?
Mini-DOM?
In situ qualification of the BEOC (storey part of the backbone)
motivation
Validation of the DAQ system with data rates
Validation of clock distribution on Ethernet and time stamping
Validation of timing calibration
Validation of the optical data transmission with REAM
1st comparison between piezos and hydrophones
Coincidences between PMTs
Comparison with Antares OMs
WP F-L

## Slide 11: PPM-DOM = standard KM3NeT DOM
DOM
  Weight 30 kg air
  Weight -15 kg sea
Support
  Weight 3 kg air
  Weight 2kg sea
WP F-L

## Slide 12: DOM mechanical overview
http://wiki.km3net.physik.uni-erlangen.de/index.php/OM_Structure
Nano beacon
Hydrophone
Temperature
Piezo
PMT
WP F-L

## Slide 13: DOM sensors
PMT
  ETEL
  Hamamatsu
Piezo sensor
Hydrophone
Nano Beacon
Compass Tilt
WP F-L
Aucuboard

## Slide 14: DOM electronics
Upper hemisphere
Cooling shield
  Alluminium
Folie
  Thermal conduction
  Electric isolation
Power conversion board
Central logic board
  Optical line terminator Acoustic board Nano beacon
  Alluminium plate (cooling, rf shielding)
Distribution boards to PMTs
WP F-L

## Slide 15: Distribution to / from PMTs
Nicknamed;
  Octopus board
  Χταπόδια
  Pulpo
  Piovra
WP F-L

## Slide 16: PPM-DOM functions
WP F-L

## Slide 17: CLB test setup
CLB
GPS
ML 507
ML 605
Ethernet Switch
SACLAY test bench
LMK 0300
WP F-L

## Slide 18
DOM-LCM cable (BEOC)
Penetrator into Optical Module 6 electrical wires (3x UTP)
2 fibres Bendbright
Dry mateable connector on to LCM 2 electrical wires (1 UTP)
2 fibres bendbright
0.3m
1m
DC/DC
Vin: 400Vdc
Vout: 12Vdc
Pout: < 18W
ƞ: > 90%
Equipressure cable (PBOF)
Hydrophone
Seacon Ti connector
WP F-L
Dry mateable connector 2 x UTP
Vent / fill for oil
Tube knee
Bent limit tube for fiber
Position ring
Position ring
Silicon
Silicon
Isolation stud
Titanium house

## Slide 19: PPM-DOM Antares Geographics
40 km
SS-part
MOD + Drivers
λ8
λ1
REAM
1λ CW+1λ AC
@1.25Gbps)
2xCu
50/50
DOM
APD
2 Lasers tunable
PIN
VOA
A
C1
LiNbO3
Available wavelengths
λ4= C33=1550.92 nm
λ5= C37=1547.72 nm
λ6= C41=1544.53 nm
Junction Box
λ4
D1
LiNbO3
λ8
λ1
D4
A3
+?
D2
A&D
λ1
λ8
D3
λ4
λ4
λ5
λ5
SPM
Antares DWDM crate
λ5
80/20
SMA
SMA
SMA
SMA
C2
λ1
λ8
C2
LCM
A
C2
Existing component
Supplement to existing component
New component
ILxx
on/off
λ5
WP F-L

## Slide 20
Integration in LCM
2 ARS_MB not present (The 3rd one could be removed)
Acoustics boards not present
Compass MB
Converter board
ARS MB
CAMETH
DAQ board
CAMPOW
Clock board
Free slot 4
Optics
LPB side
Connectors
side
Free slot 3
Install optical components
Install a new converter board (380V/5V)
Control the VOA with DAC on the Compass board (used to set the OM HV)
May be optical components splitted in 2 slots
LCM crate storey 1
WP F-L

## Slide 21: Shore components
WP F-L

## Slide 22: Status
Project going on smoothly
Optics defined and mainly ordered
Optics on critical path
Detailed integration study in LCM will start
KM3NeT project with high priority
WP F-L

## Slide 23: PPM-DOMs to KM3NeT site
3 PPM-DOMs on mini tower in Capo Passero
  Other dummy DOMs with compensation for center of gravity and center of buoyancy
  Different optical network design
  VEOC has to be validated
  BEOC has to be validated
WP F-L

## Slide 24: After the PPM
Critical
  Availability of CLBs and software in time (withdrawn of Saclay contribution)
Power evaluations
  Power conversion 690 mW
  Central logic board 5410 mW
  Octopus board short 120 mW
  Octopus board long 180 mW
  PMT bases (31) 1090 mW
  External 690 mv1
Evaluation FPGA http://so-logic.net/en/fpga/table/producers
  Xilinx http://www.xilinx.com/products/silicon-devices/fpga/artix-7/index.htm
  Altera http://www.altera.com/literature/wp/wp-01160-fpga-diversify-28nm.pdf
  Actel http://www.actel.com/documents/Power Aware WP.pdf
  Lattice http://www.latticesemi.com/products/fpga/ecp3/index.cfm
PMTs, base evaluations
  Base driver ASIC upgrade
  Analogue output ASIC upgrade
  Different form factors of PMTs
Integration of mezzanine boards
Evaluations of satellites
  Hydrophone connection
  Temperature system of NIOZ
  PORFIDO
Optimizing assembly and test procedures
Tender rules
PORFIDO
COCO
PROMIS-v1
WP F-L