## Slide 1: Microdosimetry in hadron therapy
Anna Bianchi
anna.bianchi@lnl.infn.it

## Slide 2: Outline
Ionizing radiations
Medical Physics
Hadron Therapy
Dosimetry vs Microdosimetry
Microdosimetry
What can we do for the clinical improvement?
Research workflow

## Slide 3: Ionizing Radiations
A brief recap

## Slide 4: What comes to mind?

## Slide 5: Radioactivity is everywhere…

## Slide 6: Small exposure to radiation…
contributes to fortifying the biological system
Similarly to exposures to bacteria

## Slide 7: Artificial sources of ionizing radiation

## Slide 8: Curiosities from the past

## Slide 9: Different types of radiation
Gamma-rays
Beta
Alpha (4He)
Neutrons
Protons
Electromagnetic
Nuclear

## Slide 10: Medical Physics
Small summary

## Slide 11
MEDICAL PHYSICS

## Slide 12: Ionizing radiation for imaging – from outside
Radiography
RX: 1895
TC: 1970

## Slide 13: Ionizing radiation for imaging – from inside
Scintigraphy
Functional information
PET
SPECT

## Slide 14: Ionizing radiation for therapy
External Radiotherapy
Internal Radiotherapy

## Slide 15: hadronTHERAPY

## Slide 16: IONIZING RADIATION -> DAMAGES

## Slide 17
The enemy of my enemy is my friend

## Slide 18: Target = tumour

## Slide 19: Radiotherapy vs hadrontherapy
Protons
Photons
Tumour

## Slide 20: Physical advantages

## Slide 21: Hadrontherapy – beam delivery
SOBP
Tumour
Passive
Active

## Slide 22: Biological advantages
Indirect damages
Simple direct damages
Complex direct damages

## Slide 23: Advantages of hadrontherapy
Physics
Biology

## Slide 24: Hadrontherapy - diffusion
Total: 130 (15 with 12C)

## Slide 25: HAdroterapy - Italy
+ 2 centers under construction in Milan

## Slide 26: °Developments in radiotherapy
IMRT
Gamma
knife
IORT

## Slide 27: What ions can be used?

## Slide 28: HAdrontherapy – new developments
Flash Radiotherapy
Time
Mini-beam
Space

## Slide 29: Hybrid therapy: bnct

## Slide 30: DOSimetry vs / microdosimetry
Absorbed dose and its limitations

## Slide 31: Quantity
Unit: gray [Gy]

## Slide 32: The absorbed dose is not enough
It’s not the energy that causes the damage!
0.024 kcal/kg
100 Gy
100Gy
@70kg
53 kcal
1.7 kcal

## Slide 33: quality
Same dose…
…different effects

## Slide 34: quality
2.72-keV e-
5-MeV p
20-MeV α
60-MeV 12C

## Slide 35: What is the effect on radiation on biological systems?
Indirect damages
Simple direct damages
Complex direct damages

## Slide 36: The failure of absorbed dose
The surviving fraction of cells exposed to ionizing radiation decreases with increasing absorbed dose
Equal absorbed doses of different radiation types can produce different biological effects
Increasing LET

## Slide 37: The failure of LET
In spite of its complexities the LET concept can, at best, provide a crude characterization of the charged particle tracks that occur in the exposed medium.
Three features are essential in describing charged particle tracks:
The finite range of the particles and the change of LET along the track.
The lateral extension of the particle tracks due to the finite range of rays.
The statistical fluctuation of energy loss along the particle track, often termed energy-loss straggling.

## Slide 38: The Idea of Microdosimetry: to Measure the Lineal Energy as a Substitute of LET​
d
LET is related to the energy loss of an ionizing particle and lineal energy to the energy deposit in a target volume

## Slide 39: microdosimetry

## Slide 40: microdosimetry
Biological effects of ionizing radiation
Measurement of radiation quality

## Slide 41: microdosimetry
1Gy –Photons
1Gy – 60 MeV Protons
1Gy – 150 MeV 12C
Macroscopic dose the same -> 10 blue dots in each rectangle
Microscopic biological effect is different
BUT

## Slide 42: microdosimetry
Dosimetry
Number of events = 10
Chart: Microdosimetry
| Category 1
1 ionisation | 1
2 ionisations | 3
3 ionisations | 2
4 ionisations | 3
5 ionisations | 1
Mean number of ionizations =
=(2+3+1+4+2+2+4+5+3+4)/10 = 3

## Slide 43: How can we measure what happens at the subcellular level?

## Slide 44: Detector development @lnl – infn
Assembly and tests in ionizing radiation fields
Technical office and mechanical workshop
1.0 mm sensor
Design and construction
Engineered detectors for clinical application

## Slide 45: Icru recommendation in 2023!!!
When the mean number of charged particles, including delta rays originating outside the site, interacting with the volume of interest is small, the stochastic nature of the radiation interactions should be considered. Such a situation will arise when the reciprocal of the particle fluence is comparable to or larger than the cross-sectional area of the volume of interest. In mixed radiation fields the fluence of the higher LET components should be considered.
When microdosimetry has to be used
Microdosimetry is necessary
Conventional dosimetry is sufficient
S: cross-sectional area
φ: particle fluence
Low ← z → High
ICRU = International Committee for Radiation Units

## Slide 46: What can we do for the clinical improvement?
Proton therapy – an example

## Slide 47: Treatment planning systems
B. Jones et al. / Clinical Oncology 30 (2018) 285e292

## Slide 48: Proton therapy – rbe = 1.1
RBE=1.1

## Slide 49: research workflow

## Slide 50: Measurements and tests
catania
Nuclear reactor in pavia
trento

## Slide 51: Data analysis

## Slide 52: The outcome of the hard work: Conferences!

## Slide 53: The outcome of the hard work: Conferences!

## Slide 55: The outcome of the hard work: Conferences!

## Slide 56: The outcome of the hard work: Conferences!

## Slide 57: The outcome of the hard work: Conferences!