## Slide 1: First attempt to study 𝛼-clustering fragmentation in GSI2021 data at 400 MeV/u
G. Battistoni, S. Muraro
INFN Milano

## Slide 2: Introduction
At the Collaboration meeting in Naples, we reported the 1st MC study of multi-𝛼 tracking for the GSI2021 data concerning 16O fragmentation at 400 MeV/u, C target (GSI21PS_MC campaign), in view of the possibility of using global track reconstruction on real GS2021 experimental data:
https://agenda.infn.it/event/40055/contributions/233767/attachments/122536/179388/GBatt_AlphaGSI21.pdf
The GenFit reconstruction was used, implementing Event and Track selection cuts defined during the discussions in the Physics and Analysis group
Here we report about the 1st (overdue…) attempt to perform this reconstruction and analysis on the real data
Goal: start data analysis for 𝛼 -clustering with the electronic spectrometer beginning from the simplest case (no magnet) for 16O fragmentation (more interesting that 12C)

## Slide 3: Summary of main results from MC study presented last year
Final Selected Events
Only 24 299 events left!
True Events
(Ntrack>1 at TW): 135 715
True 4He
4He + 3He + …
NZ=2 ≥ 2: 5685 event
of which 3542 are true 4He
Z = 2 failed with <0.8% probabily
Zrec = 2
8182 pairs selected
After event and track selection:
5 106 primary events

## Slide 4: GSI2021 Run selection at 400 MeV/u
Run | Trigger type | n. events
4305 | Min. bias | 162110
4306 | Min. bias | 577120
4307 | Min. bias | 513365
4308 | Fragm. | 513391
4309 | Fragm. | 531838
4310 | Fragm. | 1012148
 | Total: | 3309972

## Slide 5: Data Selection and Reconstruction
Following suggestions received by R.Z, M.T, Y.D, we excluded MSD (for the time being) from tracking: only VT + TW
New option: EnableBMVTmatch yes
Data reconstruction:
We have at first tried GenFit, both Standard and Linear: we failed to achieve a satisfactory results. Some results were presented at a physics meeting. Updated material on this is available here in the backup slides.
In a second attempt we used Straight Line Reconstruction achieving much better results. Here we present this approach

## Slide 6: Straight Line Reconstruction: Event Selection
MSD were excluded from tracking by unsetting them in FootGlobal.par
Pile-up rejection: excluding events with more than one pulse in the SC acq. time window
1 BM track ⊗ ≥1 track with TW-point
Following experience from previous work by G. Ubaldi et al, we also ask for Ntrack≥2 to get rid of primary contamination

## Slide 7: Track selection in the event
by default, after event selection, in each Global Track there are at least 3 VTX point and 1 TW point: tracks can have just 4 o 5 points in total
Selection on the matching between BM track and Global Track on the x-y plane at z=0 (center of target)
Selection on x-y position of primary beam at z=0
In Straight Line Reconstruction there is no available P(c2) in Shoe to be used for track quality selection
Global track
BM track
Target
d
d < 0.15 cm

## Slide 8: Straight Line Reconstruction
Track multiplicity/event
All events
Exp. Data: all selected runs

## Slide 9: Straight Line Reconstruction with Ntrack≥2
No. of points per selected track
Sometimes tracks have 6 points:
Calo is included as a point here
Angular distribution of Z=2 tracks
Multiplicity/event of Z=2 tracks
Final statistics:
Processed Events: 3306798 Rejected Events: 1175816 (35.6%) Events with 0 Tracks: 745337 (22.5%)
Total no. of Global Tracks: 2521223 (1.82 track/event)
Tracks with 1 TW point: 2105796 (83.5%) Tracks accepted after matching with BM target: 1401234 (66.5%)
Remaining tracks after Ntrack≥2 selection: 29644 (1.2%), of which Z=2 Tracks: 18487 (62.3% of accept. tracks)
Exp. Data: all selected runs
Notes: 363587 N=0

## Slide 10: Present Results: angular separation of Z=2 tracks and search for 8Be peak
Dq for track pairs
with Zrec=2
Both normalized to Integral = 1
Exp. Data: all selected runs
Dq for track pairs
with Zrec≠ 2
The attempted fit is just to guide the eye

## Slide 11: Comparison to Emulsion Data at 200 MeV/u
2 possible comments:
a) at 200 MeV/u you indeed expect a wider angular separation
b) in the electronic setup, small angular separations are penalized: superposition on the same TW bar

## Slide 12: Observation of other possible structures and their interpretation
These structures could reflect other very interesting nuclear physics processes (➔ including the higher excited levels of 8Be!!) , but, at the same time, they could also point to possible contaminations in the Zrec=2 sample.
Data – Background Fit

## Slide 13: Dq vs Excitation energy for 8Be
12C(α, 8Be)
MC Truth
Opening angle between α particles vs excitation energy in the the breakup of 8Be intermediate stage of 12C into 2 α particles (MC Truth analysis)
12C + C @ 200 MeV/u
92 KeV
3.03 MeV
11.4 MeV
17 MeV
Extracted from
A. Caglioni’s talk at dec. 2023 meeting in Trento
Sorry, we have not yet the same plot for 16O+C at 400 MeV

## Slide 14: What we just learned from MC (MC truth)
The only distribution with no visible structures comes from the coupling of Z>2 particles
GSI21PS_MC simulation campaign
Instead, important structures are predicted when considering the pairing of Z=2 and Z=1 particles
MC truth

## Slide 15: What we just learned from MC (MC truth)
Angular separation of Z=2 and Z=1 particles
GSI21PS_MC simulation campaign
What are these structures?
➔ There are other nuclei exhibiting prompt decay similarly ton the 8Be case
MC truth

## Slide 16: Interesting prompt decay cases:
4Li → 3He + p
5Li → 4He + p
6Li* → 4He + d
t = 9.10 10-23 s M(4Li) = 4.0255 u
t = 3.04 10-22 s M(5Li) = 5.0109 u
t = 7.6 10-23 s M(6Li) = 5.6031 u
6Li is stable, but his excited levels can have a strong prompt decay:
M(6Li g.s.) = 5.6015 GeV/c2 ; M(4He) + M(2H) = 5.6030 GeV/c2 ➔DM = 1.47 MeV/c2
(excluding the 0+ 3.563 MeV level because of quantum numbers)

## Slide 17: MC truth analysis: 4Li region
Invariant mass of 3He + p
Dq for 3He + p
MC truth

## Slide 18: MC truth analysis: 5Li region
Invariant mass of 4He + p
Dq for 4He + p
MC truth

## Slide 19: MC truth analysis: 6Li region
Invariant mass of 4He + d
Dq for 4He + d
MC truth

## Slide 20
Close to 6Li → 4H+d
but not exactly the same
Close to 5Li → 3H+p
but not really the same…
All this is very preliminary, but also intriguing…
However, the Z=1 contamination hypothesis remains a plausible scenario
This one is missing in the data!
(which is also interesting)
MC truth
Data – Background Fit

## Slide 21: Comparison with reconstructed MC
Having switched to Straight Line Reconstruction, all the numbers presented in Naples are no more valid
We have reprocessed MC using Straight Line Rec. applying the same cuts used for exp. data
2 106 events processed.
It immediately appears how this tracking is more efficient on MC than for real data:
Processed Events: 2000000 Rejected Events: 123061 (6.2%) Events with 0 Tracks: 213650 (10.7%)
Total no. of Global Tracks: 2220655 (1.5 track/event)
Tracks with 1 TW point: 2086994 (94%) Tracks accepted after matching with BM target: 1717282 (77%)
Remaining tracks after Ntrack≥2 selection: 90048 (4%), of which Z=2 Tracks: 37465 (41.6% of accepted tracks)

## Slide 22: Comparison summary
MC:
Processed Events: 2000000 Rejected Events: 123061 (6.2%) Events with 0 Tracks: 213650 (10.7%)
Total no. of Global Tracks: 2220655 (1.5 track/event)
Tracks with 1 TW point: 2086994 (94%) Tracks accepted after matching with BM target: 1717282 (77%)
Remaining tracks after Ntrack≥2 selection: 90048 (4%), of which Z=2 Tracks: 37465 (41.6% of accepted tracks)
Exp. data:
Processed Events: 3306798 Rejected Events: 1175816 (35.6%) Events with 0 Tracks: 745337 (22.5%)
Total no. of Global Tracks: 2521223 (1.82 track/event)
Tracks with 1 TW point: 2105796 (83.5%) Tracks accepted after matching with BM target: 1401234 (66.5%)
Remaining tracks after Ntrack≥2 selection: 29644 (1.2%), of which Z=2 Tracks: 18487 (62.3% of accept. tracks)
Can we really compare MC to data?
This is not just a question about the nuclear physics model

## Slide 23: Comparison with reconstructed MC
Reconstructed Z vs True Z
This matrix is essentially diagonal, but the sample of Z=2 tracks has a contamination of Z=1 of the order of ~6.5%
It is unclear if we can trust this prediction: at present we are not including in MC the inefficiency of VT for Z=1 particles

## Slide 24: Comparison with reconstructed MC
Estimate of efficiency in the measurement of angular separation
MC truth: all the Z=2 tracks arriving at TW
MC reconstructed:
Bin to bin ratio
The 8Beg.s. peak at small angular separation is strongly penalized
In this respect 400 MeV/u is worse than 200 MeV/u: narrower distributions

## Slide 25: Comparison of data with reconstructed MC
Normalized to the same area
There are strong differences between MC and data!
Exp data
Reconstr. MC
Numbers taken from Naples slides dec. 2023, and approximately normalized to same integral
Reconstr. MC
Exp,.Data
In the case of emulsion data at 200 MeV/u MC prediction and exp. data were much closer:

## Slide 26: About energy and projectile in the MC
MC reconstructed:
12C @ 200 MeV/u
(see A. Caglioni, Trento 2023)
MC reconstructed:
this analysis 16O @ 400 MeV/u
Warning:
In FLUKA MC the 12C → 3 𝛼 fragmentation is already considered in detail with probability taken from existing data
This is not the case for 16O fragmentation

## Slide 27: Conclusions
The analysis of GSI2021 data turned out to be not easy at all, and there is a penalty from large pile-up.
Apparently, there are problems in using GenFit. Straight Line Reconstruction seems to work better. The analysis strategy studied one year ago had to be totally rebuilt
There are still a lot of uncertainties that cannot be simply solved without additional information. For instance, the reliability of Z reconstruction and the amount of Z=1 contamination
MSD had to be taken away from reconstruction, for the time being. They could be very helpful in this situation
There are important disagreements in the comparison of data and MC, and there are surely differences with respect to the 200 MeV/u case:
  At the moment it is unclear if there are issues in the physics model (which indeed might depend on energy) or if the simple reconstruction used in this analysis in faulty or introducing biases
  It is however clear that there are instrumental inefficiencies at small angle separation which must be more evident when energy increases

## Slide 28: Take home messages
Hints of other interesting nuclear physics processes are emerging. They must be taken into account for our future analyses!
The structures in Z1-Z2 correlation should be explored also with emulsions
It is anyway of fundamental important that both electronic spectrometer and emulsion analyze these phenomena at the same energy
This means that it’s probably necessary to analyze also GSI2021 data at 200 MeV/u (and run the simulation as well…)
For the electronic spectrometer: in order to understand better our systematics and to give answers to the many questions arising from GSI2021 data, it is ot the outmost importance to analyze 12C data taken with full detector and lower energy. Is CNAO2024 the most viable data set?

## Slide 29: Backup Slides

## Slide 30: 1) GenFit Reconstruction test with run 4310
Track multiplicity/event
468828 events with 0 reconstructed tracks
1 track: 526166 events
2 tracks: 12940 events
3 tracks: 3465 events
4 tracks: 682 events
5 tracks: 61 events
6 tracks: 6 events
In 1 track events there are
mainly non interacted primaries
No track selection!

## Slide 31: GenFit run 4310 after track selection
Track multiplicity/event
High multiplicities are killed

## Slide 32: GenFit run 4310 after track selection
He(rec) multiplicity/event
Angular distribution of Z=2 tracks
High peak close to 0 degrees
Cuts are necessary

## Slide 33
Maximal residual between a Track Point and the Fitted position:
Seems a reasonable distribution
P(c2)
GenFit run 4310 after track selection

## Slide 34: Attempting standard (loose) quality cuts
P(c2) > 0.02
Track Multiplicity/event
Events with Ntracks>1 are killed!
Angular distribution of Z=2 tracks
Number of events with Z=2 is also strongly reduced using the P-value cut
run 4310

## Slide 35: Dismissing cut on P(c2) and requiring Ntrack≥2
Angular distribution of Z=2 tracks
Now seems clean
Angular separation of pairs of Z=2 tracks
Angular separation of pairs of Z != 2 tracks
Weird distributions…
run 4310