## Slide 1: Advanced Beam Diagnostics with PolariX TDS: Experimental 5D Reconstruction at SwissFEL
Francesco Demurtasᵃ, E. Chiadroniᵃ ᵈ, P. Craievichᵇ, P. Dijkstalᵇ, E. Ericsonᵇ,
A. Giribonoᵈ, R. Ischebeckᵇ, S. Jaster-Merzᶜ, F. Marcelliniᵇ, E. Pratᵇ, S. Reicheᵇ
Sapienza University of Rome, Roma, Italy
Paul Scherrer Institut, CH-5232 Villigen PSI, Switzerland
Deutsches Elektronen-Synchrotron DESY, Hamburg, Germany
ᵈIstituto Nazionale di Fisica Nucleare-Laboratori Nazionali di Frascati, Frascati, Italy

## Slide 2: Talk outline
Motivations and goals of the presented experimental activities
Description of the Polarizable X-Band Transverse Deflection Structure system
Description of the 3D and 5D tomographic techniques
Preparations of the experimental setup:
      Athos SwissFEL diagnostics beamline
      Beam optics calculation
      PolariX TDS multiple streaking
      Deflector calibration
Experimental results of the 3D and 5D reconstruction
Summary and conclusions

## Slide 3: Motivations and goals
The presented experimental activity is a result from a collaboration between PSI center, DESY and INFN-LNF
PolariX TDS implementation into the diagnostic system
Goal:
Demonstrate feasibility of 3D/5D reconstructions
Necessity:
High longitudinal resolution PolariX TDS
Full phase-space reconstruction Tomographic techniques (3D/5D reconstruction)
Development and first demonstration of the tomographic reconstruction method
Development of the PolariX TDS

## Slide 4: PolariX TDS: RF system
Phase Shifter
E-Rotator
The power is split into two branches
The phase shifter introduces a phase difference between ports 1 and 2:
  0 deg -> vertical polarization
  180 deg -> horizontal polarization
The two branches are then recombined into the E-rotator
The PolariX is an X-band Transverse Deflection Structure with the feature of changing the beam streaking direction
Ref. : Grudiev, Alexej. Design of compact high power RF components at X-band. No. CERN-ACC-NOTE-2016-0044. 2016.

## Slide 5: PolariX TDS: Working principle
It is capable of measuring the longitudinal properties of the beam in both transverse planes with fs-resolution
Allows for a tomography of the beam to reconstruct the 3D (x,y,t) and 5D (x,x’,y,y’,t) beam distribution, by streaking the beam for different field polarizations
Ref.: Marchetti, Barbara, et al. "Experimental demonstration of novel beam characterization using a polarizable X-band transverse deflection structure." Scientific reports 11.1 (2021): 3560.
Ref.: Jaster-Merz, S., et al. "5D tomographic phase-space reconstruction of particle bunches." Physical Review Accelerators and Beams 27.7 (2024): 072801.

## Slide 6: PolariX TDS: Tomographic reconstruction
Ref.: Marx, Daniel, et al. "Reconstruction of the 3D charge distribution of an electron bunch using a novel variable-polarization transverse deflecting structure (TDS)." Journal of Physics: Conference Series. Vol. 874. No. 1. IOP Publishing, 2017.
Ref.: Marx, Daniel, et al. "Simulations of 3D charge density measurements for commissioning of the PolariX-TDS." Journal of Physics: Conference Series. Vol. 1067. IOP Publishing, 2018.
Combination of two scans:
  Quadrupole scan change optics, vary transverse phase advance
  PolariX TDS scan streaking at 10 polarization angles ( coverage)
For each quadrupole setting:
  Acquire 10 streaked images
  Each image is divided into longitudinal slices
3D Reconstruction
  Each slice (1D in time) + 10 projections → tomographic 2D reconstruction (x–y)
  Stacking slices → 3D charge distribution (x, y, t)

## Slide 7: PolariX TDS: 5D tomography
Ref.: Hock, K. M., and A. Wolski. "Tomographic reconstruction of the full 4D transverse phase space." Nuclear Instruments and Methods in Physics Research Section A: Accelerators, Spectrometers, Detectors and Associated Equipment 726 (2013): 8-16.
Ref.: Jaster-Merz, S., et al. "5D tomographic phase-space reconstruction of particle bunches." Physical Review Accelerators and Beams 27.7 (2024): 072801
Ref.: Jaster-Merz, S., et al. "Experimental demonstration of a tomographic 5D phase-space reconstruction." arXiv preprint arXiv:2505.13724 (2025).
4D Reconstruction
  2D slice images interpreted as projections of full 4D phase space (x, x′, y, y′) rotated by an angle depending on the phase advance
5D Reconstruction
  Combine transverse phase space slices (4D) with longitudinal coordinate (t)
  Result: full 5D beam distribution
  Developed and demonstrated for the first time at DESY.
1° iteration
2° iteration
is the projection along the direction in the horizontal phase space
Filtered back-projection algorithm recovers transverse momenta

## Slide 8: 5D Reconstruction: Beamline layout
Quadrupoles off after the TDS Resolution depending on the TDS-screen distance, TDS parameters, and unstreaked beam transverse size at the screen
System of 3 Phase Shifters needed for polarization selection and opposite kick compensation
Two different beam configurations with different bunch length
TDS 1
TDS 2
PS1
PS2
PS3
 | G
Reconstruction Point
Phase shifter system for polarization selection
Measurement Screen
Athos 3-GeV Beamline at SwissFEL
Quadrupoles upstream to the TDS used for matching to the screen

## Slide 9: 5D Reconstruction: Optics simulations
TDS 1
TDS 2
Reconstruction Point
Measurement Screen
Matching Quadrupoles
Single-particle simulations have been done to calculate the beam optics for the quadrupole scan
Scan index
Phase advance scan: from to
Small function (close to 20 m)
Small (close to 0)

## Slide 10: 5D Reconstruction: TDS polarizations
Polarization [deg] | Measured Angle [deg]
Polarization [deg] | Measured Angle [deg]
The beam is streaked, covering a polarization range of 180 degrees, and from the centroids, the streaking angle can be evaluated
The polarization is set by three phase shifters that set the single cavity phase and the relative one
Beam Images at different polarizations
Angle from: Centroid Shift vs RF Phase

## Slide 11: 5D Reconstruction: Calibration results
TDS calibration for different streaking angles Measured the centroid shift when changing the cavity phase
Expecting a low variation in the calibration factors depending on the streaking angle, due to not using quadrupoles after the TDS
Average resolution rescaled to take into account shot-to-shot variations in the cavity voltage

## Slide 12: 3D Reconstruction: 2D projections
For each dataset, we acquired 5 images for each combination of 100 quadrupole settings and 10 polarizations (Beam repetition rate: 1 Hz)
For each beam optics the 3D reconstruction can be performed
2D projections from the reconstructed 3D distribution ():

## Slide 13: 5D Reconstruction: Preliminary results
Beam 1: High compression
Beam 2: Moderate compression
Preliminary results
The measurement has been done in two settings: a short bunch () and a less compressed () to mitigate collective effects in the compressor and reduce the beam tilt
Courtesy: S. Jaster-Merz
Preliminary results
3D beam charge density obtained as a projection of the reconstructed 5D distribution:

## Slide 14: 5D Reconstruction: Bunch 1
Preliminary
In the first beam configuration, the high compression produces a very short bunch with an evident tilt in the (x,t) plane
Bunch 1, reconstructed 2D projections:
Preliminary results
Courtesy: S. Jaster-Merz

## Slide 15: 5D Reconstruction: Bunch 2
Preliminary
In the second beam configuration, the relaxation of the bunch compression reduces the beam tilt
Bunch 2, reconstructed 2D projections:
Preliminary results
Courtesy: S. Jaster-Merz

## Slide 16: Summary and conclusions
Employed the 3D and 5D tomography at the 3 GeV Athos beamline at SwissFEL, to reconstruct beams for two different beam configurations
Achieved the 5D tomography with
Employ this technique as diagnostics to characterize the nominal bunch at Athos SwissFEL
Extend the 5D tomography method to perform the 6D Reconstruction, including the beam energy measurement at the spectrometer
Next Studies:
Summary results

## Slide 17: Acknowledgements
INFN-LNF: E. Chiadroni, A. Giribono
PSI center: P. Craievich, P. Dijkstal, F. Marcellini, E. Prat, S. Reiche, E. Ericson, R. Ischebeck
DESY: S. Jaster-Merz, B. Beutner

## Slide 18
Thank you for your attention

## Slide 19
BACKUP SLIDES

## Slide 20: SART tomographic algorithm
SART (Simultaneous algebraic reconstruction technique) TOMOGRAPHIC ALGORITHM
Sinogram: set of 1S projections (called ray) in input to the algorithm
Initial guess to calculate the projection
Calculated the projection we define the difference between and and update the initial guess to reduce the difference at each iteration
It is simultaneous because it updates all pixels at the same time
More accurate and robust than other similar algorithms
Good reconstruction with few projection angles
Working principle:
Advantages:

## Slide 21: Filtered Back Projection algorithm
2D Projection of 4D distribution
after a rotation Projection
Consider y as constant, and work only on the x,x’ variables
Apply Fourier transform to P:
Apply high-pass filter and revert the transform:
Compute the back-projection:
Repeating the same process for y gives the 4D distribution
FILTERED BACK PROJECTION TOMOGRAPHIC ALGORITHM
Working principle:

## Slide 22: Beamline optics
The optics has been calculated to match the Twiss parameters to screen
Since there are no quadrupoles active, but only a drift after the TDS, the beta function at the TDS center and the beam size at the screen are dependent parameters

## Slide 23: Image treating methodology
The images have to be prepared to perform the tomographic reconstruction:
Remove background and apply gaussian filters to the images
Rescale images to have square pixels
Rotate the images by the streaking angle
Apply the calibration factor to the streaking axis and rescale the images to have the same temporal scale
Center the images
Set the ROI to select only the beam
This allows for the reconstruction, minimizing the artifacts that can arise from the disalignment in the images and from background contributions

## Slide 24: EuPRAXIA@SPARC_LAB
Two PolariX TDS will be implemented in the EuPRAXIA@SPARC_LAB diagnostics systems
Photoinjector exit
60 cm TDS
Plasma module exit
96 cm TDS