## Slide 1
1
A Global Navigation Satellite Systems (GNSS) receiver chain consists of an antenna, RF cable, and receiver. Absolute calibration of a GNSS receiver chain is necessary for GNSS time scales monitoring.
This calibration allows for the computation of [GNSS_time − UTC(k)] and monitoring of GNSS timing broadcast messages.
Absolute Calibration of GNSS Timing Receiver Chain
CNES absolute calibration:
The Centre National d’Etudes Spatiales (CNES) has developed absolute calibration methods for the antenna, cable, and receiver, to give an uncertainty budget.
1

## Slide 2
Antenna delay calibration
CNES absolute calibration
1
2

## Slide 3
RF cable delay calibration
CNES absolute calibration
1
3

## Slide 4
Receiver delay (RxD) calibration
CNES absolute calibration
1
4

## Slide 5: Common-clock validation setup
1
5

## Slide 6: Uncertainty budget for ‘CS22’ receiver chain (ns)
RAWDIF is the raw CGGTTS data with standard deviation
Use ionosphere-free linear combination:
1
6

## Slide 7: Uncertainty budget for ‘CS22’ receiver chain (ns)
1
7

## Slide 8
[GST −UTC] =[UTC(CNES)−UTC]−[UTC(CNES)−GST].
Associated to the Galileo to UTC coefficients (GAUT) broadcast messages:
UTC − GNSS_Time
This equation includes the calibrated BIPM link on one hand (4.7 ns), and the absolute calibration of the CS22 receiver chain on the other (1.0 ns).
1
8

## Slide 9
Two-Way Satellite Time and Frequency Transfer (TWSTFT) is a key technique for generating UTC.
Currently, over 12 timing laboratories worldwide use TWSTFT for UTC generation. TWSTFT has small calibration uncertainty and long-term link stability.
Two-Way Satellite Time and Frequency Transfer (TWSTFT) and UTC Computation
2
9

## Slide 10: Diurnal Variations in TWSTFT
Diurnal variation: peak-to-peak amplitudes reaching 2.0 ns.
Origin of the diurnal variation is not yet conclusively understood, and efforts are ongoing to mitigate its impact.
2
10

## Slide 11: Use of GPSPPP in UTC Computation
Since 2010, the BIPM has used the combination of SAtellite Time and Ranging Equipment (SATRE) TWSTFT results and GPS carrier-phase precise point positioning (GPSPPP).
This combination eliminates the diurnal variations as GPSPPP results are almost free from diurnals.
2
11

## Slide 12: SDR TWSTFT Indirect Links
Using indirect Software-defined radio (SDR) TWSTFT links is a pure TWSTFT solution, independent of GPS results.
This improves the robustness of UTC computation, providing a more resilient approach to time transfer.
2
12

## Slide 13
Cosmic time synchronizer (CTS) for wireless and precise time synchronization
The output signals from the detectors are given to the Time to Digital Converter (TDC) as the stop signals. Signals from the Oven-Controlled Crystal Oscillator (OCXO) are given to the TDC as the start signals so that the time difference can be measured.
3
13
Notes: EAS: Extended air shower

## Slide 14
Cosmic time synchronizer (CTS) for wireless and precise time synchronization
3
14

## Slide 15
High-accuracy coherent optical frequency transfer
The ultimate link performance has been evaluated by doubling the link to 1,284 km, demonstrating a new characterization technique based on the double round trip on a single fiber.
4
15

## Slide 16
High-accuracy coherent optical frequency transfer
A frequency instability of (in terms of Allan deviation) at 1,000 s.
4
16