## Slide 1
Geant4 simulation of the ISOLPHARM γ camera for radiopharmacy studies
E. Niero
May 19th, 2025
Laboratori Nazionali di Legnaro – INFN

## Slide 2
Outline
The γ camera
The simulation
The experimental session
Notes: 2

## Slide 3
The γ camera
γ camera used at L.E.N.A during the mission of May 15th
Ag-111 emitting γ rays with energy 342 keV.
Tungsten collimator (𝜌= 19.3 g/cm³), septa are 1 mm thick and holes are
2 mm thick.
Inorganic scintillator made with a
GAGG(Ce) crystal (Ce:Gd3Al2Ga3O12).
22 × 22 × 26 mm³ of volume.
Most problematic part for the
simulation!
Silicon Photomultiplier sensitive to the optical photons.
8 × 8 channels, each one with
3 × 3 mm² of area.
Notes: 3

## Slide 4
The simulation
Geant4 simulation covers all the parts of the γ camera except for the readout electronics;
For each part of the γ camera, Geant4 requires some parameters in input which have to be optimized to simulate in the best way the experimental data;
For example: the value of absorption length of GAGG(Ce) (G4OpAbsorption);
Longer? Shorter? Constant or energy dependent?
Notes: 4

## Slide 5
The experimental session
May 15th of 2025 at L.E.N.A. in Pavia
we took useful measurements to
test and characterize our γ camera.
Notes: 5