## Slide 1: AGATA Status
AGATA 7th pre-PAC
July 10-11 2025
A. Goasduff

## Slide 2: Future Campaign
 | Jan. | Feb. | Mar. | Apr. | May | Jun. | Jul. | Aug. | Set. | Oct. | Nov. | Dec.
2025 |  | TANDEM |  |  |  | TANDEM |  |  |  | TANDEM |  | 
2026 | TANDEM |  | TANDEM/PIAVE-ALPI |  |  |  |  | MOVE TO 0 DEG |  |  |  | 
2027 |  | PARIS? NEDA? |  |  |  |  |  |  |  | NEDA? PARIS? |  | 
2028 |  | NEDA? PARIS? |  |  |  |  |  | MOVE TO GANIL |  |  |  | 
Last Pre-PAC PRISMA-AGATA 10-11 July 2025

## Slide 3: AGATA PERFORMANCES
Courtesy of R.M. Perez Vidal – J. Pellumaj

## Slide 4: AGATA Detectors replacement
Courtesy of W. Raniero, D. Scarpa

## Slide 5: Electronics
New hardware trigger for ancillary detectors / external gate
  Acting directly on the local trigger of the ATC crystals
  Suppression of the dead-time due to the AGAVA for Si detectors
  Possibility to condition the AGATA acquisition with beam-on/beam-off
  Working on fold determination
Available V1 channels: 33 crystals (11 ATC)
V2 electronics:
  Production (ADC boards / PACE / STARE / mechanics) on track
  Data transmission tests through complex network infrastructures tested at IJCLab
  Validation of the PACE data processing firmware on-going
  Integration of the new electronic in the GTS in progress

## Slide 6: Electronics
First in-beam data taken with the V2 LNL - June 2025

## Slide 7: DAQ & Near-line
Upgrade of the disk system
  From 120 TB to 300 TB avaible for experiment
New nearline servers: (gain of factor 10 on replay time)
  10 Gbps connection to the disk
  Test at the end of July of the nearline replay with docker-swarm (IP2I Lyon / G. Baulieu)
New metadata automatic generation:
  HV status
  Detector rates
  DSS status
  Electronic status

## Slide 8: A wealth of Complementary detectors
Heavy ions:
  PRISMA
  SPIDER
  DANTE
  OSCAR
Light charged particles:
  SPIDER
  EUCLIDES
  SAURON
Lifetimes
  Plungers
Scintillators
  LaBr3
Light RIB from EXOTIC
Courtesy of M. Balogh

## Slide 9: 2025/2026 New additions
Online results of the dec-2024 test on PISOLO

## Slide 11
Installation of the PRISMA second arm and rotating target for experiments with Uranium beams in 2026
Mechanical integration in the existing AGATA-PRISMA set-up studied in collaboration with the PD design office (M. Rampazzo).
Realization of the connection parts in charge of the PD workshop (L. Ramina).
ROTATING TARGET MOTOR
SECOND ARM INTEGRATION
The work will be finalized in 2026

## Slide 12: The 2026 campaign with the ALPI beams: Last AGATA-PRISMA OPPORTUNITY
Inclusion of the 2 new devices:
PRISMA Second arm
Rotating target for intense heavy beams (208Pb, 238U)
238U
beam
syncronization 5 Hz

## Slide 13: The Zero degree campaing
2026-2028

## Slide 14: The future zero degree campaign
Hot rotating nuclei, GDR,
superdeformation, high-spin states…
Isospin symmetry, proton neutron pairing and spectroscopy of N~Z nuclei
Reactions relevant for astrophysics, structure of 12C, three-body force 16C

## Slide 15: Status of the zero degree campaign
Mechanical design have been finalized.
Production of the new AGATA support has been made.
All infrastructure (LN2, …) is finalized
Production of the new reaction chamber and beam dump is on-going
Integration of the ancillaries and new target system on-going

## Slide 16: Zero degree campaign “bulky” ancillaries
NEDA Neutron Detector Array
54 liquid scintillator cells
50 cm from the target
Neutron discimination:
  PSA
  Time of flight
Digital electronics compatible with AGATA
DAQ integration is on-going
J.J. Valiente Dobón, Nucl. Inst. Meth. A 927 (2019) 81

## Slide 17: Zero degree campaign “bulky” ancillaries
PARIS phoswich array
10 cluster made of 9 phoswiches
2 rings at forward angles:
  6 clusters at 60 degrees
  4 clusters at 15 degrees
Same electronics than present LaBr3 – fully integrated
http://paris.ifj.edu.pl

## Slide 18: Conclusions
The official end of the LNL campaign is set to mid-2028
New complementary detectors will be installed to fully exploit the next campaign beams
The zero degrees campaign will be divided in two sub-campaign: PARIS – NEDA
  Preparation of the two is on-going
  Order of the sub-campaign will be driven by
    Availability of the two arrays
    Users requests
Strong collaboration with well established and documented procedure for data analysis.

## Slide 19: Thank you
Alain.goasduff@lnl.infn.it
http://gamma.lnl.infn.it
https://www.agata.org