## Slide 1
Lodovico Ratti
Università di Pavia and INFN Pavia
(lodovico.ratti@unipv.it)
WP2 meeting
https://cern.zoom.us/j/6401428621
June 3, 2025
ASPiDeS
A CMOS SPAD and Digital SiPM platform for High Energy Physics

## Slide 2
Digital SiPM characterization
DCR
  SPAD enalble/disable; output of the counter or of the NAND/NOR tree (400 ps pulse from the internal monostable circuit)
Cross-talk
  SPAD enalble/disable; output of the counter
After-pulsing
  SPAD enalble/disable; output of the NAND/NOR tree (distribution of the number of counts, a counter could be added)
PDE
  SPAD enalble/disable; output of the NAND/NOR tree or counter
Counter output delay
  SPAD enalble/disable; test signal; counter output
NAND/NOR tree jitter/dispersion (fixed pattern jitter)
  SPAD enalble/disable; test signal: NAND/NOR tree output

## Slide 3
I/O signals
GLOBAL RESET (fast): resets in pixel memory (and counter)
GATE (fast): enables front-end electronics
ENABLE/DISABLE (slow): enables/disables both front-end electronics and SPAD
TEST (fast)
COUNTER OUTPUT (11 bit)
NAND/NOR OUTPUT

## Slide 4
I/O signals – block diagram