## Slide 1: CYGNO04 Technical Coordinator Report
Davide Fiorina – GSSI & INFN LNGS

## Slide 2: CYGNO04 Gantt
Start of 1 year Datataking
An average delay of 6 months accumulated mostly because of detector design
Collateral delay
Start on first trimester of 2026 and decommisisoing end of 2027 as requested by CSN2

## Slide 3: HallF Infrastructure

## Slide 4: Mechanical Layout
Tirreno Side
Adriatico Side

## Slide 5: Inner Detector
CYGNO needs 6 GEM foils, we bought 8 foils
4 foils with random segmentation (one is oxidized)
4 foils with standard segmentation (one is oxidized)
Additonaly GEMs to have 3x stack of random segmented GEM

## Slide 6: Copper Vessel
83Kr for whole detector response (monthly)
55Fe for z response (daily)
HV gas flange
PMT flange
Source flange
Camera flange

## Slide 7: Gas distribution
Cathode
GEM
GEM
6mm
Capillary
Capillary
Out PMMA
IN Vessel
OUT Vessel
OUT PMMA
He/CF4
N2
N2
Liquid nitrogen dewar in HallB with gasificator and

## Slide 8: CYGNO04++
List of possible upgrades and possible ‘costs’:
Low cost i.e. no touching the detector
H-rich gas (H, iC4H10 or CH4)
  New flammable gas system (~100k€)
  Or just add water (2.6% volume is 100RH at 900mbar 20°C)
2x Larger Drift field
  New PS (~20k€)
Fine pitch opaque GEMs (~10k€ before assembly otherwise in medium)
Medium cost i.e. changing the inner detector (~100k€)
ITO for light enhancement
  Large custom quartz+ITO window (~50k€)
  Several 10k€ for electronics if strip readout
  New PS (~10k€ )
Larger gas pressure
High cost i.e. changing a lot more (several 100k€)
Primary scintillation detection
  Not sure if possible
  Thousands of SiPM channels in between field cage rings
GEM signal readout
  New HV distribution and readout
Pure gas
400ppm O2
2.6% H2O (sature)
DISCLAIMER
End of September Start of CYGNO04 precommissioning in LNF
End of the year detector installation underground
Beginning of 2026 start of commissioning

## Slide 9: CYGNO04++
List of possible upgrades and possible ‘costs’:
Low cost i.e. no touching the detector
H-rich gas (H, iC4H10 or CH4)
  New flammable gas system (~100k€)
  Or just add water (2.6% volume is 100RH at 900mbar 20°C)
2x Larger Drift field
  New PS (~20k€)
Fine pitch opaque GEMs (~10k€ before assembly otherwise in medium)
Medium cost i.e. changing the inner detector (~100k€)
ITO for light enhancement
  Large custom quartz+ITO window (~50k€)
  Several 10k€ for electronics if strip readout
  New PS (~10k€ )
Larger gas pressure
High cost i.e. changing a lot more (several 100k€)
Primary scintillation detection
  Not sure if possible
  Thousands of SiPM channels in between field cage rings
GEM signal readout
  New HV distribution and readout
Pure gas
400ppm O2
2.6% H2O (sature)

## Slide 10: BACKUP