## Slide 1: Stilbene detectors: Status and perspectives
Agatino Musumarra, Dimitrios Papanikolaou, Maria Grazia Pellegriti
University of Catania and INFN-Sezione di Catania
C. Massimi, R. Sahoo
University of Bologna and INFN-Sezione di Bologna
N. Patronis, Z. Eleme
University of Ioannina
R. Mucciola
INFN-Sezione di Bari
for the n_TOF collaboration
Meeting Nazionale n_TOF, Frascati 13/11/2025

## Slide 2
Outlook
stilbene detectors development
- A new experimental approach for replacing the C6D6 for n-g capture reactions
- Moving further to n-n and n-n’ elastic and inelastic scattering measurements
- New PSTIL stilbene detector array for n_TOF

## Slide 3
“Big” C6D6 Liquid scintillators
Large & segmented C6D6
Solid organic scintillators
Read-outs/Power supplies
Solid
Higher density
No Chemical hazard
n/g discrimination
Compact array of small C6D6
Motivations for developing a new prototype based on stilbene

## Slide 4
3.5 cm
HAMAMATSU R1924A
Sens-Tech PS1807
Ultra compact active base
with DC-DC converter
no HV needed
First stilbene prototype (p-stil) - June 2022

## Slide 5
First test @ EAR2 – June 2022
the sTED frame
respect to the sTED module

## Slide 6
LoI for stilbene detector development @ n_TOF – April 2023

## Slide 7
1”x 1” 4 cylindrical INRAD p-stilbene detectors
PMT R7378A (no borosilicate window)
137Cs
The p-stil detectors - first array (n. 4 INRAD ScintinelTM crystals)

## Slide 8
EAR2 May 2023 set-up
90° P-STIL
135° P-STIL

## Slide 9
Detector | Rise time [ns] | Pulse width [ns]
C6D6 | 8 | 40
sTED | 4 | 24
DSTI-1 | 3 | 20
PSTI & DSTI2 | 3 | 20
EAR2 May 2023 set-up

## Slide 10
LoI for elastic and inelastic measurements EAR1@n_TOF – April 2024

## Slide 11
(PSTIL1) with Cu setup in place (4xC6D6)
EAR1 test August 2024

## Slide 12
August test (PSTIL1) with Cu setup in place (4xC6D6)
PSTIL vs C6D6 comparison in the TOF MeV region
By inspection the En=1-100 MeV region is now available
for measurements in EAR1
No ringing (skipping the patch panel)
No baseline shift (low PM gain and small PSTIL active volume)
No g-flash saturation (low PM gain and small active volume)
EAR1 test August 2024

## Slide 13
Equalization/distribution box
Det # | θlab
1 and 8 | 100°±6°
2 and 7 | 120°±6°
3 and 6 | 140°±6°
4 and 5 | 160°±6°
d=12cm, ΔΩ=0.04sr
1
2
3
4
5
6
7
8
full carbon fibre setup ready, by INFN-Trieste, supporting the full array
12C target
LoI INTC-I-274 - PSTIL set-up in EAR1 – October 2024

## Slide 14
new PSA
(improved signal analysis and parametrization)
n+12C
(n/g discrimination)
neutrons
Am-Be
(n/g discrimination)
In EAR1:
non saturated γ-flash response
baseline free of electromagnetic disturbance were observed
PSTIL Gain stability check
(one week 3xY-88 calibrations)
n-12C measurement results
Conditions:
Pile-up rejection
Neutron selection
10 keV energy binning
Pulse Intensity normalization
raw TOF
n-energy spectra
LoI INTC-I-274 - Preliminary results
By D. Papanikolaou

## Slide 15
LoI INTC-I-274 - Preliminary results on 12C(n,n)12C scattering
100°
120°
140°
160°
ds/dW (b/sr)
Ecm(MeV)
ds/dW (b/sr)
Ecm(MeV)
ds/dW (b/sr)
Ecm(MeV)
ds/dW (b/sr)
Ecm(MeV)
6.862 MeV, G=7.68keV
Measurement vs evaluated data
By D. Papanikolaou

## Slide 16
item | status | Location | Finanziamenti
n. 4 INRAD p-stil modules | Ready | @ CERN | 2022 (n_TOF_INFN, dot gr.III, CERN)
n. 4 Proteus p-stil modules | Ready | @ CERN | 2023 - n_TOF_INFN
n. 10 Proteus stilbene crystals | Delivered | @ Catania | Ant. 2025 - n_TOF_INFN
n. 10 Hamamatsu PMT | Delivered | @ Catania | 2025 - n_TOF_INFN
n. 10 Sens-tech Power supply | Delivered | @ Catania | 2025 - n_TOF_INFN
8 modules ready and 10 modules to be assembled
Status of PSTIL set-up
Milestones 2025  accomplished
Stilbene test for inelastic and inelastic scattering (August & September 2024 EAR1)
Preliminary results presented at ND2025, Madrid
A. Musumarra, Development of a trans-Stilbene multi-detector array for measuring elastic and inelastic neutron cross-section channels

## Slide 17
Development of TARAT (active target) for n-n measurements – 2020
2H(n,nn)p
To develop a deuterated target
Active target to detect the protons
Deuterated stilbene was the candidate

## Slide 18
d-Stilbene
2 HAMAMATSU 6x6
2 AdvanSid 4x4
TaraT test run at NCSR Demokritos (Athens) June 2021
thanks to
Natalia P. Zaitseva
LLNL
26 x 23 x 11 mm3
) -)) + (1-⍴) *() -)))
Signal parametrization

## Slide 19
e
d
p
(Qtot-Qfast)/Qtot
Qtot (a.u.)
TaraT paper status: analysis upgrades
p-d discrimination, it is working also for SiPM
Possibility to disentangle break-up protons!
Zhou, NIM A 1027 (2022) 166287
Standard PMT
TARAT measurements Demokritos En=15MeV

## Slide 20
A. Musumarra, invited Talk a HINPW7 2024 Ioannina, Greece
Towards the next generation of detectors for neutron induced reactions at n_TOF (CERN)
EPJ Web of Conferences 304 (2024) 01009
https://doi.org/10.1051/epjconf/202430401009
D. Papanikolaou, talk a ANP2024, Tessalonikki, Greece
“SOLARIS”: A neutron tracker for the next generation of solar missions
D. Papanikolaou, talk a HNPS-2024 Tessalonikki, Greece
Neutron capture reactions for nuclear astrophysics: Development & characterization of an innovative detection setup based on trans-Stilbene organic scintillators
HNPS Advances in Nuclear Physics 31 (2025) 1
https://doi.org/10.12681/hnpsanp.7995
A. Musumarra, talk a NPD2025, Madrid, Spain
Development of a trans-Stilbene multi-detector array for measuring elastic and inelastic neutron cross-section channels
(to be submitted to EPJ Web of Conferences)
D. Papanikolaou et al., Applied Radiation and Isotopes 227 (2026) 112304
“SOLARIS”: A neutron tracker for the next generation of solar missions
https://doi.org/10.1016/j.apradiso.2025.112304
Talk and papers 2024-2026

## Slide 21
C-12 (B-11) analysis is in progress (EAR1 measurement)
8 Modules up and ready for the n_TOF community (at CERN)
Total 18 modules available by the end of 2025 (beginning 2026)
Carbon fibre frame before LS3 (Trieste-Bologna-Catania)
Complementary setup:
PSTIL & Fission set-up: 236U(n,f) and LoI INTC-I-294
PSTIL+LaBr3 n/g coincidences En=0.1 – 10 MeV
PSTIL as ancillary detectors in (n,cp) setup (in-vacuum)
Looking forward