## Slide 1
LaBr3 + Si annular?
n_TOF LaBr3 array
(n,cp) setup
+
Silicon annular nTD detector
16 strips x 16 sectors
DSSSD
16x16 (5 x 5 cm2)
?

## Slide 2
7Li
In principle, the 2nd excited state 7/2- may decay via gamma, it would be interesting to measure the gamma branching, but this is estimated around 10-5 and our efficiency at 4.6 MeV is 0.12% (10 detectors), I think this will be really hard to measure…
7Li(n,n’γ)7Li and 6Li(n,n’γ)6Li parasitic
the 3rd (0+) and 5th (2+) excited state should decay via gamma
At some point we may want to propose the 6Li(n,n’d)a
6Li
α+t
9Be
Gamma decay branch very small <10-4
α+d

## Slide 3
This cross section is proposed as standard for γ-rays cross section measurements, large discrepancy still exists
7Li(n,n’γ)7Li*477 keV
Latest measurements in 2016 at GELINA + HPGe detectors
In the current 19F(n,n’) measurement with LiF target we see ~450 counts/1e16 protons (5000/day). Target is 1 mm thick.
Is it worth re-measuring during the 7Li(n,n’t)7Li*477 keV?
Pros: target is pure 7Li, this is quite nice/clean measurement
Cons 1: 7Li target for (n,cp) is only 20 μm  expect ~ 100 counts/day
Cons 2: outside the Si setup, efficiency could be lower
Cons 3: the Si setup is in vacuum
M. Nyman, PRC 93, 024610 (2016)

## Slide 4
Conclusion
Thin target + array efficiency + cross section generally low cp+gamma hard to measure
However… we only looked at Li, Be
Other excites states in 7Li and 9Be are highly unlikely to be detected.
In the future if we propose 6Li(n,n’d), there could be scope to measure 6Li* using LaBr3 parasitically
It’s free, why not? But is it free?