## Slide 1
M. Mastromarco, A. Mazzone, A. Mengoni, N. Colonna, S. Cristallo, G. Tagliente, C. Massimi and U. Koester
Advances in the Gd-160 capture cross section data analysis

## Slide 2: Motivations
161Tb is a clinically interesting isotope for theranostics!!!
A. Mazzone et al. (The n_TOF Collaboration), Physics Letters B 804, 135405 (2020)
M. Mastromarco et al. (The n_TOF Collaboration), EPJA 55, 9 (2019)

## Slide 3: Motivations
161Tb is a clinically interesting isotope for theranostics!!!

## Slide 4: (Medical Motivations: terbium-161 production)
Chemically similar to lutetium-177 (used in theranostic as γ and β- emitter)
Similar half-life T1/2 = 6.9 d (against 6.7 d of Lu-177)
In addiction to being a γ and β- emitter (like Lu-177), Tb-161 is also an emitter of Auger and conversion electrons;
The higher LET (compared to Lu-177) can be effective in reducing the survival probability of tumors cells.
Notes: It has chemical-physical properties very similar to those of Lu-177 (largely used in theranostic as y and Beta- emitter); in addiction termbium is also an Auger and conversion e- emitter, so an higher LET compared to Lu-177 is expected.

## Slide 5: Motivations
…and influences the abundance of Dy in stars!!!

## Slide 6: Motivations
…and influences the abundance of Dy in stars!!!
A. Mazzone et al. (The n_TOF Collaboration), Physics Letters B 804, 135405 (2020)
M. Mastromarco et al. (The n_TOF Collaboration), EPJA 55, 9 (2019)

## Slide 7: Motivations: Model Calculations against Observations
Notes: Con le sezioni d’urto attuali, abbiamo eseguito calcoli di modelli stellari con masse M=2M_solari in fase AGB (con metallicità Z=0.01 e Z=Z_solare), che sono rappresentative delle "parent stars" dove si sono formati in precedenza i grani pre-solari di carbonati silice (SiC). Nel corso della fase di AGB , entrambi i modelli si muovono verso concentrazioni sensibilmente diverse di Dy-161 e Dy-163 (come indicato dai grani) o verso abbondanze sensibilmente più alte di Dy-164. L'accordo con i grani (per quanto riguarda il rapporto 161Dy/162Dy) potrebbe migliorare presupponendo un diverso valore della sezione d'urto del Gd160(n,g).

## Slide 8: Motivations: State of the Art
Exp. Data and Main Evaluations
> 70% discrepancy!!!
MACS @ kT=30 keV
source: https://exp-astro.de/kadonis1.0/
Large discr. in RRR and URR
Karzavina et al.
Kang et al.
> 30% discrepancy

## Slide 9: Motivations:
Unsatisfactory situation triggered the n_TOF Collaboration to perform a new measurement of the 160Gd(n, γ) reaction from thermal up to 300 keV at n_TOF facility (CERN)

## Slide 10: Samples: Gd sample and Dummy
Dummy
Gd sample
START
END
(Sample available in the form of powdred Gd oxide!!!)
Step by step samples preparation…
PEEK
Gd oxide
Kapton
enclosing

## Slide 11: Samples: Gd sample and Gd2O3 Composition
 | mass [mg]
Gd oxide container total mass | 1459
Gd oxide container after oxide removal | 1141
Gd2O3 | 318
PEEK capsule | 795
kapton | 17
glue | 114
dummy (capsule + glue + kapton) | 926
Gd2O3 | 317
Gd oxide sample (oxide + PEEK) | 1243
Gd mass (oxide is Gd2O3) | 276
Gd-160 mass (98.1 % enrichment) | 270
In the past the 160Gd(n, γ) measurement was hampered by the natural isotopic presence of
155Gd and 157Gd

## Slide 12: Samples: Gd sample and Gd2O3 Composition
 | mass [mg]
Gd oxide container total mass | 1459
Gd oxide container after oxide removal | 1141
Gd2O3 | 318
PEEK capsule | 795
kapton | 17
glue | 114
dummy (capsule + glue + kapton) | 926
Gd2O3 | 317
Gd oxide sample (oxide + PEEK) | 1243
Gd mass (oxide is Gd2O3) | 276
Gd-160 mass (98.1 % enrichment) | 270
Sample irradiated for 55 days at the thermal reactor of ILL: 155Gd and 157Gd burned out!!!
But this time…
Gd-160 enrichment: | 
Isotope | [%]
Gd-152 | 3.80E-05
Gd-153 | 3.90E-10
Gd-154 | 0.02
Gd-155 | 3.30E-05
Gd-156 | 0.59
Gd-157 | 4.20E-06
Gd-158 | 1.29
Gd-160 | 98.1

## Slide 13: Samples: Gd sample, X-ray Spectroscopy
Average thickness ~ 2.10 +/- 0.01 mm

## Slide 14: Experimental Setup @ EAR1 and EAR2
The total energy detection principle by combining the detection system with the so-called Pulse Height Weighting Technique (PHWT).
For details see:
P. Schillebeeckx et al., Nucl. Data Sheets 113, 3054 (2012)
A. Borella, G. Aerts, F. Gunsing et al., Nucl. Instr. Meth. A 577, 626 (2007)
Liquid scintillation detectors with deutered benzene:
(C6D6 & sTED)
Low neutron sensitivity
Low γ-ray detection efficiency
EAR1
Flight Path: 185 m
Flux: 106/cm2/Proton Bunch
Very High Resolution: < 10-3

## Slide 15: Experimental Setup @ EAR1 and EAR2
EAR1: 4 C6D6
The total energy detection principle by combining the detection system with the so-called Pulse Height Weighting Technique (PHWT).
For details see:
P. Schillebeeckx et al., Nucl. Data Sheets 113, 3054 (2012)
A. Borella, G. Aerts, F. Gunsing et al., Nucl. Instr. Meth. A 577, 626 (2007)
Liquid scintillation detectors with deutered benzene:
(C6D6 & sTED)
Low neutron sensitivity
Low γ-ray detection efficiency

## Slide 16: Experimental Setup @ EAR1 and EAR2
The total energy detection principle by combining the detection system with the so-called Pulse Height Weighting Technique (PHWT).
For details see:
P. Schillebeeckx et al., Nucl. Data Sheets 113, 3054 (2012)
A. Borella, G. Aerts, F. Gunsing et al., Nucl. Instr. Meth. A 577, 626 (2007)
Liquid scintillation detectors with deutered benzene:
(C6D6 & sTED)
Low neutron sensitivity
Low γ-ray detection efficiency
EAR2
Flight Path: 19 m
Flux: 107/cm2/Proton Bunch
Lower Resolution: < 10-2
EAR2: 2 C6D6 + 9 sTED
sTED
C6D6
Sample
sTED
Neutron Beam
sTED
C6D6
sTED
sTED
sTED

## Slide 17
EAR1
(Resolved and Unresolved Resonances Region)

## Slide 18: Resolution, calibration (+ MC)

## Slide 19: Resolution, calibration (+ MC)

## Slide 20: Resolution, calibration (+ MC)

## Slide 21: Resolution, calibration (+ MC)

## Slide 22
Low Thresholds: after pulse rejection and dead-time
40 ns
180 keV

## Slide 23
High Thresholds: HE background rejection
Sn_Au = 6.5 MeV
Sn_Gd = 5.6 MeV

## Slide 24
High Thresholds: HE background rejection
Sn_Au = 6.5 MeV
Sn_Gd = 5.6 MeV

## Slide 25
High Thresholds: HE background rejection
Sn_Au = 6.5 MeV
Sn_Gd = 5.6 MeV

## Slide 26
High Thresholds: HE background rejection
Sn_Au = 6.5 MeV
Sn_Gd = 5.6 MeV

## Slide 27: Evaluated Flux

## Slide 28: Au-197: normalization factors

## Slide 29: Au-197: normalization factors

## Slide 30
Au-197: TOF – neutron energy check
(transport code and SAMMY)

## Slide 31
Au-197: TOF – neutron energy check
(transport code and SAMMY)

## Slide 32
Au-197: TOF – neutron energy check
(transport code and SAMMY)

## Slide 33: Gd-160: normalization factors

## Slide 34: Gd-160: normalization factors

## Slide 35: Yields…

## Slide 36: Yields…
First 160Gd resonance @220eV!!!

## Slide 37
Elastic and Gamma background estimation

## Slide 38
RSA by SAMMY code: Gd puro

## Slide 39
Nuove WF: GdOx (ossido)
RSA by SAMMY code: GdOx

## Slide 40
RSA up to 10 keV
ENDF/B-VIII.0 as initial parameters

## Slide 41
Main 160Gd capture resonance

## Slide 42
RSA…

## Slide 43
RSA…

## Slide 44
RSA…
unricognized structures

## Slide 45
RSA…
unricognized structures
Mario Mastromarco @ n_TOF Italia, 9-10 Novembre, Trieste (IT)
45

## Slide 46
unricognized structures above 10 keV

## Slide 47
structure @ 635 eV

## Slide 48
structures between 800 and 1150 eV

## Slide 49
tructure @ 635 eV
JEFF

## Slide 50
tructure @ 635 eV
ENDF
JEFF

## Slide 51
tructure @ 635 eV
TENDL
ENDF
JEFF

## Slide 52
Extracted kernels

## Slide 53
Extracted kernels

## Slide 54
Extracted kernels Gd (tabulati)

## Slide 55
Extracted kernels GdOx (tabulati)

## Slide 56
Extracted kernels (Known)
n_TOF/ENDF
n_TOF/JENDL

## Slide 57
Extracted kernels (new Resonances)

## Slide 58
URR
Bk SUBTRACTED

## Slide 59
URR

## Slide 60
EAR2
(Thermal and Resolved Resonances Region)

## Slide 61: sTED scintillators
Whole Energy Range
Thermal Region

## Slide 62: sTED scintillators: Calibrations and Resolutions

## Slide 63: sTED scintillators: Calibrations and Resolutions

## Slide 64: sTED scintillators: Calibrations and Resolutions

## Slide 65: Gold normalization @ 4.9 eV

## Slide 66: Gold normalization @ 4.9 eV (after correction)

## Slide 67: Gold normalization @ thermal (dt correction)
Ded – Par < 1%

## Slide 68: Gold normalization @ thermal (dt correction)
Average discrepancy:
M

## Slide 69: Scaling Au-197 to GdOx…

## Slide 70: RSA…

## Slide 71
EAR1 & EAR2: main kernels comparisons

## Slide 72: Scaling Au-197 to GdOx…
Fitted Kernel: 142 meV
1.6 times ENDF
XS @ 25.3 meV: 3.7 b
2.5 times Mughabgab / ENDF

## Slide 73: Bk elastic: Scaling Pb to GdOx?

## Slide 74: Conclusions
Kernel average uncertainty ≤ 12.0 %
Dummy background subtracted + in beam γ-rays
RRR analized by R-matrix SAMMY Code + unsigned structures + URR
EAR1: CONCLUDED
Implementation of the Setup geometry and energy loss (MC code) to get the WF for the PHWT
Dedicated pile-up and dead time corrections by MC code
Background subtraction and capture yield analysis
EAR2: DONE and TO DO

## Slide 75
Thank You

## Slide 76: Comparison with previous work
Without Fdtpu correction
Fdtpu corrected

## Slide 77: backup

## Slide 78: Conclusions (EAR2)
The 160Gd(n,γ) has been measured from thermal to a few hundreds of keV in both n_TOF experimental area
The preliminary results have a good S/B ratio in the thermal and in RRR
Implementation of the Setup geometry and energy loss (MC code) to get the WF for the PHWT
Extract the Yield from Weighted Counts and normalize at @4.9 eV of Au
Study of the reaction at low neutron energies and the RRR
TO DO

## Slide 79: Samples: Gd sample, X-ray Spectroscopy
Negligible inhomogeneity!!!