## Slide 1: PIONEER: A next-generation rare pion decay experiment
David Hertzog / University of Washington
A Growing Collaboration: New members very welcome !!
Physics Goals
Experimental Concept and Innovative Solutions
Technical Progress and Status
Seminar: PISA
Notes: Abstract: The fundamental principle of Flavor Universality is a centerpiece of the Standard Model of Particle Physics. PIONEER is a new experiment set to challenge this principle by studying the rarest decays of the charged pion. With this new apparatus, we aim to improve the rare pion decay measurements up to 15-fold over the current ones and probe the Standard Model at energy scales beyond the reach of colliders. Our experiment design benefits from past-generation experiments and employs emergent technologies in tracking and calorimetry. In this talk, I will discuss the physics case of the experiment, review its conceptual design and present the ongoing R&D effort toward building the detector for the first phase of the project. I will also describe the additional physics goals, which include exotic searches and, in a slightly reconfigured setup, a measurement of pion beta decay to determine Vud in a theoretically clean manner.

## Slide 2: Lepton Flavor Universality The weak interaction bare gauge couplings among leptons are the same e / m / t
The weak-interaction “strength” is associated with the Fermi Constant, GF
Muon decay provides the most precise measurement
  Technically it determines Gm, which is usually just called GF … because we believe in LFU
GF(MuLan) = 1.166 378 7(6) x 10-5 GeV-2 (0.5 ppm)
PRL 106, 041803 (2011)
Phys. Rev. D 87, 052003 (2013)
Questioning the validity of what others took to be true…

## Slide 3: Physics Case I: Precision Test of Lepton Flavor Universality
Lepton flavor universality:
  Gauge coupling the same for all flavors
  PIONEER will test this fundamental principle to 0.01%
(0.18%)
(0.01%)
PIENU at TRIUMF
Cirigliano & Rosell
Pion decay ratio
  provides unique opportunity
  Very high precision SM prediction,
    theory 15x more precise than experiment
    Strong helicity suppression
LFU
‘Helicity suppression’
term: ~2.3 x10-5
Phase space term: ~ 5.5
Fully computed at NLO
O(10-4) uncertainties at NNLO
Notes: Anderson and Neddermeyer, 1936, nearly 90 yrs

## Slide 4: Rare Pion Decays: History
The branching ratio is so small that for a while the process was excluded
, meaning ~1 out of every 104 pions decay to an electron
Lokanathan and Steinberger (1955):
Range telescope at Columbia Nevis cyclotron: (90% CL)
Anderson and Lattes (1957):
Magnetic spectrometer at Chicago cyclotron: (90% CL)
 Causing a lot of confusion…

## Slide 5: Rare Pion Decays: History
Discovery… CERN in early years
CERN circa 1958
~ 40 events

## Slide 6: These days, one can even make a rough measure as a “Student Exercise”
Univ. Heidelberg, Mainz, and ETH Zurich Practicum at PSI
September 2025

## Slide 7: PIONEER aims for 10-4 Level of precision on a 10-4 branch in LFU Tests
  Most sensitive test of LFU
  Many BSM scenarios exist, SMEFT
    coupling, 4-fermion operators
  sensitive to very high mass scales
    also T and S currents

## Slide 8: Physics Case II: Testing CKM Unitarity
Cabibbo Anomaly: 2-3 discrepancy
  Vud and Unitarity,
  Vus measurements disagree
Pion beta decay
  provides theoretical cleanest determination of as dominant uncertainties from hadronic and nuclear structure
Tensions in the first row CKM unitarity test
(0.27%)
(0.27%)
0+→0+ (0.030%)
Neutron (0.050%)
Unitarity
1σ ellipse (PDG)
Cirigliano et al. PLB 838 (2023) 137748
A big improvement needed to be competitive

## Slide 9: Pion Beta Decay … historical
Interestingly, in the same PRL issue as the Re/m measurement, the next article is:
(0.56%)
PiBeta doi.org/10.1103/PhysRevLett.93.181803
PiBeta Experiment at PSI
Two back-to-back photons Very low energy positron

## Slide 10: PiBeta concept with PIONEER’s LYSO calorimeter option
PIONEER sensitivity projection
  3 and 6-fold improved measurement (Phase II,III)
  Simplest beta decay process in theoretical pristine system
  Competitive probe with completely different error budget
Method
  two back-to-back gammas
  high beam rate required: 107 @ 85 MeV/c
Phase III goal
PIONEER Phase II
PIONEER Phase III
PDG24

## Slide 11: Physics Case III: Search for Weakly Coupled Physics:
Goal of PIONEER
Increase reach of the global search program for feeble interactions (ie ALPs, heavy neutrinos, …) by an order of magnitude in the 10—100 MeV range
Physical Review D 97(7) 072012 (2018)
Physics Letters B 798 134980 (2019)​
Phys. Rev. D 102, 012001 (2020)​
Phys. Rev. D 101, 052014 (2020)​
Phys. Rev. D 103, 052006 (2021)​
Many signatures explored by TRIUMF PIENU
PIONEER will collect an unprecedented set of pion decays (surpassing existing sample by at least a factor 10)
Excellent opportunity to search for feeble interactions producing new particles in the pion decay
Will manifest by deviation of SM quantities or modification of the energy spectrum lineshape in the calorimeter spectra
W. Altmannshofer, J. Dror, and S. Gori
Phys. Rev. Lett. 130, 241801
Recent development with Lepto-philic axion-like particles

## Slide 12
PSI Approved Proposal Jan. 2022
Has become a high-priority experiment at PSI
Since the proposal, we have been very actively designing and simulating the experiment
I will share some progress

## Slide 13: The basics of pion decays (at rest) related to measuring
13
Reminders
tp+ = 26 ns 140 MeV
tm+ = 2197 ns, 106 MeV
53 MeV
70 MeV
99.99%
1.23e-4
p+ stop at t =0

## Slide 14: The ideal and realistic e+ energy spectrum:
Realistic e+ spectrum in the time window (5 – 35) ns after p stop
The tail: 0.5% systematic correction
Muon decays in flight can boost positrons to the high energy region: 0.1% correction
Some muon stops confused as pions: 0.1% - 0.2% correction
Pileup from old muons: must mitigate
Define and count events above and below threshold
Finite resolution and incomplete energy collection in the calorimeter result in a tail

## Slide 15: Why so challenging?
Identify the 1 in 104 p->e decays, with a misidentification factor below 1 part in 104
While the decay times and positron energies are different, the physics processes in the detectors are energy dependent
  scattering, annihilation, Bhabha probabilities
Need high statistics,
  Large and uniform acceptance
  High beam rate (pileup)
Strategy
  Innovative imaging target and high-resolution, fast calorimeter
  MC – data comparisons in great detail
Analyses are being developed in advance with highly realistic simulation framework
  Classic “Rule Based”
  Advanced Machine Learning techniques

## Slide 16
@TRIUMF
@PSI
0.8p
NaI(Tl)
19 X0
CsI
3p CsI
12 X0
Calorimeter depth too small to resolve tail
Uneven crystal performance
NaI: excellent resolution, but slow so rate limited
Shower leakage in single crystal depends on angle
Small overall acceptance
Two previous-generation Pion Decay Experiments: PIENU and PEN/PIBETA
Limitations and lessons learned to design “next-gen”

## Slide 17: In any analysis, one must determine from a Master Formula:
= Counts in the “high bin” … above ~56 MeV
= Counts in the “low bin” (Michel decays) … below ~56 MeV
= p+  e+ events that deposit less than 56 MeV in the Calo
= the acceptance ratio (vs q). Quite critical because the positron energies from p+  e+ and p+  m  e+ events differ significantly (especially at the low end)
All vs polar angle q

## Slide 18: PIONEER generic design:
65 MeV/c DC positive pion beam @ 300 kHz
  100 x statistics of PIENU
Stop in a segmented imaging target
  Cuts then permit seeing the complete p-> e lineshape
Measure positron energies from p-> e and p->m->e with a high-resolution calorimeter
  Depth, uniformity, speed, & triggering are all critical
Record “region of interest” both before and after the stop
  Note: 21% chance a “non-decayed” muon from a previous pion will create pileup
  State-of-the-art digitizers, triggers, and DAQ critical
Generic diagram

## Slide 19: Approved to use the high-rate pion piE5 beam at PSI
piE5 @ PSI - World’s Brightest Stopped Pion Beam
  Now: Fundamental muon physics: MEG II, Mu3e
Our 2023 measurements of existing beam
  Rate: 300k π/s stopped in ATAR: ok at 65 MeV/c
  Momentum bite: ∆p/p <2%: marginal
  Spot size: <2 cm FWHM: not yet achieved
  µ,e less than 10% π: needs second focus extension
X
Y
A challenging work in progress to design these elements
Pions at 65 MeV/c have
  b = 0.42
  Decay length (cbgt) L = 3.6 m
m
p,m,e
p
e
0 1 2 3 4 5 m
18% left
Pion survival fraction from Separator to Target

## Slide 20: LGAD-based Active TARget
Highly segmented and instrumented.
48 planes of 20 mm x 200 m x 120 m strips
4800 channels
ATAR provides 5D track information
3D position (x,y,z).
Time: 100 ps single hit / few ns pulse pair resolution
Energy in each strip: MIPs to heavily ionizing pion and muon tracks distinguished
100 Strips
48 Layers

## Slide 21: (TI)* Low Gain Avalanche Diodes (LGAD)
*trench-isolated to avoids cross talk to neighboring strips
Silicon Diodes: p-n junction separated by an intrinsic layer (undoped)
LGADs: additional highly doped layer generates a very high electric field → avalanche effect
Signal amplification allows for thin sensors and very good timing resolution
Gain mechanism can saturate for large energy deposit and introduces an angle dependency. We are studying this carefully
ATAR Demonstrator: 16-planes to be tested in 2026 with TI-LGAD sensors from FBK, FAST3 amplifiers, and SAMPIC 6 GSPS digitizers

## Slide 22: Sensor characterization
Goal: gain measurement with highly ionizing particles
Sensors provided by multiple vendors (HPK, FBK and BNL selected to have low doping concentration (hence low gain) and/or shallow gain layer
2023 analysis (HPK): Braun et al., NIM A 1064 (2024) 169395, 2024 (FBK and BNL): Yang et al., arXiv:2502.02244 (accepted by JINST)

## Slide 23: A very preliminary example of results from 1 month ago on a variety of sensorts vs angle and bias voltage
Bias voltages selected such that each board has a gain of ~14 for MIPs.
Saturation depends on angle and dE/dx where dE/dx is determined by the proton energy.

## Slide 24: And then we must Model Gain Dependency
P+
Gain Layer
N-
Track
z
s
𝜃
Gain saturation is caused by localized energy deposits.
Thus, we parameterize with respect to
dE = expected energy deposit in 55 um sensor based 𝜃incident and proton energy
ds = 55 um * tan(𝜃incident) with a minimum ds of 8 um
  Models lateral dispersion of charge deposits
Critical: these response functions then go into our detailed Monte Carlo simulation framework prior to reconstruction efforts

## Slide 25: The ATAR has a deep connection to Italy !
TI LGADs
FAST3 amplifier

## Slide 26: Pion processes in ATAR
Rπ (65 MeV/c) ~ 4 mm, (stops in center region)
Rμ (4.1 MeV) ~ 0.8 mm
6.6 mm
* Represents Bragg peak with large energy deposit
Example Event Display
Marker size ∝ Edep

## Slide 27: How these processes will appear in ATAR
Rπ (65 MeV/c) ~ 4 mm, (stops in center region)
Rμ (4.1 MeV) ~ 0.8 mm
“MIP”
dE/dx ~ 50 keV / 120 um-thick sensor
DTAR/Trig
e+ “MIP”
e+ “MIP”
Bragg peak

## Slide 28: Minimizing the low-side tail is part of Calorimeter design
#X0, depth containment
RM: lateral containment
PIENU single large crystal
(their data & simulation)
2 RM
2 RM
12 X0 (like PEN)

## Slide 29: Short calorimeter interlude: exploring calorimeter options
Common features
  High light yield (>30,000 g/MeV)
  “Fast” 40 ns decay time
  Both aim at resolution <2%
  Both aim at good timing
Significant differences (LYSO/LXe)
  Segmented  311 PMTs ~420 nm
  Single volume  1650 VUV sensors
  Density (see scaled pics)
  Data load (LXe >100 higher)
  LYSO is slightly radioactive
The original idea
(TRIUMF and Japan exploring)
Fid. Volume
Since then …
(SJTU, ETH Zurich, UW exploring)

## Slide 30: LYSO R&D very promising …
NaI(Tl)
LYSO
Lutetium–yttrium oxyorthosilicate (LYSO):
By weight: 73% Lutetium, 18% Oxygen, 6% Silicon, ~0% Cerium (dopant), 3% Yttrium
X0 = 1.14 cm , RM = 2.07 cm
Decay time = 40 ns
Light yield 30,000 γ/MeV
λpeak 420 nm -> conventional PMTs
Radioactive (< 1 MeV constant rumble)
Non hygroscopic, negligible temperature dependence, radiation hard
Tested 10-array
  Nucl.Instrum.Meth.A 1075 (2025), 170320
This aside is to share some very nice technical progress we made. Decision on the Calo is coming soon

## Slide 31: Energy resolution with “bench” sources on single crystals
Na22
Co-60
Na-24*
  1.38, 2.76 MeV
*15 hr half life made by bombarding 18 MeV deuterons on Al button
(2g sum)
(2g sum)
(Resolution is sigma of a Gaussian)
(2g sum)
2g implies coincidences of lower energy lines
(this is why they are used in most PET scanners now)
511 keV
2.76 MeV
1.17 & 1.33 MeV
LYSO
NaI
PMT

## Slide 32: Energy and timing resolution of a 10-array
Crystal to crystal in beam, same event
LED flashes all crystals; DT between them
Timing
Energy
@CENPA, with improved PMT bases
goal
achieved
1.52% @ 70 MeV
Measurements of a LYSO crystal array from threshold to 100 MeV
Nucl.Instrum.Meth.A 1075 (2025), 170320

## Slide 33: Design of a Tapered Array for PIONEER
Characteristics of interest
311 19 X0 (217 mm) length crystals w/ 8 different shapes
Stainless mount + spacer
LYSO
PMTs + compression
Cyanoacrylate used to glue crystals to stainless

## Slide 34: Test beam 4 weeks ago…
LYSO
NaI(Tl)
1.97% energy resolution measured at 70 MeV
“Online” very preliminary results

## Slide 35: Our Calibration Concept
1) p-Li 17.6 MeV g; absolute Energy, 3 times per week for 1 hour 2) p-p  np0  gg; charge-exchange, once per cycle; absolute Energy at high end 3) UV laser excites each xtal; (relative gain stability and 2-pulse resolution)
p-Li reaction @ CENPA
2.6% @ 17.6 MeV
Another Italian connection!

## Slide 36: To measure the real lineshape, you must veto
with E occurs ~ () of the time
E > occurs 99.9% of the time!!
Measure to 1%
Suppress by 107
Signal event:
Highly ionizing pion stop
MIP positron
Defined by pion lifetime alone
Background
Highly ionizing p and m stops
MIP positron
Defined by both muon and pion lifetimes
Timing and energy alone give 104 suppression
Veto imaged p to m in ATAR

## Slide 37: Pivot to our developing analysis methods: 3 essential tasks

## Slide 38: Basic steps involve finding the tracklets
For most events, time separation is clear and events “behave”
p enters  t0
p  m at t1
m  e at t2
time
t0
t1
t2

## Slide 39: Including the more challenging ones for topological reasons or owing to important sub-dominant processes
t𝜋
t𝜇
te
Do these tracklets all belong to the same sequence?
What about those old muon decays?
In this approach, we look for
Time grouped hits
Patterns to match
Energy deposits vs expected
Final directional fits to establish q/f of positron
And do our best to fit and classify
In a classic “Rules-based approach”

## Slide 40: Advanced AI/ML techniques that adapt to the event topologies based on extensive training
Which particle(s) is responsible for this track?
Neural network without attention:
Here,
Fixed sets of questions about event
Likely gives same time & weight to each statement.
But is capable of picking up on details requiring understanding of many things at once
→
This approach struggles with subtle conclusions because of its inflexibility in asking questions and weighting the relevance of different testimonies
Omar Beesley (UW)
“Transformer” based network
Here:
Adapts questions based on the context of the witness (hits, etc) and what is learned from other hits, etc.
Weighs the relevance of information based on previous experiences
Picks up on subtle information requiring details from aspects of the event
Dynamic weighting: identifying Bragg peaks, grouping time-coincident hits, and leveraging 4D detector data to infer 5D trajectories. Unlike traditional models that rely on distribution moments and outliers, transformers explicitly learn relationships between hits

## Slide 41: An example of how a Rules based approach can differ from our AI/ML approach in the prediction of the Pion stop location in the ATAR for both Pienu and Michel events
Omar Beesley (UW)
The muon track is incorrectly appended to the pion track so the pion stop is wrong
The AI model, as figured out how not to make this error

## Slide 42: Status of PIONEER: A next-gen campaign
Fundamental R&D on LGADs and Calorimeters
2026 Test beam desires
  piE5 Phase Space
  16-Plan ATAR Demonstrator
  Large LXe prototype (if funding is realized)
Significant work ongoing on electronics, triggering, digitizers, & DAQ
PSI shuts down in 2027 and much of 2028.
We are seeking Euro collaborating groups to join this campaign and take leadership in any of these areas I’ve mentioned

## Slide 43: (some from the) PIONEER Collaboration
  A next generation rare pion decay experiment

## Slide 44: The types of events we will encounter … (I am making it look easy here; it’s not)
Signatures
  DAR decay at rest
  DIF decay in flight
5D tracker will provide
  (x,y,z,t,E)
We have launched a major effort to develop reconstruction programs to identify these channels
  “Conventional” track finding / pattern finding / track fitting
  Machine learning, where we help guide the programs through the different choices