## Slide 1: IT updates
Giacomo Traini, Christian Finck

## Slide 2: IT mapping
17/21
18/22
19/23
20/24
25/29
26/30
27/31
28/32
x
y
1/5
2/6
3/7
4/8
9/13
10/14
11/15
12/16
x
y
beam
113 (2,3), 111(1,0)
113 (1,0), 111(2,3)
116 (0,1), 114(3,2)
116 (2,3), 114(0,1)
112 (0,1), 110(3,2)
112 (3,2), 110(0,1)
117 (2,3), 115(1,0)
117 (1,0), 115(2,3)
Front Rear
Sensor crossed by the beam

## Slide 3: Geometry
I assumed that the origin of CAD is actually the origin of the detector local frame
Beam (entering)

## Slide 4: Beam @ CNA02025
Run 7909 sync, 100k events, cluster size>20
IT map
IT clus size

## Slide 5: Correlation with VT clusters
Run 7909 sync, 100k events, cluster size>20

## Slide 6: Noise
Run 7909 sync, 100k events, no selection of cluster size
It means ~ 1 clus/evt/sensor
Still many hot spots due to noisy pixels  job @ LNF is starting

## Slide 7: Some numbers
28/32 IT active sensors
VT threshold @ 7 sigma, IT thresholds @ 10 sigma
Assuming a 100% efficiency on carbon ions we expect:
            ~400k clusters + pile-up on the VT ~200k clusters + pile up on the IT
100k events
 IT “Efficiency” on carbon ion close to 10%

## Slide 8: First check: timing…
All sensors shows the same behaviour, no timing issues observed at a first look
600 us

## Slide 9: Next steps
LNF work is starting: proper settings of threshold and masks
Cross-check the mapping: possible measurement with laser
Solve the issues observed @ CNAO on specific sensors/board
Understand the reason of such inefficiency