## Slide 1: Silicon Photomultiplier's Gain Stabilization by Bias Correction for Compensation of the Temperature Fluctuations
M. Baszczyk, P. Dorosz,
W. Kucewicz, M. Sapor
(AGH University of Science and Technology)
Cracow, Poland

## Slide 2: Silicon Photomultipliers (SiPM) Used in the Research
Silicon Photomultiplier | Serial Number | Breakdown Voltage, V | Number of Microcells | Microcell Gain | 
Hamamatsu s10362-11-100U | 698 | 69,2 | 100 | 2,4x106 | 
Hamamatsu s10362-11-100U | 699 | 69,32 | 100 | 2,4x106 | 
SensL S1020 | 21 | 28 | 848 | >1x106 | 

## Slide 3: Acquisition of the Signal

## Slide 4: Gain of SiPM
Gain per photon, mV

## Slide 5: Bias Voltage – Gain Dependency

## Slide 6: Temperature – Gain Dependency

## Slide 7: Determination of the Parameters a, b and c
The parameters are determined by minimazing the weight mean square error between the measured data and the Levenberg-Marquardt best fit function :
  N – the number of measured data points

## Slide 8: Best Fit Function and 3D Model (SensL S1020)
Each point represents single measurement. Plane is determined from parameters a, b and c.

## Slide 9: Calculated parameters
SiPM | a(V) | b(T) | c(°C) | c(K) | Residue
Hamamatsu s10362-11-100U (698) | 80,65 | -4,24 | -5556,32 | -4398,80 | 0,027
Hamamatsu s10362-11-100U (699) | 80,15 | -4,24 | -5521,29 | -4363,77 | 0,021
SensL S1020 | 20,70 | -0,30 | -605,20 | -523,30 | 0,037

## Slide 10
Acquisition System
ADC
FPGA
PC LabView
Front--end ASIC
Power Module
Resistance Thermometer
Laser
Pulse Generator

## Slide 11: Gain Compensation Results
Chart: Hamamatsu 100U 698
| 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41
Gain with Determination Error | 110.021 | 110.5257 | 110.6237 | 110.4077 | 109.8267 | 110.185 | 110.001 | 110.6319 | 109.9585 | 110.3264 | 109.7351 | 110.2964 | 110.371 | 109.9748 | 110.2091 | 109.5245 | 109.3464 | 109.6128 | 109.7287 | 109.3304 | 110.1525 | 109.4891 | 109.4328 | 109.76 | 109.9937 | 110.6371 | 111.0344 | 110.7595 | 110.8902 | 110.5509 | 109.7197 | 110.7883 | 111.1623 | 110.5991 | 110.287 | 109.8028 | 109.8599 | 110.7946 | 109.9846
Mean Gain | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624 | 110.1624
0,44%

## Slide 12: Gain Compensation Results
Chart: Hamamatsu 100U 699
| -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Gain with Determination Error | 109.8263 | 110.4288 | 110.4519 | 109.8709 | 110.5029 | 110.4773 | 110.5706 | 109.8964 | 110.6482 | 110.5855 | 109.7139 | 110.9502 | 109.1476 | 109.246 | 109.1594 | 109.0405 | 109.4785 | 109.7626 | 109.3025 | 110.5938 | 109.8777 | 110.5928 | 109.8339 | 110.2948 | 110.4457 | 109.7023 | 109.5559 | 109.4023 | 109.9654 | 109.6167 | 110.0913 | 109.5559 | 109.5056 | 109.5387 | 109.2699 | 109.4665 | 109.8226 | 109.4615 | 110.0434 | 109.9098 | 110.3925
Mean Gain | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024 | 109.9024
0,46%

## Slide 13: Gain Compensation Results
Chart: SensL S1020
| -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Gain with Determination Error | 70.5766 | 69.9871 | 70.0376 | 70.132 | 70.2427 | 70.2925 | 69.8048 | 70.0124 | 70.2874 | 69.7605 | 69.9469 | 69.4907 | 70.0446 | 69.7862 | 70.4571 | 70.4431 | 70.326 | 70.276 | 70.3425 | 70.2628 | 70.321 | 70.2647 | 69.9096 | 69.784 | 69.9827 | 69.9802 | 70.6633 | 70.5074 | 70.7807 | 70.3081 | 70.1909 | 70.4733 | 69.1758 | 69.7837 | 69.5725 | 69.0444 | 70.7427 | 69.5356 | 70.2927 | 69.8547 | 69.8501 | 69.5621
Mean Gain | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736 | 70.0736
0,55%