The electronics will equip the 18,432 channels of the 12 sectors of the FDIRC. The electronics chain is based on a high resolution/ high count rate TDC, a time associated charge measurement on 12 bits and an event data packing sending event data frames to the data acquisition system (DAQ). The target performance of the overall electronics chain is a time resolution of 100 ps rms. This chain has to deal with a count rate per channel of 100 KHz, a trigger rate up to 150 KHz and a minimum spacing between triggers of about 50 ns.

The estimate radiation level is expected to be less than 100 rads per year. The use of radiation tolerant components or off the shelves radiation-qualified components is mandatory. However, the expected energy of the particles may make the latch-up effect almost impossible. Thus, the design has to take into account only Single Event Upsets. We selected the Actel family FPGA components for their non-volatile flash technology configuration memories, which are well adapted to radiation environment.

The baseline design assumes a 16-channel TDC ASIC  offering the required precision of 70 ps rms- embedding an analog pipeline in order to provide an amplitude measurement transmitted with the hit time. Thanks to a 12-bit ADC, the charge measurement will be used for electronics calibration, monitoring and survey purposes. The Front end board FPGA synchronizes the process, associates the time and charge information and finally packs them into a data frame which is sent via the backplane to the FBLOCK control board (FBC). The FBC is in charge of distributing signals coming from the FCTS and ECS, packing the data received from the FE boards to a n-event frame including control bits and transferring it to the DAQ.

- The Front-end crate

The board input will fit the topological distribution of the PM on the FBLOCK. The PMs are arranged as a matrix of 6 in vertical direction by 8 in horizontal direction. Each column of 6 PMs will fit to one FE board. One vertical backplane (PM Backplane) will interface between the 4 connectors of each PM base to one connector of FE board. The PM Backplane is also in charge of distributing the High Voltage, thus avoiding HV cables to pass over the electronics. The FB_ crate will use as much as possible the elements of a commercial crate, in order to avoid the design of too many specific elements like board guides.

- The Communication Backplane : Distributes the ECS and FCTS signals from the FBC to the 8 FE boards thanks to point to point LVDS links. Connects each FE board to the FBC for data transfer.

- The PMT Backplane : It is an assembly of 8 motherboards, each one corresponding to a column of 6 PMTs

- Cooling and power supply : The cooling system must be designed in order to maintain the electronics located inside at a constant temperature close to the optimum of 30 degrees. The air inside the volume must be extracted while the dry, clean temperature controlled air will be flowing inside. Each FB crate will have its own fan tray like in a commercial crate. 4000 m3/h can be considered as the baseline value for the whole detector.

- The Front-end board : One Front-end board is constituted of 6 channel-processing blocks handling the 96 channels. The channel-processing block is constituted by one SCATS chip, one ADC, one Actel FPGA and the associated glue logics.

The FPGA receives event data from the TDC and the converted associated charge from the ADC. From one 16 bit bus of the 16 channels coming from the TDC, it de-serializes to 16 data path where events are keeping in a buffer until they are thrown away if there are too old ( relatively to the trigger) or sent upon its  reception.

The PGA master receives event data from the 6 channel processing blocks and packs the event.

The FE board transfers the event frame in differential LVDS to the FBC via the communication backplane.

- The crate controller board (FBC)

The FBC is the board which gathers the front-end data, control and monitors the crate. There is one board per crate.