PRR:

Design: Choices

Hw:

Piezo in the DOM: Transfer function of the DOM

Compass  test of compass in DOM

Calibration after integration on the DOM

Sw:

Data Quality check (dumped files)

Upgrade of sw

No complete overall model of the detector:

Comparison with muon and nanobeacon reconstructions

Tilt & Position

Data flaw, failure rate

Accurate pressure sensor on the sea bottom

Better implementation of speed of sound  reflector

ADCP: 3D components of currents --- 1 week

Leap seconds: TAI

TDR
More consistent terminology in TDR

Split ORCA and ARCA ?

Absolute positioning requirement: explain