## Slide 1: System engineering
(in astronomical instrumentation)
Marco Riva
(INAF Astronomical Observatory of Milan)

## Slide 2: System engineer for multidisciplinary engagment in Fundamental Research in Physics and Astrophysics Marco Riva
TECH-FPA PhD Retreat
17 to 21 February,2025
co LNGS
Room "B. Pontecorvo"

## Slide 3: Outline
System engineering
  What is system engineering
  Why System Engineering?
  How system Engineering?
Toward the future
Practical example

## Slide 4: System Engineering what is this????

## Slide 5: System Engineering what is this????

## Slide 6: System: what is a system?

## Slide 7: System: what is a system?

## Slide 8: Engineered system

## Slide 9: Engineered system

## Slide 10: System Engineering what is this????

## Slide 11: Need Vision Deilvery
Need: All design begins with a clearly defined need
Vision: all design arise from a creative response to a need
Delivery: all designs results in a system, product or project which meets the need

## Slide 12: «V» System Development Model
Need

## Slide 13: The birth of a project

## Slide 14: «V» System Development Model
Need
Vision

## Slide 15: First Iteratcion

## Slide 16: «V» System Development Model
Need
Vision
Delivery

## Slide 17: Final result

## Slide 18: Systematic Design Process Models

## Slide 19: Project phases (NASA view)

## Slide 21: Solution or problem oriented?

## Slide 22: Solution or probelm oriented?

## Slide 23: System Engineering why is needed????

## Slide 24: A dangerous mix

## Slide 25: A dangerous mix

## Slide 26: System Engineering How is made????

## Slide 27: 7 «Pillars» of SE

## Slide 28: 1 - Life Cicle

## Slide 29
Courtesy V.De Caprio
Manufacturing
Integration Maintenance
Handling
Decommissioning

## Slide 30: 2 - Gates

## Slide 31: Gates in reality
Needs to be held by Experts (aknowledge)!
No conflict of interest!
Intellectual honesty on both sides
Target of the review has to be declared in advance

## Slide 32: 3 - Requirements

## Slide 33: 3 - Requirements

## Slide 34: Requirement process

## Slide 35: Requirment management

## Slide 36: 4 - Perspectives

## Slide 37: Multiple Technologies
Telescope/ instruments design
Structural Engineering
Thermo/fluido-dynamics
Optical Engineering
Software Engineering
Electronic Engineering
Science
Edge technology for unique products

## Slide 38: Multiple Technologies
Telescope/instruments design
Structural Engineering
Thermo/fluidoynamics
Optical Engineering
Software Engineering
Electronic Engineering
Science
Adverse Interaction

## Slide 39: Multiple Technologies
Telescope/instruments design
Structural Engineering
Thermo/fluidoynamics
Optical Engineering
Software Engineering
Electronic Engineering
Science
Poor Comunications

## Slide 40: Different Engineering worlds
Telescope/ instruments design
Structural Engineering
Thermo/fluidoynamics
Optical Engineering
Software Engineering
Electronic Engineering
Science

## Slide 41: Maory Interface Management

## Slide 42: 5 – Simulation and modeling

## Slide 43
Science module
Front End unit
Atmospheric module
Telescope module
Spectrograph unit
Image simulator
1st &2nd order
Detector module
Fiber Link Unit
Calibration unit
Light path
Data & Logic path

## Slide 44
Etalon
Object + sky contribution
Synthetic Images

## Slide 46
Performance Evaluation and Instrument Layout

## Slide 47: 6 – Trade Offs

## Slide 48
Comparison at various levels
Items and weights to be selected in advance
  Measures of Performance (MOP): measures derived from the dimensional parameters (both physical and structural) and measure attributes of system behaviour. MOPs quantify the set of selected parameters.
  Measures of Effectiveness (MOE): measure of how a system performs its functions within its environment. An MOE is generally an aggregation of MOPs.
  Measures of Systems Effectiveness (MOSE): measure of how a system of systems performs its mission.
Decision Criteria
  Pugh method (- and + no different weights)
  Kepner-Tregoe (predefined weights per category)
  Analytic Hyerarchy process (take into account interdepndednt weights)
Final Choice is technical?
Comparisons

## Slide 49: Comparisons

## Slide 51: 7 – Operational Effectiveness

## Slide 52
System Use cases
            AIV

## Slide 53
System Use cases
            Calibrations

## Slide 54
System Use cases
            Operations
              Procedures
              Duty Cicles

## Slide 55
System Use cases
            Maintenance
              Procedures
              Accessibility

## Slide 56: System Engineering the skills

## Slide 57: System Engineering compentences

## Slide 58: Project Management Or System Engineer?

## Slide 59: System Engineering toward the future

## Slide 60: Systematic Design Process Models

## Slide 61: V shape in practice

## Slide 62: From document to model

## Slide 63: Model Based System Engineering

## Slide 64: MBSE in practice

## Slide 65: Thanks!

## Slide 66: So what? Let’s work toghether!

## Slide 67: System Engineering of Hires @ ELT: a practical example
http://www.brera.inaf.it/utenti/mriva/cameo_hires/

## Slide 68: Top level requirement game
The Instrument shall provide a spectral resolution of at least 100000.
The Instrument shall provide at least 2 (3 goal) pixels per resolution element.
The instrument shall provide simultaneous and as complete as possible spectral coverage of the 500-1800 nm wavelengths range. Small gaps in regions of poor atmospheric transmission may be tolerated.
The instrument shall achieve a medium-term stability of accuracy better than 1m/s between 500 and 1800 nm.

## Slide 69: Top level requirement game
The Instrument shall provide a spectral resolution of at least 100000.
The Instrument shall provide at least 2 (3 goal) pixels per resolution element.
The instrument shall provide simultaneous and as complete as possible spectral coverage of the 500-1800 nm wavelengths range. Small gaps in regions of poor atmospheric transmission may be tolerated.
The instrument shall achieve a medium-term stability of accuracy better than 1m/s between 500 and 1800 nm.

## Slide 71: Top level requirement game
The Instrument shall provide a spectral resolution of at least 100000.
The Instrument shall provide at least 2 (3 goal) pixels per resolution element.
The instrument shall provide simultaneous and as complete as possible spectral coverage of the 500-1800 nm wavelengths range. Small gaps in regions of poor atmospheric transmission may be tolerated.
The instrument shall achieve a medium-term stability of accuracy better than 1m/s between 500 and 1800 nm.

## Slide 73: Top level requirement game
The Instrument shall provide a spectral resolution of at least 100000.
The Instrument shall provide at least 2 (3 goal) pixels per resolution element.
The instrument shall provide simultaneous and as complete as possible spectral coverage of the 500-1800 nm wavelengths range. Small gaps in regions of poor atmospheric transmission may be tolerated.
The instrument shall achieve a medium-term stability of accuracy better than 1m/s between 500 and 1800 nm.

## Slide 75: Top level requirement game
The Instrument shall provide a spectral resolution of at least 100000.
The Instrument shall provide at least 2 (3 goal) pixels per resolution element.
The instrument shall provide simultaneous and as complete as possible spectral coverage of the 500-1800 nm wavelengths range. Small gaps in regions of poor atmospheric transmission may be tolerated.
The instrument shall achieve a medium-term stability of accuracy better than 1m/s between 500 and 1800 nm.