## Slide 1: IL progetto AFP
Schema di principio del rivelatore
Gli argomenti di Fisica
Il rivelatore
  La beam pipe
  Il sistema di tracking
  Il sistema di timing
Stato di approvazione
Organigramma
Scala temporale, costi, risorse umane
Argomenti ancora non coperti
Passi successivi per arrivare al TDR
L’interesse dei gruppi italiani (BO, GE, MI)
Conclusioni
Marco Bruschi
ATLAS ITALIA- Milano 17 Maggio 2012

## Slide 2: The AFP detector

## Slide 3: AFP Physics topics

## Slide 4: Search for ggWW quartic anomalous coupling

## Slide 5: Results from full simulation

## Slide 6: Exclusive Jet production

## Slide 7: Exclusive jet production

## Slide 8: Additional topics at full lumi (to be studied)

## Slide 9: Movable beam pipe hosting the Si/timing detectors

## Slide 10: AFP tracking system
We need to measure the proton position with a precision of ~ 15 mm
Use 3D Si detectors developed for IBL: possibility to use one or more of the IBL group involved facilities (sensor production, assembly and testing).
Scribe-cleave method allowing significantly to reduce a dead zone, possibly to 100 mm (tested by Barcelona)
Phase I detectors: edgeless 3D in progress at SLAC
Mechanics: study in progress in Saclay including cooling, alignment studies, to be discussed with lab building prototype

## Slide 11: Why do we need timing detectors?

## Slide 12: QUARTIC is the primary AFP timing detector

## Slide 13: Status of the approval
AFP
  LOI phase I approved by the CB at the end of January
  LHCC referees needed some clarifications (on the role of ALFA and AFP in ATLAS and on the relevance of the physics case )
  Presentation by Christophe Royon at the LHCC open session to clarify the case. Added some other new ideas for possible measurements with AFP. Positive impact
  Final referee report was positive and the impact to RRB at the end of APRIL as well
  Time to organize about the next steps: Organigram, TDR, MOU

## Slide 14: Current and new collaborators
Canada: Alberta
Czech Republic: Prague (Inst. Of Phys., Charles Uni., Technical Uni)
France: Saclay
Italy: Bologna Genova, Milano
Poland: Cracow (PAN, AGH)
Spain: Barcelona
Switzerland: CERN
UK: Glasgow, Manchester
USA: Stony Brook, Uni. Of Oklahoma, Texas Arlington, Oklahoma State Uni., New Mexico, SLAC
Interest from additional institutes: Toronto, Oslo, Lisbon, Uni. of Geneve

## Slide 15
AFP Project : C. Royon (Saclay)
Forward Group: M. Bruschi (Bologna)
FDIB: H. Stenzel (Giessen)
Physics: A. Kupco (Prague) (C. Royon, Saclay)
Silicon: P. Sicho (Prague) (C. Da Via, Manchester)
Timing: A. Brandt (Texas) (M. Rijssenbeek,
Stony Brook)
Mechanics: N. Grouas (Saclay)/M. Cadabeschi (Alberta)
Cooling: V. Vacek (Prague)
Sensors and bump bonding: C.Padila (Barcelona) ,
O. Rohne (Oslo) , C. Gemme (Genova)
FEI4: P. Sicho (Prague)
Module assembly: C.Gemme (Genova)
Internal electrical services and Optobox: S.Welch
(Oklahoma), Su Dong (SLAC)
Optoboard: S. Smith (Ohio)
Voltage regulators: M. Citterio (Milano) / C. Meroni
(Milano)
DCS: P. Sicho (Prague)
ROD: A. Gabrielli (Bologna)
Optical links - BOC: J. Dopke (CERN)
External services: P. Sicho (Prague)
Installation in the tunnel and USA15: P.Sicho (Prague)
DAQ: P.Morettini (Genova)
System tests: Su Dong (SLAC) / P. Sicho (Prague)
Radiation tests: S. Seidel (New Mexico)
Testbeam: D.Caforio (Bologna), P. Grenier (SLAC)
Simulation: NN
Physics topics: L. Schoeffel (Saclay) /
O. Kepka (Prague)
Detector design: A. Kupco (Prague)
Trigger: M. Tasevsky (Prague)
Simulation: L. Schoeffel (Saclay) /
T. Sykora (Prague)
Alignment and Calibration: P. Bussey (Glasgow)
Proton tracking: J. Chwastowski (Cracow)/
O. Kepka (Prague)
Reconstruction, integration: T. Sykora (Prague)
MC production: L. Schoeffel (Saclay)
Detector :A Brandt (Texas)
Simulation: Y. Liu (Giessen)
QUARTIC: A. Brandt, J. Pinfold (Alberta)
Radiators: A. Brandt, J. Pinfold, H. Stenzel
Detector layout: A. Brandt, J. Pinfold
MCP-PMT A. Brandt
Electronics: M. Rijssenbeek (Stony Brook)
Amp+CFD: M. Rijssenbeek, J. Pinfold
ADC: M. Rijssenbeek
HPTDC: J. Pinfold
Sampling chip E. Delagnes, H. Grabas (Saclay)
Pulser S. Seidel (New Mexico)
Reference Clock A. Brandt, A.Davis (Texas)
Readout: J. Pinfold (Alberta)
Optomodules: S. Khanov (Oklahoma)
LCE: D. Tsybychev (Stony Brook)
ROD: NN
Mechanics: J. Pinfold
Interface with pocket Testing: A. Brandt
Testing: A. Brandt
Beam and laser tests: A. Brandt
Radiation tests: S. Seidel (New Mexico)
Slow Controls : NN
Trigger: NN (M. Rijssenbeek, Portugal?)
LV/HV : NN
Installation: NN
AFP Technical Coordinator: D. Macina (CERN)
Interface with LHC: D. Macina (CERN)
Movable beam pipe: G. Spigo (CERN)

## Slide 16
Difficulty in evaluating some costs: precise mechanics for Si, mechanics for timing, second version of timing detector

## Slide 17
Help is also welcome in areas which are already partially covered (for instance sensors)

## Slide 18
IMoUs with the role of each institute clearly defined by the end of this summer

## Slide 19
Milano AFP interest
The AFP regulation stations (crates) can be very similar to the IBL crate
  In reality they are less “demanding”
  Backplane could be different and simpler, but at the moment no AFP specific design has been undertaken
The AFP crate and regulation boards will be produced accordingly to IBL services schedule
  The two schedules look compatible
The radiation environment in the LHC tunnel, where the crates will be installed should be better understood
Possible collaboration with:
  FBK (sensors)
  Genova (assembly&testing)
  Milano (bonding, Selex & DISCO,thinning&dicing)
Power distribution: IBL PP2 crate “modified” to AFP needs (2 crates)
Si detectors: 4 identical detectors with 6 planes each (24 SC IBL-like)

## Slide 20: AFP Contribution on Modules
INFN (Genova – Milano - Trento) could contribute on AFP module development and production:
  Spin-off technology from IBL
What do we have in hands?
  IBL 3D sensors from FBK. Have no active edge, but demonstrated to go to 100µm thin edge with inside fence dicing(see next slide)
  Bump-bonding development with Selex – Thin modules 100÷150 µm successfully made with planar and 3D sensors and FE-I4A
  Flex design and module assembly – production of 50% of IBL
Developments
  Test tight dicing of FE-I4B and 3D sensors from FBK.
  We have easy access to IBL 3D sensors and FE-I4B wafers + bump-bonding and module assembly.
  Note: the 3D from the FBK are the best suitable today for thin edge. CNM would probably give higher leakage current if diced at same distance. Active edge need a new design for FE-I4 (bias tab on “interesting” edge) -> Money & Time!

## Slide 21
IBL ROD Bologna
Main Features
3 Gb/Ethernet buses
J1/J2/J3 + J0 VME connectors
1 USB port
1 JTAG port
1 TTCrq interface
2 Spartan6 + 2Gb DDR + 9 MB SSRAM
1 VIRTEX5 + PowerPC + 512 MB SDRAM + Flash
1 DSP @ 200 MHz + DDR
Performance
Interface with up to 32 FE-I4 chips
Interface with up to 4 Slinks via VME
VME ROD-BOC data @ 80 MHz
Calibration by off-board GPUs via Gb/Ethernet
Data Taking via VME @ 80 MHz
Production in Summer-Fall 2012: 14 boards plus spares
System Test (Detector-BOC-ROD-TDAQ) foreseen in Summer 2012 at CERN
Possible board upgrades to high-speed electrical bus (VXS, ATCA)

## Slide 22: Conclusions
Next steps toward italian groups participation to be discussed
ATLAS NOTE ALMOST READY 
This physics cannot be presently done elsewhere at the LHC

## Slide 23: Backup Slides

## Slide 28: FE-I4A Dicing off top pads test
Test done with FE-I4A. Diced off top pad test (80 µm instead of 220µm).
Tested chip shows no damage
  FE-I4B need to be tested, but <100 µm should be feasible
Ref.: M. Garcia-Sciveres, P. Murray, G. Shaw LBNL Sept. 15, 2011

## Slide 29: 3D FBK Thin Edge
Chart: Back Voltage (V)
6th cut | 1.842e-12 | 2.1316e-08 | 5.239e-08 | 1.3621e-07 | 2.9146e-07 | 5.0912e-07 | 7.7121e-07 | 1.0634e-06 | 1.3767e-06 | 1.7034e-06 | 2.0406e-06 | 2.3847e-06 | 2.734e-06 | 3.0883e-06 | 3.4449e-06 | 3.8058e-06 | 4.1696e-06 | 4.5348e-06 | 4.9019e-06 | 5.2704e-06 | 5.6386e-06 | 6.0088e-06 | 6.3797e-06 | 6.7515e-06 | 7.1243e-06 | 7.4977e-06 | 7.873e-06 | 8.2486e-06 | 8.6243e-06 | 9.0017e-06
40 mm
6th cut
5th cut
3th cut
1st cut
p+ (ohmic)
columns
n+ (junction)
columns
IBL FBK 3D are very suitable for thin(ner) edge. One row of ohmic holes is sufficient to “stop” the depletion region: ~100µm edge.
Ref.: G.-Giacomini et al., 6th Trento Workshop, 2-4 March 2011 (http://tredi.fbk.eu)