## Slide 1: FARCOS Femtoscope Array for Correlations & Spectroscopy
G. Verde, INFN-Catania
EXOCHIM collaboration, INFN (LNS-CT-MI-NA), Un. Messina, GANIL, GEM-UHU, open collaboration
Overview of project and physics inputs
Present status (mechanics, electronics) and perspectives

## Slide 2: Physics topics
Heavy-ion collisions (stable and RI beams)
  Dynamics (HBT, Femtoscopy)
    Low & Intermediate energies: fusion, fission, DIC, Symmetry energy, Emission time-scales, probes of reaction models
    Multi-particle correlation spectroscopy (MPCS)  cluster states
Direct reactions with RIBs
  Inverse and direct kinematics
    Nuclei close to drip lines

## Slide 3: Relevance of angular resolution
High angular resolution required:
Measurements at low q and sharp resonances
… also for neutron detection…
q (MeV/c)
deuteron-alpha
6Li
1+R(q)

## Slide 4: Multi-particle decay spectroscopy
Dedicated RIB experiment
Using heavy-ion collisions as an explorative spectroscopy tool: several unbound species in one single experiment
8B*
7Be
p
10C*
α
p
p
α
12C*
α
α
α
Expansion
Not only EoS…
p
5Li*
α
4π Coverage + High angular resolution

## Slide 5
Based on (62x64x64 mm3) clusters
1 square (0.3x62x62 mm3) DSSSD 32+32 strips
1 square (1.5x62x62 mm3) DSSSD 32+32 strips
4 60x32x32 mm3 CsI(Tl) crystals
4 CsI(Tl) crystals (3rd stage)
DSSSD 1500 μm (2nd stage)
DSSSD 300 μm (1st stage)
Assembly
cluster
132 channels by each cluster
FARCOS TELESCOPE – phase 1
Fully reconfigurable (more Si layers, neutron detection, …)

## Slide 6
FARCOS detectors
Double-Sided Silicon Strip Detectors
300 μm and 1500 μm
Capton cable and 2x32pin connectors
Highly homogenous CsI(Tl) crystals
Wrapping: 0.12mm thick white reflector +50μm aluminized Mylar.
2μm thick aluminized Mylar window at the entrance (0.29 g/cm2)
Read-out by photo-diodes (300μm)

## Slide 7
Single cluster
4 CsI(Tl) crystals (3rd stage)
DSSSD 1500 μm (2nd stage)
DSSSD 300 μm (1st stage)
photodiodes
Mounting allows for addition of other detectors and neutron “transparency”…

## Slide 8: First prototype modules built
4 clusters expected ready by Jan/Feb 2013  Experiments in Spring 2013 at LNS approved
March-April 2012

## Slide 9: Geometric flexibility
beam
beam
Cross geometry centered on the beam axis (10 clusters)
Wall geometry placed at 45° from beam axis (9 clusters)
45°
Transportability
Modularity

## Slide 10: Planned geometries
Farcos
Chimera
Chimera rings
Correlations in central collisions (cluster states, HBT, Asy-EoS)
Correlations in Quasi-Projectile breakup
Spectroscopy with radioactive beams

## Slide 11: Experiments with exotic beams
Projectile fragmentation beams
Ex: Primary beam: 20Ne E/A=45 MeV/A
Production target: 9Be (500 mm)
Fragments transported and tagged event-by-event by E-ToF
DSSD Tagging detector
Di-proton decay from excited 18Ne states G. Raciti et al., PRL (2008)

## Slide 12: Beam production
Primary beam : 18O at 55 MeV/A, I~5x1011 part/sec
Production target: 9Be (1.5 mm)
G. Cardella et al.
Tagged Projectile fragmentation secondary beams

## Slide 13: Direct reactions with exotic beams
FRIBS exotic beams
Farcos (33Ar residue)
33Ar
34Ar
d
Chimera (d)
Farcos
Neutron detectors
Coupling to spectrometers

## Slide 14: Required identification performances (Chimera-like)

## Slide 15: Compact preamplifiers – Phase 1
32 channels Hybrid charge preamplifiers in a volume of
about 8cm x 10cm x 2mmm
Low power consumption: ~750 mW pwe 32 channels (simplify cooling operations)
Rise-Time (pulser): ~ 3-7 nsec for Cinput=0-100pF
Energy resolution (pulser) ~ 4-5 KeV for Cinput=0-100pF
Available with several sensitivities (5, 10, 45, 100 mV/MeV…)
INFN, Milano – C. Boiano, R. Bassini

## Slide 16: Si-strips α-source tests
INFN-preamplifiers and Mesytec provide comparable E resolution (about 1%)
INFN more compact, faster, less power consumption
Energy resolution (%) vs injection position
α-source spectra

## Slide 17: CsI(Tl) uniformity tests with α-source
Source moved along silicon face (front and back)
“Good” crystal: statistical fluctuations < 1%
“Bad” crystal: statistical fluctuations < 10% gradient
Non-uniformities (if systematic) can be corrected thanks to position sensitivity of silicon strips (for higher energy particles)
Improve resolution in beam experiments

## Slide 18: First test beams – July2012 @ LNS
Chimera sphere view
p,α + p, d, C E/A=40, 80 MeV - Elastic scattering and Transfer reactions
CsI(Tl) uniformity
Silicon resolution
Integrating DAQ into Chimera system
Rochester

## Slide 19: Mounting of prototype telescopes
Pre-amplifier boxes
Si-Si matrix
Si-CsI(Tl) matrix
Preliminary results… analysis underway
Ne + CH2  Multifragmentation

## Slide 20: Silicon strips @ Labec (INFN-FI)
INFN and Politecnico of Milan and Farcos collaboration
Fast pulsed beamline DEFEL: variable and controllable number of particles/pulse
Energy changed between 1 and 6 MeV
Position resolution: 100μm x 100μm: scanning of strips and inter-strip regions
Digitalization of silicon signals with commercial VME SIS 3301
100 MHz – 14bit
8 channels/module
Opt. Link to PCI

## Slide 21: n-proton injection and resolution
Proton bunch multiplicity (deposited energy)
Resolution: 0.5% Front - 1.2% Back
Test of linearity for
Silicon+Preamplifier system
INFN and Politecnico, Milano for Farcos Collaboration

## Slide 22: Interstrip energy sharing
Front injection + Back interstrip spanning
Front injection + Back strip/interstrip spanning
Back injection + Back strip/interstrip spanning
Data analysis under way
      Study of energy sharing between neighboring strips
INFN and Politecnico, Milano for Farcos Collaboration

## Slide 23: Experiments in 2013 @ LNS
CLIR: Clustering in Light Ion Reactions
16C + 12C 10Be + 6He
 12Be + 4He
16C from tagged FRIBS projectile fragmentation  120 kHz
FARCOS

## Slide 24: Electronics hopes for phase 2
Pre-amplifiers with multiple gains and large dynamic range (MeV to GeV)
VSLI, configurability, low power… oriented towards physics!
Pulse-shape capabilities
  Low identification thresholds for low energy experiments
Digitalization of detector signals
Update possibilities
  Solid angle increase
  Coupling to different detectors (in different laboratories)

## Slide 25: Neutron detection
“Transparency” of materials and electronics boards to incoming neutrons
Secondary stages for neutron detection – under study at the moment… (????)
P
P
P
P
P
Si
…..
DSSSD1
DSSSD2
CsI(Tl)
CsI(Tl)
Electronics

## Slide 26: Status and… coming up…!
Farcos has a preliminary configuration allowing for experiments at LNS and other laboratories (ex. GANIL)
  Compact Preamplifiers, shapers, etc. for about 800 channels
  Limited digitalization capabilities already available
The array is going to increase in size… need for integrated technology
  GET solution after the front-end; new integrated front-end (GET, INFN Milan-Politecnico, …)
Working group in neutron detection capabilities (under vacuum): simulations under way