## Slide 1: Hadronic cross-section measurement at SND
T.V.Dimova
Novosibirsk State University
Budker Institute of Nuclear Physics

## Slide 2: VEPP-2000 Collider
designed
Achieved (2011-2013):
L~51030cm-2c-1 ( 2E=1.0 GeV)
L~21031cm-2c-1 ( 2E=2.0 GeV)
See details in Koop’s talk
Main parameters:
collision period – 82 ns
beam current – 0.2 A
bunch length – 3.3 cm
perimeter – 24.4 m
Energy spread – 0.7 MeV
x≃ z =6.3 cm
L ≃ 1032 (2E=2.0 GeV)
L=1031cm-2c-1 (2E=1.0 GeV)

## Slide 3: SND for VEPP-2000
1 – beam pipe, 2 – tracking system, 3 – aerogel cherenkov counter , 4 – NaI(Tl) crystals, 5 – phototriodes, 6 – iron muon absorber, 7–9 – muon detector, 10 – focusing solenoids.
NIM A449 (2000) 125-139

## Slide 4: SND parameters
Calorimeter:
1632 NaI(Tl) crystals
VPT reading
13.5 X0
solid angle - 90% from 4
 x  =9º x 9º
Energy resolution:
Angular resolution:
Tracking system:
9-layer cylindrical drift chamber with 24 jet-type cells
solid angle - 94% from 4
90% Ar + 10% CO2 gas mixture particle identification at p<300 MeV/c using dE/dx
Angular resolution:
Spatial resolution:
Cherenkov counter:
9 counters with n=1.13
PMT reading
0.09 X0
solid angle - 60%
from 4
- threshold: 300MeV/c
K- threshold: 950MeV/c
Efficiency(P=350MeV/c):
K – 7%,  – 90%
,
, =1.2

## Slide 5: Current work on detector upgrade
Upgrade of calorimeter electronics
Development of time measurements in calorimeter
Increasing events readout rate
Improving particle reconstruction and ID

## Slide 6: Experiments 2010 - 2012
Experiment/year (1.05  2.0 GeV) | Integrated luminosity | s > 1.88 GeV
MHAD 2010 | 5 pb-1 | 71 nb-1
MHAD 2011 | 25 pb-1 | 3.8 pb-1
MHAD 2012 | 17 pb-1 | 4.9 pb-1
Total | 47pb-1 | 8.8 pb-1
Experiment 2013
Energy region (s, GeV) | Integrated luminosity, pb -1 |  -  region, pb -1 |  - meson region, pb-1 |  - meson region, pb-1 | non-resonant, pb-1
0.321.06 | 32 | 15.5 | 3.5 | 7.5 | 5.5

## Slide 7: VEPP-2000 Physical program
1. Precise measurement of the quantity
R=(e+e– → hadrons) / (e+e– → +-)
2. Cross section measurements of the processes of e+e- -annihilation into hadrons: e+e– → 2h, 3h, 4h …, h= ,K,, …
3. Study of “excited” vector mesons: ′, , ′,  ′,..
4. CVC tests: comparison of e+e– → hadrons cross sections and
 → ν τ + hadrons decay spectra
5. Study of nucleon - antinucleon pair production and
nucleon electromagnetic form factors, search for N anti-N
resonances
6. Hadron production in “radiative return” processes:
e+e– → γ*γ, γ* → hadrons
7. Two photon physics: e+e– → e+e– + hadrons
8. Test of high order QED 2→ 4, 5

## Slide 8: Process e+e→ ωπ0 → π0π0γ (30 pb-1)
Selection criteria:
≥ 5 γ; no charged particles;
total energy depos. > Ebeam;
kinematic fits:
χ25γ <30; χ2π0π0γ− χ 25γ <10;
|Mπ0γ − Mω|<100 MeV
The most accurate measurement for 2E>1.4GeV
Systematic error: 3.4%
(2E<1.55 GeV)
SND using CVC hypothesis:
Br(--)= (1.96±0.02±0.10)%
PDG:
Br(--) = (1.95±0.08)%
No difference within experimental accuracy.
(arXiv:1303.5198[hep-ex])
Fit:
sum of ρ(770), ρ′(1450), ρ(1700)

## Slide 9
Process e+e→ ωπ0 → π0π0γ (30 pb-1)
(Transition form factor γ*ωπ0, F)
(0+-)
Solid line – model prediction with ρ(770), ρ′(1450), ρ(1700) parameters from the cross section fit.
Dashed line – ρ(770) contribution.
|F(q2)/ F(0)|2

## Slide 10
e+e– → ηγ → 7γ (32 pb-1) (first measurement for s >1.4GeV)
Cross section
Selection criteria:
≥7γ, no charged tracks ;
energy dep. > (0.7÷1.2)2Ebeam;
Kinematic fits:
χ2nγ <30; χ2π0π0γ >50;
χ27γ <50;
400 MeV< Mγ rec<600 MeV
Fit:
Sum of ρ(770), ρ′(1450), ρ(1700)
Total ~60 events
Preliminary
Photon recoil energy
MC
MC

## Slide 11: Process e+e→ π+π-π0π0 (30pb-1)
Selection criteria :
- at least 2 charged
particles and 4 g’s;
2 tracks are from IP;
Kinematic fit:
χ2 < 40
Mπ0 in 70-200 MeV.
The bump is a sum of contributions of ρ(770), ρ′(1450), ρ(1700).
Only statistical errors
ωπ0
non-ωπ0
Main feature –
many intermediate states:
ωπ0, a1π, ρππ, ρ+ρ-, ρf0.
Systematics  10%
Preliminary

## Slide 12: Process e+e→ π+π-π0 (22pb-1)
Selection criteria :
– 2 central charged particles
– 2 γ’s
– Δφch..>10°
– total energy dep. (0.3-0.8)Ebeam
Kinematic fit:
– χ2R < 40, χ2π+π–γ γ < 40;
Fit to Mπ0 spectrum
(effect + background)
Cross section
Only statistical errors
Systematic: ~5%
Spectrum is a sum of
contributions from (782), ′(1420), (1650).
Preliminary

## Slide 13: Process e+e→ ηπ+π (30pb-1)
Selection criteria :
2 central charged particles,
2 photons,
θcharged (22.5°-157.5°),
θphoton (36°-144°),
kinematic fit
(π+π–γ γ): χ2 < 20
mgg
Cross section
Systematic error: 4.7%
(1450–1700 MeV)
Fit: sum of
ρ(770), ρ′(1450), ρ(1500)
CVC hypothesis:
Br(--0)=
(0.188+0.058-0.057)%
PDG:
Br(--0) =
(0.139±0.01)%
Preliminary

## Slide 14: Baryon cross sections
Total cross section:
For protons:
for neutrons: C=1
Cross section is not zero at
threshold
Differential
cross section:
The ratio of the form factors |GE/GM| can be determined from the analysis of the polar-angle distribution.
From the measured cross section, a combination of the squared form factors (GE,GM) can be extracted.
where C is the Coulomb factor, GE and GM are the electric and magnetic form factors.
Details in Serednyakov’s talk
(Wednesday, 11.09)

## Slide 15
Event signature:
Process e+e– → n ( 10 pb-1)
- Small energy deposition in calorimeter from n
- “star” from annihilation point in Cherenkov counters or calorimeter

## Slide 16
Ebeam(МэВ)
Main features of the cross section:
1 – cross section has a threshold behavior,
2 – selected events are delayed on 5-10 nsec,
3 – cross section is stable under condition variations,
4 – uniform f distribution.
Systematics: ~0.25 nb (~30%)
Cross section
Cos
|GE/GM|2 = 2.6 ± 4.6
Blue – GM contribution
Green – GE contribution
Red – best fit
Preliminary
Process e+e– → n

## Slide 17: A comparison of proton and neutron FFs
Only statistical errors
Neutron effective time-like form factor
Effective form factor:
Preliminary
Preliminary
Process e+e– → n

## Slide 18
Events features (from threshold up to Ebeam=960MeV):
No signal from p
“star” from annihilation in vacuum tube
Events features (Ebeam>960MeV):
charged track and no energy deposition for p
charged track and “star” from
annihilation in Cherenkov counters
Process e+e– → p (10 pb-1)

## Slide 19
Cross section, pb
Background below threshold
Near threshold
Systematic error ~ 5%
Cross section
Ebeam=960-1000MeV,
|GE/GM|= 1.64 ± 0.26
Cos
Preliminary
Process e+e– → p (10 pb-1)

## Slide 20: Conclusions & Plans
Successful experiments with the SND detector at the VEPP-2000 were performed during last four years. About 80 pb-1 of data were collected in the energy range 0.32-2.0 GeV.
Preliminary results on different hadronic cross sections at the energy range 1.05 – 2.0 GeV have been obtained: e+e→ 0, , +-0, +- 00 , +-, , . The results are in agreement with previous measurements.
To obtain results on the full SND data sample.
To study more hadronic processes: e+e → +- +-, KSKL , K+K-, Ks(K+-)cc , etc .
To upgrade SND detector for high luminosity runs.
Thank you

## Slide 21: Process e+e-→ ωπ0 → π0π0γ
Mπ0γ
σ~20MeV
Cuts:
- at least 5γ
- no charged particles
- total energy depos. > Ebeam
- kinemat. reconstruction:
χ25γ <30; χ2π0π0γ− χ 25γ <10;
|Mπ0γ − Mω|<100 MeV
Fitting:
sum of ρ(770) and ρ(1450)

## Slide 22
Process e+e-→ π+π-π0
M

## Slide 23: Cosmic suppression using event time
Nx

## Slide 24
CVC: Br(--0) =(0.188+0.058-0.057)%
PDG: Br(--0) =(0.139±0.01)%

## Slide 25
Typical view of
e+e-→ π+π- π0 event