## Slide 1: Current quests in nucleosynthesis: present and future neutron-induced reactions measurements
Javier Praena
Universidad de Sevilla, Seville, SPAIN
Centro Nacional de Aceleradores, Seville, SPAIN

## Slide 2: Motivation
An overview of the status of the measurement of the Maxwellian averaged (n,γ) cross section (MACS) of branching points (BPs) and new methods.
MACS by time-of-flight: n_TOF @ CERN.
MACS by activation: overview of the production of stellar (or maxwellian) neutron spectrum.
Present: neutron source at small facility at CNA.
Future: in situ neutron beam and RIB at SPES?
Javier Praena – INPC2013, Firenze 06/2013

## Slide 3
Motivations: nucleosynthesis.
slow-process:
106-7,10 n/cm3,, 1-3.5 108 K. 106 years.
AGB, Red Giants. 13C(,n)16O, 22Ne(,n)25Mg
rapid-process
1020 n/cm3 , 1010 K, seconds, Explosive sites(?)
Neutrons play a central role in the production of the elements in the stars.
In particular, the elements beyond Fe are produced mainly by successive neutron-capture and subsequent -decays: the so called s- and r-processes.
BBFH, Reviews of Modern Physics 29, 4 (1957)
A.G.W Cameron, CRL-41 (1957)
(n,γ), (n,α), (n,p) reaction cross-sections are fundamental quantities in astrophysical models.
Javier Praena – INPC2013, Firenze 06/2013

## Slide 4
4
Reaction rates are needed over an energy range from kT=5 to 100-120 keV [+].
MACS are needed at least at few points 5 keV < kT < 120 keV.
[+] Z. Y. Bao et al. , ADNDT 76, 70 (2000).
Motivations: nucleosynthesis.
At stellar sites where the nucleosynthesis of the elements by neutron capture takes place, particles are quickly (10-11 s) thermalized through elastic scattering and the associated velocity probability distribution is a Maxwell-Boltzmann [*].
The maximum probability corresponds to the T of the stellar medium (or thermal energy kT) which depends on the mass and evolutionary stage of the star.
[*] Allen et al. , Adv. Nuc. Phys. 4 (1971).
REACTION RATE (cm-3s-1)
Javier Praena – INPC2013, Firenze 06/2013
Notes: The neutron reaction rate of an element A in this environment can be calculated with this expression. Where v is the reduced velocity and Sigma de cross-section of the neutron-induced reaction considered. Folding this expression with the probability distribution, thus the MB distribution of the velocities we arrive to this expression. From the point of view of the experimentalist this is the expression to be measured. As I will show later these measurements normally are carried out by TOF or activation technique. And the quantity obtained in these experiments is the MACS at the stellar energy (kT) of interest.

## Slide 5
Experimental techniques:
TOF and Activation
Time-of-flight.
    (n,) are detected via the prompt -cascades. Whatever isotope can be measured. Excellent energy resolution. Low uncertainty.
    Flight paths reduces neutron flux at sample position (Branching)
The most of the critical stellar features, such as time scales, temperature, neutron density depends on the <>, therefore on the Maxwellian-averaged cross-section.
Branching points are isotopes with (n,) cross-section and β-decay comparable.
Activation.
    (n,) leads to an unstable nucleus. Detection of induced activity (HPGe). High neutron flux (Branching). Possibility of some AMS measurements.
Javier Praena – INPC2013, Firenze 06/2013

## Slide 6
6
6
PS 20GeV
Linac
50 MeV protons
Booster
1.4 GeV
SPALLATION TARGET
NEUTRONS are “cleaned”
In 185 m flight path
Proton beam momentum | 20 GeV/c
Intensity (dedicated) | 7 x 1012 p/pulse
Repetition frequency | 1 pulse/2.4 s
Pulse width | 6 ns (rms)
n/p | 300
Lead target dimensions | 80x80x60 cm3
Cooling & moderation | Borated H2O
Moderator thickness in the exit face | 5 cm
n_TOF facility @ CERN
EAR-1
EAR-2
20m
Javier Praena – INPC2013, Firenze 06/2013

## Slide 7
n_TOF features | Advantages
Broad neutron energy range | Neutron cross sections in the range meV – 1 GeV
High instantaneous neutron flux | Radioactive samples (good ratio Signal/Background)
Excellent energy resolution | Resonance dominated cross sections
Equipment: flash ADC DAQ and detectors | Accurate cross section measurements
n_TOF @ CERN: features.
Javier Praena – INPC2013, Firenze 06/2013

## Slide 8
8
n_TOF branching points: 63Ni.
63Ni(n,) cross section from 0.1 eV to 0.2 MeV.
C. Lederer et al., Phys. Rev. Letters 110 (2013)
During the He core burning the Nn<< and the T=0.3 GK (24 keV) lead to the decay of 63Ni to 63Cu (90%).
C shell burning, Nn~1011-12 cm-3, 1 GK (90 keV) the material is partly reprocessed and the 63Cu is bypassed.
The major challenge was the production of the sample. Irradiation of highly enriched 62Ni sample in a thermal reactor 20 years ago. 63Cu impurity was chemically separated.
He
C
More details can be asked to C. Massimi. Thursday
More than a factor 2 in comparison with the recommended value used in astrophysical models.
Javier Praena – INPC2013, Firenze 06/2013

## Slide 9
9
n_TOF branching points: 63Ni.
63Ni(n,) cross section from 0.1 eV to 0.2 MeV. C. Lederer et al., Phys. Rev. Letters 110 (2013)
Javier Praena – INPC2013, Firenze 06/2013
The impact of the results were studied for s-process in a full stellar model for 25MSUN (Z=0.02). NuGrid code MPPNP follows the nucleosynthesis.
The calculated abundance in the Fe-Zr region shows an enhancement of 20% in 64Ni, 63Cu is depleted in 15%, 65Cu remains unchanged, 64Zr depleted in 30%.

## Slide 10
10
n_TOF branching points: future.
It is planned the measurement of the (n,) cross-section involving branching points such as:
147Pm->2.62 years, 171Tm->1.92 years, 204Tl->3.78 years
Javier Praena – INPC2013, Firenze 06/2013

## Slide 11
11
The neutron activation technique allows the irradiation of samples with a high flux making feasible some MACS measurements of radioactive isotopes (or very low mass samples).
What about activation?
Javier Praena – INPC2013, Firenze 06/2013
But to fold you need to know at least the trend of the cross-section that you are measuring.
Many cases it is supposed σ≈1/v for the cross-section in all the astrophysics energy range (resonances are negligible?)
In principle, the sample can be activated with neutrons following whatever distribution.
Then, in order to obtain the MACS the spectrum must be folded with the cross-section as a function of the energy.

## Slide 12
12
W. Pönitz, Karlsruhe.(1966).
Journal of Nuclear Energy 20 (1966). Pergamon Press Ltd.
MACS & activation: Karlsruhe.
7Li(p,n) for 30 keV
Near-threshold
Javier Praena – INPC2013, Firenze 06/2013
Beer&Käppeler, Karlsruhe. (1980)
Phys. Rev. C 21 (1980).
Ratynski&Käppeler, Karlsruhe (1988)
Phys. Rev. C 37 2 (1988)
7Li(p,n) for 25 keV
Near-threshold->Ep=1912 keV

## Slide 13
13
Is needed to generate a maxwellian neutron spectrum at 30 keV?
Au MACS at 30 keV | MACS (mbarn) | Uncertainty (mb)
Pönitz | 600 | 12
Ratynski & Käppeler | 582 | 9
N_TOF (*) | 611 | 22
Javier Praena – INPC2013, Firenze 06/2013
In consequence, to obtain the MACS at kT=30 keV the spectrum must be corrected. Moreover Käppeler needs to extrapolate from 25 to 30 keV.
For both the knowledge or the assumption of the cross-section trend is mandatory.
What is the importance of these corrections?
Let us compare the MACS of Au(n,) at 30 keV between Pönitz (act.), Käppeler (act.) and n_TOF:
[*] Lederer et al., Phys. Rev. C 83 034608 (2011).
Not, it is not, if you know the cross-section that you are measuring.
But if you do not know, or if you want to measure wide energy range….

## Slide 14
14
Is it needed to generate a maxwellian? Yes, it is. Indeed more than one.
Javier Praena – INPC2013, Firenze 06/2013
In order to demonstrate the importance of the production of maxwellian neutron spectrA we have studied Se82[*]. It is 1/v at thermal in the evaluations with few differences in the resonances.
We have calculated the MACS for the relevant astrophysics energies relying on evaluations and on theoretical HF calculations [21].
The large discrepancy among libraries is apparent not only in the MACS value but also in the trend.
ENDF/B-VI.8 –VII differ in the magnitude of 2-3 resonances.
[*] G. Martin-Hernandez et al., App. Rad. Iso. 70 (2012).

## Slide 15
15
P. Mastinu, G. Martín-Hernández and J. Praena. (Italy) (2008)
Nuclear Instruments and Methods A 601 (2009).
MACS & activation: Mastinu et al.
It will be possible to produce maxwellian from kT=30 to 60 keV by changing only the Ep with the same proton shaper.
Recently, we have measured the spectrum at JRC-IRMM (Geel, Belgium).
Preliminary results of the analysis confirm the method and the simulations
Protons
Protons are shaped to a distribution close to the
7Li(p,n) threshold
Lithium
NEUTRONS
Aluminium
Proton shaper
Javier Praena – INPC2013, Firenze 06/2013

## Slide 16
Checking Mastinu’s method:
experiment @ JRC-IRMM
Al 75 m
Proton Shaper
Li6 glass:
IR7-> ½ “
FJH-> 1”
SOR-> 1”
Ep=3663 keV
QGPD ~ 1860 keV, =64 keV
Flight path = 52 cm
Frequency = 625 kHz , ~2ns
LiF target
16
Javier Praena – INPC2013, Firenze 06/2013
Neutron Spectrum @ 0o
Preliminary result
Pulse Height

## Slide 17
Measurement of the proton distributions
shaped by the same 75 μm Aluminium foil
Simulated neutron spectra activating Au and Ta/Tb sample
Ep=3665 keV
Ep=2003 keV
Javier Praena – INPC2013, Firenze 06/2013
Present application: CNA, Seville (SPAIN)

## Slide 18
MACS of 181Ta(n,) and 159Tb(n,) at kT=30 keV
with 197Au(n,) as reference
MACS of 159Tb(n,) has not been measured by activation. It is of interest in astrophysics, fission and fusion reactor design since is a fission product poison.
MACS of 181Ta(n,) has been measured several times with TOF and activation techniques. Test case.
J. Praena et al., in press, NIM A (2013).
J. Praena et al., accepted for publication NDSheets(2013).
Javier Praena – INPC2013, Firenze 06/2013

## Slide 19
Neutrons
Li target
Energy Shaper
Radioactive
Ion Beam
RFQ Proton
5 MeV, 50mA
250 kW
Protons
Ep>1.88 MeV
C-12 substrate
1010-11 n/(scm2)
Future? MACS with RIB at SPES-LNL:
139Ba(n,) at 30keV
Javier Praena – INPC2013, Firenze 06/2013
Ba-139, T1/2= 86 min. Saturation,
RIB Intensity=1e10s-1.
Number of Ba-139=6e13
In situ neutron irradiation = 7 days
Cooling time = 2 days
Eff=0.09
I (537keV)=0.25
Measuring time=11 d
Counts Ba-140=5e3
Number of Ba-140=5.5e5
Cross-section=0.1 b (?)

## Slide 20
Summary 1/2
An overview of the n_TOF@CERN has illustrated as an example of measurements of MACS of BPs by the TOF technique.
Pönitz, Käppeler and Mastinu show an evolution in the generation of stellar neutron spectrum to be used in the measurement of MACS at 30 keV by activation.
We have tried to demonstrate the importance of the generation of neutron spectrum as close as possible to maxwellian in a wide range for activation measurements.
Javier Praena – INPC2013, Firenze 06/2013

## Slide 21
Summary 2/2
Mastinu’s method provides stellar neutron spectrum in a wide energy range (30-60 keV) (5 and 90 keV).
Preliminary analysis results of the JRC-IRMM experiment show good perspectives of Mastinu’s method confirmation.
New methods such as Mastinu ’s method push the use of small neutron sources facilities as CNA at Seville.
Amazing and very difficult experiments combining high intensity neutron beam and high intensity Radioactive Ion Beam could be performed in the future in facilities as SPES-LENOS at Laboratori Nazionali di Legnaro.
Javier Praena – INPC2013, Firenze 06/2013

## Slide 22
Thank you very much to the Committee for the invitation and for your attention
Javier Praena
Universidad de Sevilla, Seville, SPAIN
Centro Nacional de Aceleradores, Seville, SPAIN

## Slide 23
MACS of 181Ta(n,γ) and 159Tb(n,γ) at kT=30 keV
with 197Au(n,γ) as reference
Experimental conditions for both experiments:
Au, Ta and Tb samples of d=2.4 cm. Proton current≈ 3 μA. Beam spot= 1 cm
HPGe detector: 198Au (2.6 d, 411 keV)181Tb (114 d, 1121 keV) 160Tb (72 d, 298 keV)

## Slide 24
67-73Ga, 69-85As, 81-88Se, 83-91Br, 87-91Kr, 126-134Sb, 135-139Xe
Javier Praena – INPC2013, Firenze 06/2013
Notes: flux. We proposed also to irradiated radioactive sample made by using the RIB of the SPES facility

## Slide 25
25
n_TOF branching points: 151Sm.
151Sm(n,) cross section from 0.6 eV to 1 MeV.
S. Marrone et al., Phys. Rev. C 73 (2006)
In the classical s-process approach , Nn(t) and T(t) are assumed to be constant, the former equation provides the T, if Nn is determined by other branching not sensitive to the T.
151Sm, s-process branch point with pronounced (T).
The major challenge was the production of the sample. 206 mg of Sm2O3 powder pressed to a solid pellet. Prepared at ORNL (USA). 150 GBq!
Javier Praena – INPC2013, Firenze 06/2013

## Slide 26
MACS of 181Ta(n,γ)/197Au(n,γ) at kT=30 and 55 keV
This measurement has been done as a test of the method.
2 weeks ago accepted for publication.

## Slide 27
Test of the method: experiment @ JRC-IRMM
10°
20°
Preliminary Experimental Data
27
Javier Praena – INPC2013, Firenze 06/2013