## Slide 1
G.Cardella
for the
EXOCHIM collaboration
Transfer reactions on light exotic nuclei with CHIMERA detector at LNS

## Slide 2
Outline
G.Cardella inpc2013
Short presentation of the CHIMERA detector and LNS fragmentation beams
Can one get precise angular distributions without extremely segmented detectors?
Test case 10Be+p9Be+d
Extension of the method using coincidence g-ray
Conclusions and perspectives

## Slide 3
ΔE-E Si-Csi Charge for particles punching trough silicon
ΔE-E isotopic identification up to Z=12
PSD – Si charge for particles stopped in silicon
HI
p
d
t
3He
a
Li
Be
PSD – CsI
Isotopic identification up to Berillium
ΔE-ToF mass for particles stopped in silicon
Si
CsI(Tl)
Z=50
Z=6
Z=10
Z=6
Z=16
α
The CHIMERA detector : particle identification methods
1192
Dq<1°
Dq=8°
G.Cardella inpc2013
g

## Slide 4
Fragmentation beams at INFN-LNS - Catania
Movable production Target water cooled
G.Cardella inpc2013
Two 45° dipoles of the beam line do the fragment selection
Reaction target and fragment detection

## Slide 5
Tagged beam
Target p/d
n
p
We study direct reactions using light exotic nuclei impinging on p, d targets useful to investigate on various structure effects ( see Alexandre Obertelli this morning )
EVENT SELECTION performed with kinematic coincidences – measuring in binary/ternary reactions all reaction partners we clean the events
11Be
p
-Neutron transfer reactions near halo nuclei -
10Be
Only charge identification in forward rings due to low gain preamplifiers
G.Cardella inpc2013
Tagging system
Notes: 5

## Slide 6
– Advantages of binary kinematics : the 10Be+p9Be+d case -
The lab energy of the detected particle determines the CM emission angle
Due to the relatively good energy resolution we can obtain an angular distribution with much better resolution than the one determined by the size of the detectors
G.Cardella inpc2013
57 AMeV

## Slide 7
– STEPS of the analysis 10Be+p9Be+d
We select only complete events with two detected particles and with total detected charge Ztot=Zbeam+1
We can plot the Df angle between the two coincidence detectors – due to momentum conservation Df must be 180°
Df width due to the finite opening of the detectors
We also clean the events putting constraints on the total detected energy
must be equal to the beam energy 580 MeV + Qvalue (-4.58 MeV)
Notwithstanding the scarce total energy resolution we see only GS events
9Be*→ n+a+a
Sn=1.66 MeV

## Slide 8
– The 10Be+p9Beg.s.+ d angular distribution -
After efficiency correction taking into account few rings missing for a GSI experiment ( see P.Russotto C6 on Thursday) we get the angular distributions
From the analysis we get the deuteron energy spectrum
Using kinematics we can convert it from dN/dE  dN/dq
G.Cardella inpc2013
q(9Be)lab
target
DSSSD-tag
DSSSD-traj
qbeam
strip
qbeam
Note that angular distributions are automatically corrected for the fragmentation beam angular spread

## Slide 9
– Excited levels - g-ray tagging? -
G.Cardella inpc2013
We have measured the g-ray signals from CsI(tl) using proton beam on carbon target and looking at excitation and decay of the 4.44 MeV 12C first excited state
g
p
d
t
a
p + 12C → p + 12C (12 MeV)
E* (MeV)
Eprot (MeV)
The 4.44 MeV g can be seen quite well in most detectors
g-ray tagging could be a solution to extend the method in case of excited levels -
How to combine efficient g-ray detectors and CHIMERA?
CsI(Tl) have a large efficiency for gamma ray detection

## Slide 10
– Using the g-ray tagging: the 10Be+p 10Be+p case -
G.Cardella inpc2013
g-ray from 10Be+p10Be*+p
preliminary
Eg (MeV prot eq.)
The angular distribution we measure for this channel shows a slope change around 40°
The proton angular distribution measured in coincidence with g-rays explains the change of slope and the deviation from Cortina-Gil data
This change of slope is not seen in previous data measured by Cortina-Gil et al Phys.Lett.b 401(1997)9
The g-ray spectrum measured is what we expect from 10Be* excited states decay

## Slide 11
Future improvement : FARCOS as forward angle spectrometer
Improved CsI(Tl) energy resolution due to corrections for the particle detection position
Improved energy calibrations/resolution also due to the two stages of silicon detectors
Improved f granularity and isotopic identification
G.Cardella inpc2013
First test-experiment coupled with Chimera
April 2013 see E.De Flippo next Thursday C6 and Acosta poster Nf001
First test stand-alone
July - 2012
New triple telescopes Si-Si-CsI
First stage 32x32 strip 6.2x6.2cm2 300 mm DSSSD
Second stage 32x32 strip 1500 6.2x6.2cm2 mm DSSSD
Third stage 4 CsI(tl) 3.1x3.1 cm2 photodiode readout 6 cm thick

## Slide 12
Using cocktail of neutron rich beams with the CHIMERA detector we are able to extract angular distributions for many reaction channels searching for structure effects on cross sections
The 4p detection efficiency is very useful and allows extensive use of the kinematical coincidence technique
For the future experiments we are working to improve our detection capabilities and resolutions also coupling CHIMERA to a new high resolution strip telescope array FARCOS and to neutron detectors
Conclusions and perspectives
G.Cardella inpc2013
We can also detect g-rays with our CsI(Tl) detectors in order to tag excited levels

## Slide 13
L.Acosta1, F.Amorini1,3, A.Anzalone1, L.Auditore4, I.Berceanu9, G.C.2, M.B.Chatterjee10, E.De Filippo2, L.Francalanza1,3, S.Gianì1,3, L.Grassi2,3, E.La Guidara2,5, G.Lanzalone1,6, I.Lombardo8, D.Loria4, E.Morgana4, T.Minniti4, A.Pagano2, E.V.Pagano1,3, M.Papa2, S.Pirrone2, G.Politi2,3, A.Pop9, F.Porto1,3, F.Rizzo1,3, E.Rosato8, P.Russotto2,3, S.Santoro4, A.Trifirò4, M.Trimarchì4, G.Verde2, M.Vigilante8
1) INFN Laboratori Nazionali del Sud, Catania, Italy
2) INFN, Sezione di Catania, Catania, Italy
3) Dipartimento di Fisica e Astronomia Università di Catania, Italy
4) INFN gruppo collegato di Messina & Dipartimento di Fisica e Astronomia Università di Messina, Italy
5) Centro Siciliano di Fisica Nucleare e Struttura della Materia, Italy
6) Università Kore di Enna, Enna, Italy
7) INFN Sezione di Milano & Dipartimento di Fisica e Astronomia Università di Milano, Italy
8) INFN Sezione di Napoli & Dipartimento di Fisica e Astronomia Università di Napoli, Italy
9) Institute for Physics and Nuclear Engineering, Bucharest, Romania
10) Saha Institute of Nuclear Physics, Kolkata, India
G.Cardella inpc2013
I wish to thank all my collaborators

## Slide 14
– Can I see excited channels using g-ray tagging? -
Can we see g-rays with the CHIMERA telescopes? – CsI(Tl) have a large efficiency for gamma ray detection
G.Cardella inpc2013
A simple check can be done using data on proton calibration beams taken with carbon targets looking to excitation and decay of the 4.44 MeV 12C level
We are also able to measure angular distributions of such g-rays correcting efficiency of different rings with Geant
g
p
d
t
a
p + 12C → p + 12C (12 MeV)
E* (MeV)
Eprot (MeV)
The 4.44 MeV g can be seen quite well in most detectors
qg (deg)

## Slide 15
– Can I discriminate excited levels? -
10Be*
9Be
n
Their contribution is in the structure at Etot about 50 MeV smaller than the beam energy
~50 MeV are in fact subtracted on average by the emitted neutron
Sn 10Be=6.8 MeV
If there are only few excited levels below the particle emission threshold it could be simple with g-ray coincidences to disentangle excited levels from g.s.
G.Cardella inpc2013
10Be + p → 9Be + d
10Be + p → 10Be + p
look to the elastic channel were we have more statistics -
we can easily exclude from the analysis excited levels decaying by particle emission

## Slide 16
– comparison of proton spectra without and with g-rays-
g-rays
10Be+p10Be+p

## Slide 17
ds/dw (count/msr)
qC.M.
– 10Be+p9Beg.s.+d – efficiency effect of missing rings -
G.Cardella Lisbona 2012
q(d)lab
q(9Be)lab
target
DSSSD-tag
DSSSD-traj
qbeam
Simulations account also for the angular spread of the fragmentation beam
q(Be)lab
strip
qbeam
CHIMERA ring 4-7 were used at GSI for another experiment so we have lost coincidences - we need efficiency correction

## Slide 19
Foreseen yields

## Slide 20
Df
Count
8Li
9Li
– Some preliminary results on “elastic-inelastic channel”
We can plot the Df angle between the two coincidence detectors putting constraints on the complete event reconstruction
( Mult=2, ztot = zbeam+1)
Df width for elastic channels due to the finite opening of the detectors + effects of reactions + background
Df
Count
Carbon background beam 16C
Ztot>zbeam+1
16C
Df
Count

## Slide 21
– 10Be+p9Beg.s.+d published data?
No previous data on p,d but similar minima observed in the d,t reaction -
We used also a deuterium target but unfortunately in this case the missing rings give a smaller C.M. angular coverage and we see only one minimum around 25°
G.Cardella inpc2013