## Slide 1: Exploring the Stability of Heavy Elements: First Measurement of the Fission Barrier of 254No
A. Lopez-Martens
CSNSM, IN2P3-CNRS & Université Paris Sud

## Slide 2: Outline
Introduction & Motivation
Experimental Setup & Technique
Results
Conclusions & Perspectives

## Slide 3: Setting the Scene
Liquid Drop Energy (MeV/A)
Deformation
Parametrization: Myers & Swiatecki, Nucl. Phys. A 81 (1966) 1

## Slide 4: Stability of Heavy Elements
Bf = Esaddle - Egs
Bf
R. Chasman et al., Rev. Mod. Phys. 49, 833 (1977)

## Slide 5: Theoretical fission barriers
P. Möller et al., Phys. Rev. C 79 (2009) 064304
254No; Bf(I=0)=6.76 MeV
  saddle=0.5
J.L.Egido and L.M. Robledo Phys. Rev. Lett. 85 (2000)
Bf(I=0) = 8.66 MeV
Q20=32.5 b saddle = 0.6
saddle ~ 140 MeV-1

## Slide 6: Why are high-spin properties important ?
Projectile
Target
Compound Nucleus (CN)
Evaporation Residue (ER)
Fission
Quasifission
Neutron
Capture
E, l
Survival probability of the excited Compound Nucleus: n(l,E*), f(l,E*), (l,E*)
If Bf were to disappear at finite spin, we would not be able to make heavy elements !

## Slide 7: Enhanced cross sections
Y. Oganessain, Nuclear Physics News, Vol. 23 (2013)

## Slide 8: What Do We Know ?
unpublished, see also:
S.Eeckhaudt, P.T.Greenlees et al.,Eur. Phys. J. A 26 (2005) 227
P. Reiter et al., Phys. Rev. Lett. 82 (1999) 509
Discrete spectroscopy has demonstrated that heavy nuclei are very robust with respect to rotation

## Slide 9: Experimental Fission Barriers
Available data on fission barriers, Z ≥ 80
(RIPL-2 library http://www-nds.iaea.org/ripl-2/ )
Fission induced by direct reactions
Electromagnetic excitation & fission of relativistic
secondary beams
-delayed fission

Bf
E*
Unfortunately, these methods are not easily (if at all !) applicable to transfermium nuclei

## Slide 10: Entry-Distribution Method P. Reiter et al., Phys. Rev. Lett. 84 (2000) 3542
E1/2(I)≈Esaddle(I)

## Slide 11: Entry Distribution Method: First Results
P. Reiter et al., Phys. Rev. Lett. 84 (2000) 3542
Ebeam=215 MeV, ECN ≈ 19.3 MeV
Ebeam=219 MeV, ECN ≈ 22.7 MeV
208Pb(48Ca,2n)254No*
Bf(I=12)>5 MeV
Bulk of ER @ high spin
Notes: Emx= ECN-Sn1-Sn2 = ECN-13.04 MeV
Sn(I) =Eyrast(I)+7.71 MeV

## Slide 12: New Experiment
GAMMASPHERE
FMA
recoils
quasi-fission
fission
ATLAS beam
focal plane detectors: trigger
Pb target:
0.5 mg/cm2
10 pnA 48Ca beam, Ebeam = 219 and 223 MeV
photons detected by
GAMMASPHERE in
its calorimetric mode
Notes: Q = 11+, as a 12.1 MHz (82.48 ns period) pulsed beam, 8.2 to 10.9 pnA
0.5 mg/cm thick with a 12 C front (0.04 mg/cmthick) and back (0.1 mg/cm2 thick) backing.
~15 and ~5 identified recoils/h
rotating target: The wheel was rotating at 500-600 rpm
DSSD 64x64 mm2 100 mu thick 160 strips on each side.
PPAC filled with isobutane C4H10 at 3 Torr. (9 MeV loss for a 35 MeV 254No ion).
A 0.007 mg/cmthick carbon foil was placed about 5 cm after the target for charge reset- ting. It brings the charge states back to an average Q ≈ 19 − 20 +

## Slide 13: Calorimetric Measurement
gsfma250=63%
probability of detecting a photon ~ 70%
module
Measured energy
&
Number of firing detectors
Emitted energy
&
-ray multiplicity
(110 Ge)~10%  (110 [Ge+BGO] modules) ~78%

## Slide 14: Unfolding Procedure
?
Number of firing modules (k)
Measured Energy (H)
Emitted Multiplicity (M)
Emitted Energy (E)
Emitted Multiplicity (M)
Emitted Energy (E)
I= f(M) = I  (M - Nstat) + Istat  Nstat + Ice
E*=f(E) = E + Ece
Transformation from (E,M) to (E*,I):
M. Jääskeläinen et al., Nucl. Instr. Meth. 204 (1983) 385
P. Benet, PhD thesis, Université Louis Pasteur, Strasbourg (1988)
S. Eeckhaudt, P. Greenlees et al., R. Herzberg et al.,
S. Tandel et al., F. Hessberger et al., R. Clark et al.,

## Slide 15: Entry distribution of 254No (1)
Ebeam=219 MeV
Ebeam=223 MeV, ECN=25.4 MeV
E1/2(I)

## Slide 16: Entry Distribution of 254No (2)
220Th
254No can sustain more E* & I at 223 MeV
no significant yield < 5
- tilted distribution
saturation in E1/2
Ebeam=219 MeV
Ebeam=223 MeV
E1/2(I)

## Slide 17: Barrier height
Sn
Esaddle (MeV)
Möller
FRLDM + folded Yukawa
Es=Bf(0)+(1/2Js) I(I+1)
Js=140 MeV-1
Egido & Robledo
Gogny HFB
Es=Bf(0)+(1/2Js) I(I+1)
Js=140 MeV-1
219 MeV
223 MeV
Fit of Esaddle(I) in the saturated region:
Bf(20)=5.4(0.5) MeV
Js=125(60) MeV-1
Bf(0)=6.6(0.9) MeV
Notes: Crancking approx: higher order effects such as changes in the gs or saddle deformations, changes in the shell energy and pairing occur at higher ang. momenta. Evidence for that is that 254No is a good rotor up to I=20 hbar (J changes by 10% from 0 to 20).
1.6 MeV = Eshell (220Th) (exp) - macro part =FRLD
254No Eshell=3.97 MeV (Moller at. Dat. NUcl. Data Tables 1995)

## Slide 18: Conclusions & Perspectives
First measurement of the fission barrier in a heavy shell-stabilized element
- Probe of the reaction mechanism
theoretical curves taken from: V.I. Zagrebaev et al., Phys. Rev. C 65 (2001) 014607
depletion of low
partial waves
- Next scheduled study case: 255Lr (effect of the odd nucleon & K isomers)

## Slide 19: Collaborators
G. Henning, T.L. Khoo, A. Lopez-Martens, D. Seweryniak, M. Alcorta,
M. Asai, B. B. Back, P. Bertone, D. Boiley, M. P. Carpenter, C. J. Chiara,
P. Chowdhury, B. Gall, P. T. Greenlees, G. Gurdal, K. Hauschild, A. Heinz, C. R. Hoffman, R. V. F. Janssens, A. V. Karpov, B. P. Kay, F. G. Kondev, S. Lakshmi, T. Lauristen, C. J. Lister, E. A. McCutchan, C. Nair, J. Piot,
D. Potterveld, P. Reiter, N. Rowley, A. M. Rogers, and S. Zhu

## Slide 20: Production
taken from V.I. Zagrebaev, Fushe 2012
Notes: for more symmetric reactions leading to heavy nuclei quasifission starts to suppress fusion at energies above the Coulomb barrier.
To reproduce excitation functions one has to introduce a fusion probability (dependence on E and fissility)

## Slide 21: Orbitals at play
R. Chasman et al., Rev. Mod. Phys. 49, 833 (1977)

## Slide 22: Decay widths and E1/2
γ
fission
neutron
E1/2
Sn
Bf
E*

## Slide 23: Discrete Spectroscopy
254No ground state rotational band (223 MeV)

## Slide 24: Known Level scheme of 254No
F. Hessberger et al., Eur. Phys. J. A (2010) 55
S. Eeckhaudt, PhD thesis and
S.Eeckhaudt, P.T.Greenlees et al.,Eur. Phys. J. A 26 (2005) 227
Notes: 842 and 943 represent 31(8) ad 86(14)% of the 8-6 transition in the band (only eff. correction).

## Slide 25: Statistical spectrum in 254No
unfolded, efficiency-corrected and binned Jurogam 254No spectrum
Notes: 152Dy/191MeV N = 3.0370 +- 0.0011
152Dy/184MeV N = 3.0510 +- 0.0024
152Dy/178MeV N = 3.0510 +- 0.0024124
Xe N = 3.0044 +- 0.0022
192Hg N = 3.1256 +- 0.0011
194 Hg N = 2.9691 +- 0.0015
174Hf 4.26 -> but “n=3” fit to spectrum yields nstat=3 (upper bound 4.3 which probably includes non statisticals as in 254No)

## Slide 26: Known Level Scheme in 220Th
W. Reviol et al., Phys. Rev. C 74, 044305 (2006)
I = 1.5
Nstat=4
Istat=0.25
ICE=0.7
ECE=110 keV

## Slide 27: Survival of heavy nuclei at high spin
Bf(I)-Bf(0)B= Egs(I) x /saddle
L.G. Moretto et al., Comment to P. Reiter et al., Phys. Rev. Lett. 84 (2000) 3542
small since the gs of
transfermium nuclei
is already deformed
Notes: in lighter nuclei the saddle is controlled by the liquid drop and occurs at large def.
In transfermium the saddle occurs at only sllightly grater def. than the gs (due to the anti-shell immediately following the deformed minimum).

## Slide 28: Calculated energy window for EC-delayed fission
P. Möller et al., Phys. Rev. C 79 (2009) 064304

## Slide 29: Comparison gsfma55/gsfma250

## Slide 30: Single particle states - how well do models do ?
I. Ahmad et al., Phys. Rev. C 71 (2005) 054305
D. Seweryniak et al., Nucl. Phys. A 834 (2010) 357c