## Slide 1: Exotic Hybrid Meson Spectroscopy with the GlueX detector at JLab
June 3, 2013
David Lawrence JLab
Newport News, Virginia

## Slide 2: Exotic Hybrid Mesons
Conventional meson has quantum numbers determined only by constituent quarks
Hybrid meson has some quantum properties due to contributions from the “glue”
JPC = 0-+, 0++, 1++, 1+-, 2-+, 2++
JPC = 0-+, 0++, 0+-, 1++, 1-+, 1+-, 2-+, 2++, 2+-
“exotic” states
JPC = 0-+, 0++, 0+-, 1++, 1-+, 1+-, 2-+, 2++, 2+-
S = S1 + S2
J = L + S
P = - (-1)L
C = (-1)L+S
S1
S2
L

## Slide 3: Meson Spectroscopy from LQCD
Dudek PRD 83 (2011) 111502
Dudek PRD 84 (2011) 074023
Isovector mesons, mp~700 MeV
normal mesons
Exotic JPC
hybrid
Notes: All quarks have same mass
Pinned at omega mass to convert to MeV

## Slide 4: Photo-production of Exotic Hybrids
Photons have spin-1 component allowing easier production of exotics compared to pion beams where a spin flip must occur
Linear polarization of incident photon allows us to distinguish naturalities of the exchange particle
High energy real* photons incident on a liquid Hydrogen target
Recent LQCD calculations indicate similar radiative decay widths for charmonium hybrids as for normal mesons**
  (i.e. photo-production rates of hybrids should be similar to that of non-hybrid mesons)
p
p
linear polarization:
parity of exchange particle
* not virtual
**Dudek PRD 79 (2009) 094504
9GeV linearly polarized
hybrid meson
detectable final state
(mixed charged and neutral)

## Slide 5: Amplitude Analysis
1−+ exotic wave
generated with 1.6% relative strength
Corresponds to 3.5 hours GlueX data, full detector simulation and reconstruction
generated waves

## Slide 6: The JLab 12GeV Upgrade
6 GeV CEBAF
11 GeV CEBAF
CHL-2
12 GeV CEBAF
Upgrade magnets and power supplies
Two 0.6 GV linacs
Two 1.1GV linacs
Enhanced capabilities
in existing Halls
See Larry Cardman’s talk in session I2 this afternoon for more details on 12GeV upgrade and JLab’s overall physics program
Notes: help me

## Slide 7: Aerial photon taken April 6, 2012
Hall-D Complex
Electron beam accelerator
  continuous-wave (1497MHz, 2ns bunch structure in halls)
  Polarized electron beam
  Upgrading to 12GeV (from 6GeV)
  70 mA max @ 12Gev (200mA max @ 6GeV)

## Slide 8: Photon beam and experimental area
Top View
75 m
Tagger Area
Experimental
Hall D
Electron beam / dump
Coherent Bremsstrahlung
photon beam
Solenoid-
Based detector
Collimator
Photon
Beam dump
Counting
House
Diamond
Radiator
Pair
Spectrometer
Collimator Cave
Radiation e- Z γ e- Z
Selection θ<25µr
polarized photons
Target,
Spectrometer
12 GeV
e-
East arc
North linac
Tagger
area
Hall D
Electron
Beam dump
Notes: Lower radiation having tagger in separate building

## Slide 9: The Photon Tagger
4
nominal
tagging
interval
Capable of 108g/s
on target
(DEg=8.4-9GeV)
Electron beam
1.5T dipole magnet
12m long vacuum chamber
e-
20mm diamond radiator
e-
e-
photon
Tagger magnet installation
Fixed Array (Eg ~ 3-11.6 GeV)
Small scintillators
R9800 photomultipliers
Fabrication at CUA
Thinning and testing of thin crystals
UConn thinned a diamond to 40µm, ~25µr
GlueX goal is 20mm
Fabrication at UConn
Microscope (Coherent Peak)
Scintillating fibers
SiPMs light sensors
120 readout channels
Notes: Collimator cuts black curve down to yellow

## Slide 10: The GlueX Detector
TOF
time of flight
SC
start counter
2.2T superconducting solenoidal magnet
Fixed target (LH2)
108 tagged g/s (8.4-9.0GeV)
hermetic
2.2 Tesla
Solenoid
Calorimetry
Barrel Calorimeter (lead, fiber sandwich)
Forward Calorimeter (lead-glass blocks)
PID
Time of Flight wall (scintillators)
Start counter
Barrel Calorimeter
Charged particle tracking
Central drift chamber (straw tube)
Forward drift chamber (cathode strip)
g beam
Notes: Boxes are electronics racks with no electronics

## Slide 11: Solenoid: testing in progress
Used for LASS at SLAC, for MEGA at Los Alamos, refurbished for GlueX
Four separate coils, all different, “Cryo-stable” design
Bore ID=185cm, length 400cm, Bmax=2.2T
Full energy at 1500A is ~30 MJ
Field strength increases toward the downstream end of the magnet

## Slide 12: BCAL: Barrel Calorimeter
48 modules (phi sectors)
BCAL design modeled after KLOE EMC
Light guides
SiPMs
Readout unit
Immune to
magnetic fields!
12 mm
Completed BCAL module. The iPhone is placed against the opposing surface of the 4 meter module.
BCAL module under construction. Approximately 30k plastic fibers are used in 191 layers to make one module.
Pb/Sc/Glue = 37/49/14 % (by volume)

## Slide 13: Forward Calorimeter
Lead Glass Calorimeter
2800 lead glass F8-00 blocks 4x4x45cm³
PMTs FEU84-3
Cockroft-Walton bases
Calorimeter assembled in Hall D
Cockroft-Walton bases under test at IU
Single parts for module assembly
Beam test with e- in Hall B, 2012
σE/E=20% at 100 MeV – as expected
Fabricated at Indiana University

## Slide 14: Charged Particle Tracking
The Central Drift Chamber (CDC) being constructed at Carnegie Melon University. Construction is done with the device in the vertical position, but it will be turned sideways for installation.
Central Drift Chamber (CDC):
Gas mixture: ~60/40 Ar/CO2
Angular Coverage: 6o-155o
3500 straw tubes r=8mm
dE/dx for p < 450 MeV/c
Readout: FADC-125MHz
Resolution: r ~ 150 m
z~1.5 mm
28 layers total
stereo layers: +/- 60
A Forward Drift Chamber (FDC) being tested in the lab. The GlueX detector will have 4 of these custom made chambers.
4 packages × 6 planes
Cables
Forward Drift Chamber (FDC):
Gas Mixture: 40/60 Ar/CO2
Angular Coverage: 1o – 30o
Readout:
2300 anode wires  F1TDC
10200 cathode strips  FADC-125
3 measured projections per plane
Resolution: 200mm wires
200mm strips

## Slide 15: Electronics and Data Rates
Electronics
All digitization electronics are fully pipelined (VME64x-VXS)
  F1TDC (60 ps, 32 ch. or 115 ps 48 ch.)
  125 MHz fADC (12 bit, 72 ch.)
  250 MHz fADC (12 bit, 16 ch.)
    - integrated into L1 trigger
Trigger latency ~3 ms
3GB/s readout from front end
300MB/s to mass storage
3PB/yr to tape
Crate Trigger Processor
F1TDC
Signal distribution board
250MHz Flash ADC
Trigger Interface
Sub-system Processor
Global Trigger Processor

## Slide 16: Offline Computing
Multi-threaded event reconstruction
Amplitude Analysis on GPUs

## Slide 17: Summary
GlueX: Search for exotic hybrid mesons
  Map exotic hybrid spectrum with polarized photon beam up to up to M ~ 2.8 GeV with sensitivities of a few percent of the total cross section.
  The civil construction and accelerator are >90% complete and the experimental equipment is 50-60% obligated.
Schedule
    Accelerator commissioning is planned for Oct 2013
  Hall-D detector commissioning starts in Oct 2014
  Production data taking in 2015
Other physics
  Approved:
    Precision measurement of h radiative decay width via Primakoff Effect
  Proposed:
    An initial study of mesons and baryons containing strange quarks with GlueX (arXiv:1305.1523)
    Measuring the Charged-π Polarizibility in the γγ → π+π− Reaction
    Symmetry Tests of Rare η Decays to All-Neutral Final States: The JLab η Factory (JEF) Experiment

## Slide 18: Backup Slides

## Slide 19: Extrapolation to physical mass
At mp=400 MeV, mass (1−+) ~ 1.9 GeV, mass (0+−) ~ 2.5 GeV

## Slide 20: Experimental evidence for 1-+ exotic hybrids
Listed among “further states” Needs confirmation
Unlikely Hybrid
Dynamical origin?
May be hybrid
Challenge in 3p
to separate exotic p1 from p2
Cleaner h’p signal

## Slide 21: Exotic Hybrid Decays
9GeV linearly polarized
hybrid meson
detectable final state
(mixed charged and neutral)
The exotics will tend to decay into an s-wave meson and a p-wave meson
Multiple generations of decays will occur before reaching a set of particles long-lived enough to be detected
Two examples of the possible decay chain of “X”
(“X” will have a lifetime on the order of 10-20 seconds)
g
g
p+
p+
p
p

## Slide 22: Modern method of signal capture: all pipeline
250MHz Flash ADC stores digitized signal in 8μs circular memory
Trigger data contains detailed information useful for cluster finding, energy sum, etc.
“Event” trigger extracts a window of the ADC data for pulse sum and time algorithms
Hardware algorithms provide a huge data reduction by reporting only time & energy estimates for readout instead of raw samples
Energy & Time Algorithms
Event #1
Event #2
VME
Readout
FADC
12-bit
Trigger #1
Trigger #2
ADC Sample Pipeline
Trigger Pulse
Pre-Processing
Gigabit
Serial
Trigger
Data
Physics
‘Event’
Trigger Input
detector
signal
250MHz
Sample Clock
Capture Window
200 KHz L1 trigger rate

## Slide 23: Trigger System
slide stolen from C. Cuevas’ talk at May 2010 GlueX Collab. Meeting

## Slide 24: GlueX Data Rates David Lawrence, Jefferson Lab
 | Front End DAQ Rate | Event Size | L1 Trigger Rate | Bandwidth to mass Storage
GlueX | 3 GB/s | 15 kB | 200 kHz | 300 MB/s
CLAS12 | 0.1 GB/s | 20 kB | 10 kHz | 100 MB/s
ALICE | 500 GB/s | 2,500 kB | 200 kHz | 200 MB/s
ATLAS | 113 GB/s | 1,500 kB | 75 kHz | 300 MB/s
CMS | 200 GB/s | 1,000 kB | 100 kHz | 100 MB/s
LHCb | 40 GB/s | 40 kB | 1000 kHz | 100 MB/s
STAR | 50 GB/s | 1,000 kB | 0.6 kHz | 450 MB/s
PHENIX | 0.9 GB/s | ~60 kB | ~ 15 kHz | 450 MB/s
LHC
JLab
BNL
*
CHEP2007 talk
Sylvain Chapelin
private comm.
* Jeff Landgraf Private Comm. 2/11/2010
** CHEP2006 talk Martin L. Purschke. current capability is 800MB/s peak, 500MB/s sustained (priv. comm. 2/14/2010)
**

## Slide 25
Page 25
Capability | Quantity | Range
Charged particles | Coverage | 1o < q < 160o
 | Momentum Resolution (5o-140o) | sp/p = 1 − 3%
 | Position resolution | s ~ 150-200 mm
 | dE/dx measurements | 20 < q < 160o
 | Time-of-flight measurements | sToF ~ 60 ps; sBCal ~ 200ps
 | Barrel time resolution | st g < (74 /√E 33) ps
Photon detection | Energy measurements | 2o < q < 120o
 | LGD energy resolution (E > 60 MeV) | sE/E = (5.7/√E 2.0)%
 | Barrel energy resolution (E > 60 MeV) | sE/E =(5.54/√E 1.6)%
 | LGD position resolution | sx,y, ~ 0. 64 cm/√E
 | Barrel position resolution | sz ~ 0.5cm /√E
DAQ/trigger | Level 1 | < 200 kHz
 | Level 3 event rate to tape | ~ 15 kHz
 | Data rate | 300 MB/s
Electronics | Fully pipelined | 250 / 125 MHz fADCs, TDCs
Photon Flux | Initial: 107 g/s | Final: 108 g/s
Hall D: Detector Design Parameters

## Slide 26: Detector Rates
Detector | E.M. | Hadronic Eg<8.0GeV | Hadronic Eg>8.0GeV
Start Counter | 2.7 | 3.2 | 4.0
BCAL | 6.19 | 83.6 | 112.2
FCAL | 11.5 | 8.9 | 17.9
TOF | 32.3 | 28.7 | 38.8
CDC | 49.9 | 62.7 | 70.5
FDC anode | 28.9 | 28.3 | 46.9
FDC cathode | 275.8 | 269.9 | 444.6
Tagger | 25 | 25 | 25
Avg. number of hits per L1-trigger event
Detector | Nhits | bytes/hits | header bytes
F1TDC | 285 | 4 | 548
FADC-125 | 1518 | 8 | 752
FADC-250 (wihout timing) | 180 | 4 | 808
FADC-250 (with timing) | 18 | 8 | 700
Total bytes per signal event by digitizer type
Average size of all L1 triggered events: 15kB
(Event Size for L1 triggered Eg>8.0GeV : 16.5kB)
Front-end data rate for high luminosity running
15kB/event * 200k events/sec = 3GB/sec
Data rate to tape: 300MB/sec
For high luminosity running, Level-3 trigger will reject 90% of events
For low luminosity running, all events will be kept.

## Slide 27: A single g p  pb1p event
Final state: p p+ p+ p- p- po

## Slide 28: Inhomogeneous Magnetic Field Map (-symmetric)

## Slide 29: Photoproduction
Decomposition of total cross section Eg = 9.3 GeV
Approximately 70% of total cross section in the energy region Eg ~ 7-12 GeV has multiple neutrals and is completely unexplored

## Slide 30: Particle ID
diff (ps)
pp separation <450MeV/c
pK separation <275MeV/c
Barrel Calorimeter
Forward TOF
diff (ns)
~200 ps
~80 ps
CDC dE/dx
40 scintillators
300 ps (w/tracking)
Used for start-up
Start Counter
Particle ID is done primarily through time of flight with some help from dE/dx in chambers. Space is left in design for a future PID detector.
Beam Test Data
Expected Separation