## Slide 1: The 6Li(22Ne, 26Mg)d alpha-Transfer Experiment For the Study of Low Energy Resonances in 22Ne (α, γ) 26Mg
Shuya Ota: Japan Atomic Energy Agency, Rutgers University
H. Makii, T. Ishii, K. Nishio, S. Mitsuoka, I. Nishinaka :
Japan Atomic Energy Agency
M. Matos, D. Bardayan: Oak Ridge National Laboratory
S. Chiba : Tokyo Institute of Technology
International Nuclear Physics Conference 2013, Florence, Italy
(06/03/2013)

## Slide 2: Introduction
S-process in massive stars (> 8 M)
  Weak s-process: produces nuclei (A = 60 – 90)
  22Ne(α, n)25Mg in He burning phase: a possible neutron source
  22Ne(α, γ)26Mg: a competing reaction
  A variety of experimental techniques have been taken for studying the Low Energy (Eα = 0.4 - 1 MeV) Resonances :
      Direct measurement (α + 22Ne) (Jaeger, PRL 2001)
      n + 25Mg (Massimi, PRC 2012)
      γ + 26Mg (Longland, PRC 2009)
      Inelastic scattering (p, p’) (Moss, NPA 1976)
      6Li + 22Ne (Giessen, NPA 1993; Ugalde, PRC 2007)
  Ambiguities in resonance parameters (Er, Jπ, Г, Гα, Гγ, Гn)

## Slide 3: Low energy resonances in α + 22Ne
Gamow window (Eα,lab = 0.4 – 1 MeV) (T9 = 0.2-0.3)
  26Mg Ex = 10.9 – 11.5 MeV (Sn: 11.1 MeV)
Observed by many measurements, but not precise
Ex ~ 10.9 and 11.3 MeV: dominant resonance
Our goals are:
  Branching ratio of n and γ channels (= Гn / Гγ )
  Measurement of resonance energies
For both figures;
cf. Longland, PRC, 2011, Massimi, PRC, 2012
Contributions from
Ex = 11.12 & 11.16 MeV(?)
Contributions from other resonances
He-burning

## Slide 4: Experimental scheme of 6Li(22Ne, 26Mg) d
Our approach: 6Li (22Ne, 26Mg) d (alpha-transfer)
  Produces natural parity state (as well as α+22Ne direct measurement)
  Гn / Гγ from production ratio of 25, 26Mg
  110 MeV 22Ne beam from JAEA 20 MV tandem
  6Li2CO3 target on C backing foil
Measurements of beam-like Mg and recoil deuteron with Si △E-E
  20°in CM system (covering ~ 40% of solid angle)

## Slide 5: Si △E-E Detectors
Upstream (for deuteron detection)  8 channels
  dE: surface barrier (2×2 cm, thickness: 65 um)
  E: PIN photodiode (2×2 cm, thickness = 300 um)
  High E-resolution: ~30 keV for dE, ~20 keV for E
  using a 241Am test source
Downstream (for Mg detection)  8 channels
  dE: surface barrier (φ = 2cm, thickness = 20 um)
  E: PIN photodiode (2×2 cm, thickness = 300 um)
Upstream for deuteron
(E-detector is unseen behind △E)
Downstream for Mg
(E-detector is unseen behind △E)
E detector 241Am spectrum
E-res: 20 keV

## Slide 6: Particle Identification
E-△E Spectra from upstream and downstream detectors
  Calibration:
  upstream241Am source, downstreamelastic scattering of 22Ne beam
  Good particle identification, but not enough for 26, 25Mg separation
  E-resolution for deuteron: FWHM ~ 80 keV (△E+E) in Lab Sys.
  Worse than expected (~ 40 keV) due to high noise levels at experiment
  - Ed = 5.5 – 7.0 MeV: region of interest for the weak s-process
Upstream
Downstream
Ed = 5.5 – 7 MeV
(ROI)

## Slide 7: Coincidence Measurement
Ex=11.83 MeV(?)
Successful coincidence measurements of Mg & d
  26Mg resonance peaks were not identified clearly.
  Need more statistics and better E-resolution
  Production yields roughly agreed with the previous measurement using 6Li + 22Ne reaction
Ex=9.38 MeV(?)
Ex=11.31 MeV(?)
×: upstream-downstream
×: gated on deuteron
Deuteron spectrum
(gated on Mg coincidence)

## Slide 8: Preparation For Next Beam Time
New chamber has been developed and installed in a vacuum chamber
Improvement
  E-resolution for deuteron
  - Geometry
    Noise cancelling
  Statistics
  - Upstream detectors: 8  24 ch
30 cm
30 cm
Detectors
Upstream (downstream is similar)

## Slide 9: Prospects of Next Experiment
Expected beam time at JAEA tandem on this summer
Improved statistics (~ 5 times)
Resonance spectrum of 26Mg with uncertainties ± 10~20 keV
25, 26Mg branching ratio (Гn / Гγ) : E-resolution of downstream detectors (~0.7% (~ 700 keV ) should be achieved)
26Mg
25Mg
Simulated spectrum
Simulated spectrum

## Slide 10: Summary
We are studyingα + 22Ne reaction for weak s-process by way of 6Li (22Ne, 26Mg) d alpha-transfer reaction
  Branching ratio of γ, n channels.
  Resonance energies in Gamow window
  (Ex = 11.31, 11.15, 10.94 MeV)
Test result showed successful coincidences of beam-like Mg and deuteron
Next beam time on summer in 2013

## Slide 12
11.15 (?)
11.31
9.38
Ex = 12.1 MeV