## Slide 1
ALTO, the electron-driven ISOL facility in Orsay
past, present and future
David Verney – IPN Orsay
On behalf of the ALTO teams
►history and description of the ISOL facility
►RIB developments at ALTO
and contribution to R&D in ISOL science
from ALTO
►Progress in the instrumentation
of the secondary beam lines

## Slide 2
Tandem building
Institut de Physique Nucléaire
Campus of the Paris Sud University Orsay (France)
Page 2/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 3
green light from French nuclear safety authorities
March 2012
May 13th 2013 – formal inauguration
May 14-15th 2013 – 2nd Workshop on the Physics at ALTO
Page 3/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 4
Tandem/ALTO general layout
Line 210 SPLIT POLE
line 320 BACCHUS
line 420
line 410
ISOL
Mass separator and
Low energy RIB lines
ORGAM
Stable beams
cluster/
molecular/
droplets beams
Stable beam with spectrometer
Stable beam without spectrometer
Radioactive beam lines
Page 4/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013
ISOL
Production cave
ISOL installation
ISOL
Driver

## Slide 5
1964
ISOL TECHNIQUE IS AN OLD TRADITION AT IPN ORSAY !
1992
Introduction of the ISOL technique at GANIL
1997
SPIRAL1 target
SPIRAL/Louvain target
Contribution to the improvement of the liquid Pb target
ISOLDE 90’s
Page 5/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013
J. Obert

## Slide 6
beginning of the 70’s : the ISOCELE ISOL setup at the Orsay SC (now proton therapy center)
Page 6/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 7
ending 70’s/beginning 80’s, upgrade of the SC  ISOCELE2
(exactly at the same time for the same reasons, at CERN : ISOLDE3)
Page 7/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 8
end 80’s, first online laser ion source at IPN: PILIS
beginning 90’s the medicine (proton therapy) takes
possession of the SC
the PILIS activity moves to ISOLDE/CERN → COMPLIS setup
Page 8/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 9
90’s ending, beginning 2000’s, ISOL activity back at IPN: PARRNe
converter
(C)
deuteron beam
(1µA 26 MeV)
fast
neutrons
1+
ion
source
Fission
Fragments
target
(10^9 fissions/s)
238U
fission
mass separator
detection
from P.W.Lisowski et al, OECD/NEA Report
NEANDC-305 'U' 1991 p.177
Thesis Nicolas Pauwels
IPN Orsay
initially a R&D test bench for the SPIRAL2 project
« Production d’Atomes Radioactifs Riches en Neutrons »
Page 9/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 10
Hot plasma ion source
1µA deuterons from the Tandem
26 MeV
109 fissons/s
inside the target
50
48
46
52
54
56
28
30
32
34
36
38
Production /s/µA
Stable
102 – 103
103 – 5 103
5 103 – 104
104 – 5 104
5 104 – 105
105 – 5 105
5 105 – 106
106 – 5 106
5 106 – 5 107
Z
N
Measured productions yields at the detection point at PARRNe
measured in dec 2000
2000 :
production yields with a hot plasma ion source (Febiad)
Page 10/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 11
exploratory photofission experiment at CERN
ISOL available at TANDEM
PARRNe mass-separator on line
arrival of the LINAC cavity from decommissioned LEP injector
construction of the LINAC bunker
RF system
First e-beam extracted
UCx target on line with e-beam
– production yields measurements
Commissioning : tests
and radiation safety measurements
TIS vault
2000
2001
2002
2003
2004
2005
2006
2007
2008
2009
2010
1999
1998
building of the low energy beam lines + laser ion source
2011
2012
2013
green light from French nuclear safety authorities
BEDO commissioning
first laser ionized RIB
83Ga -> 83Ge b-decay
81Zn -> 81Ga b-decay
84Ga -> 84Ge b-decay
initial idea of a R&D test bench for the SPIRAL2 project at the Orsay Tandem
INAUGURATION
Page 11/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 12
Production /s/100nA
Stable
102 – 103
103 – 5 103
5 103 – 104
104 – 5 104
5 104 – 105
105 – 5 105
5 105 – 106
106 – 5 106
5 106 – 5 107
measured in June 2006
Measured productions yields at the detection point
on line with the PARRNe mass separator
electrons -> gamma induced fission
ALTO=ISOL installation based on photo-fission: the first of its kind in the world
Hot plasma ion source
100nA electrons
50 MeV
109 fissons/s inside the target
nominal intensity:
10 μA ~ 1011 fissions/s
green light from French nuclear safety authorities
officially granted Spring 2012
×100
Page 12/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 13
ALTO=ISOL installation based on photo-fission: the first of its kind in the world
PARRNe
mass separator
e-LINAC
10 µA 50MeV
(former 1st section of the LEP injector)
TIS vault
~5.10^11 fissions/s
Target Ion-source ensemble
kicker - bender
secondary
beam lines
POLAREX
nuclear orientation on line
identification station
BEDO
beta decay spectroscopy
Page 13/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 14
RIB developments at ALTO
and contribution to R&D in ISOL science
from ALTO

## Slide 15
RIB developments and R&D in ISOL science
R&D program on the fluorination of Lanthanides
Lanthanide Region
Semi refractory
(slow release from UCx)
Strong physics motivation:
study of mid-shell effects
 B(E2) measurements
fast timing
Program led by B. Roussière (IPN Orsay), collaboration CSNSM (France), Tandar (Argentina) and INRNE (Bulgaria)
first fast-timing experiment at ALTO with low-intensity e- beam on 137,139Cs
Eur. Phys. J. A (2011) 47: 106
Page 15/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 16
RIB developments and R&D in ISOL science
R&D program on the fluorination of Lanthanides
SIHL off-line mass separator
Strategy :
Fasten the release of Ln by formation of LnFn+ molecular beams
Tests :
the different parameters:
●injected fluoride gas
●target temperature
●source type
Target made of Lanthanide oxides mixed in graphite powder

## Slide 17
RIB developments and R&D in ISOL science
R&D program on the fluorination of Lanthanides
CF4 inlet tube
flow max compatible with good running conditions:~6 x 10-3 bar.l/s
Mass scan
High correlation between the valence of the Ln and the observed ions (Ln+, LnF+ or LnF2+).
Measurements performesd with hot plasma (Febiad) and surface (W) ion sources
Reliable T° control
Page 17/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 18
RIB developments and R&D in ISOL science
R&D program on the fluorination of Lanthanides
● 1st systematic study on the fluorination for Lanthanides beams
● Dependence on the valence of the Lanthanide
● Process sensitive to heating conditions
● Reproducible results
● No chemical corrosion observed in the front-end (after more than 3 weeks of operation)
● Further tests are scheduled for optimizing the operation conditions before going to online experiments
R&D of interest for all current ISOL facilities and extendable to develop new radioactive molecular beams.
Powerful technique to produce chemically reactive nuclei.
In the framework of ENSAR2: a proposal submitted, involving CERN, GANIL, GSI and INFN: to be discussed…
Towards a more general R&D program
on molecular beams
IPN Chemists, engineers and physicists
N. Barré-Boscher, M. Cheikh Mhamed, S. Essabaa, C. Lau,
B. Roussière, A. Said, S. Tusseau-Nenez
Page 18/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 19
RIB developments and R&D in ISOL science
UCx developments at IPN - ALTO
ENSAR JRA02, ActILab:
Actinide ISOL Target R&D Laboratory
● CERN-ISOLDE
● GANIL-SPIRAL2
● INFN- SPES
● IPN- ALTO
● Laboratory of Chemical Sciences, Univ. of Rennes (France)
for the synthesis of samples and microstructural characterizations (SEM)
● ICMMO-Orsay
for SEM observations and XRD measurements on non-radioactive samples
IPN Chemists, engineers and physicists
N. Barré-Boscher, M. Cheikh Mhamed, S. Essabaa, C. Lau,
B. Roussière, A. Said, S. Tusseau-Nenez
Objectives:
Today : ALTO, 1011 fissions / sec
Tomorrow : SPIRAL2 >1013 fissions / sec
Future : EURISOL, 1015 fissions / sec
Nowadays
The most widely used ISOL targets = uranium carbide + graphite (UCX), mostly UC2
Concentration of 238U ~ 3 g/cm3
Operate at temperatures ranging from 2 000 °C to 2 200 °C
How to increase the RIB intensities ?
Increasing the primary beam
Increasing uranium density → higher production rate of FPs
Controlling the porosity
Reducing the thickness of pellets
BUT that cannot be the end of the story:
favor the FPs releases, particularly crucial for the short-lived species
Page 19/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 20
SIHL off-line mass separator
RIB developments and R&D in ISOL science
UCx developments at IPN - ALTO
15 MV MP Tandem
Strategy :
Measure the release properties of pellets after irradiation
Control and characterize :
the different parameters:
● UCx synthesis method
● porosity
● microstructure
● physicochemical properties
● …
Densest samples
Porous samples
Carburation lab
Page 20/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 21
Deuteron Tandem beam
Irradiation time 20 min
Cooling time 30 min
RIB developments and R&D in ISOL science
UCx developments at IPN - ALTO
Heating 1700°C during 30 min
Secondary vacuum
Cooling to 70°C in 10 min
The furnace for heating test is home made. Calibration by melting of Pt
Page 21/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 22
RIB developments and R&D in ISOL science
UCx developments at IPN - ALTO
Results from gamma spectrometry
Clearly, diffusion and effusion are correlated with the porosity / pore size distribution of the sample
More on the method in:
B. Hy et al., NIM B 288 (2012) 34
Page 22/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 23
The on-line laser installation validated in 2011
with the production of Ga beams.
2012: Upgrade 2 new lasers (Radiant Dyes).
2013: Reference cell (in progress...)
Installation supervised by S. Franchoo
with the collaboration of
ISOLDE:
V. Fedosseev, B. Marsh, T. Goodacre
Univ. Manchester:
K. Flanagan
Univ. Mainz:
T. Kron, K. Wendt
RIB developments and R&D in ISOL science
Laser ionized RIBs at ALTO
The ALTO laser ion source RIALTO (Resonant Ionization at ALTO)
Mezzanine of the mass separator/RIB zone
Laser beams are driven some 17 m away down to the TIS
Page 23/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 24
RIB developments and R&D in ISOL science
Laser ionized RIBs at ALTO
Page 24/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 25
● Validated with Ga beams: 287/297 nm + 532 nm
● Next run with Zn beams: 214 nm + 636 nm + 532 nm (f tripling) – starting June 17th 2013
● Laser schemes and optics settled with the support of ISOLDE-CERN
Upgrades 2012 - 2013
RIB developments and R&D in ISOL science
Laser ionized RIBs at ALTO
● EdgeWave pump laser
(532 nm, 100 W, 10 KHz, 10 ns)
● 2 Radiant Dyes Narrowscan lasers
(540 – 900 nm)
BBO doubling units (270 – 450 nm)
Page 25/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 26
Reference cell in progress…
Design: engineering office of the “Accelerators” Division of IPN
Tests: R&D group of ALTO
Collaboration with Mainz University: T. Kron and K. Wendt
RIB developments and R&D in ISOL science
Laser ionized RIBs at ALTO
Page 26/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 27
Progress in the instrumentation
of the secondary beam lines

## Slide 28
Zn81
Present limit of structure knowledge
(at least few excited states are known)
hot plasma ionization
(1 µA deuteron primary beam)
O. Perru PhD – def. 10th December 2004
Eur. Phys. J. A 28, 307 (2006)
surface ionization
(2-4 µA electron primary beam)
M. Lebois PhD – def. 23th September 2008
PRC 80, 044308 (2009)
B. Tastet PhD – def. 13th May 2011
PRC 87, 054307 (2013)
D. Testov PhD – def. November 2013
laser ionization
(10 µA electron primary beam)
K. Kolos PhD – def. September 2012
Ga84
Ga83
Ga82
Ga85
Ga80
Ga79
Ge80
Ge79
Ge81
Ge85
Ge86
As82
more than 10 years of experiments in the 78Ni region
at the PARRNe mass separator (Tandem/ALTO)
hot plasma ionization
(1 µA deuteron primary beam)
PRC 76 (2007) 054312
laser ionization
To be done in June 2013 PhD A. Etile
Progress in the instrumentation of the secondary beam lines
beta-decay spectroscopy in the N=50 region
Page 28/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 29
PARRNe mass separator
central beam line
PARRNe mass separator focal plane
kicker-bender
new tape station : BEDO
“historical” measurement position
plastic scintilator
Large volume Ge detector
(EUROGAM-1 French-UK loan pool)
Ge CLOVER
(proto EXOGAM )
Mylar tape
beam
etotal(photo-peak 1.3MeV)~2%
T1/2 measurement: tape motion cycling
Triggerless DAQ 400ps resolution time stamping
time
decay
ion beam deviated
build up
ion collection
Progress in the instrumentation of the secondary beam lines
beta-decay spectroscopy in the N=50 region
Page 29/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 30
β energy loss
Compton
collection point
Ge
Ge
Ge
plastic scintillator
4π-β
Ge
ancilary
plastic
BGO
4p beta
Compact geometry (max γ efficiency)
γ background suppression
BGO crystals
Progress in the instrumentation of the secondary beam lines
BEDO : BEta Decay studies at Orsay
Page 30/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 31
Anti-Compton belt
4 EXOGAM small prototypes
Source-cap distance = 5 cm
measured eg (1 MeV) = 5-6 % (previous system 1-2%)
sensitivity 0.1 pps
up to 5 Ge detectors
6 plastic detectors
beam entrance
Page 31/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013
Progress in the instrumentation of the secondary beam lines
BEDO : BEta Decay studies at Orsay

## Slide 32
BEDO setup
in gamma mode
4 small EXOGAM clovers
BEDO setup
in neutron mode
Dubna neutron detector TETRA
borated polyethylene shielding
~90 3He tubes
gamma
neutron
Ge detectors
BGO shields
Ge
LaBr3
LaBr3
LaBr3
BaF2
Distances / source :
Ge = 40 mm
LaBr3 = 25 mm
BaF2 et LaBr3 = 40 mm
Plastique = 25 mm
fast timing mode
1
2
3
(1st physics exp. last year)
Progress in the instrumentation of the secondary beam lines
BEDO : BEta Decay studies at Orsay
Page 32/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 33
TETRA detector at BEDO setup:
- 4Pi neutron detector 90 counters 3He 7 atm
[measured eff. 63±5% (on line)]
- 4p beta detector
- 1 Ge detector
- movable tape
D. Testov PhD work and Orsay-Dubna collaboration
Yu Penionzhkevich, V. Smirnov and E. Sokol
Direct b-delayed neutron emission measurement of 84Ga with TETRA
Pn=70(15) K.-L.Kratz et al. Z.Phys. A340, 419 (1991) and B.Pfeiffer et al. Prog. Nucl. Energy 41, 39 (2002)
Pn=80(15) C.J.Gross et al. Acta Phys.Pol. B40, 447 (2009)
Pn=47(10) J.A.Winger et al Proc.4th. Intern. Conf. Fission and Properties of Neutron-Rich Nuclei, Sanibel Island, Florida (2007);
Pn=74(14) J.A.Winger PRC 81, 044303 (2010)
84Ga
T1/2=0.085s
84Ge
T1/2=0.954 s
84As
T1/2=4.2 s
83Ge
T1/2= 1.85 s
83As
T1/2=13.4 s
b-n
b-n
b
b
b
Pn(84Ge)=10.2(9) B.Pfeiffer et al. Prog. Nucl. Energy 41, 39 (2002)
others: 10.8(6) , 9.5(20) , 9(3)
Pn
n
n
g
g
g
Page 33/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 34
Direct b-delayed neutron emission measurement of 84Ga with TETRA
Pn(84Ge)=10.2(9) B.Pfeiffer et al. Prog. Nucl. Energy 41, 39 (2002)
others: 10.8(6) , 9.5(20) , 9(3)
84Ga
T1/2=0.085s
84Ge
T1/2=0.954 s
84As
T1/2=4.2 s
83Ge
T1/2= 1.85 s
83As
T1/2=13.4 s
b-n
b-n
b
b
b
T1/2=0.085s
Pn(84Ga)=49.8%
Pn
T1/2=0.085s
Pn(84Ga)=14%
T1/2=0.085s
Pn(84Ge)>>10%
n
n
g
g
g
evidence for a longer lived neutron emitter in the beam which cannot be 84Ge: 84Ga isomer ????
We already proposed the existence of an isomer in 84Ga
Lebois et al PRC 80 (2009)
Testov et al. in preparation
preliminary

## Slide 35
Progress in the instrumentation of the secondary beam lines
TETRA and BEDO in sequential mode
TETRA
BEDO
dipole ON -> towards BEDO
dipole OFF -> towards TETRA
RIB on tape
BEDO
TETRA
decay
tape motion
RIB on tape
decay
Expected on line March-April 2014
Collaboration IPN-FLNR Orsay-Dubna
Page 35/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 36
BEDO
SPECOLOR
(project)
POLAREX
Progress in the instrumentation of the secondary beam lines
Nuclear orientation on line: the POLAREX project at ALTO
TAS
TETRA
Physics at the right arm of the kicker-bender
Page 36/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 37
Progress in the instrumentation of the secondary beam lines
POLAREX
Ge Detector
The detail of the shape of the angular distribution depends on the particular transition: spins of the nuclear states involved, transition multipolarities, and also on the environment of the nuclei like the total magnetic field and the temperature.
Low Temperature Nuclear Orientation
AND Nuclear Magnetic Resonance
The good frequency -> the magnetic moment
Provided the magnetic field and the temperature are known
Hyperfine information
Nuclear thermometer
Courtesy S. Roccia
Page 37/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 38
132Sn
N=50
N=82
Z=50
Z=28
78Ni
Progress in the instrumentation of the secondary beam lines
POLAREX
Possible and/or interesting measurements at ALTO
Page 38/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 39
POLAREX
ALTO beam
Vertical beam line
Dilution
Refrigerator
Progress in the instrumentation of the secondary beam lines
POLAREX
Page 39/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 40
PolarEx
Rejuvenation of the dilution cryostat
Thermometry
Electronics
Acquisition control
Preparation on the ALTO site
Structure and platforms
Faisceaulogie and beam line design
Progress in the instrumentation of the secondary beam lines
POLAREX
● letters of intent received
● OFF line measurements at CSNSM √
● OFF line measurements at ALTO ×
● ON line measurements at ALTO ×
Collaboration
● CSNSM Orsay:
A. Astier, G. Audi, S. Cabaret, A. Etilé, C. Gaulard, G. Georgiev, S. Roccia
● LPSC Grenoble:
G. Simpson
● IPN Orsay:
F. Ibrahim, D. Verney
● INM :
L. Risegari
● University of Tennessee, University of Oxford
N.J. Stone
● University of Maryland,University of Oxford
J.R. Stone
● University of Novi Sad :
M. Veskovic J. Nikolov
More on POLAREX: see poster by A. Etile
Page 40/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 41
BEDO
SPECOLOR
(project)
POLAREX
TAS
TETRA
Progress in the instrumentation of the secondary beam lines
TAS: Total Absorption Spectroscopy program
Physics at the right arm of the kicker-bender
Page 41/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 42
Progress in the instrumentation of the secondary beam lines
TAS: Total Absorption Spectroscopy program
The TAS Collaboration

## Slide 43
Progress in the instrumentation of the secondary beam lines
TAS: Total Absorption Spectroscopy program
Courtesy M. Fallot
Page 43/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 44
Progress in the instrumentation of the secondary beam lines
TAS: Total Absorption Spectroscopy program
Courtesy M. Fallot
Page 44/
Verney – IPN Orsay INPC 2013 – Firenze – 2-7 May 2013

## Slide 45
►IPN Orsay has long been an important player in the european ISOL-landscape, and continues to be so through ALTO and SPIRAL2
►R&D and physics at ALTO paves the way towards SPIRAL2 phase 2 and DESIR
(initiate some parts of the physics program, train the next generation of nuclear physicists to the ISOL technique, prepare the instruments and methodolies etc)

## Slide 46
ALTO:
TNA within ENSAR
and
Candidate for TNA within ENSAR2
PAC: One/year
- R. F. CASTEN , Chair (Yale University)
- E. BALANZAT (CIMAP – Caen)
- D. BALABANSKI (Sofia – Bulgarie)
- S. GREVY (CENBG)
- E. KHAN (IPNO)
- W. KORTEN (SPhN-IRFU-CEA)
- B. RUBIO (IFIC Valencia)
C. TRAUTMANN (GSI)
A. TUMINO (LNS -Catania)
J. C. THOMAS (GANIL)
Tandem+ISOL = 4000 h per year
Possibility to run in the future
ISOL and Tandem simultaneously
28 engineers and technicians for
Technical support
250 outside users (30 countries)/an